Hardscape ITP

|  |  |
| --- | --- |
| **Sr. No.** | **DESCRIPTION** |
|  | Confirm Wall & Planterbox Set-out & Materials |
|  | Waterproofing for starter bars satisfactory |
|  | Service provisions in correct location |
|  | Walls have been built to correct heights & plumb |
|  | Correct concrete has been ordered |
|  | Concrete has been poured into wall at an even rate |
|  | Floor and Walls have been primed |
|  | Floor & wall joints have been caulked ready for waterproofing |
|  | Waterproofing completed |
|  | Irrigation completed |
|  | Drainage Cell & Geofabric installed |
|  | Planterboxes ready for soft Landscaping |