|  |  |  |  |
| --- | --- | --- | --- |
| **PROJECT:** | **City Rail Link** | **Company** | **Ask Metro Fire** |
| **Job No.** | **41071** | **Name** |  |
| **CLIENT** | **Link Alliance** | **Signature** |  |
| **AREA** |  | **Date** |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **ZONE:** | |  | **LEVEL:** |  | | **DRG NO.** | | | | | **REV.** |  |
|  | | | | | | | | | | | | |
| **CHECKLIST** | | | | | | | **CONFORMS** | | | **NOTES** | | |
|  | | | | | | | **Y** | **N** | **N/A** | **Ref No.** | | |
| **1.** | Construction drawings approved for use | | | | | |  |  |  |  | | |
| **2.** | Black / Galv. / Primed Mild Steel to | | | | NZS/BS 1387:1387 | |  |  |  |  | | |
|  |  | | | | AS1074 Medium | |  |  |  |  | | |
| **3.** | Main size Risers | | | |  | |  |  |  |  | | |
| **4.** | Hanger Spacing | | | | | |  |  |  |  | | |
| **5.** | Seismic restraints Hangers | | | | | |  |  |  |  | | |
| **6.** | Seismic Breaks | | | | | |  |  |  |  | | |
| **7.** | 150mm clearance around outlets and all valves locked including ball and butterfly valves | | | | | |  |  |  |  | | |
| **8.** | From FFL to centre (600mm min – 1350mm MAX) | | | | | |  |  |  |  | | |
| **9.** | Pipework Tested Air & Water | | | | | |  |  |  |  | | |
|  | Start Time: Start Pressure: | | | | | |  |  |  |  | | |
|  | Finish Time: Finish Pressure: | | | | | |  |  |  |  | | |
|  | Duration: Pressure Drop: | | | | | |  |  |  |  | | |
| **10.** | Pipework signage | | | |  | |  |  |  |  | | |
| **11.** | Hydrant charged | | | | | |  |  |  |  | | |
| **12.** | EAB isolation sections installed as specified | | | | | |  |  |  |  | | |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Name of Witness**  **(If Applicable):** |  |  | Date |  |
| **Signature:** |  |  |  | |
| ***Certified by AMF:*** | |  |  | |
| **Name:** |  |  | Date |  |
| **Signature:** |  |  |  | |