**INSPECTION & TEST CHECK LIST – 601**

**ELECTRIC PUMP INSTALLATION / COMMISSIONING**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PROJECT** | **Frankston Hospital Redevelopment** | | | | | **JOB No** | | **4500** |
| **ITEM** | | | **N/A** | **CONFORMS**  **YES NO** | | **RE-INSPECT**  **OK** | | **Drg No:**  **(Rev):** |
| **NOTES** |
| 1. Pump room drawing revision correct. | | |  |  |  |  | |  |
| 2. Piping as per installation. | | |  |  |  |  | |  |
| All drains connected. | | |  |  |  |  | |  |
| 3. Power available from electrical contractor & approved for use. | | |  |  |  |  | |  |
| 4. Pump performance site test results Elec S1 | | |  |  |  |  | | \* Flow Test & Commissioning results attached as an appendix. |
| 5. Pump performance site test results Elec S2 | | |  |  |  |  | | \* Flow Test & Commissioning results attached as an appendix. |
| 8. Manufacturers site commissioning results attached as an appendix. | | |  |  |  |  | | \* Flow Test & Commissioning results attached as an appendix. |
| 11. | | |  |  |  |  | |  |
|  | | | | | | | | |
| Checked By;  (Contract***fire***) | | Signature; | | | | | Date; | |
|  | | | | | | | | |
| Checked By;  (Lend Lease) | | Signature; | | | | | Date; | |