# INSPECTION TEST PLAN CHECKLIST FOR INSTALLATION

# SPRINKLERS

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Project Name:** | | | | | | | | **Project No:** | | | | | | | | | |
| **Address:** | | | | | | | | **Area:** | | | | | | | | | |
| **Inspected by:** | | | | | | | | **Date:**  / / | | | | | | | | | |
| NATURE OF INSPECTION | | | | | | | | | | **Yes** | | | **No** | | **N/A** | | |
| **1. ROUGH IN** | | | | | | | | | |  | | |  | |  | | |
| * Pipework installed as per approved workshop drawing | | | | | | | | | |  | | |  | |  | | |
| * Correct pipe sizes as per drawing | | | | | | | | | |  | | |  | |  | | |
| * Correct type, temperature sprinklers installed | | | | | | | | | |  | | |  | |  | | |
| * Pipework supports to AS 2118.9 | | | | | | | | | |  | | |  | |  | | |
| * Sleeves and fire stop material to penetrations (where specified) | | | | | | | | | |  | | |  | |  | | |
|  | | | | | | | | | |  | | |  | |  | | |
| * Ok to proceed with blockwork and stud framing Date: | | | | | | |  | | DA Initials: | | |  | | | | |  |
| Hydrostatic Pressure Test: | | | | | | | | | | | |  |  | |  | | |
|  | | | | | | | | | | | |  |  | |  | | |
| Start Pressure: |  | kPa | Time: |  | Client Initials: | |  | | DA Initials: | | |  | | | | |  |
|  |  |  |  |  |  | |  | |  | | |  | | | | |  |
| Finish Pressure: |  | kPa | Time: |  | Client Initials: | |  | | DA Initials: | | |  | | | | |  |
|  |  |  |  |  |  | |  | |  | | |  | | | | |  |
| **2. FIT-OFF** | | | | | | | | | | |  | | |  | |  | |
| * Sprinkler location to approved workshop drawing | | | | | | | | | | |  | | |  | |  | |
| * Sprinkler spacing to AS2118 | | | | | | | | | | |  | | |  | |  | |
| * Correct type, temperature sprinklers installed | | | | | | | | | | |  | | |  | |  | |
|  | | | | | | | | | |  | | |  | |  | | |
| * Ok to proceed with sheeting ceilings | | | | | | Date: |  | | DA Initials: | | |  | | | | |  |
| Hydrostatic Pressure Test: | | | | | | | | | | | |  |  | |  | | |
|  | | | | | | | | | | | |  |  | |  | | |
| Start Pressure: |  | kPa | Time: |  | Client Initials: | |  | | DA Initials: | | |  | | | | |  |
|  |  |  |  |  |  | |  | |  | | |  | | | | |  |
| Finish Pressure: |  | kPa | Time: |  | Client Initials: | |  | | DA Initials: | | |  | | | | |  |
|  |  |  |  |  |  | |  | |  | | |  | | | | |  |
|  |  |  |  |  |  | |  | |  | | |  | | | | |  |
|  |  |  |  |  |  | |  | |  | | |  | | | | |  |
| NATURE OF INSPECTION | | | | | | | | | | **Yes** | | | **No** | | **N/A** | | |
| * Escutcheon plates installed and flush | | | | | | | | | | |  | | |  | |  | |
| * Shields/guards below 2100 provided (where specified) | | | | | | | | | | |  | | |  | |  | |
| * Exposed pipework painted (where specified) | | | | | | | | | | |  | | |  | |  | |
| * Distance below slab to AS2118.1 | | | | | | | | | | |  | | |  | |  | |
| * Deep fat fryer(s) and associated duct protected to AS2118.1 | | | | | | | | | | |  | | |  | |  | |
| * Concealed space protection to AS2118.1 | | | | | | | | | | |  | | |  | |  | |
| * Sprinkler under ducts/obstructions to AS2118.1 | | | | | | | | | | |  | | |  | |  | |
| * Sprinkler inside A/C units to AS2118.1 | | | | | | | | | | |  | | |  | |  | |
|  | | | | | | | | | | |  | | |  | |  | |

**Signed: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**