Thomas Embling Hospital- New Checklist

Title Standard ITP-Aus Standards - Wet Area Wa1erproofingWP05- 01- Waterproof Ensuite Base

Item Descrip1iom

Inspection Details Keep it as is

2.1- 28 Keep it as is

Subtitle change to: ApplyTREMCO Primer·- ake a photograph oh:heprimer- comtai11erwitm technical derails--·•--

* 1. Line #2 -> Acceptance criteria -> change"lo TREMCO Primer Applied

Remaining items at 2.9- keep ii as is

* 1. Keep it as is
  2. Line #3 - > change to lREMCO Primer curing times Line #4-> change to Full cure time:

212 Keep it as is

## 2.13

3 Keepitasis

Title

## Item

Inspection Details 2.1- 2.8

# 2.9

2.10

# 211

2.12-2.13

# 3

Standard ITP - Aus Standards - Wet Area Waterproofing WP05 - 02 - Ensuite Walls

DesaiptiOill

Keepitasis Keep it as is

Subtitle change to: ApplyFIC1WC0at Resin Primer·- lake·a photngraplr, oftlrieprimu c:of1tainer-1Nlth technical details ......

Line #2 *->* Acceptance criteria *->* change-lo Fl at Resin Primer·Applied Remaining items at 2.9- keep i"I as is

Keep it as is

Line #3 \_::, change to Aawcaat Resin Primer·curingtimes Line #4-> change to Full cure time: 24hrs at2fl.1"

Keep it as is

Title

lrem

Inspection Details

2.1 - 2.8

# 29

2.10

# 211

2.12-2.13

# 3

Standard ITP- Aus Standards - Wet Area Waterproofing WP05 - 03 - Epoxy Screed to Falls (Entire Ensuite)

Desai ptiOil1

Keep it as is Keepitasis

Subtitle change to: Applyflawcrete Resin Primer·- takea photograph offtirle primer comtaimit·with1edu1ical details·---- Line #2 \_::, Acceptance criteri\_a::,change lo fl=rete Resin Prime..-Applied

Remaining items at 2.9- keep i1 as is

Subtitle change to: ApplyEpaxy La rs inUne'<lllilh data sheeta!Tld tlrle1ligµres i11 AS3740- take photograph of epoxy containel"wjtb technical details and photo/video of applica1on - mrle delails o.ftimfng om driedl.ist

Subtitle change to: HOLD POINT: lnspection"lo confirm integrity oft!rie epoxy a111d comple:tiOill ofim;.tallatfOfl Line #3- > change to Aawcrete Resin Primer·curingtimes

Line #4-> change to Full cure time: 24hrs at2fl.1" Keepitasis

Title Item

Inspection Details 2.1- 2.8

# 2.9

2.10

2.11

2.12-2.13

# 3

Standard tTP - Aus Standards - Wet Area Waterproofing WP05 - 04- Epoicy Cove to Ensuites

Descriptiom

Keep it as is Keep it as is

Subtitle change to: Applyflawcrete Resin Primer·,with sandJ - tak:ea pliotograplrl oftlrle primer cofltainerwithtechriical derails ..•... Line #2 \_::, Acceptance criteri\_a::,change"lo fl=ret:e Resin Prim,M·{withsand} Applied

Remaining items at 2.9- keep ii as is

Subtitle change to: ApplyEpaxy Lay,irs in Unewi1h data sheetal!ld tlrle1ligµres illl AS3740-taleplrlotograph oliepoxy containeirwitlii technical details and photo/video of applica1on - nme-delails of timing om drledl:list

Subtitle change to: KOLO POINT: lnspeclion o confirm fn"!Egrity oftlrle epmcy a111d completirnri ofinstaUatiOfl Line #3- > change to Aawcrete Resin Primer·{withsand} curingtimes

Line #4-> change to Full cure time: 24hrs at *'M'*

Keep it as is

Title

lrem

Inspection Details 2.1- 2.8

# 2.9

2.10

2.11

Standard ITP- Aus Standards - Wet Area Waterproofing WP05 - 05 - Vinyl Flake to Ensuite Roors

Desc:ri ptiom

Keepitasis Keep it as is

Subtitle change to: Applyflawcaat OPSua::kCaat:Primer·- take a photograph of the primer cmrtai111er-with technical details ......

Line #2 -> Acceptance criteria -> change- o Fl at OSPuck Coat Primer Applied Remaining items at 2.9- keep It as is

Keepitasis

Line #3- > change to Aawcaat OP Suck Caat Primer-curingtimes Line #4-> change to Full cure time: 24hrs at'M'

..

.

# 213

3

Keep it as is

,' .' , ' ..

"' • ' --- 11111111 ' 111!1\' "" .

'' •r'l,*,*•,*,*,*:·.,, .,;* ,, 'f',,•'

I ' ' '