**Inspection Checklist – Ductwork Insulation / Fire Wrap ITC**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Contractor:** | Dewpoint Group | | | | | |  | | **ITC No.** | | | |  |
| **Area/Location:** |  | | | | | |  | | **Zone:** | | | |  |
| **Drawing No:** |  | | | | | | **Rev :** | | | | | |  |
|  | | | | |  | | | | |  | |  | |
| **Item – Activity** | | | | | **Acceptable** | | | | | **N / A** | | **Comment** | |
| **Yes** | **No** | | | |
| **Insulation** | | | | | | | | | | | | | |
| Is Insulation thickness as per DPA drawings? | | | | |  |  | | | |  | |  | |
| Is insulation adequately strapped? | | | | |  |  | | | |  | |  | |
| Is insulation metal pinned as per AS 4859 / mechanical specification? | | | | |  |  | | | |  | |  | |
| Are joints vapor sealed correctly? | | | | |  |  | | | |  | |  | |
| Tape sufficiently installed? | | | | |  |  | | | |  | |  | |
| Installation free of rips and tears? | | | | |  |  | | | |  | |  | |
| Insulation installed above trapeze hanger i.e. not around trapeze hanger. | | | | |  |  | | | |  | |  | |
| **Fire Wrap** | | | | |  |  | | | |  | |  | |
| Is Insulation thickness as per DPA drawings? | | | | |  |  | | | |  | |  | |
| Installed to tested system | | | | |  |  | | | |  | |  | |
| Installation free of rips and tears? | | | | |  |  | | | |  | |  | |
|  | | | | |  |  | | | |  | |  | |
|  | | | | |  | | |  | | | |  | |
| **Comments** | | | | | | | | If an NCR is raised - # | | | | | |
|  | | | | | | | | Date Closed | | | | | |
|  | | | | | | | | | | | | | |
| **Received by:** | | | *Dewpoint Project Manager* | | | | | | | | Date: | | |
| **Inspected By** | | **Site Foreman / Mgr** | | **Date** | | | | | | | **Project Manager** | | |
|  | |  | |  | | | | | | | Bryce Dunbar | | |
|  | |  | |  | | | | | | |  | | |