**Inspection Checklist – Pipe Insulation**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Contractor:** | Dewpoint Group | | | | | |  | | **ITC No.** | | | |  |
| **Area/Location:** |  | | | | | |  | | **Zone:** | | | |  |
| **Drawing No:** |  | | | | | | **Rev :** | | | | | |  |
|  | | | | |  | | | | |  | |  | |
| **Item – Activity** | | | | | **Acceptable** | | | | | **N / A** | | **Comment** | |
| **Yes** | **No** | | | |
| **Insulation** | | | | | | | | | | | | | |
| Is Insulation thickness as per DPA drawings? | | | | |  |  | | | |  | |  | |
| Is insulation adequately strapped? | | | | |  |  | | | |  | |  | |
| Is insulation sealed around hangers? | | | | |  |  | | | |  | |  | |
| Are joints vapor sealed correctly? | | | | |  |  | | | |  | |  | |
| Tape sufficiently installed? | | | | |  |  | | | |  | |  | |
| Installation free of rips and tears? | | | | |  |  | | | |  | |  | |
| Correct insulation system used? i.e. Therma break | | | | |  |  | | | |  | |  | |
| **Metal sheathing** | | | | |  |  | | | |  | |  | |
| Correct colour / material used? | | | | |  |  | | | |  | |  | |
| Correct colour fixings used? | | | | |  |  | | | |  | |  | |
| Adequate spacing around control equipment? | | | | |  |  | | | |  | |  | |
| Is sheathing fit snug to insulation> | | | | |  |  | | | |  | |  | |
| Are joints fixed off properly? | | | | |  |  | | | |  | |  | |
| Sheathed to correct height? | | | | |  |  | | | |  | |  | |
| Installation free of dints, jagged edges, ect? | | | | |  |  | | | |  | |  | |
|  | | | | |  | | |  | | | |  | |
| **Comments** | | | | | | | | If an NCR is raised - # | | | | | |
|  | | | | | | | | Date Closed | | | | | |
|  | | | | | | | | | | | | | |
| **Received by:** | | | *Dewpoint Project Manager* | | | | | | | | Date: | | |
| **Inspected By** | | **Site Foreman / Mgr** | | **Date** | | | | | | | **Project Manager** | | |
|  | |  | |  | | | | | | | Bryce Dunbar | | |
|  | |  | |  | | | | | | |  | | |