**Inspection Checklist – MO4B-DX A/C ROUGH IN**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Contractor:** |  | | |  | **IC-PM No.** | | | |  |
| **System:** |  | | |  | **Zone:** | | | |  |
| **Drawing No:** |  | | | **Specification Ref:** | | | | |  |
|  | | |  | | |  |  | | |
| **Item – Activity** | | | **Acceptable** | | | **N/A** | **Comment** | | |
| **Yes** | **No** | |
| CHECK MANUFACTURERS DETAILS PRIOR TO ROUGH IN | | |  |  | |  |  | | |
| PIPE ROUGHED IN AS PER CURRENT DRAWINGS | | |  |  | |  |  | | |
| PIPE’S SEALED AT ENDS DURING UNTIL FIT OFF | | |  |  | |  |  | | |
| INSULATION FITTED TO PIPE AND SEALED AT JOINTS | | |  |  | |  |  | | |
| PIPE HANGERS INSTALLED AND SLEEVED | | |  |  | |  |  | | |
| PENETRATIONS: PIPE THROUGH PENETRATIONS COMPLY WITH CORRECT FIRE SELING / ACCOUSTICS REQUIREMENTS | | |  |  | |  |  | | |
| DRAIN LINES RUN INSIDE ROOM TO NOMINATED TUNDISH LOCATION | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
|  | | |  |  | |  |  | | |
| **Inspected by:** | | *Sub-Contractor’s Site Foreman* |  | | | Date | |  | |
| **Checked by:** | | *DPA Site Foreman* |  | | | Date | |  | |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Contractor:** |  |  | **IC-Pm No.** |  |
| **System:** |  |  | **Zone:** |  |
| **Drawing No:** |  | **Specification Ref:** | |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Other** | | | |  |  |  | |  |
|  | | | |  |  |  | |  |
|  | | | |  |  |  | |  |
|  | | | |  |  |  | |  |
|  | | | |  |  |  | |  |
|  | | | |  |  |  | |  |
| **Comments** | | | | | If an NCR is raised - # | | | |
|  | | | | | Date Closed | | | |
|  | | | | | | | | |
|  | | | | | | | | |
|  | | | | | | | | |
|  | | | | | | | | |
|  | | | | | | | | |
|  | | | | | | | | |
|  | |  | | | | |  | |
| **Received by:** | | *DPA Project Manager* | | | | | Date: | |
| **Authorised By** | **Site Foreman / Mgr** | | **Client** | | | | **Project Manager** | |
|  |  | |  | | | |  | |
|  |  | |  | | | |  | |