ITC – Cast-in conduit installation

**DOC No: WSA81-CPB-05250-EL-ITC-0000014-A**

|  |  |  |
| --- | --- | --- |
| Location: | ITP doc No: WSA81-CPB-05250-EL-ITP-000014-A |  |
| Lot: | Description: Cast-in conduit installation |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item** | **Description** | **Inspection Results (initial)** | | |  |
| HEYDAY | CPB/WSA | Date |
| 1 | Receipt of conduit delivery to site & storage. *(ITP Reference Item 1)* |  |  |  |
| 2 | Set out. (*ITP Reference Item 2)* |  |  |  |
| 3 | Conduit Installation. *(ITP Reference Item 3)* |  |  |  |
| 4 | Change of direction/bend Installation, correct bending radius used as per drawing. *(ITP Reference Item 4)* |  |  |  |
| 5 | Bell mouths are installed within the slab. *(ITP Reference Item 5)* |  |  |  |
| 6 | Glue Conduits together. *(ITP Reference Item 6)* |  |  |  |
| 7 | Rope & pathway test. *(ITP Reference Item 7)* ***HOLD POINT*** |  |  |  |
| 8 | Sealing of conduits. *(ITP Reference Item 8)* |  |  |  |
| 9 | Record photo evidence. *(ITP Reference Item 9)* |  |  |  |

**COMMENTS:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **COMPLETED BY** | | **SUPERVISOR** | **REVIEWED BY** | **OTHERS (if applicable)** |
| **NAME** |  | Geoff Summers |  |  |
| **SIGNATURE** |  | G. Summers |  |  |
| **COMPANY** |  | HEYDAY | CPB |  |
| **DATE** |  | 25/06/2025 |  |  |

\*Photos to be attached below.

***This document is uncontrolled when printed*** Page 1 of 1 Heyday5 Pty Ltd

Electrical Licence 249908C