***INSPECTION AND TEST CHECKLIST FOR: MAIN SWITCHBOARDS***

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DB NUMBER | **Voltage Checks** | | | | | | | | | | | |
| R-W | R-B | W-B | R-N | W-N | B-N | R-E | W-E | B-E | PASS / FAIL | CHECK BY | DATE |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |

**COMMENTS: (Including test instrumentation details)**

**NCR No:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ***FINAL ACCEPTANCE:*** | ***NAME*** | ***SIGNATURE*** | ***POSITION*** | ***APPROVED (YES/NO)*** | ***DATE*** |
| **Heyday Group** |  |  |  |  |  |
| **Client (Representative)** |  |  |  |  |  |
| **Authority (If Applicable)** |  |  |  |  |  |

**ACCEPTANCE CRITERIA: AS PER ITP = (1) AS3000:2007 WIRING RULES. (2) SPECIFICATION. (3) LATEST APPROVED DRAWINGS. (4) SUPPLY AUTHORITY APPROVAL. (5) COMMISSIONING WORK METHOD STATEMENT .**

|  |  |  |
| --- | --- | --- |
| ***Phase Rotation*** | | |
| ***Board Nm.*** | ***Rotation*** | |
|  | ***Clockwise*** | ***Counter Clockwise*** |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

**COMMENTS: (Including test instrumentation details)**

**NCR No:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ***FINAL ACCEPTANCE:*** | ***NAME*** | ***SIGNATURE*** | ***POSITION*** | ***APPROVED (YES/NO)*** | ***DATE*** |
| **Heyday Group** |  |  |  |  |  |
| **Client (Representative)** |  |  |  |  |  |
| **Authority (If Applicable)** |  |  |  |  |  |

**ACCEPTANCE CRITERIA: AS PER ITP = (1) AS3000:2007 WIRING RULES. (2) SPECIFICATION. (3) LATEST APPROVED DRAWINGS. (4) SUPPLY AUTHORITY APPROVAL. (5) COMMISSIONING WORK METHOD STATEMENT .**

***INSPECTION AND TEST CHECKLIST FOR: MAIN SWITCHBOARDS***

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DB NUMBER | METER CALIBRATION CHECKS  Complete Verification checks with calibrated Multimeter –  Amps  Voltage  (Photo Evidence Required) | | | | | | | | |
| Multimeter reading (V=Volts & A=Amps) | | | DB Meter reading (V=Volts & A=Amps) | | | PASS / FAIL  Within .5% | CHECK BY | DATE |
|  | Red Phase  Record V & A | White Phase  Record V & A | Blue Phase  Record V & A | Red Phase  Record V & A | White Phase  Record V & A | Blue Phase  Record V & A |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |

**COMMENTS: (Including test instrumentation details)**

**NCR No:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ***FINAL ACCEPTANCE:*** | ***NAME*** | ***SIGNATURE*** | ***POSITION*** | ***APPROVED (YES/NO)*** | ***DATE*** |
| **Heyday Group** |  |  |  |  |  |
| **Client (Representative)** |  |  |  |  |  |
| **Authority (If Applicable)** |  |  |  |  |  |

**ACCEPTANCE CRITERIA: AS PER ITP = (1) AS3000:2007 WIRING RULES. (2) SPECIFICATION. (3) LATEST APPROVED DRAWINGS. (4) SUPPLY AUTHORITY APPROVAL. (5) COMMISSIONING WORK METHOD STATEMENT .**