|  |
| --- |
|  |
| **Inspection Plan Checklist** |
| **Speedpanel & Pre-hang Fire Rated Plasterboard**  Doc.Ref-ITC-001-Rev1 |

Project Information

|  |  |  |  |
| --- | --- | --- | --- |
| **Name:** | Wellington St Student Accommodation | **Work:** | All applicable |
| **Address:** | 325-335 Wellington Street, Perth, WA 6000 | **Location:** |  |
| **Head Contractor:** | Built | **Drawing Ref. :** |  |

Details

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **PECOMMENCEMENT** | | **STATUS** | | |
| SPECIFICATION / DRW No. | | **OK** | **N/A** | **DATE** |
| DESIGN & COMPUTATIONS | |  |  |  |
| SAMPLES | |  |  |  |
| MATERIALS MEET SPECIFICATION REQUIREMENTS | |  |  |  |
| CHECK FOR DAMAGE | |  |  |  |
| MAINTAIN SUITABLE STORAGE | |  |  |  |
| **INSTALLATION REPORT** | |  |  |  |
| Item 1: SET OUT | |  |  |  |
| Item 2: INSTALLATION | |  |  |  |
| Item 3: CAULKING | |  |  |  |
| Item 4: CLEAN UP | |  |  |  |
| Item 5: PRE-HANG FIRE RATED PLASTERBOARD | |  |  |  |
| Item 6: TAPING AND STOPPING | |  |  |  |
| Item 7: CLEAN UP | |  |  |  |
| **N.C.N. / C.A.R.** |  |  |  |  |
|  |  |  |  |  |

FINAL INSPECTION

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| WITNESSED BY: | NAME | SIGNATURE | POSITION | DATE |
| SUBCONTRACTOR: |  |  | Foreman |  |
| BUILDER: |  |  |  |  |
| OTHER: |  |  |  |  |
| **COMMENTS:** | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Scope:** Speedpanel & Pre-hang Fire Rated Plasterboard | **ITP Document No.:** 1 | **Revision No.** A | **Date of Revision:** 15/03/2024 |
| **Project Name:** Wellington St Student Accommodation | | **Organization Name:** Built | |
| **Project Address:** 325-335 Wellington Street, Perth, WA 6000 | | | |
| **Prepared by** | | | |
| **Name:** Austin Han | **Position:** Contract Administrator | **Signature:** | **Date:** 15/03/2024 |
| **Approved by** | | | |
| **Name:** ShuHan Hong | **Position:** Site Foreman | **Signature:** | **Date:** 16/03/2024 |
| **Level:** | | **Room No./Area:** | |
| Project Specification: AR-SPC01 | Australian Standards: AS2589 | Project Drawings: HB-AR-00, HB-AR-03, HB-AR-08, HB-AR-11 Series | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| W = Witness, HP = Hold Point, S = Surveillance, R = Review | | | | | | | | |
| **Item** | **Activity** | **Reference Documents** | **Acceptance Criteria** | **Frequency** | **Verification Records/Comments** | **Inspection By** | | |
| **Subcontractor** | **Built** | **Client** |
| 1 | Set out Speedpanel walls | HB-AR-00 HB-AR-03  Series | Light Weight Wall Plan approved by Built  Speedpanel installation guide revision 1 | Each location | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 2 | Install Speedpanel | HB-AR-03 HB-AR-08  Series | Light Weight Wall Plan approved by Built.  Speedpanel installation guide revision 1 | Each location | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 3 | Caulking |  | Speedpanel installation guide revision 1 | Each location | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 4 | Clean up |  | Waste all cleaned. Tools and materials placed well. | Each location | Visual Checklist  Attached marked off drawings and photos |  | R |  |
| 5 | Pre-hang fire rated plasterboard | Architect drawings | Light Weight Wall Plan approved by Built. | Each location | Visual Checklist | S | S |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | GTEK Ceiling & Wall Solution Rev. Mar.2024 |  | Attached marked off drawings and photos |  |  |  |
| 6 | Taping and stopping | Architect drawings | GTEK Ceiling & Wall Solution Rev. Mar.2024 | Each location | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 7 | Clean up |  | Waste all cleaned. Tools and materials placed well. | Each location | Visual Checklist  Attached marked off drawings and photos |  | R |  |

|  |  |
| --- | --- |
| Comments: | |
| Date of Inspection: | Carried out by: |

|  |  |
| --- | --- |
| **Verification Statement**  This is to confirm that the nominated representative of L&D Commercial Interiors Pty Ltd, responsible for overseeing the works, has carried out all necessary inspections as listed above, and will be able to verify with documented evidence that the work has been completed and confirms to the contract specification(s) | **Attachments**   Checklists  Photos   Dockets  Sample Material   Drawings  Calibration Certificates   Test Results / Certificate  Others:   Inspection reports |
| **Signed :** | **Date:** |