|  |
| --- |
|  |
| **Inspection Plan Checklist** |
| **Frame All Walls**  Doc.Ref-ITC-002-Rev1 |

Project Information

|  |  |  |  |
| --- | --- | --- | --- |
| **Name:** | Wellington St Student Accommodation | **Work:** | All applicable |
| **Address:** | 325-335 Wellington Street, Perth, WA 6000 | **Location:** |  |
| **Head Contractor:** | Built | **Drawing Ref. :** |  |


Details

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **PECOMMENCEMENT** | | **STATUS** | | |
| SPECIFICATION / DRW No. | | **OK** | **N/A** | **DATE** |
| DESIGN & COMPUTATIONS | |  |  |  |
| SAMPLES | |  |  |  |
| MATERIALS MEET SPECIFICATION REQUIREMENTS | |  |  |  |
| CHECK FOR DAMAGE | |  |  |  |
| MAINTAIN SUITABLE STORAGE | |  |  |  |
| **INSTALLATION REPORT** | |  |  |  |
| Item 1: SET OUT | |  |  |  |
| Item 2: FURRING CHANNEL TO WALLS | |  |  |  |
| Item 3: METAL STUD WALL FRAME | |  |  |  |
| Item 4: INSTALLATION AND FIRE RATED PMDF | |  |  |  |
| Item 5: NOGGINGS | |  |  |  |
| Item 6: CHECK NO SCREWS IN DEFLECTION HEAD | |  |  |  |
| Item 7: CLEAN UP | |  |  |  |
| **N.C.N. / C.A.R.** |  |  |  |  |
|  |  |  |  |  |

FINAL INSPECTION

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| WITNESSED BY: | NAME | SIGNATURE | POSITION | DATE |
| SUBCONTRACTOR: |  |  | Foreman |  |
| BUILDER: |  |  |  |  |
| OTHER: |  |  |  |  |
| **COMMENTS:** | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Scope:** Frame All Walls | **ITP Document No.:** 2 | **Revision No.** A | **Date of Revision:** 15/03/2024 |
| **Project Name:** Wellington St Student Accommodation | | **Organization Name:** Built | |
| **Project Address:** 325-335 Wellington Street, Perth, WA 6000 | | | |
| **Prepared by** | | | |
| **Name:** Austin Han | **Position:** Contract Administrator | **Signature:** | **Date:** 15/03/2024 |
| **Approved by** | | | |
| **Name:** ShuHan Hong | **Position:** Site Foreman | **Signature:** | **Date:** 16/03/2024 |



|  |  |  |
| --- | --- | --- |
| **Level:** | **Room No./Area:** | |
| **Wall Type:** | **DWG No:** | **Rev:** |
| Project Specification: AR-SPC01 | Australian Standards: AS2589 | Project Drawings: HB-AR-00, HB-AR-03, HB-AR-06 Series | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| W = Witness, HP = Hold Point, S = Surveillance, R = Review | | | | | | | | |
| **Item** | **Activity** | **Reference Documents** | **Acceptance Criteria** | **Frequency** | **Verification Records/Comments** | **Inspection By** | | |
| **Subcontractor** | **Built** | **Client** |
| 1 | Set out walls | HB-AR-00 HB-AR-03 HB-AR-06  Series | Light Weight Wall Plan approved by Built.  Studco Wall design & installation manual Volume 3.2  Dwg No: Rev: | Each unit | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 2 | Furring channel to walls | HB-AR-00 HB-AR-03  Series | Light Weight Wall Plan approved by Built.  Studco Wall design & installation manual Volume 3.2 | Each unit | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 3 | Metal stud wall frame | HB-AR-00 HB-AR-03  Series | Light Weight Wall Plan approved by Built.  Studco Wall design & installation manual Volume 3.2 | Each unit | Visual Checklist  Attached marked off drawings and photos | S | S |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item** | **Activity** | **Reference Documents** | **Acceptance Criteria** | **Frequency** | **Verification Records/Comments** | **Inspection By** | | |
| **Subcontractor** | **Built** | **Client** |
| 4 | Install and fire rate PMDF | Architect drawings | Architect GA plan & door schedule approved by Built. PMDF installation guide provided by builder | Each location | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 5 | Noggins |  | As per scope of work. Studco Wall design & installation manual Volume 3.2 | Each location | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 6 | Check no screws in  deflection head |  | No screws in deflection head | Each location | Visual Checklist  Attached marked off drawings and photos | S | S |  |
| 7 | Clean up |  | Waste all cleaned. Tools and materials placed well. | Each location | Visual Checklist  Attached marked off drawings and photos |  | R |  |

|  |  |
| --- | --- |
| Comments: | |
| Date of Inspection: | Carried out by: |

|  |  |
| --- | --- |
| **Verification Statement**  This is to confirm that the nominated representative of L&D Commercial Interiors Pty Ltd, responsible for overseeing the works, has carried out all necessary inspections as listed above, and will be able to verify with documented evidence that the work has been completed and confirms to the contract specification(s) | **Attachments**   Checklists  Photos   Dockets  Sample Material   Drawings  Calibration Certificates   Test Results / Certificate  Others:   Inspection reports |
| **Signed :** | **Date:** |