

# Attention: Lockwood Flooring

1/8 Vella Drive

Sunshine West VIC 3012

# Project Name: Footscray Commercial Building D

Builder: Multiplex

Installer: Lockwood Flooring Australia Pty Ltd

**Sign**

**Date**

**Pass**

**Complete**

**Task**

CARPET - INSPECTION TEST PLAN

Working to latest plan revisions and check latest correspondence

1. Prior works checks   Area free of building debris and trade tools  

1

Walls plastered and first coat of paint   All adjacent finishes completed and ready to

be finishes. Area to be flagged if LF cannot

finish 100%

1.  Specification checks - Correct materials as per finishes schedule and sample approvals
2.  Installation procedure as per manufactures recommendations and AUS standards -

Barridcaded areas   Vacuum area and minor patch as required   Apply Intertact Pressure Sensitive adhesive  

Installation pattern and direction followed   Installation complete and rubbish placed in

bins provided

1. Protection - woven plastic  
2. Confirm material warranty applies  
3.  Confirm installation warranty 12 months applies
4. Care and maintenance as per O&Ms



**Level Area Complete Pass Date Sign Notes**

