**Room Checklist**

|  |  |  |
| --- | --- | --- |
| **Job #** |  | |
| **Project** |  | |
| **Room #** |  | |
| **Drawing Reference** |  | |
| **Drawing Revision** |  | |
| **Inspected By** |  | |
| **Date** |  | |
| **Activity** | Rough In | Fit Off |

| **Item #** | **Item** | **Conforming** | **Non**  **Conforming** | **N/A** |
| --- | --- | --- | --- | --- |
| 1 | Light Switch installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 2 | RCD installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 3 | Socket-outlet installed in ceiling |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 4 | Non-essential Supply Socket-outlet (White) installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 5 | Essential Supply Socket-outlet (Red) installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 6 | UPS Socket-outlet (Dark Blue) installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 7 | “Cleaning Purposes Only” Socket-outlet (Beige) installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 8 | Non-essential Supply Double Socket-outlet (White) installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 90 | Essential Supply Double Socket-outlet (Red) installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |
| 10 | UPS Double Socket-outlet (Dark Blue) installed |  |  |  |
| Installed at correct RL |  |  |  |
| Installed in compliance with architectural drawing/s |  |  |  |
| Comments: | | | |

|  |
| --- |
| Photos: |
|  |