| **Item** | **Inspection / Test / Approval Point and**  **Acceptance Criteria** | **Inspection / Test Method / Specification / Guidelines / Reference Drawings** | **Level of Inspection** | **Wadsworth**  **(Name & Sign off)**  Matt Kidd unless otherwise noted | **Date** | **Comments** |
| --- | --- | --- | --- | --- | --- | --- |
| **1** | **Set out** |  |  |  |  |  |
|  | * Wall setout plans checked for TRM-606 & TRM-607 locations * Setout heights confirmed via site survey | Wall Setout Drawings | Hold Point |  |  |  |
| **2** | **Materials** |  |  |  |  |  |
|  | * Confirmed TRM-606 / TRM-607 supplied as per spec | Architectural spec – 0556  Page 8 & 9 | Inspection Point |  |  |  |
| **3** | **Installation** |  |  |  |  |  |
|  | * Installed with fixings @ max 600 centres * Joints at intersecting boards finished neat * Fixing holes filled |  | Inspection Point |  |  |  |