***6-8 Munroe Lane plant Room framing***

Name of list.

**-Level 7 north plant room**

**-Level 7 south plant room**

**-Level 7 atrium**

Set out check list.

* Up to date plans on site
* QA received from previous trades
* Set out in accordance with details
* Grid lines provided
* R/L provided

Framing check list.

* Wall framing in in accordance with architectural and rondo drawings
* Will framing is to grid lines
* Wall openings are to shop drawing opening requirements
* Walls are plump
* Top and bottom track are fixed off in accordance to rondo spec
* Deflection