## Power & Communications Cables

|  |  |  |  |
| --- | --- | --- | --- |
| Cable Ref | Description | ITR-Ref | Completed |
| 00-BRA01/WSGPO-P | CONTROL BUILDING WORKSTATION DOUBLE GPO | PFi Gen Cable |  |
| 00-BLG01/32AGPO-P | EXTERNAL 32A OUTLET | PFi Gen Cable |  |
| 00-BLG01/15AGPO-P | EXTERNAL 15A OUTLET | PFi Gen Cable |  |
| 00-BLG01/GPO1-P | CONTROL BUILDING GPO 1 | PFi Gen Cable |  |
| GPO1/GPO2-P | CONTROL BUILDING GPO 2 | PFi Gen Cable |  |
| 00-BLG01/ISO1-P | AIRCON 1 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO1/ODU-AC1-P | AIRCON 1 OUTDOOR UNIT | PFi Gen Cable |  |
| 00-BLG01/ISO2-P | AIRCON 2 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO2/ODU-AC2-P | AIRCON 2 OUTDOOR UNIT | PFi Gen Cable |  |
| 00-BLG01/EXLT1-P | CONTROL BUILDING EXTERNAL LIGHT FITTING 1 | PFi Gen Cable |  |
| EXLT1/EXLT2-P | CONTROL BUILDING EXTERNAL LIGHT FITTING 2 | PFi Gen Cable |  |
| 00-BLG01/LT1-P | CONTROL BUILDING INTERNAL LIGHT FITTING 1 | PFi Gen Cable |  |
| LT1/LT2-P | CONTROL BUILDING INTERNAL LIGHT FITTING 2 | PFi Gen Cable |  |
| LT2/LT3-P | CONTROL BUILDING INTERNAL LIGHT FITTING 3 | PFi Gen Cable |  |
| LT3/LT4-P | CONTROL BUILDING INTERNAL LIGHT FITTING 4 | PFi Gen Cable |  |
| 00-BLG01/EMLT1-P | CONTROL BUILDING INT. EM. LIGHT FITTING 1 | PFi Gen Cable |  |
| EMLT1/EMLT2-P | CONTROL BUILDING INT. EM. LIGHT FITTING 2 | PFi Gen Cable |  |
| EMLT2/EXIT1-P | CONTROL BUILDING EXIT LIGHT 1 | PFi Gen Cable |  |
| EXIT1/EXIT2-P | CONTROL BUILDING EXIT LIGHT 2 | PFi Gen Cable |  |
| 00-BLG01/AOM-P | CONTROL BUILDING INT. LIGHTING AOM SWITCH | PFi Gen Cable |  |
| AOM-M/SW1-P | CONTROL BUILDING 2WAY SWITCH 1 | PFi Gen Cable |  |
| SW1/SW2-P | CONTROL BUILDING 2WAY SWITCH 2 | PFi Gen Cable |  |
| SW2/00-BLG01-P | CONTROL BUILDING 415VAC DB (00-BLG01)/X3.6 | PFi Gen Cable |  |
| AOM-A/PIR1-P | CONTROL BUILDING PIR 1 | PFi Gen Cable |  |
| AOM-A/PIR2-P | CONTROL BUILDING PIR 2 | PFi Gen Cable |  |
| PIR1/00-BLG01-P | CONTROL BUILDING 415VAC DB (00-BLG01)/X3.6 | PFi Gen Cable |  |
| PIR2/00-BLG01-P | CONTROL BUILDING 415VAC DB (00-BLG01)/X3.6 | PFi Gen Cable |  |
| ODU-AC1/IDU-AC1-P3 | AIRCON 1 INDOOR UNIT | PFi Gen Cable |  |
| ODU-AC2/IDU-AC2-P3 | AIRCON 2 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC1/IDU-AC2-C3 | AIRCON 2 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC2/PCB-C1 | AIRCON ADAPTOR PCB | PFi Gen Cable |  |
| PCB/WWC-C3 | AIRCON WIRED WALL CONTROLLER | PFi Gen Cable |  |
| 10-CFA02/PCB-C | CONTROL ROOM AIRCON ADAPTOR PCB | PFi Gen Cable |  |
| 10-CYW01/WSDATA-1 | CONTROL BUILDING WORKSTATION DATA POINT | PFi Gen Cable |  |
| 10-CYW01/WSDATA-2 | CONTROL ROOM WORKSTATION DATA POINT | PFi Gen Cable |  |
|  |  |  |  |

## Earth Cables

|  |  |  |  |
| --- | --- | --- | --- |
| Cable Ref | Description | ITR-Ref | Completed |
| EB/10-CFA01-E1 | FEEDER 1 PROTECTION PANEL | PFi Gen Cable |  |
| EB/10-CHA02-E2 | 10-BAT01 PROTECTION PANEL | PFi Gen Cable |  |
| EB/10-CFA02-E3 | METERING PANEL & RTU PANEL | PFi Gen Cable |  |
| EB/10-CYW01-E4 | COMMS PANEL | PFi Gen Cable |  |
| EB/00-BTL01-E5 | X BATTERIES, CHARGER & 110VDC DISTRIBUTION BOARD | PFi Gen Cable |  |
| EB/00-BTM01-E6 | Y BATTERIES, CHARGER & 110VDC DISTRIBUTION BOARD | PFi Gen Cable |  |
| EB/00-CYE01-E7 | FIRE DETECTION PANEL | PFi Gen Cable |  |
| EB/00-CYT01-E8 | BUILDING SECURITY PANEL | PFi Gen Cable |  |
| EB/10-CXA05-E9 | FEEDER 1 MARSHALLING CABINET | PFi Gen Cable |  |
| EB/00-CYQ01-E10 | VESDA ASPIRATION SYSTEM | PFi Gen Cable |  |
| EB/00-BLG01-E11 | 415VAC DISTRIBUTION BOARD | PFi Gen Cable |  |
| EB/00-BRA01-E12 | X UPS DISTRIBUTION BOARD | PFi Gen Cable |  |
| EB/10-CFA20-E13 | GE METERING CABINET | PFi Gen Cable |  |
| EB/10-CFA10-E14 | GE METERING CABINET (REDUNDANT) | PFi Gen Cable |  |
| EB/00-BRA10-GW100-E15 | X UPS | PFi Gen Cable |  |
| EB/00-BRA01-GW101-E16 | X UPS MBS | PFi Gen Cable |  |
| EB/ODU-AC1-E17 | HVAC OUTDOOR UNIT 1 | PFi Gen Cable |  |
| ODU-AC1/ODU-AC2-E17 | HVAC OUTDOOR UNIT 2 | PFi Gen Cable |  |
| EB/EBOSS1-E18 | CONTROL BUILDING EARTH BOSS 1 | PFi Gen Cable |  |
| EB/EBOSS2-E19 | CONTROL BUILDING EARTH BOSS 2 | PFi Gen Cable |  |
| EB/EGRID1-E20 | TO EARTH GRID 1 | PFi Gen Cable |  |
| EB/EGRID2-E21 | TO EARTH GRID 2 | PFi Gen Cable |  |
| EB/33SWRM1-E22 | TO STAGE 1 33kV SWITCHROOM | PFi Gen Cable |  |
| EB/33SWRM2-E23 | TO STAGE 1 33kV SWITCHROOM | PFi Gen Cable |  |
| EB/CTRAY-E24 | CABLE TRAYS/GLAND PLATES | PFi Gen Cable |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |