|  |  |  |  |
| --- | --- | --- | --- |
| Cable Ref | Description | ITR-Ref | Completed |
| 10-BRA01/ WSGPO-P | CONTROL ROOM WORKSTATION GPO | PFi Gen Cable |  |
| 10-BLF01/32AGPO-P | EXTERNAL 32A OUTLET | PFi Gen Cable |  |
| 10-BLF01/15AGPO-P | EXTERNAL 15A OUTLET | PFi Gen Cable |  |
| 10-BLF01/GPO1-P | CONTROL ROOM GPO 1 | PFi Gen Cable |  |
| GPO1/GPO2-P1 | CONTROL ROOM GPO 2 | PFi Gen Cable |  |
| 10-BLF01/ISO1-P | CONTROL ROOM AIRCON 1 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO1/ODU-AC1-P1 | CONTROL ROOM AIRCON 1 OUTDOOR UNIT | PFi Gen Cable |  |
| 10-BLF01/ISO2-P | CONTROL ROOM AIRCON 2 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO2/ODU-AC2-P1 | CONTROL ROOM AIRCON 2 OUTDOOR UNIT | PFi Gen Cable |  |
| 10-BLF01/EXLT1-P | CONTROL ROOM EXTERNAL LIGHT FITTING 1 | PFi Gen Cable |  |
| EXLT1/EXLT2-P1 | CONTROL ROOM EXTERNAL LIGHT FITTING 2 | PFi Gen Cable |  |
| 10-BLF01/LT1-P | CONTROL ROOM INTERNAL LIGHT FITTING 1 | PFi Gen Cable |  |
| LT1/LT2-P1 | CONTROL ROOM INTERNAL LIGHT FITTING 2 | PFi Gen Cable |  |
| LT2/LT3-P1 | CONTROL ROOM INTERNAL LIGHT FITTING 3 | PFi Gen Cable |  |
| LT3/LT4-P1 | CONTROL ROOM INTERNAL LIGHT FITTING 4 | PFi Gen Cable |  |
| 10-BLF01/EMLT1-P | CONTROL ROOM INT. EM. LIGHT FITTING 1 | PFi Gen Cable |  |
| EMLT1/EMLT2-P1 | CONTROL ROOM INT. EM. LIGHT FITTING 2 | PFi Gen Cable |  |
| EMLT2/EXIT1-P1 | CONTROL ROOM EXIT LIGHT 1 | PFi Gen Cable |  |
| EXIT1/EXIT2-P1 | CONTROL ROOM EXIT LIGHT 2 | PFi Gen Cable |  |
| 10-BLF01/AOM-P | CONTROL ROOM INT. LIGHTING AOM SWITCH | PFi Gen Cable |  |
| AOM-M/SW1-P1 | CONTROL ROOM 2WAY SWITCH 1 | PFi Gen Cable |  |
| SW1/SW2-P1 | CONTROL ROOM 2WAY SWITCH 2 | PFi Gen Cable |  |
| SW2/10-BLF01-P | CONTROL ROOM 415VAC DB (10-BLF01)/X3.6 | PFi Gen Cable |  |
| AOM-A/PIR1-P1 | CONTROL ROOM PIR 1 | PFi Gen Cable |  |
| AOM-A/PIR2-P1 | CONTROL ROOM PIR 2 | PFi Gen Cable |  |
| PIR1/10-BLF01-P | CONTROL ROOM 415VAC DB (10-BLF01)/X3.6 | PFi Gen Cable |  |
| PIR2/10-BLF01-P | CONTROL ROOM 415VAC DB (10-BLF01)/X3.6 | PFi Gen Cable |  |
| ODU-AC1/IDU-AC1-P1 | AIRCON 1 INDOOR UNIT | PFi Gen Cable |  |
| ODU-AC2/IDU-AC2-P1 | AIRCON 2 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC1/IDU-AC2-C1 | AIRCON 2 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC2/PCB-C | AIRCON ADAPTOR PCB | PFi Gen Cable |  |
| PCB/WWC-C1 | AIRCON WIRED WALL CONTROLLER | PFi Gen Cable |  |
| 10-CRY01/PCB-C | CONTROL ROOM AIRCON ADAPTOR PCB | PFi Gen Cable |  |
| 10-CYW02/WSDATA-1 | CONTROL ROOM WORKSTATION DATA POINT | PFi Gen Cable |  |
| 10-CYW02/WSDATA-2 | CONTROL ROOM WORKSTATION DATA POINT | PFi Gen Cable |  |
|  |  |  |  |

## Power & Communications Cables

## Earth Cables

|  |  |  |  |
| --- | --- | --- | --- |
| Cable Ref | Description | ITR-Ref | Completed |
| EB/10-CFA01-E1 | METERING PANEL | PFi Gen Cable |  |
| EB/10-CYW02-E2 | COMMS PANEL | PFi Gen Cable |  |
| EB/10-CRY01-E3 | RTU PANEL | PFi Gen Cable |  |
| EB/10-BTL01-E4 | 10VDC DB X BATTERIES & CHARGER | PFi Gen Cable |  |
| EB/10-BTL02-E5 | 10VDC DB X BATTERIES | PFi Gen Cable |  |
| EB/0-BTM01-E6 | 10VDC DB Y BATTERIES & CHARGER | PFi Gen Cable |  |
| EB/10-BTM02-E7 | 10VDC DB Y BATTERIES | PFi Gen Cable |  |
| EB/10-BLF01-E8 | SUBSTATION LV AC SWITCHBOARD + ATS | PFi Gen Cable |  |
| EB/10-CYQ01-E9 | VESDA ASPIRATION SYSTEM | PFi Gen Cable |  |
| EB/10-CKA10-E10 | GE SCADA PANEL | PFi Gen Cable |  |
| EB/10-CKA20-E11 | GE SCADA PANEL (REDUNDANT) | PFi Gen Cable |  |
| EB/10-CJA10-E12 | GE PLANT CONTROLLER | PFi Gen Cable |  |
| EB/10-CJA20-E13 | GE PLANT CONTROLLER (REDUNDANT) | PFi Gen Cable |  |
| EB/10-CAS10-E14 | GE IO EXTENSION PANEL | PFi Gen Cable |  |
| EB/10-CYT01-E15 | BUILDING SECURITY PANEL | PFi Gen Cable |  |
| EB/10-CYE01-E16 | FIRE DETECTION PANEL | PFi Gen Cable |  |
| EB/10-BRA01-E17 | SCADA UPS PANEL | PFi Gen Cable |  |
| EB/10-BRA01-GW100-E18 | UPS | PFi Gen Cable |  |
| EB/10-BRA01- GW101-E19 | MBS | PFi Gen Cable |  |
| EB/ODU-AC1-E20 | HVAC OUTDOOR UNIT 1 | PFi Gen Cable |  |
| ODU-AC1/ODU-AC2-E20 | HVAC OUTDOOR UNIT 2 | PFi Gen Cable |  |
| EB/EBOSS1-E21 | CONTROL BUILDING EARTH BOSS 1 | PFi Gen Cable |  |
| EB/EBOSS2-E22 | CONTROL BUILDING EARTH BOSS 2 | PFi Gen Cable |  |
| EB/EGRID1-E23 | TO EARTH GRID 1 | PFi Gen Cable |  |
| EB/EGRID2-E24 | TO EARTH GRID 2 | PFi Gen Cable |  |
| EB/CTRAY-E25 | CABLE TRAYS/GLAND PLATES | PFi Gen Cable |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |