|  |  |  |
| --- | --- | --- |
| Item | Description | ITR-Ref |
| 11-BBA01 | 33KV HARMONIC FILTER 1A |  |
| 11-BBA02 | 33KV HARMONIC FILTER 1B |  |
| 11-BBA03 | 33KV BESS COLLECTOR FEEDER #1 PANEL |  |
| 11-BBA04 | 33KV BESS COLLECTOR FEEDER #2 PANEL |  |
| 11-BBA05 | 33KV BESS COLLECTOR FEEDER #3 PANEL |  |
| 11-BBA06 | 33KV BESS COLLECTOR FEEDER #4 PANEL |  |
| 11-BBA07 | 33KV INCOMING FEEDER PANEL |  |
| 11-BBA08 | 33KV BESS COLLECTOR FEEDER #5 PANEL |  |
| 11-BBA09 | 33KV BESS COLLECTOR FEEDER #6 PANEL |  |
| 11-BBA10 | 33KV BESS COLLECTOR FEEDER #7 PANEL |  |
| 11-BBA11 | 33KV AUXILIARY TRANSFORMER SUPPLY PANEL |  |
| 12-BBA01 | 33KV AUXILIARY TRANSFORMER SUPPLY PANEL |  |
| 12-BBA02 | 33KV HARMONIC FILTER 2A |  |
| 12-BBA03 | 33KV HARMONIC FILTER 2B |  |
| 12-BBA04 | 33KV BESS COLLECTOR FEEDER #8 PANEL |  |
| 12-BBA05 | 33KV BESS COLLECTOR FEEDER #9 PANEL |  |
| 12-BBA06 | 33KV INCOMING FEEDER PANEL |  |
| 12-BBA07 | 33KV BESS COLLECTOR FEEDER #10 PANEL |  |
| 12-BBA08 | 33KV BESS COLLECTOR FEEDER #11 PANEL |  |
| 12-BBA09 | 33KV BESS COLLECTOR FEEDER #12 PANEL |  |
| 12-BBA10 | 33KV BESS COLLECTOR FEEDER #13 PANEL |  |
| 12-BBA11 | 33KV BESS COLLECTOR FEEDER #14 PANEL |  |

All Panels Installed to IFC Drawings