## Power & Communications Cables

|  |  |  |  |
| --- | --- | --- | --- |
| Cable Ref | Description | ITR-Ref | Completed |
| 10-BLF01/JB-P0 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/32AGPO-P | EXTERNAL 32A OUTLET | PFi Gen Cable |  |
| 10-BLF01/JB-P1 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/ISO1-P | 33KV SWRM AIRCON 1 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO1/ODU-AC1-P2 | 33KV SWRM AIRCON 1 OUTDOOR UNIT | PFi Gen Cable |  |
| 10-BLF01/JB-P2 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/ISO2-P | 33KV SWRM AIRCON 2 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO2/ODU-AC2-P2 | 33KV SWRM AIRCON 2 OUTDOOR UNIT | PFi Gen Cable |  |
| 10-BLF01/JB-P3 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/ISO3-P | 33KV SWRM AIRCON 3 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO3/ODU-AC3-P3 | 33KV SWRM AIRCON 3 OUTDOOR UNIT | PFi Gen Cable |  |
| 10-BLF01/JB-P4 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/ISO4-P | 33KV SWRM AIRCON 4 ISOLATOR (NEAR OUTDOOR UNIT) | PFi Gen Cable |  |
| ISO4/ODU-AC4-P4 | 33KV SWRM AIRCON 4 OUTDOOR UNIT | PFi Gen Cable |  |
| 10-BLF01/JB-P5 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/GPO1-P | 33KV SWRM GPO 1 | PFi Gen Cable |  |
| GPO1/GPO2-P2 | 33KV SWRM GPO 2 | PFi Gen Cable |  |
| GPO2/GPO3-P3 | 33KV SWRM GPO 3 | PFi Gen Cable |  |
| 10-BLF01/JB-P6 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/EXLT1-P | 33KV SWRM EXTERNAL LIGHT FITTING 1 | PFi Gen Cable |  |
| EXLT1/EXLT2-P2 | 33KV SWRM EXTERNAL LIGHT FITTING 2 | PFi Gen Cable |  |
| 10-BLF01/JB-P7 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/LT1-P | 33KV SWRM INTERNAL LIGHT FITTING 1 | PFi Gen Cable |  |
| LT1/LT2-P2 | 33KV SWRM INTERNAL LIGHT FITTING 2 | PFi Gen Cable |  |
| LT2/LT3-P2 | 33KV SWRM INTERNAL LIGHT FITTING 3 | PFi Gen Cable |  |
| LT3/LT4-P2 | 33KV SWRM INTERNAL LIGHT FITTING 4 | PFi Gen Cable |  |
| LT4/LT5-P1 | 33KV SWRM INTERNAL LIGHT FITTING 5 | PFi Gen Cable |  |
| LT5/LT6-P1 | 33KV SWRM INTERNAL LIGHT FITTING 6 | PFi Gen Cable |  |
| LT6/LT7-P1 | 33KV SWRM INTERNAL LIGHT FITTING 7 | PFi Gen Cable |  |
| LT7/LT8-P1 | 33KV SWRM INTERNAL LIGHT FITTING 8 | PFi Gen Cable |  |
| 10-BLF01/JB-P8 | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/AOM-P | 33KV SWRM INT. LIGHTING AOM SWITCH | PFi Gen Cable |  |
| AOM-M/SW1-P2 | 33KV SWRM 2WAY SWITCH 1 | PFi Gen Cable |  |
| SW1/SW2-P2 | 33KV SWRM 2WAY SWITCH 2 | PFi Gen Cable |  |
| SW2/JB-P | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/10-BLF01-P1 | CONTROL ROOM 415VAC DB (10-BLF01)/X3.9 | PFi Gen Cable |  |

## Power & Communications Cables

|  |  |  |  |
| --- | --- | --- | --- |
| Cable Ref | Description | ITR-Ref | Completed |
| AOM-A/PIR1-P2 | 33KV SWRM PIR 1 | PFi Gen Cable |  |
| AOM-A/PIR2-P2 | 33KV SWRM PIR 2 | PFi Gen Cable |  |
| PIR1/JB-P | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/10-BLF01-P2 | CONTROL ROOM 415VAC DB (10-BLF01)/X3.9 | PFi Gen Cable |  |
| PIR2/JB-P | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/10-BLF01-P3 | CONTROL ROOM 415VAC DB (10-BLF01)/X3.9 | PFi Gen Cable |  |
| ODU-AC1/IDU-AC1-P2 | 33KV SWRM AIRCON 1 INDOOR UNIT | PFi Gen Cable |  |
| ODU-AC2/IDU-AC2-P2 | 33KV SWRM AIRCON 2 INDOOR UNIT | PFi Gen Cable |  |
| ODU-AC3/IDU-AC3-P3 | 33KV SWRM AIRCON 3 INDOOR UNIT | PFi Gen Cable |  |
| ODU-AC4/IDU-AC4-P4 | 33KV SWRM AIRCON 4 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC1/IDU-AC2-C2 | 33KV SWRM AIRCON 2 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC2/IDU-AC3-C3 | 33KV SWRM AIRCON 3 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC3/IDU-AC4-C4 | 33KV SWRM AIRCON 4 INDOOR UNIT | PFi Gen Cable |  |
| IDU-AC4/PCB-C | 33KV SWRM AIRCON ADAPTOR PCB | PFi Gen Cable |  |
| PCB/WWC-C2 | 33KV SWRM AIRCON WIRED WALL CONTROLLER | PFi Gen Cable |  |
| PCB/JB-C | 33KV SWRM JUNCTION BOX | PFi Gen Cable |  |
| JB/10-CRY01-C | CONTROL ROOM RTU PANEL | PFi Gen Cable |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

## Earth Cables

|  |  |  |  |
| --- | --- | --- | --- |
| Cable Ref | Description | ITR-Ref | Completed |
| EB/SWBD1-E1 | 33kV SWITCHROOM- SWBD 1 | PFi Gen Cable |  |
| EB/SWBD1-E2 | 33kV SWITCHROOM- SWBD 1 | PFi Gen Cable |  |
| EB/SWBD2-E3 | 33kV SWITCHROOM- SWBD 2 | PFi Gen Cable |  |
| EB/SWBD2-E4 | 33kV SWITCHROOM- SWBD 2 | PFi Gen Cable |  |
| EB/ODU-AC1-E5 | HVAC OUTDOOR UNIT 1 | PFi Gen Cable |  |
| ODU-AC1/ODU-AC2-E5 | HVAC OUTDOOR UNIT 2 | PFi Gen Cable |  |
| ODU-AC2/ODU-AC3-E5 | HVAC OUTDOOR UNIT 3 | PFi Gen Cable |  |
| ODU-AC3/ODU-AC4-E5 | HVAC OUTDOOR UNIT 4 | PFi Gen Cable |  |
| EB/EBOSS1-E6 | CONTROL BUILDING EARTH BOSS 1 | PFi Gen Cable |  |
| EB/EBOSS2-E7 | CONTROL BUILDING EARTH BOSS 2 | PFi Gen Cable |  |
| EB/EGRID1-E8 | TO EARTH GRID 1 | PFi Gen Cable |  |
| EB/EBGRID1-E9 | TO EARTH GRID 2 | PFi Gen Cable |  |
| EB/CTRAY-E10 | CABLE TRAYS/GLAND PLATES | PFi Gen Cable |  |
| EB/275KVCB1-E11 | TO 275kV CONTROL BUILDING 1 | PFi Gen Cable |  |
| EB/275KVCB2-E12 | TO 275kV CONTROL BUILDING 2 | PFi Gen Cable |  |
| EB/HFA1-E13 | TO 33kV HARMONIC FILTER AREA 1 | PFi Gen Cable |  |
| EB/HFA2-E14 | TO 33kV HARMONIC FILTER AREA 2 | PFi Gen Cable |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |