|  |  |  |  |
| --- | --- | --- | --- |
| **SECTION 1 –GENERAL** | | | |
| Project: | Supernode BESS Stage 1 | | |
| Client: | NuEnergy Infrastructure | | |
|
|
|
| ITR  Description: | 10-CFA01 Metering Panel Installation ITR | | |
|
|
|
| Project No.: | 102524 | Work Pack No.: |  |
|
| ITR No.: | PFI-ITR-0107 | Discipline: | Electrical |
|
| Revision: | Rev A | Install Contractor: | PFi |
|
|
|
|
|
| Standards: | AS/NZS 3000:2018 Electrical Installations  AS NZS 3008.1.1-2017 Electrical installations  Qld Electrical Safety Act 2002 & Regulation 2013  Safety of Machinery Australian Standard 4024.1 | | |
|
|
|
|

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Drawings: |  | | | | | |
| Prepared by: |  | | | | Date: |  |
| **SECTION 2 – SIGNATURES –APPROVAL** | | | | | | |
| PFI Approval | Name: |  | Signature: |  | Date: |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **No.** | Items to be Checked | | | Results | **Remarks** |
| **1** | Make, Model and Manufacturer of Smoke Alarms:  -  -  - | | |  |  |
| **2** | Smoke alarms have been installed as per spec. | | |  |  |
| **3** | Smoke alarms are ALL operational | | |  |  |
| **4** | Alarm speaker has been installed as per spec. | | |  |  |
| **5** | Alarm speaker is operational | | |  |  |
| **6** | Fire alarm beacon has been installed as per spec. | | |  |  |
| **7** | Fire alarm beacon is operational | | |  |  |
| **8** | Manual call point has been installed as per spec. | | |  |  |
| **9** | Manual call point is operational | | |  |  |
| **10** | Installations are all unobstructed | | |  |  |
| **11** | Check fittings for mechanical and paint damage | | |  |  |
| **12** | All installations have identification tags | | |  |  |
| **14** | All cabling has clear identification | | |  |  |
| **16** | E.O.L has been installed and is operational | | |  |  |
| **17** | Detection Path Clear | | |  |  |
| **18** | Fire extinguishers are in date and have been mounted to wall | | |  |  |
| **19** | Other Fire System installations have been installed correctly:  -  -  - | | |  |  |
| **Security System Installers** | | | | | |
| 1 | | Attach completed QA pack/results from installers |  | |  |
| Remarks: | | | | | |

|  |  |
| --- | --- |
|  | TEST/ INSPECTION CARRIED OUT BY |
| **Signature** |  |
| **Print Name** |  |
| **Date** |  |