## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 8ab30c95-1f07-4151-84e4-ebc78346afd0 |  | checklist | P |  |  |  |  | Yes | SYS - Panel Checklist (old version) | 01a8aea3-f82f-48ec-a6a4-10df810fbfcb
checkpoint-group | 8c85a2a6-5823-4a6b-8fd7-4aee649d8ac3 |  | section | Info
checkpoint-status | 33fca0cc-cd67-4972-acf8-864cc4dd206e |  | checkpoint | Information Complete
text | cacdd48b-29df-5046-b6a0-2fab2b210125 |  | textbox | Concrete Volume |  |  | m3
text | dc69d1d4-849e-51f0-82f2-0fb6f8a76ba1 |  | textbox | Concrete Strength |  |  | MPa
checkpoint-group | df061737-29d1-496d-b1c7-72ba4167268f |  | section | Prepour
checkpoint-status | 2141fc23-6e13-48d5-b44d-a49830009975 |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 290d2a24-cf73-46c0-be5d-97335161f402 |  | checkpoint | Square
checkpoint-status | 54cbe5fb-81ba-4d48-98f8-9bbfdaf124d0 |  | checkpoint | Edge Details & Rebates
checkpoint-status | bb17320c-b42f-437e-a761-5d8ffa762c6c |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | 2f1221f9-3d17-4afa-bbcd-fe0ec1e9c1e5 |  | checkpoint | Main Reinforcing
checkpoint-status | 90ccca18-9e1b-443b-9461-ea5015c28b10 |  | checkpoint | Starters
checkpoint-status | 5c81447b-85de-47b4-8cbf-ef83e05af8f0 |  | checkpoint | Stirrups
checkpoint-status | 63eae4c4-927c-41fe-9469-2dcbc37f863f |  | checkpoint | Lifters
checkpoint-status | 7e4b1cff-1fbb-4785-af15-76cd77726584 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 4d1bf3c9-8d6f-4be6-b552-8d72fd272c2c |  | checkpoint | Tie wire Trimmed
checkpoint-status | dda55ce7-95d4-4ff0-a110-ec6b4e4527db |  | checkpoint | Rugasol
checkpoint-status | 6654258d-830b-488f-a7c7-1b4e06d9b095 |  | checkpoint | Drawings & General Photos
checkpoint-group | 540598ee-6bbc-4767-8c1a-a2d4dba3383f |  | section | Concrete
checkpoint-status | af31ff55-a371-4bc8-92c3-bdd769a507fe |  | checkpoint | Concrete Docket Attached (photo)
text | 28a9fca6-bdff-5036-8192-9d52e4a591d9 |  | textbox | Concrete Docket Number
checkpoint-group | 6ee3be45-7d21-418e-8672-a14ad7e281fc |  | section | Post Pour
checkpoint-status | 03eaa760-4fa8-48d8-ab01-aa9ff9b61db3 |  | checkpoint | Post pour Complete
text | 9be45a41-3cef-519d-8f1e-30ad66d175b6 |  | textbox | Release Date
text | 16299f8b-4bb2-5a00-88ff-a0a67835404b |  | textbox | Release Strength |  |  | MPa
checkpoint-status | db3d2d52-936d-451c-83fc-ea487f89dfb6 |  | checkpoint | Remedial Required
checkpoint-status | d33fbb0d-5b62-40e3-8e3e-1524f1b25bcb |  | checkpoint | Approved
checklist-sectioned | 5a3dcf3c-f209-4c76-83a3-31538a6c17f3 |  | checklist | P |  |  |  |  | Yes | SS - Panel Checklist (old version) | 058b5a54-df6e-4d63-8245-9f7363e2a8af
checkpoint-group | 9b7a8429-234a-4413-94b9-9bda7f68f477 |  | section | Info
checkpoint-status | a6983bdd-c313-4808-b751-07798a9ad7a2 |  | checkpoint | Information Complete
text | 41a77832-e9f0-5924-be9a-e5330e63e1a4 |  | textbox | Concrete Volume |  |  | m3
text | 950a1f90-a1e5-5e4d-ac9b-211cca60ff6a |  | textbox | Concrete Strength |  |  | MPa
text | 2ad35abe-fb20-581f-96be-492477bf08d5 |  | textbox | Unit Mark
checkpoint-group | 19e7843d-343f-4cb5-b479-7f9005e3259b |  | section | Prepour
checkpoint-status | 65682e67-09af-4441-85a5-7b24158fbb9f |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | ae716702-b2a3-4ae3-a6b8-30390f206ac8 |  | checkpoint | Square
checkpoint-status | fd7b8439-5a09-464e-bd43-190e5c418d1b |  | checkpoint | Edge Details & Rebates
checkpoint-status | 0caa0d50-6836-4ab2-8fe4-a4d309bc860f |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | 2aea3330-39e8-4c2f-8c47-24ab90a3b99f |  | checkpoint | Main Reinforcing
checkpoint-status | 6e9c5975-a40f-4981-ae60-9545f331ad07 |  | checkpoint | Starters
checkpoint-status | 8226db92-d580-47e5-a111-127c9532b00d |  | checkpoint | Stirrups
checkpoint-status | dbff8445-283a-4f94-b8eb-545dc8490458 |  | checkpoint | Lifters
checkpoint-status | 0d168d75-9198-4635-b1cb-73ba2872f87f |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 37cb60e2-0f94-423f-b792-8219bcc6a261 |  | checkpoint | Tie wire Trimmed
checkpoint-status | f451d9ab-8992-460f-b1be-e51df6a0430c |  | checkpoint | Rugasol
checkpoint-status | 60160338-b27f-470d-9a4e-5398b542ae57 |  | checkpoint | Drawings & General Photos
checkpoint-group | ffefe5f6-2185-4c9c-933e-9ae8a5a7cb57 |  | section | Concrete
checkpoint-status | 47d93789-fa4d-440a-b5ad-2a2db1a4eba0 |  | checkpoint | Concrete Docket Attached (photo)
text | 91c9702b-098e-5498-a586-4937f5b3cbd0 |  | textbox | Concrete Docket Number
checkpoint-group | ed99cdb8-5c6a-497e-96ce-6ef13de1c0e2 |  | section | Post Pour
checkpoint-status | bc5f402b-2e68-4b06-b4b2-12c3fd7faa70 |  | checkpoint | Post pour Complete
text | 2bf1564d-611f-5917-8c78-6ca31687dba9 |  | textbox | Release Date
text | bb50e854-68c7-525d-920d-71c3994a608c |  | textbox | Release Strength |  |  | MPa
checkpoint-status | a4825695-10ee-4bdd-aeae-7a13dc97a4bd |  | checkpoint | Remedial Required
checkpoint-status | a69819e1-849e-4e40-b363-3de62b5532d5 |  | checkpoint | Approved
checklist-sectioned | 39a665da-cf9d-4477-a79e-2450dc133cdd |  | checklist | P |  |  |  |  | Yes | Panel Checklist | 249da78c-34ca-4bef-bfd8-70bb5919beb6
checkpoint-group | 6a73cb8e-e522-4186-938f-f1e0bc96dcf3 |  | section | Info
checkpoint-no-status | 33452ea7-a854-4186-8cfb-e38f37dd4d07 |  | checkpoint | Information Complete
text | e8ad5763-a035-564d-8ee7-caa747ae79a9 |  | textbox | Concrete Volume |  |  | m3
text | 86992983-b941-5337-9f8f-8d1026893707 |  | textbox | Concrete Strength |  |  | MPa
checkpoint-group | 47488566-264e-41c3-a0ab-3ba39ba9d627 |  | section | Prepour
checkpoint-status | f8e00d7c-3bbe-4b48-ae35-58614c2b0e6e |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | bbc5020d-19e6-4cd8-af04-a15997a19e24 |  | checkpoint | Square
checkpoint-status | 50d94385-9445-4d25-90a7-4501a9bc008f |  | checkpoint | Edge Details & Rebates
checkpoint-status | 5ba21e07-819a-421a-9fd0-66481ec7e478 |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | c5e49d38-deaf-45fc-a322-81d396fb3ca9 |  | checkpoint | Main Reinforcing
checkpoint-status | f74a0268-e2c1-4d80-9089-615fa11070fc |  | checkpoint | Starters
checkpoint-status | 832bdb51-9a9d-490e-8b32-a4241abf6eca |  | checkpoint | Stirrups
checkpoint-status | 69f5bc55-7e32-4d5c-a7e5-e06d4542b562 |  | checkpoint | Lifters
checkpoint-status | b97a6a6d-bce7-4773-9737-5d534983d286 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 50f2ec95-99c4-4e6c-9a27-72d689019c35 |  | checkpoint | Tie wire Trimmed
checkpoint-status | 94127842-2205-4901-9217-125980c222ec |  | checkpoint | Rugasol
checkpoint-status | d295d749-5e2f-448d-bd94-d960d5433c91 |  | checkpoint | Drawings & General Photos
checkpoint-group | fd989e6a-ee98-47a6-890c-1c2b65c82fb4 |  | section | Concrete
checkpoint-status | 727d2887-a216-4918-b508-0c2a83719313 |  | checkpoint | Concrete Docket Attached (photo)
text | 620ab702-9aa2-5587-83ba-105a017f3a60 |  | textbox | Concrete Docket Number
checkpoint-group | 746416ac-d36b-45d8-87fa-a5d899ea48ee |  | section | Post Pour
checkpoint-status | b9110972-8ef4-48a0-8b8c-c27d5b8c5b91 |  | checkpoint | Post pour Complete
text | 0aaeae3f-2183-5aac-8525-3b8e00ef1fd2 |  | textbox | Release Date
text | bbc97c1a-868c-5f2b-9a9f-0d6875aa6bf4 |  | textbox | Release Strength |  |  | MPa
checkpoint-status | 0f6df235-23aa-4472-89da-117cae0db232 |  | checkpoint | Remedial Required
checkpoint-status | 4875835f-636d-4a93-9124-026d1cf26062 |  | checkpoint | Approved
checklist-sectioned | 782a69f6-fcfc-45e6-a490-c20b0b267309 |  | checklist | Panel |  |  |  |  | Yes | SS - Panel Checklist V2 (old version) | 2c49533b-b3a1-4010-9130-9098d0550116
checkpoint-group | fa099164-e98f-42b7-b511-616f7b37bfb0 |  | section | Info
checkpoint-status | 4c5afe66-627b-480c-8e95-29ad869c6d01 |  | checkpoint | Information Complete
text | 6ead04b9-2f38-5b69-856a-5ed1a1e4724f |  | textbox | Concrete Volume
text | c465b3c2-16fb-58a4-81d6-9b7881bde765 |  | textbox | Concrete Strength
text | 8871aead-20ca-503b-90f8-e5cb6d841416 |  | textbox | Unit Mark
checkpoint-group | f1ae7d9e-cba5-4c2d-9ac6-0f1b93e5914f |  | section | Prepour
checkpoint-status | 6aaff2a5-b629-451b-af90-2f49a8e06d91 |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 77a6b712-e46b-49b2-a04a-ae882b4be02e |  | checkpoint | Square
checkpoint-status | e48e1a44-f100-43ea-b51e-2a80154cbe23 |  | checkpoint | Edge Details & Rebates
checkpoint-status | f29aa17b-128f-43fb-9d3a-b17bc049a25c |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | 45d6b043-75d2-4ccf-9ce4-47368929938f |  | checkpoint | Main Reinforcing
checkpoint-status | c29094c1-35cc-4dd5-84f8-b0ddb1c6178a |  | checkpoint | Starters
checkpoint-status | dbbb180e-9e83-430d-8069-393ef9e7e597 |  | checkpoint | Stirrups
checkpoint-status | 9fd41144-99f3-4f26-bb1c-1057fc927feb |  | checkpoint | Lifters
checkpoint-status | c78317d4-afba-4bcb-bf60-a54dfabfccc8 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | b18622b8-59f8-473b-8f4e-1761eeb085bc |  | checkpoint | Tie wire Trimmed
checkpoint-status | 28f2275a-6326-4ad1-8f15-5de48372657a |  | checkpoint | Rugasol
checkpoint-status | a39abcbb-573f-4a54-8cd9-fb030df5f422 |  | checkpoint | Drawings & General Photos
checkpoint-group | ee654bd6-82c5-4cb2-8fac-fa7764c62f9c |  | section | Concrete
checkpoint-status | 1b2269f2-1c48-49b8-9c12-0809a231ac4f |  | checkpoint | Concrete results obtained
checkpoint-status | 053d845c-6ec1-4bba-8d28-aec436278695 |  | checkpoint | Concrete Docket Attached (photo)
checkpoint-group | 0ab7a83e-5abf-4b82-8253-997e16d5d9f5 |  | section | Post Pour
checkpoint-status | a478bd8c-005b-4aeb-b241-ccb6943677a3 |  | checkpoint | Post pour Complete
text | 9eeebe67-16e4-59ff-9e8c-b96e4b722610 |  | textbox | Release Date
text | 8ffe65db-6606-5848-8b81-4048cc92695d |  | textbox | Release Strength
checkpoint-status | e01fbb92-9463-4d5b-b699-d87753d39485 |  | checkpoint | Remedial Required
checkpoint-status | fc34c97f-79f9-4901-9121-a1a07691391e |  | checkpoint | Approved
checkpoint-status | 59daea04-9e09-48a5-90d7-7b63748dced1 |  | checkpoint | Mill certificate attached
checklist-sectioned | 8eccf2d5-060f-4636-9c55-60b6f7467253 |  | checklist | Test Report |  |  |  |  | Yes | Reo Test Report | 42dba142-7331-4195-ae00-7d0412479aec
checkpoint-group | a6eadce4-ca40-4e0a-bf1c-cd12efd33bd5 |  | section | Reinforcement / Inserts
checkpoint-status | 2ceac887-89b4-4e18-a753-ed97d6835108 |  | checkpoint | Test Results attached
text | 08bbf42f-983f-5eed-86ef-b802508f837f |  | textbox | Steel Grade
checklist-sectioned | 1774ddd3-9c2b-446a-a3e0-cfba3e3cb7b8 |  | checklist | Mill Certificate |  |  |  |  | Yes | Mill Certificate | 70b6a170-7d03-411a-9c4f-ccf8468270cd
checkpoint-group | cc99427a-e71d-49b9-ab7e-73dd02118979 |  | section | Reinforcement / Inserts
checkpoint-status | 3429185b-4d17-4f4c-8192-d05b1ccb9a99 |  | checkpoint | Mill Certificate attached
text | c12fc185-e433-5df0-99c1-2b7ae48170f2 |  | textbox | Steel Grade
checklist-sectioned | f2094e42-1a71-4fa4-ad95-3dbc163e8c16 |  | checklist | Test Report |  |  |  |  | Yes | Concrete Test Report | 8c226a9c-0b88-40a3-a410-04861e959fe0
checkpoint-group | 99a8f5f0-1f8d-48de-94f1-35f0d9f82297 |  | section | Concrete
checkpoint-status | 436e0a24-176a-450b-978c-cc4a1ad59825 |  | checkpoint | Test Results attached
text | 4d1206ed-300a-5f30-9f9a-b2cb0f4ebf54 |  | textbox | Mix Design
checklist-sectioned | 848e5647-4d10-4fbd-8f5c-0b934acffb7f |  | checklist | Panel |  |  |  |  | Yes | SYS - Panel Checklist V2 (old version) | 91e747f0-f29b-4a7f-bac9-90d15f2f404e
checkpoint-group | 6cd1d400-4667-4164-a8d5-4bf0ee070b95 |  | section | Info
checkpoint-status | e27f9ab7-ac14-4b23-94a1-68f55a259c4f |  | checkpoint | Information Complete
text | 9e406b19-eb97-5a81-b095-7e7fb16d81a5 |  | textbox | Concrete Volume
text | daafb8b6-4918-5ed2-a15a-e3e144496b6a |  | textbox | Concrete Strength
checkpoint-group | e564ab71-cb35-4dee-99f7-1d92ee7238c0 |  | section | Prepour
checkpoint-status | b227b235-6a6b-4626-bdc3-16f6967d7058 |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 8dba041c-846f-4ce8-a64b-485c96a8b1d9 |  | checkpoint | Square
checkpoint-status | a40eaa87-ecca-4d16-963b-9291b55d93b4 |  | checkpoint | Edge Details & Rebates
checkpoint-status | 57c5bae3-0c33-421b-a7ad-d20be95daba7 |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | 06de85ae-1565-4e70-9682-6f61e0074848 |  | checkpoint | Main Reinforcing
checkpoint-status | 5144cf53-4de5-403b-9e92-e8678cea38de |  | checkpoint | Starters
checkpoint-status | 8bdaf2fd-cd31-4861-9638-4fdf4845facc |  | checkpoint | Stirrups
checkpoint-status | e0ff25f2-84e2-448a-a47d-65b4e708ddd6 |  | checkpoint | Lifters
checkpoint-status | f488dc5c-e8a6-4ef3-90aa-d341fb0bb936 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 30a8771b-6ef6-44ba-8ebb-067c3097aa38 |  | checkpoint | Tie wire Trimmed
checkpoint-status | 647a0036-bb3c-4855-ab33-a9b80c316096 |  | checkpoint | Rugasol
checkpoint-status | 743ded10-ad23-4dad-ba7f-8fb128a7913a |  | checkpoint | Drawings & General Photos
checkpoint-group | 23ac29d0-4757-4e8d-8a6e-71b957d295a1 |  | section | Concrete
checkpoint-status | 343d4f3f-e1aa-408c-b3ba-132b1e7e7d87 |  | checkpoint | Concrete results obtained
checkpoint-status | 76f52ca5-7c4c-4780-a20b-afd369229177 |  | checkpoint | Concrete Docket Attached (photo)
text | 71853d18-1975-5c74-83a8-549c0e64a4f4 |  | textbox | Concrete Docket Number
checkpoint-group | b78c660d-0ac2-4e83-97a4-96a262e1e4f4 |  | section | Post Pour
checkpoint-status | 09f480d7-b9d9-43ed-868d-12dcc48bb28d |  | checkpoint | Post pour Complete
text | a57c7491-23a8-5ba4-8824-839ab5bf5888 |  | textbox | Release Date
text | 185a0004-02ab-58c1-8cc2-af1dc9abf6a3 |  | textbox | Release Strength
checkpoint-status | a0aa85e5-7105-4b75-8809-2739a2dabbba |  | checkpoint | Remedial Required
checkpoint-status | 96a5206d-80b1-4a6a-a5de-92b130426518 |  | checkpoint | Mould Face Finish
checkpoint-status | 5b5779eb-3d94-46eb-aae9-47da10c43d5a |  | checkpoint | Near Face Finish
checkpoint-status | d53de911-ccea-424a-8307-b13bf45bffe0 |  | checkpoint | Cast -In/Inserts/Penetrations
checkpoint-status | fdf4ac30-a8c9-4e6a-bcda-3b8cba8a6ba3 |  | checkpoint | Starter lengths/Positions
checkpoint-status | 820f9886-a630-4cbe-87de-1f3e3e965ebf |  | checkpoint | Approved
checkpoint-status | 40808773-5d04-4de4-a149-840903709c2a |  | checkpoint | Mill certificate attached
checklist-sectioned | ddba83e8-63ae-4545-aaa3-b5765914ac71 |  | checklist | Panel |  |  |  |  | Yes | Panel Checklist V2 | 96cdc2e2-dc21-4e17-b133-e94c48c5a0b3
checkpoint-group | 094f5f6c-8959-4b9e-b5cb-bc64ae6b21d1 |  | section | Info
checkpoint-no-status | a4da7e57-f89a-44c4-bbc4-3716868acf83 |  | checkpoint | Information Complete
text | 8a1a725e-c86a-554d-babe-085afbed9f87 |  | textbox | Concrete Volume
text | 49fa2dd6-8da5-5ccc-b163-5c9a4ba9964d |  | textbox | Concrete Strength
checkpoint-group | 097b630e-0268-442a-8822-fbbb576355b8 |  | section | Prepour
checkpoint-status | fe58033b-0b92-400f-b14b-d6274af3426b |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | d6619590-d45a-4ad7-b74f-3855074c480d |  | checkpoint | Square
checkpoint-status | 5747236e-fb37-4d13-9009-a0d7c6936d14 |  | checkpoint | Edge Details & Rebates
checkpoint-status | f556184f-e64e-425a-889f-470213cd5b4e |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | f12e5ed5-4e18-419e-8278-faf6a866283f |  | checkpoint | Main Reinforcing
checkpoint-status | e9edf295-16c5-4d79-8c2b-069f56c0359f |  | checkpoint | Starters
checkpoint-status | 061c5a4a-db4d-4de3-a21d-84f0c48e413b |  | checkpoint | Stirrups
checkpoint-status | 593836d8-096b-40ef-987a-886738ce19e1 |  | checkpoint | Lifters
checkpoint-status | 12ba71e9-b2bf-45b4-bbc3-b4a294e5701d |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 1e35ef17-39b6-46cb-be1f-65ed89ef189a |  | checkpoint | Tie wire Trimmed
checkpoint-status | 2cbdd659-6b3e-43d3-9a76-b7dfa2dc4c65 |  | checkpoint | Rugasol
checkpoint-status | dfd51187-0004-4af3-a620-40c8b1dda68d |  | checkpoint | Drawings & General Photos
checkpoint-group | 848ba376-5d41-4b6e-a538-83037ccaf91e |  | section | Concrete
checkpoint-status | 0523b41a-b91f-491c-9db8-f4f8a828506d |  | checkpoint | Concrete results obtained
checkpoint-status | 6ca47131-b73e-4fb0-beab-17e3023b2c5c |  | checkpoint | Concrete Docket Attached (photo)
text | 7e5c6f79-27dc-52c4-a60d-e46a0938abbd |  | textbox | Concrete Docket Number
checkpoint-group | b57d03d1-7827-4ab7-a439-ad55f5958242 |  | section | Post Pour
checkpoint-status | 0621ec68-5bcc-4e7d-ae1b-a20039a7ccf0 |  | checkpoint | Post pour Complete
text | ea3d9f78-c452-5c43-ba74-8ad221a543cb |  | textbox | Release Date
text | fd926332-e394-5458-88b6-823a67642920 |  | textbox | Release Strength
checkpoint-status | e8f5f02e-41cc-4e4d-bcd8-10363eb4fe67 |  | checkpoint | Remedial Required
checkpoint-status | bb88ea9e-8e06-46f1-970e-580c9bf38557 |  | checkpoint | Mould Face Finish
checkpoint-status | 78a6e34b-2aea-43eb-bd9f-da6c8240cb61 |  | checkpoint | Near Face Finish
checkpoint-status | 3fa10355-f07a-47f7-a452-c83e2a9eda77 |  | checkpoint | Cast -In/Inserts/Penetrations
checkpoint-status | 289b7790-8a51-43fe-b078-d2aacaefb1be |  | checkpoint | Starter lengths/Positions
checkpoint-status | b2247bd2-9616-48a8-8577-80c52245c42a |  | checkpoint | Approved
checkpoint-status | 2bb5356e-060a-4a33-a648-1e8d96ccf021 |  | checkpoint | Mill certificate attached
checklist-flat | 9f8a3897-85a0-49a7-ab7f-d481b554e24f |  | checklist | Job Details |  |  |  |  | Yes | Job Details | a839792a-9167-45d5-a8da-b51fcfa07f81
checkpoint-status | c431e53a-8338-4fde-9d17-d61a2310f429 |  | checkpoint | Project details entered below
text | 4c025dc0-ec1c-5c8a-8634-8f138410f425 |  | textbox | Job File Number
text | 674a0a2c-c58f-5b68-a9ac-d881efc98cba |  | textbox | Project Name
text | 43a67469-ddab-58d4-81df-ccff159d10db |  | textbox | Site Address
text | c64a899c-f972-5695-9362-2bb8472a91f0 |  | textbox | Main Contractor (e.g. Teak)
text | 17a006b3-55d6-52e6-b9d5-6bfe5e5b0130 |  | textbox | Main Contractor POC
text | 8da1ca83-a6ba-58ed-948a-d6bf5b0d91db |  | textbox | Structural Engineer
text | bd1bd9b9-d0f4-52f7-bacb-c7b3f0f07e5c |  | textbox | Architect
checklist-flat | cc7b3b48-3193-4fde-8af7-dc9c9676cc4b |  | checklist | NCR: |  |  |  |  | Yes | Non Conformance Report | d272a2e1-e2ed-4b75-bea1-c7276e0e3d1f
checkpoint-no-status | ab78a1d5-1b3e-4c66-b16b-a5be6792437f |  | checkpoint | Non Conformance Report
text | 662cbeb6-7c8d-57fd-9bc3-272cbd738f5c |  | textbox | NCR Ref. No.:
date | f48bf943-ce39-5879-b645-5813e13de5ec |  | date | Issue Date:
text | 911ec36b-d7e9-5a44-b940-3685009b1b9f |  | textbox | NCR Description:
text | 2faff796-119e-5601-9fc0-1a14ab9432be |  | textbox | NCR Identified by:
button | cdaf426b-ed7f-557b-a193-ddc691becf63 |  | button | NCR Status | Close, Under Review, Open
checklist-sectioned | 013a4448-4b65-4b5b-be77-abed430cdb38 |  | checklist | Panel |  |  |  |  | Yes | Panel Checklist V3 | feec6e40-de52-473e-a31c-f4c969ff350a
checkpoint-group | 0ebbd8c2-0ae7-4f81-b951-bad1a51bd2b9 |  | section | Info
checkpoint-no-status | de47e679-a803-474d-9687-517ab821a3e1 |  | checkpoint | Information Complete
text | fa109b3f-27a9-55a2-b83d-5240dfc5c75f |  | textbox | Concrete Volume
text | 2aee005a-4dda-560d-9305-038377640e3f |  | textbox | Concrete Strength
checkpoint-group | ba89cea8-9b8c-4afe-bfc6-2d7d8343d9ce |  | section | Prepour
checkpoint-status | f55690f0-b712-41f5-9c20-a2e346ae0ebb |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 93f13c21-d1a6-4219-bb51-c1425447071b |  | checkpoint | Square
checkpoint-status | e3c360a4-47f4-4da1-86f4-3cf3be666f5e |  | checkpoint | Edge Details & Rebates
checkpoint-status | dfe3c73d-e07f-45be-904f-1af7c962640a |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | e4797e1e-21cf-49c5-82c6-b5f4ea51fd17 |  | checkpoint | Main Reinforcing
checkpoint-status | f79e94b6-863f-4c41-bbcc-f22dcd2c4cbe |  | checkpoint | Starters
checkpoint-status | c744afcd-613f-4382-be01-362bfd1c2faf |  | checkpoint | Stirrups
checkpoint-status | a8777573-4844-4051-a0ed-2749cf2f21ce |  | checkpoint | Lifters
checkpoint-status | cf78205e-8fea-45d9-80c6-78ac1206f214 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 5d006b57-0938-4e6a-bcf5-996957a7b04a |  | checkpoint | Tie wire Trimmed
checkpoint-status | 147f0278-53ee-4556-84a0-6ccc536eda0e |  | checkpoint | Rugasol
checkpoint-status | 2bd552be-ff26-4c9f-9cdd-95e5e7d15852 |  | checkpoint | Drawings & General Photos
checkpoint-group | 7733d018-23c5-44d9-88fd-1d1464332e7b |  | section | Concrete
checkpoint-status | 8bb09acf-5eaf-4a41-afca-1f2308ca1a5f |  | checkpoint | Concrete Docket Attached
text | dfd688b4-225f-543f-b554-7171eadf1702 |  | textbox | Concrete Docket Number
checkpoint-group | c6430df1-1136-427c-bb3f-68f22f590d93 |  | section | Post Pour
checkpoint-status | 4e645e64-538f-42c2-8df0-0c7f51727d55 |  | checkpoint | Post pour Complete
text | 9d5460b9-e5d8-5f68-b98b-143e5ad79f65 |  | textbox | Release Date
text | 37279256-aea9-5881-8d0c-089649e3bf28 |  | textbox | Release Strength
checkpoint-status | 00772fb0-6c96-4a73-81e5-4e672250e6e6 |  | checkpoint | Remedial Required
checkpoint-status | 6d4ea375-e284-468b-81f9-f1e717491732 |  | checkpoint | Mould Face Finish
checkpoint-status | e8099127-db0f-434b-87aa-b9589d639b6b |  | checkpoint | Near Face Finish
checkpoint-status | f13e2317-30c1-4d32-b591-845a288fe21d |  | checkpoint | Cast -In/Inserts/Penetrations
checkpoint-status | 4c709ccf-b17a-4655-ab6c-52a1a65c683e |  | checkpoint | Starter lengths/Positions
checkpoint-status | 1c79a26f-081c-4a64-9fc8-a86d85fc3ee9 |  | checkpoint | Approved