## Structure
QA Template for BAPS Temple Wellington to be entered in CONQUA
Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Instruction to CONQA | Checklist Name
Site QA
Car Parking
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 3: External Works | prepopulate | External Works
Structural Earth Bonding
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Structural Earth Bonding-1 | prepopulate | Structural Earth Bonding
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Structural Earth Bonding-2 | prepopulate | Structural Earth Bonding
Temple Premises
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 3: External Works | prepopulate | External Works
Structural Earth Bonding
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Structural Earth Bonding-1 | prepopulate | Structural Earth Bonding
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Structural Earth Bonding-2 | prepopulate | Structural Earth Bonding
Mains
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Mains | prepopulate | Mains
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Mains Earthing | prepopulate | Mains Earthing
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 4: Laying of Conduits; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Power | prepopulate | Laying of Conduit
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Control | prepopulate | Laying of Conduit
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 4: Cable PITS; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Power | prepopulate | Cable PIT
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Control | prepopulate | Cable PIT
First Fix
Control room
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: MSSB | prepopulate | MSSB
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Covered Patio; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Entry Lobby; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Reception; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Book Store; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Pujari Apartment; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Ladies Office; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Temple offering office; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Main Temple Office; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Toilet - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Toilet - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Shoes Room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Shoes Room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Staircase - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Staircase - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Dinning Hall; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Kitchen; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Washing Bay; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Stores - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Fire Exit Lights; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Temple Periphery Light; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Extension Voids; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Dome Areas; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Vagha Costume Store; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Varni - Altar; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Deity Preparation room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Pradakshina; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Quite room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Temple Bldg Floor; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Deities - Altar; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Toilet - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Toilet - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Staircase - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Staircase - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Auditorium; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Screen and Stage curtain; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Stores -1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-G1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-A; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-K1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: MCC-01; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: FAP; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-F1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-F3; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-B; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: MCC-02; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB Lift; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Ground Floor Data Cable | prepopulate | Data First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: First Floor Data Cable | prepopulate | Data First Fix
Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Control room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Covered Patio; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Entry Lobby; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Reception; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Book Store; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Pujari Apartment; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Ladies Office; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Temple offering office; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Main Temple Office; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Toilet - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Toilet - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Shoes Room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Shoes Room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Staircase - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Staircase - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Dinning Hall; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Kitchen; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Washing Bay; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Stores - G; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Fire Exit Lights; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Temple Periphery Light; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Extension Voids; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Dome Areas; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Vagha Costume Store; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Varni - Altar; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Deity Preparation room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Pradakshina; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Quite room; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Temple Bldg Floor; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Deities - Altar; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Toilet - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Toilet - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Male Staircase - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Female Staircase - 1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Auditorium; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Screen and Stage curtain; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Stores -1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-G1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-A; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-K1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: MCC-01; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: FAP; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-F1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-F3; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-B; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: MCC-02; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB Lift; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Gate Control Panel | prepopulate | Gate control panel
Learning Centre
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 3: External Works | prepopulate | External Works
Structural Earth Bonding
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Structural Earth Bonding-1 | prepopulate | Structural Earth Bonding
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Structural Earth Bonding-2 | prepopulate | Structural Earth Bonding
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 4: Laying of Conduits; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Power | prepopulate | Laying of Conduit
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Control | prepopulate | Laying of Conduit
First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Games room-Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: AV Equipment Store; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Toilet - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Classroom - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Language room - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Meeting room - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Seminar room - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Staircase - LCG; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Sant Nivas; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Toilet- Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Classroom - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Language room - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Meeting room - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Seminar room - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Staircase- LC1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Flush Boxes | prepopulate | Flush Boxes
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-G2; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-F2; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Distribution Board
[7 empty] | prepopulate | Submains
[7 empty] | prepopulate | Floor Penetrations
[7 empty] | prepopulate | Body Protection First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Ground Floor Data Cable | prepopulate | Data First Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: First Floor Data Cable | prepopulate | Data First Fix
Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Games room-Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: AV Equipment Store; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Toilet - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Classroom - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Language room - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Meeting room - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Seminar room - Girls; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Staircase - LCG; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Sant Nivas; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Toilet- Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Classroom - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Language room - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Meeting room - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Seminar room - Boys; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: Staircase- LC1; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Cabling; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 7: Power | prepopulate | Power Circuit Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-G2; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix
QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 5: DB-F2; QA Template for BAPS Temple Wellington to be entered in CONQUA Tier 6: Distribution Board | prepopulate | Body Protection Second Fix

## Checklists
type | name | values
Checklist | External Works
checkpoint | Location confirmed
checkpoint | Duct correct
checkpoint | Draw tape
checkpoint | Cages set to height
Checklist | Structural Earth Bonding
checkpoint | Cable type - Earth rebarcon cable
checkpoint | Type of connection - Exothermic connection
checkpoint | Location of connection with a stainless steel stubs
checkpoint | Comply with structural Earth bonding as per AS/NZS 3000
Checklist | Laying of Conduits
checkpoint | Check for the correct grade of conduit
checkpoint | Check for correct color of conduit
checkpoint | Check the tightness of connectors, Tee's and Elbows
checkpoint | Is proper supporting to the conduit done?
checkpoint | Is the sealing of the conduit ends done after proper laying
Checklist | Inspection of Cable PIT
checkpoint | Check for the correct dimensions as per drawing
checkpoint | Check for the correct conduit entries inside the PIT
checkpoint | Check correct depth of the PIT.
checkpoint | Check for correct sealing of conduits end in PIT.
Checklist | Mains
checkpoint | Cable type correct
checkpoint | Correct size confirmed
checkpoint | Length of tails
checkpoint | Lugs correct size / hole size
Checklist | Mains Earthing
checkpoint | Cable size correct
checkpoint | Location correct
checkpoint | Earth tagged
checkpoint | Main earthing conductor dimension at correct depth
checkpoint | Tobby box installed correctly, covered and secured
checkpoint | Earth clamps checked
Checklist | MSSB
checkpoint | Switchboard securly fastened
checkpoint | Switcboard bonded
checkpoint | Teminals correctly crimped
checkpoint | Lugs heat shrinked
checkpoint | Lugs torqued
checkpoint | Polarity correct
checkpoint | Test all cables
checkpoint | All labels installed
checkpoint | Test sheets complete
checkpoint | COC complete
checkpoint | ROI
Checklist | Lighting Circuits First Fix
checkpoint | Cabling to correct location as per plan
checkpoint | Emergency lighting cabelled
checkpoint | Number of fittings correct
checkpoint | Local switch wire installed
checkpoint | Sensor control wire installed
checkpoint | Cabinet lighting confirmed / cabled
checkpoint | Lighting controls cabled
Checklist | Power Circuit First Fix
checkpoint | Cable schedule
checkpoint | Cable size correct
checkpoint | Cabling to correct location as per plan
checkpoint | Position on elevations confirmed
checkpoint | Droppers / Starters wired
checkpoint | TV locations wired
Checklist | Flush Boxes
checkpoint | Correct location
checkpoint | Correct height
Checklist | Distribution Board
checkpoint | Main switchboard (63 Amps)
checkpoint | Number of circuit breakers (20 Amps)
checkpoint | Number of RCD
checkpoint | Loop link completed
checkpoint | Earth tag done
checkpoint | Switchboard labelling done
checkpoint | Switchboard cover installed
Checklist | Submains
checkpoint | Correct size confirmed
checkpoint | Length of tails
checkpoint | Lugs correct size / hole size
Checklist | Floor Penetrations
checkpoint | Penetration/chase marked as per plan
checkpoint | Depth/width correct for conduit/floor box
Checklist | Body Protection First Fix
checkpoint | RCD cabling installed correctly
checkpoint | Earthing to in ceiling services
checkpoint | Earthing to benchtops / Taps
Checklist | Lighting Circuits Second Fix
checkpoint | Correct light type installed
checkpoint | Correct number installed
checkpoint | Correct location
checkpoint | Local switching installed
checkpoint | Sensor installed
checkpoint | Emergency lighting type installed
Checklist | Power Circuit Second Fix
checkpoint | Outlets installed, level and labelled
checkpoint | RCD outlets correct rating for space 10ma/30ma
checkpoint | Starters installed
checkpoint | Kitchen outlets/isolators/hw kits
checkpoint | Floor boxes fit off
Checklist | Body Protection Second Fix
checkpoint | RCD/Outlet labeling
checkpoint | Earthing terminated
Checklist | Data First Fix
checkpoint | Cabling to correct location as per plan
checkpoint | Cables to floor box
checkpoint | Data for TV locations
checkpoint | WAP locations wired
Checklist | Distribution Board - Secondary
checkpoint | Location and height correct
checkpoint | Number of feeds in the board
textbox | No:
checkpoint | Number of bonding
textbox | No:
checkpoint | Mains cables in
checkpoint | Earth cables in
Checklist | Gate control panel
checkpoint | Location and height correct
checkpoint | Power cable termination panel side
checkpoint | Control cable termination panel side
checkpoint | Power cable termination motor side
checkpoint | Control cable termination panel side
checkpoint | Earthing on panel side
checkpoint | Earthing on Motor side
checkpoint | Sealing of panel for any opening