## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
1f2f2dd2-0742-5e84-be54-2b5b4b43fa7a | checklist | QA_TEM_014_Cable Terminations |  | QA_TEM_014_Cable Terminations
| section | Cable Terminations
| checkpoint | Correct type and size gland
| checkpoint | Gland properly and securely fitted
| checkpoint | Correct cable identification (Cable Size/Cable Type) (Photo required)
| checkpoint | Correct core identification (Photo required)
| checkpoint | Cores loomed properly
| checkpoint | Cores on correct terminals (Photo required)
| checkpoint | Terminals properly tensioned as per manufactures specification:
| textbox | Torque Setting (NM):
| textbox | Torque Wrench Serial #
| checkpoint | Calibration Exp. Date:
| checkpoint | Cores correctly lugged
| checkpoint | Lugs correctly insulated