## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
b198e103-31e7-45c6-b36a-2d08722561eb | checklist | Commissioning/Handover & Testing Checklist |  | Commissioning/Handover & Testing Checklist
e75d8568-9eb6-4c3d-9fb9-26fb137f00e7 | section | Details
| checkpoint | All appliances installed correctly, traps and overlfows tested
| checkpoint | All tapware, mixer handles and shower rails installed and double checked to be fixed tight.
| checkpoint | Dishwasher and washing machine installed and tested
| checkpoint | Cooktop, gas bayonet and heater installed and purged. Gas tested with Manometer
| checkpoint | Toilets flushed, tested and toilets seats fitted off securly and flush to front of pan
| checkpoint | All appliances tested to ensure hot/cold feeds are plumbed correctly
| checkpoint | All tapeware and mixers check to ensure acceptable flow rates, flexis checked for kinks and filters cleared of debris
76b53a49-56d9-4272-ba72-c87b56378dd6 | checkpoint | Final sign off - Pass when happy to proceed (Any issues please comment & Add photos below)