## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | DB 1
section | DB
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Lighting feeds roughed in
checkpoint | Power feeds roughed in
checkpoint | Lighting control feeds roughed in (CBUS & DALI)
checkpoint | Mains fit off
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Lighting control fit off (CBUS & DALI)
checkpoint | Schedule completed (attached to door)
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | DB 2
section | DB
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Power feeds roughed in
checkpoint | Mains fit off
checkpoint | Power fit off
checkpoint | Schedule completed
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | DB 3
section | DB
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Power feeds roughed in
checkpoint | Mains fit off
checkpoint | Power fit off
checkpoint | Schedule completed
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | Rough In & Fit Off 1
section | Rough In & Fit Off
checkpoint | Lighting roughed in
checkpoint | Power roughed in
checkpoint | Lighting control roughed in (DALI)
checkpoint | Light feed installed
checkpoint | Power feeds installed
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Room complete
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Power feeds roughed in
checkpoint | Mains fit off
checkpoint | Power fit off
checkpoint | Schedule completed
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | Rough In & Fit Off 2
section | Rough In & Fit Off
checkpoint | Lighting roughed in
checkpoint | Power roughed in
checkpoint | Lighting control roughed in (DALI)
checkpoint | Light feed installed
checkpoint | Power feeds installed
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Room complete
checklist | Cable Tray
section | Cable Tray
checkpoint | Cable Tray Completed
checklist | Submains
section | Submains
checkpoint | Mains roughed in
checkpoint | Mains fit off
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | CES recived
checkpoint | DB complete