## QA Folder Structure
QA Folder Structure |  |  |  |  | Checklists
Site QA
Basement 1
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level Basement 1
|  | Commissioning |  |  | Commissioning Checklist Basement 1
Ground Floor
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Ground
|  | Commissioning |  |  | Commissioning Checklist Ground
TMV
Male Change
|  |  |  | TMV 1 | TMV Checklist
|  |  |  | TMV 2 | TMV Checklist
Female Change
|  |  |  | TMV 1 | TMV Checklist
|  |  |  | TMV 2 | TMV Checklist
Gender Neutural Change
|  |  |  | TMV 1 | TMV Checklist
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Level 1
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  |  | Commissioning Checklist Level 1-7
TMV
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Level 2
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  |  | Commissioning Checklist Level 1-7
TMV
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Level 3
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  |  | Commissioning Checklist Level 1-7
TMV
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Level 4
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  |  | Commissioning Checklist Level 1-7
TMV
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Level 5
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  |  | Commissioning Checklist Level 1-7
TMV
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Level 6
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  |  | Commissioning Checklist Level 1-7
TMV
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Level 7
|  | Penetrations |  |  | Penetration Checklist
|  | Header Penetrations |  |  | Header Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Rain Water |  | Rain Water Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Rough In |  |  | Rough-In Checklist
|  | Fit Off |  |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  |  | Commissioning Checklist Level 1-7
TMV
DDA WC
|  |  |  | TMV 1 | TMV Checklist
Roof
|  | Penetrations |  |  | Penetration Checklist
|  | Sanitary drainage |  |  | Sanitary drainage Checklist
Water
|  |  | DCW |  | DCW Checklist
|  |  | Hot Water |  | Hot Water Checklist
|  | Commissioning |  |  | Commissioning Checklist Roof

## Checklists
type | name | values | prefix | postfix | usage count | user addable
checklist-flat | Sanitary drainage Checklist
checkpoint | Drainage
bool | Pipework has approved gradient
bool | Provision for expansion provided
bool | Appropriate fitting used in appropriate manner
bool | Venting requirements met
checkpoint | Pipe clip hanger - Pipe work has appropriate supports and spacings
checkpoint | Material approved and pipe installed to correct size
checkpoint | Alignment - restricted zone has been met
checkpoint | Approved labelling and identification applied
checkpoint | Approved jointing methods used
checkpoint | Penetrations correctly sealed
checkpoint | Fire stop retro collars sealed using approved sealant
checkpoint | Seismic bracing installed to comply with seismic certification if applicable
checkpoint | Water Test complete
checkpoint | Confirm all open connections are sealed/capped
checkpoint | Photos of all drainage
checklist-flat | Rain Water Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test.
checklist-flat | DCW Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection/seperation between other services
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test
checklist-flat | Hot Water Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test.
checklist-flat | Rough-In Checklist
checkpoint | Lagging Complete
checkpoint | Un used Peno's sealed
checkpoint | ROUGH IN COMPLETE
checkpoint | HEADER PIPES FIRE CAULKED
checkpoint | TMV ACCESSIBLE TO A/P
checkpoint | CROSS CONNECTIONS
checkpoint | MIXER STRAIGHT, SET BACK CORRECT
checkpoint | FW CLEANED, COVERED AND CLEAR OF DEBRIS
checkpoint | AAV REQUIRED?
checkpoint | FIXTURE SET OUT CORRECT
checklist-flat | Fit-Off Checklist Food Waste
Checkpoint | Food Waste
checkpoint | Floor waste
checklist-flat | Fit-Off Checklist Bin Room
Checkpoint | Food Waste
checkpoint | Sink Mixer
checkpoint | Sink Waste
checkpoint | HWU
checkpoint | Floor waste
checklist-flat | Fit-Off Checklist Ground
checkpoint | Male Change
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | Shower
checkpoint | WC Installed
checkpoint | Female Change
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | Shower
checkpoint | WC Installed
checkpoint | Gender Nuetral Change
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | WC Installed
checkpoint | Shower
checkpoint | Male WC
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | WC Installed
checkpoint | Female WC
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | WC Installed
checkpoint | DDA WC
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | WC Installed
checkpoint | Water Meter
checklist-flat | Fit-Off Checklist Level 1-7
checkpoint | Male WC
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | WC Installed
checkpoint | Instantaneous hot water system
checkpoint | Female WC
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | WC Installed
checkpoint | DDA WC
checkpoint | Basin
checkpoint | Mixer
checkpoint | Waste
checkpoint | WC Installed
checkpoint | Water Meter
checkpoint | Instantaneous hot water system
checklist-flat | Commissioning Basement 1
Checkpoint | Bin Room & Food waste
checkpoint | Sink Mixer
checkpoint | Sink Waste
checkpoint | HWU
checkpoint | Floor wastes clear
checklist-flat | Commissioning Checklist Ground Floor
checkpoint | Male Change
checkpoint | Basins
checkpoint | Showers
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
checkpoint | Female Change
checkpoint | Basins
checkpoint | Showers
checkpoint | WC
checkpoint | Cleaners Room
checkpoint | Gender Nuetral Change
checkpoint | Basins
checkpoint | Showers
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
checkpoint | Male WC
checkpoint | Basin
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
checkpoint | Female WC
checkpoint | Basin
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
checkpoint | DDA WC
checkpoint | Basin
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
Checkpoint | Cleaners Room
checkpoint | Sink Mixer
checkpoint | Sink Waste
checkpoint | HWU
checkpoint | Floor waste
Checkpoint | Bin Room
checkpoint | Sink Mixer
checkpoint | Sink Waste
checkpoint | HWU
checkpoint | Floor waste
checklist-flat | Commissioning Checklist Level 1-7
checkpoint | Male WC
checkpoint | Basin
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
checkpoint | Instantaneous hot water system
checkpoint | Female WC
checkpoint | Basin
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
checkpoint | DDA WC
checkpoint | Basin
checkpoint | WC
checkpoint | Floor waste cleaned and Clear
checkpoint | Instantaneous hot water system
checklist-flat | Commissioning Checklist Level Roof
text | Floor waste cleaned and Clear
checkpoint | HWU
checklist-flat | Penetration Checklist
text | All penetrations installed as per plan
checkpoint | Photos must be uploaded of deck
checklist-flat | Door Headers Checklist
text | Fire rated with Hilti 611A intumescent
checklist | TMV Checklist
checkpoint | Location
Checkpoint | Serial Number
Checkpoint | Size
Checkpoint | Make / Model
Checkpoint | Temperature