## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
1a25719a-bc6c-5fd4-99aa-c704447a5c83 | checklist | V&B Underground services |  | Compacted Backfill Checklist (Pilecaps and Ground Beams)
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
f6b1e1d1-593b-5ef0-ac05-4adc89d2d1a5 | checkpoint | Location reference attached
72d3b0a6-a022-5778-a642-3e8b536fd2d4 | textbox | Description
c5cfa15b-adb7-59cb-a591-9e80657fe921 | dropdown | Service type | Hydraulics,Electrical,Sewer,Stormwater
4c42d41d-5f02-5b07-85e1-a268e3d6881d | checkpoint | Setout/Excavation depth
| textbox | Excavation depth
a27defdd-b7e1-5377-af23-8314c358401c | checkpoint | Subgrade testing and results
| note | Any soft sopts or undercut & associated remedial
| checkpoint | Granular type
| checkpoint | Protection tape, tracerwire, magslab installed
| checkpoint | Backfill - GAP20 (150mm thickness)
| checkpoint | Structual backfill (ATAP65/GAP65 200mm lifts)
| checkpoint | As-builts
c7f14e37-c751-4323-b412-9b110fc41a8c | checkpoint | Final Pass: Service works completed, reviewed and approved
5e887629-cd37-5f8d-a43b-0294a63cc9cc | note | Attach As-Built
630545ef-8b1e-52df-abc3-aba6ffa993fc | note | FINAL - Pass when work(s) are completed, area clean & tidy