## Checklist Templates
Id | Type | Name | Values | Prompting Name
084b6b32-7dce-586f-b3db-7ddd7cd5ccd0 | checklist | Commissioning Basement 1 |  | Commissioning Basement 1
76c51d5b-d796-51a9-b752-8b8ab4863641 | checkpoint | Bin Room & Food waste
11baed50-3340-55f5-ae1c-d8780d183ea3 | textbox | Sink Mixer
16464be3-aaf4-5594-99c7-dd9f263d6617 | textbox | Sink Waste
d556520a-96eb-5bb5-a018-edcb806bfe44 | textbox | HWU
d9ab3fd5-9893-5e45-9da5-3f8e4d719254 | textbox | Floor wastes clear
4a912302-4af2-5f4a-bb6c-9158644569b1 | checklist | Commissioning Checklist Ground Floor |  | Commissioning Checklist Ground Floor
91641da8-d07c-58e9-87ab-4322cc70e5a2 | checkpoint | Male Change
1ab83ede-4c3c-5850-9bf8-4efe2276293c | textbox | Basins
b377a134-052e-5606-8100-8d0fc09daa23 | textbox | Showers
fc21f58f-e698-595a-b4aa-4f30b18075a2 | textbox | WC
9efec438-8c1a-599f-a349-ef78c89e7751 | textbox | Floor waste cleaned and Clear
95735be7-a61f-527d-b96d-9575771f0c4a | checkpoint | Female Change
6ebf7eda-a59a-5a87-8827-afe8b098b3b3 | textbox | Basins
a000d332-4460-5fa4-9f3e-4ed8828428f6 | textbox | Showers
f44ee07a-5f40-57c4-b6d9-ca88638c9246 | textbox | WC
5c6a9905-16e0-5b00-8834-b2906e743182 | textbox | Floor waste cleaned and Clear
5fd2d3fc-0c1b-55aa-9546-d654fe9794cd | checkpoint | Gender Nuetral Change
f4c5ae6a-371e-50ed-9532-2d99e98ce799 | textbox | Basins
b24d7e65-771c-5882-ae66-fa20eea4824e | textbox | Showers
87f8e945-b53d-5a57-a00c-ef5460e60d19 | textbox | WC
f2715ecb-a11e-5534-84af-b8d5c542eb46 | textbox | Floor waste cleaned and Clear
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
7ff0bf04-d35c-54d0-9b2b-0395b2e197ea | textbox | Basin
173cdcd8-89d6-5f27-9afd-8df09097c59a | textbox | WC
9038f32a-605e-5d97-af7b-76ab38d47c10 | textbox | Floor waste cleaned and Clear
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
68151de4-f0c5-535c-8d61-33c28cce4ef1 | textbox | Basin
96904617-0e28-5a3b-b0ce-59cb01851581 | textbox | WC
289fa0e1-13c6-5e9d-8c3e-2bbcca74d368 | textbox | Floor waste cleaned and Clear
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
5c6a9087-86ad-5f16-84b4-6c9b5b2c1c71 | textbox | Basin
ac1f04f8-8e1a-5bb6-9565-4c41933952c8 | textbox | WC
6da72417-aff5-571b-bf19-699cfef2633f | textbox | Floor waste cleaned and Clear
afbbd689-df8d-570c-8a68-66dba272327c | checkpoint | Cleaners Room
97d1040e-3563-571d-87c8-e4267f81ca14 | textbox | Sink Mixer
775cdd42-c0ed-5253-b03e-8ca8e35f221f | textbox | Sink Waste
eb590144-55ef-5369-80a0-7f37613041f4 | textbox | HWU
56f6e3a1-f443-5368-be03-6fb75dffda23 | textbox | Floor waste
6694c98f-9178-5434-ad9d-3eb60d7816ae | checkpoint | Bin Room
064fe2e0-e127-5441-a68c-fe52e2e71d06 | textbox | Sink Mixer
ef991a78-275e-59ca-b80a-ac1a77c23a9e | textbox | Sink Waste
1fdf3fff-24f9-5776-a9ce-cbf2ec474eec | textbox | HWU
f9fa6370-92b8-5398-9321-1307d50194f0 | textbox | Floor waste
b43fb823-0bb8-54ee-8048-e4b99e7b6966 | checklist | Commissioning Checklist Level 1-7 |  | Commissioning Checklist Level 1-7
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
b306c6ad-3c42-59d0-929f-b560b1ebc089 | textbox | Basin
7107c3af-b694-5a95-ad30-6ce65326924b | textbox | WC
af72c994-a3d7-5999-9d37-a42d3c758123 | textbox | Floor waste cleaned and Clear
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
ef82e4e8-9bcf-5e70-9870-8f435238125f | textbox | Basin
968a7ece-ca85-5e75-83b0-b2b2b81e3457 | textbox | WC
9fd0d4fc-a3ba-560f-8046-5e3d3cd87754 | textbox | Floor waste cleaned and Clear
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
6e86f77e-a03b-5e74-b5d0-f0ca57277bfc | textbox | Basin
e7dc3326-8308-56c7-95ce-c1b906eca2b2 | textbox | WC
0b5d754e-2239-53d2-8894-b2f4ef3a8721 | textbox | Floor waste cleaned and Clear
c2cb8304-3d73-5284-8b41-facc39211c8b | checklist | Commissioning Checklist Level Roof |  | Commissioning Checklist Level Roof
ab7edde5-0dea-5cc7-8b41-40d0833598d4 | checkpoint | Floor waste cleaned and Clear
3bcddeaa-9968-5e48-ba18-1907073f3e89 | checkpoint | HWU
6047710d-0706-5d7c-98a7-c7ac93cbb89c | checklist | DCW Checklist |  | DCW
1bc7d9d9-d390-5bd3-bb0d-99bdfa30780b | checkpoint | Quality control pressure test report uploaded below
cff745de-7e3d-5e59-8152-be7309e863ff | textbox | Ambient temp
5810cac3-c7bc-5200-93cf-31f7c6b463b5 | textbox | First test
05ac3eb7-28da-5652-9de3-0fe919634d9b | textbox | Second test
725462d8-5941-5e10-b84e-2cc27fc22722 | checkpoint | Approved material
c2762384-5851-5383-b0c8-1b9becefeb2e | checkpoint | Approved Jointing methods
6f7e0140-8b3d-5c9e-88f1-08c768c42824 | checkpoint | Appropriate protection/seperation between other services
03f9c596-e065-597f-8dac-450e4b79a356 | checkpoint | Pipe support
1babaa80-5ecc-5207-896b-17de6265e461 | checkpoint | Appropriate cross connection controls
59023e00-7f8f-5db1-ab6c-14fd4cfe3652 | checkpoint | Appropriate valves and devices
e66f0716-0728-5261-a4d7-87afb3514cc9 | checkpoint | Tested to required pressures and times under test
3dc617fd-fe23-59b9-b031-788d73c40175 | checklist | Fit-Off Checklist Bin Room |  | Fit-Off Checklist Bin Room
1dfb8bb2-3e1e-5753-a310-3d8b4b94e098 | checkpoint | Food Waste
8f9fb97d-dfb2-50b6-8606-256cd4c1dccc | textbox | Sink Mixer
ec368ac3-2ad2-5d7f-831b-149caed8cec1 | textbox | Sink Waste
d77e6a79-373c-557f-8335-1911014dc212 | textbox | HWU
03ac1985-8ac0-5f3d-9f9e-ca4d024773ca | textbox | Floor waste
d8f80fae-1862-5b68-b1ad-6f724ff3421d | checklist | Fit-Off Checklist Food Waste |  | Fit-Off Checklist Food Waste
1dfb8bb2-3e1e-5753-a310-3d8b4b94e098 | checkpoint | Food Waste
cfacc79c-85f7-500d-87b4-a0d8c6d69692 | textbox | Floor waste
b76d00e3-6d7c-534c-aa4c-f4b73cff5e28 | checklist | Fit-Off Checklist Ground |  | Fit-Off Checklist Ground
91641da8-d07c-58e9-87ab-4322cc70e5a2 | checkpoint | Male Change
222edbe5-f2ae-5d92-bebb-e1079c6cb282 | textbox | Basin
80f7cdc4-5003-5d0d-beb1-866fcb47c356 | textbox | Mixer
87d723f3-39c6-5f40-b770-cba96d8b26d2 | textbox | Waste
d49bc028-aaef-53c1-a87f-b36b25a18d87 | textbox | Shower
7293ad1f-c027-559d-93ab-d95da45c5068 | textbox | WC Installed
95735be7-a61f-527d-b96d-9575771f0c4a | checkpoint | Female Change
38440a0a-6059-5229-857a-430f54645d57 | textbox | Basin
27deeb28-b099-52ad-bc7a-3c4be4313f39 | textbox | Mixer
02d6895d-ed08-5abe-8cc3-9ed79f3d6a8d | textbox | Waste
c9122442-74bd-5db4-a826-fd4f8301c199 | textbox | Shower
0af75296-13db-5153-8405-4f7692debf39 | textbox | WC Installed
5fd2d3fc-0c1b-55aa-9546-d654fe9794cd | checkpoint | Gender Nuetral Change
2a7e358a-a6f6-5c4d-9536-b1bb8c8d125f | textbox | Basin
c1abc171-7aa0-5196-a852-5a2eda868853 | textbox | Mixer
46179db2-3785-5736-819c-7d56090ebdd8 | textbox | Waste
df11a3ac-f819-51ca-8da9-e50158efa260 | textbox | WC Installed
d06e0088-eb89-5f47-8700-c04fa0e1a289 | textbox | Shower
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
9b06009f-8d19-554b-929d-e349c2f1eca7 | textbox | Basin
e8d7bb3a-e85d-5cee-8414-33860d973479 | textbox | Mixer
e31fea92-23ef-5262-a372-b467c144bf4a | textbox | Waste
54f6ab38-b0ab-5fb8-82bb-841d5d38833d | textbox | WC Installed
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
da8bf8a8-f5dd-5172-91c5-223e9405ff5a | textbox | Basin
0445680a-5771-5340-b57e-f830c8e3705b | textbox | Mixer
fd985202-6ed7-515f-9c22-7619227982a2 | textbox | Waste
c5abe49d-8a62-50ee-b762-19b3b69ee9f9 | textbox | WC Installed
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
cadc8728-ca03-5299-8872-5b814ab5f740 | textbox | Basin
3f854e35-401a-5dd6-8da8-e709151601e7 | textbox | Mixer
1387aba8-7982-5c6f-9d07-9f5a7da680e8 | textbox | Waste
5758ffc3-13ed-50ea-86a4-8d25305e5080 | textbox | WC Installed
0fe85bb0-2d80-5bd4-a4c8-5669acc4419e | checkpoint | Water Meter
343c02ec-62ad-58b9-b587-12c1f9ade410 | checklist | Fit-Off Checklist Level 1-7 |  | Fit-Off Checklist Level 1-7
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
31c6efd5-d7f7-5e43-b58e-ba895a499f33 | textbox | Basin
399a913f-5350-55e6-ac48-96b490763554 | textbox | Mixer
1506a972-e83d-56e3-99fc-f88a046bb1ea | textbox | Waste
35f3c137-4398-5b45-b5fd-bc1a54cb2641 | textbox | WC Installed
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
bf317a8e-29ca-5324-b837-416f4f4f9dff | textbox | Basin
59914953-ac16-51c3-8cdf-45b818ad4d08 | textbox | Mixer
496e7356-4c18-5b4a-bf6e-91b6c0976cff | textbox | Waste
4785c2d1-4a5f-554c-9fc2-b10cb506fcfb | textbox | WC Installed
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
2d0f5621-3179-5692-ad06-762f7f03412b | textbox | Basin
5bc0f29e-59dd-5e14-a036-3af5fae9a164 | textbox | Mixer
922624e2-5591-5e2f-a51b-7aadad149551 | textbox | Waste
a1700264-cbe6-5bd3-a251-bec9f291d482 | textbox | WC Installed
0fe85bb0-2d80-5bd4-a4c8-5669acc4419e | checkpoint | Water Meter
856ffc74-a4cd-5c71-ac60-259662097d9a | checklist | Header Penetrations |  | Header Penetrations
dc57c398-f71c-5e7e-a708-11b59ed0c91c | checkpoint | Fire rated with Hilti 611A intumescent
adcafba0-dd4d-5c03-a000-63dc218c1ae9 | checklist | Hot Water Checklist |  | Hot Water
1bc7d9d9-d390-5bd3-bb0d-99bdfa30780b | checkpoint | Quality control pressure test report uploaded below
86deb85f-9151-5ab6-8671-50441ea907ae | textbox | Ambient temp
fddd2302-b92d-5c3e-af9f-ba503ef756d3 | textbox | First test
fd0fb33a-8efb-5942-aa4b-e2eb626b597c | textbox | Second test
725462d8-5941-5e10-b84e-2cc27fc22722 | checkpoint | Approved material
c2762384-5851-5383-b0c8-1b9becefeb2e | checkpoint | Approved Jointing methods
c56fabb1-f06e-523f-9b28-a5eb44a35b57 | checkpoint | Appropriate protection
03f9c596-e065-597f-8dac-450e4b79a356 | checkpoint | Pipe support
1babaa80-5ecc-5207-896b-17de6265e461 | checkpoint | Appropriate cross connection controls
59023e00-7f8f-5db1-ab6c-14fd4cfe3652 | checkpoint | Appropriate valves and devices
6492f9a2-9003-5f5f-a193-7d6ec616f3ba | checkpoint | Tested to required pressures and times under test.
237cd155-38ad-532a-951a-ac29b44710ed | checklist | Penetration Checklist |  | Penetrations
df3afeda-fc16-5131-8170-7c83c38932ca | checkpoint | All penetrations installed as per plan
676129ec-0122-5241-aa2f-1c1cfe7b1c66 | checkpoint | Photos must be uploaded of deck
87114e03-d991-5f76-b7b4-ee978ddb8f31 | checklist | Rain Water Checklist |  | Rain Water
1bc7d9d9-d390-5bd3-bb0d-99bdfa30780b | checkpoint | Quality control pressure test report uploaded below
05db102c-d7dd-551a-9954-46ae25cd314e | textbox | Ambient temp
34412690-3bf0-56e8-a0a2-f417a379696b | textbox | First test
f7d2e31a-6a3f-5020-8bb1-660c8468e8e1 | textbox | Second test
725462d8-5941-5e10-b84e-2cc27fc22722 | checkpoint | Approved material
c2762384-5851-5383-b0c8-1b9becefeb2e | checkpoint | Approved Jointing methods
c56fabb1-f06e-523f-9b28-a5eb44a35b57 | checkpoint | Appropriate protection
03f9c596-e065-597f-8dac-450e4b79a356 | checkpoint | Pipe support
1babaa80-5ecc-5207-896b-17de6265e461 | checkpoint | Appropriate cross connection controls
59023e00-7f8f-5db1-ab6c-14fd4cfe3652 | checkpoint | Appropriate valves and devices
6492f9a2-9003-5f5f-a193-7d6ec616f3ba | checkpoint | Tested to required pressures and times under test.
fd33cc0d-8cbb-594b-a5b4-5c6966f14995 | checklist | Rough-In Checklist |  | Rough-In
82978c10-d5b5-53bc-844a-16a3cf689c9e | checkpoint | Lagging Complete
b09ec846-c1b3-5c1e-b2e3-d1ddcfbfa508 | checkpoint | Un used Peno's sealed
bb273157-a93f-5216-8882-b64fc02f1e32 | checkpoint | ROUGH IN COMPLETE
387e49c7-2a82-58ec-9dc9-44c33a882106 | checkpoint | HEADER PIPES FIRE CAULKED
caa51357-6c69-52c7-94cf-32a42cdac7ba | checkpoint | TMV ACCESSIBLE TO A/P
2749934b-0ff3-517d-87a6-c68abdcc69cf | checkpoint | CROSS CONNECTIONS
6873b12a-2252-58d6-bab9-321b18cf6477 | checkpoint | MIXER STRAIGHT, SET BACK CORRECT
b7ace4ad-1ab9-559b-983d-f99e9bbcb2fc | checkpoint | FW CLEANED, COVERED AND CLEAR OF DEBRIS
2c7b24e3-3194-5f22-abf9-cbf88b955452 | checkpoint | AAV REQUIRED?
5c770a02-38ec-5035-b5ac-a27144555e7b | checkpoint | FIXTURE SET OUT CORRECT
4170dcad-ccde-50a2-acb8-b9e364dd1a95 | checklist | Sanitary drainage Checklist |  | Sanitary drainage
570b8746-d828-55ec-99ba-45ccd417c4bc | checkpoint | Drainage
e5642f6a-77a6-5087-8967-03fe09fc583e | tickbox | Pipework has approved gradient
83c63db6-ac39-50d1-bcff-24359edd1c39 | tickbox | Provision for expansion provided
462c7195-46d5-548b-a9e7-2420d4fbad20 | tickbox | Appropriate fitting used in appropriate manner
cd673ad1-77ec-50e8-9844-1af0624ee103 | tickbox | Venting requirements met
db55d8d4-77ae-58a0-b6c1-4283f9e0e432 | checkpoint | Pipe clip hanger - Pipe work has appropriate supports and spacings
9db0b1b6-4820-52b7-b33a-96cb3baa63fc | checkpoint | Material approved and pipe installed to correct size
f1f2a09d-fb0b-5e4d-aaae-1143cd7d6322 | checkpoint | Alignment - restricted zone has been met
9491e2a0-5230-5b99-9c5f-d6651f9ad635 | checkpoint | Approved labelling and identification applied
30b4cef4-2006-5da7-b427-bff64efb9887 | checkpoint | Approved jointing methods used
917a7d9c-84ae-5d1c-8534-65298f81bf95 | checkpoint | Penetrations correctly sealed
ee44fec8-82da-50be-8f90-60a0870e712b | checkpoint | Fire stop retro collars sealed using approved sealant
01436e42-b084-5429-ac7a-eaa97ceb5307 | checkpoint | Seismic bracing installed to comply with seismic certification if applicable
d4dacffa-c0d0-5311-99b9-0023cab44d89 | checkpoint | Water Test complete
a739bfba-58b4-5fbd-8245-6787982037b5 | checkpoint | Confirm all open connections are sealed/capped
26b981fc-cbcb-5fbb-96ad-429a54120e1d | checkpoint | Photos of all drainage
532bcadb-161d-5827-b921-fe6be311eaed | checklist | TMV Checklist |  | TMV Checklist
6ea74726-b271-5ff1-af57-541c22529dbd | checkpoint | Location
963ad62a-ecb2-5478-94fd-5998fe9979e9 | checkpoint | Serial Number
b851a106-8208-5943-a491-439791d74121 | checkpoint | Size
fc9f6896-602b-50a6-95d7-efd890980788 | checkpoint | Make / Model
38efd534-2cf0-5c61-8fc2-91e4e634e9ff | checkpoint | Temperature