## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | DRAWING # / TITLE | [5 empty] | ITC - (001) Drawing Register (For Construction)
section | Drawing Register (For Construction)
checkpoint-no-status | DRAWING:
label | ALL PRODUCTIVE DRAWINGS MUST BE REGISTERED AND STAMPED IN RED TO INDICATE PHYSICAL CHECK AND PROCESS TO QA REQUIREMENTS.
date | Date:
textbox | DRAWING No.
textbox | DRAWING TITLE
textbox | REVISION / ISSUE
checkpoint-no-status | DISTRIBUTION:
textbox | SITE OFFICE
textbox | SITE
checklist | BOARD TYPE / NUMBER / AREA | [5 empty] | ITC - (002) Main and Distribution Panels
section | Main and Distribution Panels
checkpoint | ACCEPTANCE CRITERIA
checkpoint | MFG QA
checkpoint | DAMAGE
checkpoint | LOCATION TO DRAWING
checkpoint | EQUIPMENT TO DRAWING
checkpoint | CONNECTIONS INCOMING & OUTGOING BY HEYDAY.
checkpoint | NEUTRAL CONNECTIONS CORRESPOND
checkpoint | CORRECT EARTHING AND SOLIDLY FIXED
checkpoint | POLE FILLERS INSTALLED
checkpoint | ALL CABLE ENTRIES WITH ESCUTCHEON PLATES AND SEALS FITTED
checkpoint | BOARD SEALED AND LOCKED FOR SAFETY INC: FRONT AND REAR PANELS
checkpoint | LABELS AND SCHEDULE LIST CORRECT AND INSTALLED
checklist | LEVEL / AREA / FED FROM / TO DB # | [5 empty] | ITC - (003) Main and Submain
section | Main and Submain
checkpoint | COMPLIES TO SPEC AND LATEST DRG
checkpoint | SIZE CORRECT
checkpoint | INSTALLED CORRECT
checkpoint | TERMINATED
checkpoint | TESTED AS PER NOEW FORM
checkpoint | NOEW SUBMITTED TO COUNCIL
checkpoint-no-status | REMARKS
textbox | Remarks:
checklist | LEVEL / AREA | [5 empty] | ITC - (004) Cable Tray-Ladder
section | Cable Tray-Ladder
checkpoint | AREA/LOCATION TO DRAWING
checkpoint | CORRECT SIZE, TYPE & SPARE CAPACITY
checkpoint | GALVANISED / PAINTED
checkpoint | CORRECT SPACING
checkpoint | CORRECT ALIGNMENT
checkpoint | CORRECT BRACKETS AND SAFE FIXING
checkpoint | CLEAR TO OTHER SERVICES
checkpoint-no-status | REMARKS
textbox | Remarks:
checklist | LEVEL / AREA | [5 empty] | ITC - (005) Inground Conduit
section | Inground Conduit
checkpoint | CORRECT LOCATION TO DRAWING
checkpoint | CORRECT SIZE AND TYPE
checkpoint | CORRECT SPACING IN SLAB
checkpoint | CORRECT ALIGNMENT
checkpoint | CLEAR TO OTHER SERVICES
checkpoint | CORRECT DEPTH U/GROUND
checkpoint | CORRECTLY MARKED (TAPE OR OTHER)
checkpoint | CORRECT FIXING AND SAFE
checkpoint | CORRECT BACKFILL AND SURFACES
checklist | LEVEL / AREA / D.B. # / CCT # / CB # | [5 empty] | ITC - (006) Lighting Circuits
section | Lighting Circuits
checkpoint | CONDUIT
checkpoint | ROUGH IN
checkpoint | FIT OFF
checkpoint | TESTED
checkpoint | NOEW SUBMITTED TO COUNCIL
checkpoint-no-status | REMARKS
textbox | Remarks:
checklist | LEVEL / AREA / D.B. # / CCT # / CB # | [5 empty] | ITC - (007) Power Circuits
section | Power Circuits
checkpoint | CONDUIT
checkpoint | ROUGH IN
checkpoint | FIT OFF
checkpoint | TESTED
checkpoint | NOEW SUBMITTED TO COUNCIL
checkpoint-no-status | REMARKS
textbox | Remarks:
checklist | ITEM # | [5 empty] | ITC - (008) Electrical Equipment-Accessories
section | Electrical Equipment-Accessories
checkpoint | CORRECT TYPE / COLOUR
checkpoint | CORRECT ALIGNMENT LOCATION
checkpoint | CORRECT FIXING AND MADE SAFE
checkpoint | CORRECT LABELLING
checkpoint | CORRECT TERMINATION
checkpoint | CORRECT EARTHING
checkpoint | CORRECT IP RATING
checkpoint | CORRECT CLASSIFICATION
checkpoint | FINAL CHECK AND NO DAMAGE
checklist | CABLE ID / FROM / TO | [5 empty] | ITC - (009) Main Earthing System
section | Main Earthing System
checkpoint | PRE-REQUISITE WORKS
checkpoint | VISUAL CHECK
checkpoint | CONTINUITY TEST
checkpoint | ELECTRICAL RESISTANCE TEST
textbox | RESISTANCE (OHM)
textbox | TARGET RESISTANCE (OHM)
checklist | DESCRIPTION | [5 empty] | ITC - (010) Cardiac Earthing
section | Cardiac Earthing
checkpoint-no-status | CABLE DETAILS
textbox | FROM:
textbox | TO:
checkpoint | CABLE SIZE INSTALLED AS PER AS/NZS 3003:2018 TABLE D1
checkpoint | ROUGH IN – HIGH / LOW LEVEL
checkpoint | FIT OFF
checkpoint | POINT TO POINT TEST
checkpoint | DRAWINGS MARKED UP TO REFLECT AS-INSTALLED
checkpoint-no-status | REMARKS
textbox | Remarks:
checklist | Testing and Commissioning | [5 empty] | ITC - (030) Testing and Commissioning
section-nested-checklists | EQUIPMENT / SYSTEM TO BE COMMISSIONED
checkpoint-no-status | REMARKS
textbox | Remarks:
checklist | ITEM | [5 empty] | Add Testing and Commissioning item (ITC - 30)
section | Testing and Commissioning
checkpoint-no-status | ITEM:
textbox | DESCRIPTION
date | DATE OF TESTS
label | INSPECTION/WITNESS BY:
textbox | NAME
textbox | COMPANY/DEPARTMENT
checkpoint | ACCEPTANCE
holdpoint | CONFIRMATION
checklist | As Built Drawings-Maintenance Manuals | [5 empty] | ITC - (031) As Built Drawings-Maintenance Manuals
section-nested-checklists | AS BUILT DRAWINGS
checkpoint-no-status | REMARKS
textbox | Remarks:
checklist | AS BUILT DRAWING | [5 empty] | Add As Built drawing (ITC - 31)
section | Testing and Commissioning
checkpoint-no-status | AS BUILT DRAWING:
textbox | AS BUILT DRAWINGS NO:
textbox | DRAWING TITLE
textbox | FINAL REVISION AND DATE
textbox | NAME
textbox | COMPANY/DEPARTMENT
checkpoint | MANUALS (DRAFT) ACCEPTANCE
checkpoint | MANUALS AND DRAWINGS SUBMITTED