## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
5f8851ca-4947-4fe5-8949-62c123af6f0b | checklist | ITP-115 - Mechanical - Final Sign Off |  | ITP-115 - Mechanical - Final Sign Off
19e61657-1d77-442f-a5d2-577645eee8a0 | section | Details
94b5957c-f858-49ac-832c-35ffd115c8eb | checkpoint | Subcontractor Sign-Off (attach signature)
785231bb-f2ba-4b31-814a-3f3664062061 | checkpoint | Head Contractor Sign-Off (attach signature)
92cc0458-da54-46e4-a598-7f0791dd9d35 | checkpoint | Client Sign-Off (attach signature)
12686afb-e6e0-43a7-a7d5-7cff2a5cb981 | checklist | ITP-115 - Mechanical - Fit-Off |  | ITP-115 - Mechanical - Fit-Off
c998ff70-fea4-4a8d-9bb9-5eef091a9804 | section | Details
14190970-1b8c-492a-a0ad-1767a4a9f11a | checkpoint | Check Pressure
e00910bc-db1e-493d-846a-d3ef0bc1d64a | checkpoint | Install Condensers
5ed6aae3-abfe-4678-be7d-d6ef5289697a | checkpoint | Terminate Drain
08d38595-87e9-4645-b235-47c8fbeaf03b | checkpoint | Terminate Power and Controller
a5595ba3-4e19-4ca7-a41c-6f86f04986bc | checkpoint | Install Grilles
2f94b1f5-1e22-4136-99fe-ea9ebf77d096 | checkpoint | Pressure test
2f2bf31b-9ad2-49ae-a043-2f2179bc36b6 | checkpoint | Vacuum system
55112a30-d98a-4df2-a27e-ea905f5a93c1 | checkpoint | Access To Equipment Checked
7e96c2d6-8b27-4df4-b53c-3f7673d59bfa | checkpoint | Commission
482ad717-4281-4b18-9d63-9288d0ddf348 | checkpoint | Confirm Model No
e14fcfd0-030e-4ea4-ae0c-d17e065faee4 | checkpoint | Confirm Serial No.
d1b677e1-dde7-46b4-9541-0c890c8224bc | checklist | ITP-115 - Mechanical - Rough-In |  | ITP-115 - Mechanical - Rough-In
c02c3efe-558c-43a9-8548-e56faea28cfb | section | Details
77a9f183-cb73-40ea-8307-cfbbf1ff1307 | checkpoint | Check Materials
252995ad-74d8-416a-a3e7-28cc2b434cf6 | checkpoint | Install FCUs
fdfc7437-1dbc-48d0-990d-3c0a86d17bd1 | checkpoint | Install Fans
401dc5b6-2f0e-4ec6-a582-7aa26a11f3af | checkpoint | Install Pipework
045110f3-4cd7-442c-bd27-2f2bdbec1fb3 | checkpoint | Install Cabling, Controls, etc.
2134e19c-516f-4852-a2d3-b53216d89a13 | checkpoint | Install Flexible Ducts
10a94ab6-d505-4b7d-8c43-d3c288b880d3 | checkpoint | Install Drains and test
5e25e072-9192-4b43-9cdb-7a98b50e13b4 | checkpoint | Fire Boxes/Collars/Dampers Installed. Attach photos
1bd8f7e5-0caf-45fc-a76c-bd8b279d854e | checkpoint | Install Rigid Duct and seal
c8274710-257c-4d03-86b4-3f2cc05789e2 | checkpoint | Install Louvre Box
c343731f-1341-4f43-8d14-ca98ef658bb4 | checkpoint | Access Panels Marked
cdb51ba9-7d8e-4d84-bba6-08b1732b4212 | checkpoint | Pressure Testing
0eebe9ee-5632-4a8a-a8f1-6263f3845eb3 | checkpoint | Confirm Model No
77758c85-95b4-447b-81f8-9df9e32b61f9 | checkpoint | Confirm Serial No.
13624b20-1afe-4552-8abc-5e22c5edd811 | checklist | Pre-Con Inspection |  | Pre-Con Inspection
252066b2-fe70-45ab-ae16-a5ce6b66b12f | section | Details
f9edc900-ce6e-4390-9e9d-e6811c191ffc | checkpoint | Sub Review
9eb37cd3-727c-4418-80dd-2b97c4c48d7a | checkpoint | Safety Induction
a559f24e-9717-4656-9241-b09421a3d44c | checkpoint | Drawings Approved
30feaebd-d7c6-47fe-8ddf-5a3c1db0ae67 | checkpoint | Site Inspection