## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
| checklist | Pre-install Mods |  | Pre-Install Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b00b5a77-ad76-45b6-b3ad-2731c8def02a | checkpoint | Bracket Survey completed & within acceptable tolerance
09275694-954a-46dc-87cb-d8c38a7c6214 | checkpoint | Bracket Connections to building torqued to specifications
0f1896aa-38e6-449b-83dc-81b006266aa3 | checkpoint | Structural glazing sealant undamaged, fully cured
| checkpoint | No glass damage, delamination, or edge chips
| checkpoint | Frame and corner joints intact and not deformed
| checkpoint | Labels and module ID still present and legible
| checkpoint | No signs of contamination (grease, dust, water)
ee1f42a1-e66d-41ac-9256-7fd3a4f3c058 | checklist | General Manufacturing Template - CBC (STAGE #6) |  | General Manufacturing Template
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
71bc9155-72e0-4036-829a-74b82a1e260f | checkpoint | Lengths cut as per Jobsheet
952be6f0-0f91-47df-8002-cff0fac02608 | checkpoint | Prep & machining work completed as per Manufacturing pack & Shop Drawings
7ed20bda-756d-4923-ad0e-c867aee69b65 | checkpoint | Sealant applied where required prior to assembly
5adecd7e-14eb-4ea6-aaf8-3b57eb7674e9 | checkpoint | Assembled as per manufacture drawings
ad552e7e-9ac8-468f-8733-814cd3d7e460 | checkpoint | Joints oversealed as per APL manufacturing pack
8b8442bf-a118-4474-b5e3-1971738e04d8 | checkpoint | Fin Brackets installed as per manufacture pack
b3fd6ae7-fef2-410a-9e64-dd1621c47d71 | checkpoint | Bracket machine flange oversealed prior to glazing
4639cfd6-5a44-4f35-b24a-e00795617cba | checkpoint | Hook brackets installed as per manufacturing pack & shop drawings, bolts torqued as per specifications
4c22c768-c99c-4c01-ba9a-46602e1ccba1 | checkpoint | Hook Bracket Bolts are oversealed
c4faa141-27b3-4248-82dc-851b672e189e | checkpoint | Box Fins Installed as per panel drawings.
676ccc8e-e4d3-4106-a830-a3677db2e6c7 | checkpoint | Box Fin End Caps installed & Location are correct
815301b3-6cc6-446b-bb32-be8692a61a2d | checkpoint | Box Fin bolts torqued as per specification.
49a9428c-3040-5149-8ea7-278385d8a5f0 | tickbox | Each Module /Item labelled correctly