## res
type | name | values | prefix | postfix | usage count | user addable | template name
checklist-flat | Pre Wire | [5 empty] | Pre Wire (Common Areas)
checkpoint | Cabling Completed and Acceptable (Attach Photos)
checkpoint | Flush Box Fire Box Installed (Attach Photos of Fire Box)
checkpoint | Attach Photos Of Fire Penetrations
checkpoint | Area is left clean and tidy (Attach Photos)
checklist-flat | Terminated & Tested | [5 empty] | Terminated & Tested (Common Areas)
checkpoint | Lan Test Completed and Acceptable (Add Signature)
checkpoint | Camera Faceplates Fitted off and Acceptable (Attach Photos)
checkpoint | Area is left clean and tidy (Attach Photos)
checklist-flat | Fit Off | [5 empty] | Fit Off (Common Areas)
checkpoint | Nurse Call Fit Off (Attach Photos)
checkpoint | Camera Fit Off (Attach Photos)
checkpoint | Repeaters Installed (Attach Photos)
checkpoint | Area is left clean and tidy (Attach Photos)
checklist-flat | Pre Wire | [5 empty] | Pre Wire (Residential Areas)
checkpoint | Internal Cabling Complete (Attach Photos)
checkpoint | Main Cabling Complete (Attach Photos)
checkpoint | Flush Boxes Installed (Attach Photos)
checkpoint | Fire Boxes Installed (Attach Photos)
checkpoint | Fire Walls Point of Entry (Attach Photos)
checkpoint | Area is left clean and tidy (Attach Photos)
checklist-flat | Pre-Wire Only | [5 empty] | Pre-Wire Only (Residential Areas)
checkpoint | Lan Test Completed and Acceptable (Add Signature)
checklist-flat | Terminated & Tested | [5 empty] | Terminated & Tested (Residential Areas)
checkpoint | Lan Test Completed and Acceptable (Add Signature)
checkpoint | Nurse Call Faceplates Fitted off and Acceptable (Attach Photos)
checkpoint | Area is left clean and tidy (Attach Photos)
checklist-flat | Fit Off | [5 empty] | Fit Off (Residential Areas)
checkpoint | Nurse Call Fit Off (Attach Photos)
checkpoint | Area is left clean and tidy (Attach Photos)
checklist-flat | Comms Room Commissioning | [5 empty] | Comms Room Commissioning
checkpoint | Separate and Tone Nurse Call (Add Signature)
checkpoint | Terminate Nurse Call Patch Panels (Attach Photos)
checkpoint | Build Nurse Call System (Attach Photos)
checkpoint | Program Nurse Call System (Add Signature)
checkpoint | Commission Nurse Call System (Attach Photos)
checkpoint | Commission Fire Interface (Attach Photos)
checklist-flat | Building Commissioning | [5 empty] | Building Commissioning
checkpoint | Build Patch Panels (Attach Photos)
checkpoint | Build Nurse Call System (Attach Photos)
checkpoint | Program Nurse Call System (Add Signature)
checkpoint | Commission Nurse Call System (Attach Photos)
checkpoint | Commission Fire Interface (Attach Photos)
checklist-flat | Completion Documents | [5 empty] | Completion Documents
checkpoint | Producer Statements PS3s
checkpoint | As-Built Plans
checkpoint | O & M Manual
checkpoint | Other required documents