## matrix
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Rough In
| Scope |  |  | ROUGH IN
Rows
|  | BUILDING A | dynamic | ROUGH IN | BUILDING A | Site QA
|  | BUILDING B | dynamic | ROUGH IN | BUILDING B | Site QA
|  | BUILDING C | dynamic | ROUGH IN | BUILDING C | Site QA
|  | BUILDING E | dynamic | ROUGH IN | BUILDING E | Site QA
|  | BUILDING G | dynamic | ROUGH IN | BUILDING G | Site QA
|  | BUILDING H | dynamic | ROUGH IN | BUILDING H | Site QA
Columns
|  | Check Materials |  | Check Materials
|  | Install FCUs |  | Install FCUs
|  | Install Fans |  | Install Fans
|  | Install Pipework |  | Install Pipework
|  | Install Cabling, Controls, etc. |  | Install Cabling, Controls, etc.
|  | Install Flexible Ducts |  | Install Flexible Ducts
|  | Install Drains & test |  | Install Drains and test
|  | Fire Boxes/Collars/Dampers Installed |  | Fire Boxes/Collars/Dampers Installed. Attach photos
|  | Install Rigid Duct & seal |  | Install Rigid Duct and seal
|  | Install Louvre Box |  | Install Louvre Box
|  | Access Panels Marked |  | Access Panels Marked
|  | Pressure Testing |  | Pressure Testing
|  | Confirm Model No. |  | Confirm Model No
|  | Confirm Serial No. |  | Confirm Serial No.
Fit Off
| Scope |  |  | FIT OFF
Rows
|  | BUILDING A | dynamic | FIT OFF | BUILDING A | Site QA
|  | BUILDING B | dynamic | FIT OFF | BUILDING B | Site QA
|  | BUILDING C | dynamic | FIT OFF | BUILDING C | Site QA
|  | BUILDING E | dynamic | FIT OFF | BUILDING E | Site QA
|  | BUILDING G | dynamic | FIT OFF | BUILDING G | Site QA
|  | BUILDING H | dynamic | FIT OFF | BUILDING H | Site QA
Columns
|  | Check Pressure |  | Check Pressure
|  | Install Condensers |  | Install Condensers
|  | Terminate Drain |  | Terminate Drain
|  | Terminate Power & Controller |  | Terminate Power and Controller
|  | Install Grilles |  | Install Grilles
|  | Pressure test |  | Pressure test
|  | Vacuum system |  | Vacuum system
|  | Access To Equipment Checked |  | Access To Equipment Checked
|  | Commission |  | Commission
|  | Confirm Model No. |  | Confirm Model No
|  | Confirm Serial No. |  | Confirm Serial No.