## struct
resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
| step |  |  | Room Construction
Sign Off | checklist |  |  |  | Room Construction Checklist
Sign Off | checklist |  |  |  | QA Documentation
| step |  |  | Frame Construction
Sign Off | checklist |  |  |  | Frame Construction Checklist
Sign Off | checklist |  |  |  | Coastal Services QA Documentation
| step |  |  | Floor, Duct Penetrations
| step |  |  |  | Flooring, Penetrations Checklist
| step |  |  |  |  | Floor Cable Penetrations
| step |  |  |  |  | Floor Covering
| step |  |  | Cable Supports
| step |  |  |  | Cable Support Checklists
ITR-E-02B Cable Supports Above Ground | checklist |  |  |  |  | Cable Ladder
ITR-E-02B Cable Supports Above Ground | checklist |  |  |  |  | Uni Tray
| step |  |  | LV Lighting, Power, DATA & Accessories
| step |  |  |  | Lighting Checklist
ITR-E-64 General Lighting | checklist |  |  |  |  | Internal 5ft Emergency Light 01
ITR-E-64 General Lighting | checklist |  |  |  |  | Internal 5ft LED Light 02
ITR-E-64 General Lighting | checklist |  |  |  |  | Internal 5ft LED Light 03
ITR-E-64 General Lighting | checklist |  |  |  |  | Internal 5ft LED Emergency Light 04
ITR-E-01 General Electrical Equipment | checklist |  |  |  |  | 2 Way Light Switch 01
ITR-E-01 General Electrical Equipment | checklist |  |  |  |  | 2 Way Light Switch 02
ITR-E-64 General Lighting | checklist |  |  |  |  | Emergency Exit Light 05
ITR-E-64 General Lighting | checklist |  |  |  |  | Emergency Exit Light 06
ITR-E-64 General Lighting | checklist |  |  |  |  | Exterior Flood Light 07
ITR-E-64 General Lighting | checklist |  |  |  |  | Exterior Flood Light 08
ITR-E-01 General Electrical Equipment | checklist |  |  |  |  | PIR Sensor 01
ITR-E-01 General Electrical Equipment | checklist |  |  |  |  | PIR Sensor 02
| step |  |  |  | Power Checklist
ITR-E-01 General Electrical Equipment | checklist |  |  |  |  | Double Socket Outlet GPO01
| step |  |  | HVAC
| step |  |  |  | AC01
ITR-E-55 HVAC System | checklist |  |  |  |  | Indoor Unit
ITR-E-55 HVAC System | checklist |  |  |  |  | Outdoor Unit
ITR-E-01 General Electrical Equipment | checklist |  |  |  |  | AC Controller
| step |  |  |  | AC02
ITR-E-55 HVAC System | checklist |  |  |  |  | Indoor Unit
ITR-E-55 HVAC System | checklist |  |  |  |  | Outdoor Unit
ITR-E-01 General Electrical Equipment | checklist |  |  |  |  | AC Controller
| step |  |  | Equipment and Installation
| step |  |  |  | Panels
ITR-E-10 Electrical Equipment Package | checklist |  |  |  |  | MCC
ITR-E-34A Low Voltage Switch Board | checklist |  |  |  |  | LV AC Distribution Board
ITR-E-10 Electrical Equipment Package | checklist |  |  |  |  | 355KW VSD
ITR-E-10 Electrical Equipment Package | checklist |  |  |  |  | Harmonic Filter
| step |  |  |  | Pressurization Unit
ITR-E-10 Electrical Equipment Package | checklist |  |  |  |  | Pressurization Unit
| step |  |  |  | Earth Bar
ITR-E-40A Bus Bar | checklist |  |  |  |  | Switchroom Earth bar
| step |  |  | Cable Installation - Building Services
| step |  |  |  | Lighting
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-003 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-004 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
| step |  |  |  | AC Power
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-001 | 6.0mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-002 | 6.0mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-005 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-006 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | * | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
| step |  |  |  | HVAC Power
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-218 | 6.0mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-219 | 6.0mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-220 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-221 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
| step |  |  |  | HVAC Control
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | C-001 | 0.5mm ES PVC/PVC 1PR
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | C-002 | 0.5mm ES PVC/PVC 1PR
| step |  |  |  | Earthing
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-001 | 120mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-002 | 120mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-003 | 120mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-004 | 35mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-005 | 35mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-006 | 25mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-007 | 16mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-008 | 16mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-009 | 120mm 1C CU GRN/YLW PVC
ITR-E-12 Electrical earthing | checklist |  |  |  |  | E-010 | 120mm 1C CU GRN/YLW PVC
| step |  |  | Building Access
Sign Off | checklist |  |  |  | Stairs
Sign Off | checklist |  |  |  | Platform
| step |  |  | COC, ESC
Certificate of compliance (COC) | checklist |  |  |  | COC
Electrical Safety Ceritificate (ESC) | checklist |  |  |  | ESC
Test Equipment Details | checklist |  |  |  | Test Equipment
| step |  |  | Punchlist Walkdown
Sign Off | checklist |  |  |  | Sign Off
| step |  |  | Punchlist work Complete Acceptance
Sign Off | checklist |  |  |  | Sign Off
| step |  |  | Switchroom Complete
ITR-E-09 Electrical Switch Rooms | checklist |  |  |  | Entec Project Engineer
| step |  |  | As Built Drawings Complete
Sign Off | checklist |  |  |  | Entec Supervisor
| step |  |  | Workpack Completion Sign Off
Sign Off | checklist |  |  |  | Entec Project Engineer
Sign Off | checklist |  |  |  | TOP Energy Client representative