## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Foundations Checklist |  |  |  |  | Yes | Foundations Checklist | 2821ac71-79f9-45e5-a48b-b6e4ae6d9918
checkpoint-status |  |  | checkpoint | Details
text | 67b455f1-4969-5310-a86e-5fd90f3ced5b |  | textbox | Job No:
text | e3fc06da-9958-5909-92c4-2892e60bb35c |  | textbox | Contract Name:
text | 38743ccd-fb6c-5ae2-84e5-24ea60738bb7 |  | textbox | Pour Date:
text | eef6de8c-ce7b-57ba-ac45-baa8e6a475fb |  | textbox | Pour Location:
text | 2585792c-627b-5643-a451-90caef1f79e6 |  | textbox | Grid Lines Included:
text | 32262115-58b6-5358-b059-644d51087602 |  | textbox | Inspection No:
text | ec5247e4-c61c-5cbd-99f2-6659f89e03cd |  | textbox | Concrete Specification Required:
text | ca353dca-f82a-5f96-9056-b5392825e45a |  | textbox | Additives Requested:
text | 50ed7e6d-860d-5bf8-b45e-e806ba4d1706 |  | textbox | Finish Required:
text | 9cb99fd3-306e-5537-9521-61e10e75745e |  | textbox | Placer:
text | f2f166ba-cfad-5961-a2eb-fab8f90ba5f7 |  | textbox | Lights Organised:
checkpoint-status |  |  | checkpoint | Grids / RLs
boolean | 114e7fd5-22ec-5e1f-8c87-39e24de4d194 |  | tickbox | Grid lines checked
boolean | fc2461e3-07e0-57b6-9233-349e8d8ce327 |  | tickbox | RL checked
boolean | 55734b31-3b29-54ef-b3d7-6acd0225d07d |  | tickbox | Formwork checked
checkpoint-status |  |  | checkpoint | Hold Down Bolts /Shear Keys
boolean | 03c3015a-9d36-5d82-b6ee-f22c3a5a912b |  | tickbox | Position correct
boolean | 86d73e66-51ac-51b1-bd8a-696d4a65df20 |  | tickbox | Dimensions
boolean | 41cb0327-1db2-5ad5-ac8e-1f43510c90df |  | tickbox | Alignment
boolean | c12b9019-fa07-5cf6-bd7b-48fde8828565 |  | tickbox | Correct spacing
boolean | 4a9aa502-5a88-5a67-bc58-50844d5a8a07 |  | tickbox | Caps on all threaded rod
boolean | 643b0a47-c5bf-5e33-adf1-bfea2dd079f7 |  | tickbox | Clean up work area
boolean | 60f86ae6-9be7-53f7-9c5a-d1462131c6f6 |  | tickbox | Complete as pre contract documents
checkpoint-status |  |  | checkpoint | Penetrations / sleeves
boolean | dc5b0387-99bc-5520-a569-cb53bd25fb2e |  | tickbox | Drainlayer
boolean | 93bd4329-3ec8-5d7a-9b3f-8b21aac85c8c |  | tickbox | Plumber
boolean | 61f25061-4468-565f-93e0-4f89743c7e1d |  | tickbox | Electrical
boolean | a38904a7-845f-5923-8e1f-e2c206c84aa6 |  | tickbox | HVAC
checkpoint-status |  |  | checkpoint | Rebates
boolean | 1cd07542-ad26-593a-84ca-8779f42aabc0 |  | tickbox | Positions match arch plans
boolean | dcbfe7e1-27d6-513a-8320-086f21a390af |  | tickbox | Depths correct
boolean | 9a19b644-8f73-5bce-a59d-c9663131932f |  | tickbox | Widths match arch plans
checkpoint-status |  |  | checkpoint | Set Downs
boolean | 67ff0c63-6c17-54e3-a470-a9380dfbb9a6 |  | tickbox | Positions match arch plans
boolean | 1971a0e9-2f3e-567b-8562-49b1a157cd79 |  | tickbox | Depths correct
boolean | d2c7e515-994f-5ae6-9c5a-db30d08403d6 |  | tickbox | Pipes correctly protected
boolean | ce69ec34-b918-5442-9a73-3ee039b2dd68 |  | tickbox | Braced adequately
boolean | 292a152d-e58d-5405-9dae-d7e1a72bc74c |  | tickbox | Pre pour plan match up completed
checkpoint-status |  |  | checkpoint | Bottom Plate Hold Downs
boolean | 44312e71-820b-52dd-a827-60c7750f5a30 |  | tickbox | Installed as per arch plan
boolean | 576c490d-bd5e-5c64-9100-853fbc48a77c |  | tickbox | Correct spacing
checkpoint-status |  |  | checkpoint | Authorities signatures / release for pour
boolean | a8208e59-b9b8-5ae0-b2a3-7f5ce4d74720 |  | tickbox | Council Inspected
boolean | bf3a0a62-957f-5d73-81bf-25ce6cfb5c16 |  | tickbox | Engineer Inspected
boolean | 69f2d683-86eb-5de7-9d4c-065a1fce7fdf |  | tickbox | Main Contractor
boolean | cc77b049-15f6-59f2-bcea-9187175377cb |  | tickbox | Francis Ward Ltd
checkpoint-status |  |  | checkpoint | Francis Ward Limited
boolean | 0329b08c-5bf5-5ff9-9c10-ba20205bfb00 |  | tickbox | Clean up work area
boolean | f66e8b0c-6774-54df-88e0-cd19363ea8e3 |  | tickbox | Any defects add to remedial list
checkpoint-status |  |  | checkpoint | Final Approvals
boolean | daf799f1-3eb4-591a-a118-29cf2c53b6c4 |  | tickbox | FWL Company Foreman
boolean | bb7453c0-037d-5c6d-9ac5-0ad30119cbca |  | tickbox | Client / Site Manager
label | 7a761e04-155d-51fa-8c77-7393d4f533b0 |  | note | PLEASE INSERT SIGNATURE
checklist-flat |  |  | checklist | Site Toolbox Meeting Checklist |  |  |  |  | Yes | Add Site Toolbox Meeting Checklist | 35ef6768-f9d3-4f0d-bc4b-ae6ee203b60a
checkpoint-status |  |  | checkpoint | Site Toolbox Meeting
text | 118de830-3557-5263-8ef4-9ab3793d001a |  | textbox | Site:
text | ece580e8-2693-5982-8d0f-40256ff555a0 |  | textbox | Site Foreman:
date | 0c82dde8-d05c-56b6-9fff-83f57783f6c1 |  | date | Date:
text | 0264a0e9-ba85-5f42-bfc0-d56d1d8325af |  | textbox | Time:
text | 16a58a08-4dd8-5d5d-8bfc-be4f286cc948 |  | textbox | Weather forecast:
checkpoint-no-status |  |  | checkpoint | Attendees
text | 1187768d-a4e8-5080-8fe6-fc88781a6110 |  | textbox | Name (1):
text | 59313124-a37b-5948-bba2-2e10dcbeb807 |  | textbox | Name (2):
text | 608c3a82-2447-5a84-8ebb-c5affd9fbabd |  | textbox | Name (3):
text | ed310d38-b061-5b7a-b99a-6f5e6fa2ba51 |  | textbox | Name (4):
text | dfbb3bd4-dd35-5c41-82a4-c17cee5339bc |  | textbox | Name (5):
text | 7aac5dec-cd4a-592c-b60c-3c0309e1a499 |  | textbox | Name (6):
text | 0a942db9-cbdf-5a7e-b590-91f172a2ea6f |  | textbox | Name (7):
text | 800c0b76-36f1-5bfa-8c2c-c8f078cfac56 |  | textbox | Name (8):
checklist-sectioned |  |  | checklist | Concrete Pour Checklist |  |  |  |  | Yes | Concrete Pour Checklist | 713c54c9-8236-4d2d-888c-77cde1c58073
checkpoint-group |  |  | section | Pour Details
checkpoint-status |  |  | checkpoint | Details
text | c97e0e63-abbd-5d06-991d-38a2b700e514 |  | textbox | Job No:
text | 64e49c6e-f231-55a1-ad1f-c229b2ace3e6 |  | textbox | Contract Name:
text | dbff6273-abf2-5702-81a1-e4f6e9f13683 |  | textbox | Pour Date:
text | 3f62bfe9-c380-5a03-a6ce-04b465e427a6 |  | textbox | Pour Location:
text | 5eb567d6-8f5b-551d-9746-fb774671e70a |  | textbox | Grid Lines Included:
text | 251057e8-00ba-5a34-a275-f77f4adc7d6a |  | textbox | Inspection No:
text | 62038d12-bfa0-52b2-b6e7-e18a777cd42b |  | textbox | Concrete Specification Required:
text | dc3d3f2a-416d-5bfd-ae1c-15523177c7a9 |  | textbox | Additives Requested:
text | 0de7db42-2432-5794-8ef7-a9a8ed1980b7 |  | textbox | Finish Required:
text | c3e1b838-9c63-5ca9-88f8-362fe67038ee |  | textbox | Placer:
text | d9f79e1b-6800-5420-a74a-4a9660e23b13 |  | textbox | Lights Organised:
checkpoint-status |  |  | checkpoint | Concrete Docket
label | 4ae08cd3-5049-5527-863a-f4592cef254a |  | note | Please upload/photograph concrete docket here
checkpoint-group |  |  | section | Pre-Pour
checkpoint-status |  |  | checkpoint | Grids / RLs
boolean | 1cb976e2-8c4e-507f-985e-6524c4c9de6a |  | tickbox | Grid lines checked
boolean | 377724cd-bb21-554c-871f-f5c16335378d |  | tickbox | RL checked
boolean | 58f431af-4438-50d6-93bc-a47efddda106 |  | tickbox | Formwork checked
checkpoint-status |  |  | checkpoint | Hold Down Bolts /Shear Keys
boolean | a8654c01-b6aa-5cc7-9ab0-323019082a9a |  | tickbox | Position correct
boolean | 930375e8-0b5a-5c01-93d8-b432acac2c28 |  | tickbox | Dimensions
boolean | 512dcdd4-6058-5194-9563-4a927517c1fb |  | tickbox | Alignment
boolean | 99949a2f-c3f5-5a3f-b59d-4008d9b9c447 |  | tickbox | Correct spacing
boolean | 9e5de001-adb8-5b74-a4e7-c004ec20e891 |  | tickbox | Caps on all threaded rod
boolean | 34053dfb-cafa-5310-96bf-8fd7e322c63c |  | tickbox | Clean-up work area
boolean | 851e0caf-fa03-553f-8f52-8fe6543f4013 |  | tickbox | Complete as pre contract documents
checkpoint-status |  |  | checkpoint | Penetrations / sleeves
boolean | 6bea49fa-8832-5a8b-8a5f-5d0a1afad19d |  | tickbox | Drainlayer
boolean | d3bef7e9-6fdb-5d7a-89d5-0b56365b908c |  | tickbox | Plumber
boolean | 0df1fca5-4447-59bb-8879-89a364f76736 |  | tickbox | Electrical
boolean | b30de0da-6741-5163-95c2-fa8307c69639 |  | tickbox | HVAC
checkpoint-status |  |  | checkpoint | Stop Ends
boolean | eff3adde-f681-5720-86f3-7908eb0c5a0f |  | tickbox | Vertical supports tied sufficiently ‚Äì Tied Top & Bottom ‚Äì No more than 400mm centres
boolean | aff9f48a-8bdb-59fa-ba9b-254dc8d97687 |  | tickbox | Check diagonal hook bars tied sufficiently to top & bottom matts
boolean | f68b375d-439a-5a0e-b7ea-3647e9d5790a |  | tickbox | Ensure overlapping are trimmed sufficiently to allow slurry seepage through stop ends
boolean | 0d357721-e8bc-583e-a8a5-7e2da7a47eff |  | tickbox | Correct pours around mesh, adequate supervision required regarding concrete installation and vibration
checkpoint-status |  |  | checkpoint | Rebates
boolean | fd0b9024-fd61-5f5d-812f-ea90f577f28a |  | tickbox | Positions match arch plans
boolean | 26daec39-f04b-5706-8949-16e8143d6205 |  | tickbox | Depths correct
boolean | c622db89-5960-5bd8-8ac3-a6908e657d54 |  | tickbox | Widths match arch plans
checkpoint-status |  |  | checkpoint | Set downs
boolean | 0d00e2d2-d575-5fac-a55d-d356476901a6 |  | tickbox | Positions match arch plans
boolean | f7f5dfc7-2075-5370-8f18-425e0a1fda4a |  | tickbox | Depths correct
boolean | c8e5bbe9-cbbc-5060-b1c1-aea962c56798 |  | tickbox | Pipes correctly protected
boolean | 9da3f8bb-f940-5aae-9a00-6693ae9704c2 |  | tickbox | Braced adequately
boolean | fbb764c8-8a15-5db7-b2cc-4e757a23e5c5 |  | tickbox | Pre pour plan match up completed
checkpoint-status |  |  | checkpoint | Pre pour discussion points
boolean | 13a7d4db-ad0d-5d6d-8745-ff686334ab56 |  | tickbox | Emergency evacuation point discussed
boolean | e09dd639-1949-56d3-b92c-a640c51463cd |  | tickbox | Pour Methodology discussed & confirmed
boolean | a8cb1fce-9dc2-5e61-b448-1978ba4f1863 |  | tickbox | Concrete pump locations discussed & confirmed
boolean | 226aeb50-9ce6-5945-876d-1e8e39f3bec2 |  | tickbox | Clear right of way for concrete trucks to deliver
boolean | b29dceca-e12b-5be4-a1c1-8481f5e0acad |  | tickbox | Turning circle for concrete trucks to be discussed & agreed
boolean | 84795bdb-76db-5a4d-8cc9-a8bb829805c3 |  | tickbox | Morning prestart location & time to be confirmed
checkpoint-status |  |  | checkpoint | Authorities signatures / release for pour
boolean | 06d0d1b9-a24f-5683-b064-4d3da15d2f9a |  | tickbox | Engineer Inspected
boolean | 505ba61b-6911-57cc-b7b8-6325cd49a057 |  | tickbox | Main Contractor
boolean | 28995ee7-fd88-5153-a089-06bc5b35c6e5 |  | tickbox | Francis Ward Ltd
checkpoint-status |  |  | checkpoint | Francis Ward Limited final checks
boolean | c72d91ab-78f3-5d80-92d2-3fceb968375e |  | tickbox | Final level checks completed
boolean | 3e8f7626-7db0-57eb-978f-297d820255e3 |  | tickbox | Final clean prior to pour
boolean | d2d17763-bc35-5e8f-a567-fe8699e937c3 |  | tickbox | UHF radios to be charged
boolean | 51a50b51-bf34-5c3a-8f2b-afd001d920cd |  | tickbox | Concrete pour team notified & confirmed
boolean | 01cc2476-68e9-53bc-8c91-c8eddeb38d9b |  | tickbox | Any defects add to remedial list
checkpoint-status |  |  | checkpoint | Pre-Pour Approvals
boolean | 404cd13f-916c-5cc6-926e-f6842487ad42 |  | tickbox | FWL Company Foreman
boolean | 97dc8253-6341-54cf-ac13-7d1c228be560 |  | tickbox | Client / Site Manager
label | 7d79017d-accd-5d31-825d-773aea78a574 |  | note | PLEASE INSERT SIGNATURE
checkpoint-group |  |  | section | Post-Pour
checkpoint-status |  |  | checkpoint | Concrete curing procedures in place
checkpoint-status |  |  | checkpoint | Confirm saw cuts
checkpoint-status |  |  | checkpoint | Strip formwork
checkpoint-status |  |  | checkpoint | Floor height QA completed
checkpoint-status |  |  | checkpoint | Weather conditions at time of pour. Wind speed, ambient temperature, Relative Humidity & concrete placing temperature.
checkpoint-status |  |  | checkpoint | 7-Day Test
text | bcdcf8ca-0ff4-58de-ba3e-ebf94451d60d |  | textbox | Results:
checkpoint-status |  |  | checkpoint | 28-Day Test
text | 12fe4376-70ec-56ef-8ecb-b6cd38703f37 |  | textbox | Results:
checkpoint-status |  |  | checkpoint | Further action required
checkpoint-status |  |  | checkpoint | Final Approvals
boolean | a991da9b-50d9-5b28-8296-7b336f59fb78 |  | tickbox | FWL Company Foreman
boolean | 7b4f9b8d-dc0d-5881-936b-fd365ebf73d4 |  | tickbox | Client / Site Manager
label | df3fbb81-b11f-5576-a294-8f072df6258e |  | note | PLEASE INSERT SIGNATURE
checklist-flat |  |  | checklist | Daily Pre Start Checklist |  |  |  |  | Yes | Add Daily Pre Start Checklist | ff7fbece-61b6-4010-a8ae-7d5e1381041e
checkpoint-status |  |  | checkpoint | Daily Pre Start
text | 622160bf-af63-5e42-aede-591e0985d9cb |  | textbox | Site:
text | f29d3ca1-4059-5ec9-b83b-ba2eb7d4b2d6 |  | textbox | Site Supervisor:
date | 978fbd4f-de2e-56d4-b335-604616c1f422 |  | date | Date:
text | 902cb0ef-f67b-5fec-8f53-c8be0222c1c3 |  | textbox | Weather forecast:
text | e5306e26-6ad6-55e5-bdf8-963968fdbbba |  | textbox | New site inductions:
text | 086855fd-0da5-51ee-a1c9-b052ee0eedd3 |  | textbox | Safety concerns/reports from yesterdays work:
text | cba1c430-dfa8-524d-8389-6694ef8b175d |  | textbox | Changes to the site today:
checkpoint-status |  |  | checkpoint | Any deliveries today?
text | 5610e54b-1570-57e1-aa88-09e317ff5fb3 |  | textbox | Details:
checkpoint-status |  |  | checkpoint | All new workers inducted on to site and signed SWMS and Risk Assessments?
checkpoint-status |  |  | checkpoint | Are all site specific permits filled out for today's activities? (Hot works, roof access, working at heights, confined space, excavation, etc)
checkpoint-status |  |  | checkpoint | EWPs, Fall Protection and Electrical gear inspected, up to date, and safe for use?
checkpoint-status |  |  | checkpoint | All workers have suitable PPE for all tasks to be performed today?
checkpoint-status |  |  | checkpoint | All workers instructed in relation to today's work requirements?
checkpoint-status |  |  | checkpoint | Are all other trades/public notified of relevant activities in their area?
checkpoint-status |  |  | checkpoint | Daily assessment of work areas carried out?
checkpoint-status |  |  | checkpoint | Weather conditions appropriate for commencement of works?
checkpoint-status |  |  | checkpoint | Is there a SWMS in place for all specific activities commencing today?
checkpoint-status |  |  | checkpoint | Work area safe to commence works?
checkpoint-no-status |  |  | checkpoint | Work Area(s)
text | 59a0b1a9-a6e9-5933-b3da-2ba313329b6b |  | textbox | Work Area(s) today
text | 07f5893f-adee-58a7-a4fa-04f84f640558 |  | textbox | Planned Activities
text | 14c2a8be-3ed4-59f8-a081-26ab8a42a2b9 |  | textbox | Safety Alerts/ Significant Hazards
checkpoint-no-status |  |  | checkpoint | Attendees: Print Name & Sign
text | 3fe5c3da-f470-54c7-b9b7-ed2edac73f63 |  | textbox | Name (1):
text | f2d2fa7b-93dc-5b6d-b14f-dc39b504768b |  | textbox | Name (2):
text | b3aa5b3b-f138-5f65-a89f-e715c3434754 |  | textbox | Name (3):
text | 1f03ed83-3988-5f29-a6f3-bc7c3e73815b |  | textbox | Name (4):
text | c2b98a37-5bf8-5a7e-99a2-b7d67519a623 |  | textbox | Name (5):
text | 74ddbba0-6c2c-59ff-a23e-d808340d927e |  | textbox | Name (6):
text | 3f4d83e4-f93c-5eae-b78a-91ca8cfb8f72 |  | textbox | Name (7):
text | b2a73a09-2ec3-5de0-9dda-63c1ef47bf65 |  | textbox | Name (8):
text | 5aaeb682-9b1f-5304-90c4-0fb1fe82777c |  | textbox | Name (9):
text | 3cb875c6-5660-5f6d-acf3-df0cc5a04dd8 |  | textbox | Name (10):
text | a554e687-7b78-554c-8e82-aa1ab7d1799d |  | textbox | Name (11):
text | 6307d7d6-5331-5d95-9a2f-3964a0f86c68 |  | textbox | Name (12):
text | 25124765-20c7-55c8-97f1-f36436da8dc6 |  | textbox | Name (13):
text | 2a884780-2a1d-5c3f-8c82-5017723e7401 |  | textbox | Name (14):
text | 02384c68-b19f-50de-a63b-2eb039f8d522 |  | textbox | Name (15):
text | 0dc6aa29-0065-589e-a5f2-bdc444001941 |  | textbox | Name (16):
text | 2554be82-d64c-58e5-a3aa-8085f5f01e32 |  | textbox | Name (17):
text | 36316677-0b20-557d-85ca-ec38a3252fad |  | textbox | Name (18):