## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
0470f7ba-067b-470b-83f3-869de0663390 | checklist | Commisioning |  | Commisioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
dbf34210-c9b4-4d65-9a9a-289a3d1458fb | checkpoint | Bulk Hot Water
daefade8-00f6-4833-8bf6-afb44ef39d80 | checkpoint | Test Hot Water Temperature
164559ad-946d-4155-8675-0d992c079a5c | checkpoint | Test Waste for leaks
9c43944e-8460-4862-a28c-626ac037f027 | checkpoint | Run Cycle on Dishwasher
65761bfb-18ff-4e07-9cd9-9c1683043c07 | checklist | Corridor |  | Corridor
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
928eb1df-83a5-426e-a8c3-dea593b56321 | checkpoint | Rainwater
036f2112-ed97-49c2-a327-da3f59065580 | checkpoint | Hot Water
00361ffe-52d7-466b-a5fc-9cdeb50e7fb4 | checkpoint | Hot Water Lagged
75db7a27-d420-4b68-9cc0-2a22c8b0b4a5 | checkpoint | Cold Water
55a13dbe-ccf1-4434-a030-0563928b392f | checkpoint | Test Hot Water
17ac95fd-1cac-41a4-b5e9-327e3a6815fc | checkpoint | Test Cold Water
cc892e79-a6de-48c8-b868-d5ff719c6062 | checkpoint | Test Rain Water
8014e2e6-4c0f-4c10-8bb6-140cc0bd9e67 | checkpoint | Fire Caulking (Corridor to Apt)
8ad9c9a9-a48d-4f33-a944-44c9ad61f5a1 | checkpoint | Cold Water Meter Manifold
5fc60a9c-d2c4-40ca-a9d4-eed2ded6e881 | checklist | Drains |  | Drains
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
3c5160ef-e697-452f-8ab7-221b26ddd93d | checkpoint | Drains
e2ee2d90-7b00-4de2-87bc-b233e987e230 | checkpoint | Smoke Seal Penetrations
f012beb8-44d9-4bb3-8e48-ee8bae7ec178 | checkpoint | Acoustic Lagging
2deb4045-9e16-4994-8dfd-0892969211d4 | checkpoint | Testing (Water/Air)
d4760d97-d9a2-41b5-900d-62efa86d2904 | checklist | Fit Off |  | Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
e2172f85-e8e4-4268-bffa-ff2b85e8a769 | checkpoint | Laundry Trough
4894f43d-994c-49d7-9765-cb52e583a15f | checkpoint | Laundry Trough Mixer
3761b176-8110-4cae-9e85-0576965fb73a | checkpoint | Laundry Trough Mini Stops
12cc3ad5-9891-4670-8c7d-7e1d63ccf42b | checkpoint | Laundry Trough Waste
7fcb6eee-8522-4601-a515-3ef5457a3513 | checkpoint | Kitchen Mini Stops
3138edf1-b9ed-42b3-b818-86ab722be54c | checkpoint | Kitchen Sink Waste
97a0f2c9-563b-4dd2-a279-e0c00629d563 | checkpoint | Kitchen Sink Mixer
b698dd3d-2933-4a00-975d-501caf900b97 | checkpoint | Kitchen Dishwasher
759e3b6c-683e-494a-a11f-ef62f3da8841 | checkpoint | Bathroom Shower Mixer
212b26d2-fb1a-40c1-ae9d-13991680961b | checkpoint | Bathroom Shower Rail/Rose
34d2e8c3-3c41-4446-8973-bf98ab7bfb5d | checkpoint | Bathroom Basin
7de2b8a3-9ae0-4cb1-be2b-224faccea437 | checkpoint | Bathroom Basin Mixer
7166ba18-f1e2-4090-aff9-20ab45630372 | checkpoint | Bathroom Bottle Trap
1dccd162-e8f9-4189-888a-fbe33a84d16c | checkpoint | Bathroom Toilet
d25ed5d2-478d-4a12-a82a-4f93b5a6ee3e | checklist | Inground Drainage |  | Inground Drainage
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
02f89dca-cca6-42d2-8a3a-244f56a7df34 | checkpoint | Sewer pump pit installed
9fa0d454-f7e9-4a39-a4c2-be98611f967e | checkpoint | Stormwater pump pit installed
44430058-eb3f-4d88-85ea-bb19898605ab | checkpoint | Civil pits installed
a50d5428-ad25-4334-a17d-8485d4645abf | checkpoint | Top of pits installed to correct height
5ab5ec67-2273-4d1d-b686-b0a4a2d1cfe1 | checkpoint | Testing of drains
ebf1165b-23fc-41e8-9133-af4ffb32d944 | checkpoint | Correct location of all pits/drainage points
efd48c75-881c-4dd5-bccb-0911b6d3bff7 | checklist | Penetrations |  | Penetrations
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
48b47ea5-3fa3-4361-bfc4-76e3af2c4f0a | checkpoint | Set Out
1b2ba385-e836-4033-919c-01ecf01a0643 | checkpoint | Fire Collar Installation
b20c5d0f-7ee5-44f2-b94a-ad0da4f914b3 | checkpoint | Cast in Drains c/w Polilag
d4879d21-ed66-4b7e-9a74-c15d05a996e3 | checklist | Rough In |  | Rough In
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
18810a23-292a-4ba4-b58f-592c0f9022fa | checkpoint | High Level Rough In
81c3e2aa-a642-48bd-8321-5dc2f1fecef8 | checkpoint | Wall Set Out
60402f3c-005e-41ce-9217-4bd180b49869 | checkpoint | Wall Rough In
8091478d-8a8b-435d-97e6-eb803987845a | checkpoint | Waste Rollovers
8fc80a7b-df5e-423f-8ebf-cb7a0760ecfd | checkpoint | Test Water