## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | Daily Site Safety Inspection |  |  |  |  | Yes | Daily Site Safety Inspection | 04c10484-2565-48e5-944b-aee588d7d82a
checkpoint-group |  |  | section | Set Out
checkpoint-status |  |  | checkpoint | Attach any relevant photos / documents
text | 162a4686-ac93-5682-8778-62b8d83d662a |  | textbox | Areas inspected
text | 62cb22ed-4295-5b6e-be5d-6e856e2b34ab |  | textbox | Weather
checkpoint-group |  |  | section | Access: (clear of obstructions, overhead protection where required, delineation where required, separation of people & plant, ladders, stairs, etc.)
checkpoint-status |  |  | checkpoint | To and from worksite
checkpoint-status |  |  | checkpoint | To working decks, catch decks, work platforms
checkpoint-status |  |  | checkpoint | Access scaffold complete with tag in place
checkpoint-status |  |  | checkpoint | Lighting in place where required
checkpoint-group |  |  | section | Electrical
checkpoint-status |  |  | checkpoint | TBD’s supplied,30m radius, spider boards to deck
checkpoint-status |  |  | checkpoint | Electrical leads elevated by use of stands/ hooks
checkpoint-group |  |  | section | Plant: (registration documents include RMS, WorkCover & Client/Site specific where applicable)
checkpoint-status |  |  | checkpoint | Log book/ daily pre start completed
checkpoint-status |  |  | checkpoint | Fire extinguishers in place where required
checkpoint-status |  |  | checkpoint | Exclusion zones in place where required (e.g., no work under boom)
checkpoint-group |  |  | section | Decks:
checkpoint-status |  |  | checkpoint | Handrails (top & mid) in place & compliant
checkpoint-status |  |  | checkpoint | Kick boards in place
checkpoint-status |  |  | checkpoint | Catch decks in place below where required
checkpoint-status |  |  | checkpoint | “Formworkers Only” signage in place
checkpoint-status |  |  | checkpoint | Penetration – solid covers fixed down, mesh in place, signage in place/ sprayed “peno”
checkpoint-status |  |  | checkpoint | Are Soffits being formed hard up to scaffold
checkpoint-group |  |  | section | Scaffold
checkpoint-status |  |  | checkpoint | Handrails (top & mid) in place & compliant
checkpoint-status |  |  | checkpoint | Shade & Chain where required
checkpoint-status |  |  | checkpoint | Signage in Place for Exclusion or incomplete scaffold where required
checkpoint-status |  |  | checkpoint | Is Scaffold tag in place and in date
checkpoint-group |  |  | section | Formwork Stripping
checkpoint-status |  |  | checkpoint | Exclusion zones with signage in place
checkpoint-status |  |  | checkpoint | Task lighting in place
checkpoint-status |  |  | checkpoint | Access maintained throughout stripping works
checkpoint-status |  |  | checkpoint | Materials stacked; timbers de-nailed
checkpoint-group |  |  | section | Crane Lifted Core Boxes
checkpoint-status |  |  | checkpoint | Access to Crane lifted core boxes
checkpoint-status |  |  | checkpoint | “Formworkers only” signage in place
checkpoint-status |  |  | checkpoint | Ladders tied and secured top & bottom
checkpoint-status |  |  | checkpoint | Housekeeping (clear of debris)
checkpoint-status |  |  | checkpoint | Hatches have handrails and midrails in place
checkpoint-status |  |  | checkpoint | Hatch is kept closed with chain across it at all times
checkpoint-status |  |  | checkpoint | Reo bars are all capped off
checkpoint-group |  |  | section | General
checkpoint-status |  |  | checkpoint | Housekeeping progressively maintained
checkpoint-status |  |  | checkpoint | Glasses, gloves, [hearing protection & face shields where required] worn & in good condition
checkpoint-status |  |  | checkpoint | Inspection Completed
holdpoint |  |  | signoff | Sign Off (inspection can be signed off by the person completing the inspection, or, by the person ensuring all actions are completed, where this is two different people e.g. actions not required to be completed immediately)
checklist-sectioned |  |  | checklist | BKH-IR 001 Formwork Pre Pour Inspection Checklist |  |  |  |  | Yes | BKH-IR 001 Formwork Pre Pour Inspection Checklist | 11e1c817-1821-4319-a4dc-ca2030b1393f
checkpoint-group |  |  | section | Drawings, Set Out & Specifications
checkpoint-status |  |  | checkpoint | Obtain current and approved Structural/Architectural Drawings
checkpoint-status |  |  | checkpoint | Obtain current Specification
checkpoint-group |  |  | section | Verification of Preceding Works
checkpoint-status |  |  | checkpoint | Submission of certified formwork design
checkpoint-status |  |  | checkpoint | Ground conditions certification by others. (if required)
checkpoint-group |  |  | section | Formwork
checkpoint-status |  |  | checkpoint | Formwork delivered/ re-used has been inspected and deemed suitable for reuse
checkpoint-status |  |  | checkpoint | Formwork correctly installed
checkpoint-status |  |  | checkpoint | Edge protection / working decks in place
checkpoint-status |  |  | checkpoint | Formwork line and level correct
checkpoint-status |  |  | checkpoint | Frames, braces and other members supporting the formwork are secured adequately and safe.
checkpoint-status |  |  | checkpoint | Check Ischebeck drop heads for proper connection to prop, support pin to be min 10mm clear of slot in collar
checkpoint-status |  |  | checkpoint | Cast in items been installed to correct line & level (dowel bars, block outs, penetrations, set downs, H/D bolts, etc...)
checkpoint-status |  |  | checkpoint | Joints installed correctly (MJ, EJ, CJ, SJ etc.)
checkpoint-status |  |  | checkpoint | 3rd party engineer’s inspection carried out with any comments/rectifications completed
checkpoint-status |  |  | checkpoint | markup drawing of departures (if any) from formwork design by 3rd Party Engineer
checkpoint-status |  |  | checkpoint | Formwork cleaned out (Decks/ column, walls, etc.)
checkpoint-group |  |  | section | Survey
checkpoint-status |  |  | checkpoint | As-built of formwork submission by others. (if required)
checkpoint-group |  |  | section | Comments
checkpoint-status |  |  | checkpoint | Attached markup plan of relevant area
checkpoint-status |  |  | checkpoint | Pour rate of elements is as follows: 1m/ hour
checkpoint-status |  |  | checkpoint | No Mounding (Typical)
checkpoint-status |  |  | checkpoint | Work Completed
holdpoint |  |  | signoff | Sign Off BKH & Lendlease
checklist-flat |  |  | checklist | BKH IR 003 - Finished Element Handover |  |  |  |  | Yes | BKH IR 003 - Finished Element Handover | 22e87ed4-d6d9-413e-b324-762b1eaff37a
checkpoint-status |  |  | checkpoint | Verification of preceding works submitted
checkpoint-status |  |  | checkpoint | Approval to strip formwork obtained
checkpoint-status |  |  | checkpoint | Approval to remove backpropping obtained
checkpoint-status |  |  | checkpoint | Formwork removed from area
checkpoint-status |  |  | checkpoint | Area cleaned
checkpoint-status |  |  | checkpoint | Is the working area Relatively Clean and free of excess formwork
checkpoint-status |  |  | checkpoint | General defect rectification carried out? (soffit de-nailed, slurry runoff cleaned etc.)
checkpoint-status |  |  | checkpoint | Area ready for handover
checkpoint-status |  |  | checkpoint | Work Completed
holdpoint |  |  | signoff | Sign Off BKH & Lendlease
checklist-flat |  |  | checklist | ACSA-Pre Climbing Checklist |  |  |  |  | Yes | ACSA-Pre Climbing Checklist | 2b03e380-e00e-445a-853e-c18ab4325fc5
checkpoint-status |  |  | checkpoint | Initiate safety precautions as deemed necessary for the particular project. Barricade around the perimeter of the core at slab level to restrict anyone entering the zone directly under the Jumpform.
checkpoint-status |  |  | checkpoint | Ensure all Z bar holes have been patched prior to the jumpform climb
checkpoint-status |  |  | checkpoint | Visual inspection and sign off by Jumpform Supervisor
holdpoint |  |  | signoff | Signed off by BKH & Builder
checkpoint-status |  |  | checkpoint | Inspect guide posts connections are as per drawing and free of obstacles to climb
holdpoint |  |  | signoff | Signed off by BKH & Builder
checkpoint-status |  |  | checkpoint | Ensure all the A-frames are rolled back and secured to jump
checkpoint-status |  |  | checkpoint | Remove all Bar Ties (through wall and at external corner)
checkpoint-status |  |  | checkpoint | Open all Internal and External Rolling Forms
checkpoint-status |  |  | checkpoint | Remove all wall penetration forms/frames
checkpoint-status |  |  | checkpoint | Screen off to provide personnel protection
checkpoint-status |  |  | checkpoint | Clean all working decks of concrete slurry and general debris
checkpoint-status |  |  | checkpoint | Remove excess materials, reinforcement etc from the Jumpform System
checkpoint-status |  |  | checkpoint | Prepare jacks for climbing. Ensure jack feet and plates are centred on wall.
checkpoint-status |  |  | checkpoint | Ensure that the fixed shutters located adjacent to the jacking points are clear of the jacks.
checkpoint-status |  |  | checkpoint | Notify BKH Site Foreman when climbing of the system will take place and the expected duration
checkpoint-status |  |  | checkpoint | Ensure concrete has obtained required project minimum design strength.
text | 540d5af8-18a2-5faa-b2e8-5c1e16f30e69 |  | textbox | Requirement MPA
checkpoint-status |  |  | checkpoint | Coordinate the timing of climb with plumbing and electrical contractors
checkpoint-status |  |  | checkpoint | Inspect electrical and plumbing connections to the Jumpform System and ensure that there is sufficient slack in the cables / pipes to be taken up during climbing
checkpoint-status |  |  | checkpoint | Secure any chains or slings that are attached to the Jumpform System for material handling purposes
checkpoint-status |  |  | checkpoint | Inspect the entire Jumpform System including all trailing decks ensuring that nothing has been inadvertently tied to the core such as electrical leads or chain-blocks. Check that there are no reinforcing bars that foul with the bottom of the jack
checkpoint-status |  |  | checkpoint | Move plywood strip away from core walls at the lower deck level and at all trailing decks prior to the climb
checkpoint-status |  |  | checkpoint | During lifting. Provide one spotter on lower external deck, one in each cell, and one on the top deck, (excluding operator) and one spotter under jump to keep other personnel clear of area
checkpoint-status |  |  | checkpoint | Secure and restrict all access to the Jumpform System during climbing. Limit the personnel on the system to form workers and their supervisor. Prepare ladders for post jump
checkpoint-status |  |  | checkpoint | Radio check
checkpoint-status |  |  | checkpoint | Check forecast wind speed
checkpoint-status |  |  | checkpoint | Ensure Exit ladders are installed prior to commencing climb
checkpoint-status |  |  | checkpoint | Climb system once client site management has been notified.
checkpoint-status |  |  | checkpoint | Has jack been prepared to lift - unplugging cable and ensuring the area around the jacks are free from loose materials
checkpoint-status |  |  | checkpoint | Check that the chain has a valid tag.
checkpoint-status |  |  | checkpoint | Prior to cutting into the top deck ply - Has the area below been inspected for any services
holdpoint |  |  | signoff | HOLD POINT - if any services consult with contractor to get the services moved prior to cutting into ply
checkpoint-status |  |  | checkpoint | Pre-Climbing Declaration
text | 44fb964d-2744-5030-b4d2-cf0de50feb36 |  | textbox | Pre-Climbing Comments
text | e5e251c8-6897-5c76-b2b4-342c785ed7b3 |  | textbox | The Safety Inspection as noted above was completed on
holdpoint |  |  | signoff | Signed off by BKH & Builder
checklist-sectioned |  |  | checklist | Witness Statement |  |  |  |  | Yes | Witness Statement | 3574601a-44ff-4332-84f9-4012ed0b65e7
checkpoint-group |  |  | section | Witness Details
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 15c96ef7-ab14-51a5-9034-4325894849d1 |  | textbox | Name:
text | 9d931beb-c81c-553b-9443-829f6eb58cc9 |  | textbox | Employer:
text | 52e27e9e-2594-5e0c-9263-cfabe851c2a9 |  | textbox | Date of Birth:
text | 3b9b822d-0833-5e14-9977-f5149040bc1e |  | textbox | Phone Number:
text | e0383099-7ad6-5cde-ad30-2efd1be6d219 |  | textbox | (Home, Mobile or Work)
text | bb45f07a-b36d-508d-876c-6db3cfef8a91 |  | textbox | Email:
text | ce3f6ce4-d601-54aa-af51-b33f5d9f8eaf |  | textbox | Address:
checkpoint-group |  |  | section | Incident Details
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | c6c0784e-15c5-5b3c-9b48-0cec3679c58e |  | textbox | Date
text | d02be388-eb32-5fd9-99f6-6452500b65b5 |  | textbox | Time:
text | 9af9acb3-bbfe-5339-923c-4f2564b7d600 |  | textbox | Exact Location:
text | a7e1cad4-8eca-51c2-90a5-1601c21940d9 |  | textbox | Weather:
text | 56f40eb3-637c-5ea6-bc3f-a08dd8133b70 |  | textbox | Other Witnesses:
text | 347077a9-dcf1-5202-9d07-63e40efe85de |  | textbox | Description of Incident: (in your own words)
checkpoint-group |  |  | section | Review & sign off
checkpoint-status |  |  | checkpoint | To the best of my knowledge, all information in this statement is true.
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Translator Declaration (if required)
checkpoint-status |  |  | checkpoint | I have correctly translated the above information as described by the witness identified in this document.
holdpoint |  |  | signoff | Signed Off
checklist-flat |  |  | checklist | Hoist Pre Climb Checklist |  |  |  |  | Yes | Hoist Pre Climb Checklist | 4218e50b-bed6-46bd-acbb-8200045cfd1f
checkpoint-status |  |  | checkpoint | SWMS reviewed, understood and signed by all personnel involved in the climb process.
checkpoint-status |  |  | checkpoint | Hoist is empty and the basket is parked at the bottom set of gates
holdpoint |  |  | signoff | HOLD POINT - Climb Supervisor Signature
checkpoint-status |  |  | checkpoint | Out Of Service signs are displayed at all gate levels.
checkpoint-status |  |  | checkpoint | Winch power lead is disconnected and rolled up at top slab to pay out as the hoist is raised.
checkpoint-status |  |  | checkpoint | Back propping is installed in accordance with the climbing procedure and the Site Engineer requirements.
checkpoint-status |  |  | checkpoint | Hoist guides have been installed on Hoist Level 4.
checkpoint-status |  |  | checkpoint | Edge protection is installed at Hoist Level 1 and barricades and exclusion zones are installed as required.
checkpoint-status |  |  | checkpoint | All gate limit switches are open, floor plates are removed from all levels and floor plate relocated from Hoist
checkpoint-status |  |  | checkpoint | Level 1 to Hoist Top Level.
checkpoint-status |  |  | checkpoint | Hoist jacking needles are correctly installed and anchors tight.
checkpoint-status |  |  | checkpoint | Rams are correctly pinned to hoist jacking needles.
checkpoint-status |  |  | checkpoint | All obstructions to hoist climb have been removed.
checkpoint-status |  |  | checkpoint | Spotters have been assigned to each floor serviced by the hoist
checkpoint-status |  |  | checkpoint | ALL WORK HAS BEEN CARRIED OUT IN ACCORDANCE WITH THE MANUFACTURERS SPECIFICATIONS
holdpoint |  |  | signoff | Signed off by BKH & Builder
checklist-sectioned |  |  | checklist | Weekly Site Inspection |  |  |  |  | Yes | Weekly Site Inspection | 4612616a-a5c8-42a9-9d80-8a59e09b5ad0
checkpoint-group |  |  | section | Set Out
checkpoint-status |  |  | checkpoint | Attach any relevant photos / documents
text | 4db89749-40bd-5ca0-8c00-00e9b207c049 |  | textbox | Areas inspected
text | 9431a920-b36e-555d-9920-5b6aebf32073 |  | textbox | Weather
checkpoint-group |  |  | section | Access: (clear of obstructions, overhead protection where required, delineation where required, separation of people & plant, ladders, stairs, etc.)
checkpoint-status |  |  | checkpoint | To and from worksite
checkpoint-status |  |  | checkpoint | To working decks, catch decks, work platforms
checkpoint-status |  |  | checkpoint | Access scaffold complete with tag in place
checkpoint-status |  |  | checkpoint | Lighting in place where required
checkpoint-group |  |  | section | Electrical
checkpoint-status |  |  | checkpoint | Portable equipment tested, tagged & in date
checkpoint-status |  |  | checkpoint | TBD’s supplied,30m radius, spider boards to deck
checkpoint-status |  |  | checkpoint | Earth Leakage Supplied (RCD)
checkpoint-status |  |  | checkpoint | Electrical leads elevated by use of stands/ hooks
checkpoint-group |  |  | section | Plant
checkpoint-status |  |  | checkpoint | All registrations in place
checkpoint-status |  |  | checkpoint | Log book/ daily pre start completed
checkpoint-status |  |  | checkpoint | Maintenance records available
checkpoint-status |  |  | checkpoint | Fire extinguishers in place where required
checkpoint-status |  |  | checkpoint | Operators current certificates of competency.
checkpoint-status |  |  | checkpoint | High Risk Work Licence expiry date within 5 years
checkpoint-status |  |  | checkpoint | Exclusion zones in place where required (e.g., no work under boom)
checkpoint-status |  |  | checkpoint | High Risk Works as per SWMS
checkpoint-group |  |  | section | Decks
checkpoint-status |  |  | checkpoint | Handrails (top & mid) in place & compliant
checkpoint-status |  |  | checkpoint | Kick boards in place
checkpoint-status |  |  | checkpoint | Catch decks in place below where required
checkpoint-status |  |  | checkpoint | “Formworkers Only” signage in place
checkpoint-status |  |  | checkpoint | Penetration – solid covers fixed down, mesh in place, signage in place/ sprayed “peno”
checkpoint-status |  |  | checkpoint | Penetrations – timbers underneath to provide adequate support for both during and after cutting
checkpoint-status |  |  | checkpoint | LVL (timber planks) & wexdek panels visually inspected for damage/defects
checkpoint-status |  |  | checkpoint | Formwork/Falsework Engineer Certificate in place
checkpoint-status |  |  | checkpoint | Formwork Handover checklist completed
checkpoint-status |  |  | checkpoint | Where scaffold is edge protection, gaps <225mm
checkpoint-status |  |  | checkpoint | High Risk Works as per SWMS
checkpoint-group |  |  | section | Scaffold
checkpoint-status |  |  | checkpoint | Handrails (top & mid) in place & compliant
checkpoint-status |  |  | checkpoint | Kick boards / Hop ups in place
checkpoint-status |  |  | checkpoint | Shade & Chain where required
checkpoint-status |  |  | checkpoint | Gaps under <225mm
checkpoint-status |  |  | checkpoint | Signage in Place for Exclusion or incomplete scaffold where required
checkpoint-status |  |  | checkpoint | Works undertaken progressively
checkpoint-status |  |  | checkpoint | Is Scaffold tag in place and in date
checkpoint-status |  |  | checkpoint | High Risk Works as per SWMS
checkpoint-group |  |  | section | Formwork Stripping
checkpoint-status |  |  | checkpoint | Sign off in place prior to commencing stripping
checkpoint-status |  |  | checkpoint | Exclusion zones with signage in place
checkpoint-status |  |  | checkpoint | Works undertaken progressively
checkpoint-status |  |  | checkpoint | Workers using min 2 planks as platform
checkpoint-status |  |  | checkpoint | Task lighting in place
checkpoint-status |  |  | checkpoint | Access maintained throughout stripping works
checkpoint-status |  |  | checkpoint | Materials stacked; timbers de-nailed
checkpoint-group |  |  | section | Hot Works
checkpoint-status |  |  | checkpoint | Oxy/Act Equipment compliant i.e. secured in trolley, flash back arrestors on both ends of hose
checkpoint-status |  |  | checkpoint | Fire extinguisher in place
checkpoint-status |  |  | checkpoint | Welding screens in place where required
checkpoint-status |  |  | checkpoint | Hot Works Permit in place where required
checkpoint-group |  |  | section | Crane lifted core boxes
checkpoint-status |  |  | checkpoint | Pre and Post Climbing Safety Inspection Checklist from previous climb signed off
checkpoint-status |  |  | checkpoint | Access to Crane lifted core boxes
checkpoint-status |  |  | checkpoint | “Formworkers only” signage in place
checkpoint-status |  |  | checkpoint | Ladders tied and secured top & bottom
checkpoint-status |  |  | checkpoint | Housekeeping (clear of debris)
checkpoint-status |  |  | checkpoint | All electrical leads elevated
checkpoint-status |  |  | checkpoint | Lifting equipment tested and tagged, and lifting register up to date
checkpoint-status |  |  | checkpoint | Spill kit available (hydraulic only)
checkpoint-status |  |  | checkpoint | Fires extinguishers available on deck & cells
checkpoint-status |  |  | checkpoint | All workers are trained in rescue plan
checkpoint-status |  |  | checkpoint | Hatches have handrails and midrails in place
checkpoint-status |  |  | checkpoint | Hatch is kept closed with chain across it at all times
checkpoint-status |  |  | checkpoint | Reo bars are all capped off
checkpoint-group |  |  | section | General
checkpoint-status |  |  | checkpoint | Housekeeping progressively maintained
checkpoint-status |  |  | checkpoint | Materials handling monitored & effective
checkpoint-status |  |  | checkpoint | Glasses, gloves, [hearing protection & face shields where required] worn & in good condition
checkpoint-status |  |  | checkpoint | Adequate supply of PPE at Site Office
checkpoint-status |  |  | checkpoint | Permits to work in place where required e.g. exclusion zone, concrete pumping, etc.
checkpoint-status |  |  | checkpoint | Ladders secured top & bottom, 1:4 ratios, 1m past top
checkpoint-status |  |  | checkpoint | SDS available & complied with
checkpoint-status |  |  | checkpoint | Concrete washout compliant with environmental controls
checkpoint-status |  |  | checkpoint | Pre-starts and toolboxes conducted and uploaded onto builder server/internal folder
text | 511fea35-e527-5477-a28a-0d90b0733463 |  | textbox | Other
checkpoint-status |  |  | checkpoint | Form Completed
holdpoint |  |  | signoff | Sign Off
checklist-flat |  |  | checklist | PPE Register |  |  |  |  | Yes | PPE Register | 49ef9751-0d81-4a91-b6c6-8d36f84d5161
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 38ea929e-8de5-5389-b711-ba8c4ca91423 |  | textbox | Item of PPE
text | 08286a57-b8c3-5ec0-9219-493e365719d3 |  | textbox | Date of issue/replacement
button | 6e9bcd11-7aec-549a-a2df-bbccecf73037 |  | button | Please answer yes or no that you have been shown how to use the item of PPE and you fully understand. | Yes, No
checkpoint-status |  |  | checkpoint | Form Completed
holdpoint |  |  | signoff | Signed Off
checklist-sectioned |  |  | checklist | BKH - C692 - Formwork Stripping Checklist |  |  |  |  | Yes | BKH - C692 - Formwork Stripping Checklist | 4b357a0b-2f92-473f-be62-34154de5f888
checkpoint-group |  |  | section | Stripping Floor
checkpoint-status |  |  | checkpoint | Has Head Contractor given approval to strip
checkpoint-status |  |  | checkpoint | Is any back propping required
checkpoint-status |  |  | checkpoint | Formwork on Floor below is 100% stripped
checkpoint-status |  |  | checkpoint | Hop ups installed and all gaps closed by scaffold contractor
checkpoint-status |  |  | checkpoint | Bunting and Signage in place on floor being stripped
checkpoint-status |  |  | checkpoint | All penetrations covered and highlighted
checkpoint-status |  |  | checkpoint | Electricians notified and co‐ordination to remove strip lighting in place
checkpoint-status |  |  | checkpoint | Electricians consulted to ensure area safe to strip
checkpoint-status |  |  | checkpoint | Task lighting in place if required
checkpoint-group |  |  | section | Floor Above Stripping Floor
checkpoint-status |  |  | checkpoint | Bunting with timber one frame back from leading/ perimited suspended concrete slab edge in place
checkpoint-status |  |  | checkpoint | Signage in place
checkpoint-status |  |  | checkpoint | All loose materials way from leading / perimeter suspended concrete slab edge
checkpoint-status |  |  | checkpoint | All penetrations covered and highlighted
checkpoint-status |  |  | checkpoint | Work Completed
holdpoint |  |  | signoff | Sign Off BKH & Lendlease
checklist-sectioned |  |  | checklist | Safe Work Method Statement (HRCW Only) |  |  |  |  | Yes | Safe Work Method Statement (HRCW Only) | 5153ac03-ea89-4f6b-98f0-c7b48b02ec39
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 04bb3838-e009-54ce-8987-cd722a17a5e9 |  | textbox | Work Activity:
text | 37802243-1a12-537b-a2d4-e3063183b70c |  | textbox | Location: (e.g. Building C)
checkpoint-group |  |  | section | High Risk Construction Work Involved in Task
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
label | a64145bb-75c6-5834-a100-10f5fb637dfc |  | note | Tick if applicable
boolean | 1854605b-edd0-505c-ae8c-ab459d6816d2 |  | tickbox | Risk of falls from greater than 2 metres
boolean | c3f5a187-ba84-5654-b1e9-39691675f2ac |  | tickbox | Likely to involve disturbing asbestos
boolean | dea1c66b-e923-5ea2-a667-68233ae69295 |  | tickbox | Work in or near shaft or trench with an excavated depth greater than 1.5m or in a tunnel
boolean | 4edd6135-53d6-560f-bbb3-71eae61fca49 |  | tickbox | Work on or near chemical, fuel or refrigerant lines
boolean | daf65588-c394-5acc-aee9-bfd4db279ac0 |  | tickbox | Work with tilt up or pre-cast concrete
boolean | 26c5782b-8b71-5295-9139-5c3498184279 |  | tickbox | Temporary load-bearing support structures
boolean | f5fc6c02-8374-5a59-b193-e56e5690b48e |  | tickbox | Work on or near energised electrical installations or services
boolean | 9c06980e-ddeb-5a34-9c3d-60dd5cb2b5cb |  | tickbox | Work on, in or adjacent to road, rail shipping or other major traffic corridor
boolean | 7a7488f0-cf82-5605-a01c-8d89697552ba |  | tickbox | Work in or near a drowning risk
boolean | c517dadb-4bd6-5fa2-9341-37ce9e8d187d |  | tickbox | Work in an area with movement of powered mobile plant
boolean | eb279a20-aa48-5f80-a933-4005dfcd4f24 |  | tickbox | Demolition of load-bearing structure
boolean | 2bc13b77-265b-5776-825d-86c12dbdcac1 |  | tickbox | Work in confined spaces
boolean | b41573f1-10cc-5af1-9573-51e0dad3b50e |  | tickbox | Work on or near pressurised gas pipes or mains
boolean | c4c5700e-62b9-50c6-b9f5-b8f098aa33ef |  | tickbox | Work in an area with contaminated or flammable atmosphere
boolean | a0b8c45e-d857-5b74-90ae-d6b733545537 |  | tickbox | Other
text | 95b89564-5cf6-51bf-ab26-7fd432f29a70 |  | textbox | Please specify
checkpoint-status |  |  | checkpoint | SWMS Prepared by:
holdpoint |  |  | signoff | Signed Off
checkpoint-status |  |  | checkpoint | Person Responsible for ensuring compliance with SWMS:
holdpoint |  |  | signoff | Signed Off
checkpoint-status |  |  | checkpoint | Method of reviewing & ensuring compliance:
label | 9280eb78-14bd-5ce6-b6c0-9cf0215b3b85 |  | note | SWMS to be reviewed quarterly using SWMS Monitoring Checklist, as well as daily on site observation
checkpoint-status |  |  | checkpoint | Person responsible for reviewing the SWMS:
holdpoint |  |  | signoff | Signed Off
checkpoint-status |  |  | checkpoint | This SWMS has been developed in consultation with employees & subcontractors involved in this process
checkpoint-status |  |  | checkpoint | Monthly Revision sign off - to be completed by BKH supervisor
holdpoint |  |  | signoff | Signed Off
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 9331be91-7776-527b-bc34-776f9776cdd9 |  | textbox | Activity step (Break the activity down into steps. List the steps in this column)
text | fb2cd182-8427-5ee8-a13b-c91bbcaafb05 |  | textbox | Hazards identification (Identify any potential hazards associated with each step – and any related risks
text | 039d7b3c-54d6-5567-a527-5406c9734b42 |  | textbox | Controls implemented (Decide what controls to use to eliminate or minimise the risks. Detail the controls in this column)
checkpoint-status |  |  | checkpoint | The personnel named below have been inducted into this SWMS and have read and understood the risk control measures and responsibilities, and agree to work in accordance with the identified measures. If at any stage the controls or methods identified can be improved I know I have the right to engage in further consultation in amending this SWMS (please sign on screen)
checklist-flat |  |  | checklist | Hazardous Substance Register |  |  |  |  | Yes | Hazardous Substance Register | 55f4a01d-9d86-4cee-be74-d8f056546f9c
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 3c0e861b-d447-57d7-86fd-5aee817ddd5a |  | textbox | Substance Name
text | 45914067-7867-5bcc-b6c2-1e5c037fbf8c |  | textbox | Storage location & quantity (e.g. 1 kg, 250ml)
text | a372cef2-82aa-52f7-90f4-aecdbe83dad8 |  | textbox | Current SDS (Y/N)
text | b5f9f521-4f67-5186-87a2-cc4ac9bbe3bd |  | textbox | SDS Issue date
text | 5e580c75-67dd-5e34-876c-e36b9d284b2f |  | textbox | Is container labelled?
text | f1b2f09e-2e41-56e3-8685-858c4c5cb78a |  | textbox | Uses of Substance (e.g. Cleaning, gluing)
text | 27a1a5bb-9792-5c21-9299-2ed77e1b0ec5 |  | textbox | Risk Class
text | ee1fedd8-c545-5e2a-a6a5-bd4c6f42ed9f |  | textbox | Control(s) based on the risk class (e.g. mask, ventilation required)
checklist-sectioned |  |  | checklist | WHSE Form Injury Report Form |  |  |  |  | Yes | WHSE Form Injury Report Form | 6fe78bb6-a330-4fc9-8f77-dc709ae3b60b
checkpoint-group |  |  | section | Details of incident (e.g., to a worker or visitor) and treatment
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | ee29c2d4-36d8-530e-bdea-10e2eaa462f8 |  | textbox | Date of incident
text | 2c94a9a2-5291-5ec4-a6d5-f928c75cfdad |  | textbox | Time of incident:
text | 0aee349a-4488-5fb5-9f6b-5b0b176f40d6 |  | textbox | Time of report:
text | fe6dd138-2e97-5dfa-a79c-652dadcad97f |  | textbox | Nature of incident:
text | e7517e9d-09f0-5db5-a443-78668380e890 |  | textbox | Name of injured person:
text | d71d592f-f870-5008-8215-550aa3a7f50d |  | textbox | Date of birth:
text | 601f55ce-883d-573b-a956-2be9658ed89f |  | textbox | Address:
text | 72f5475e-1e9b-5b76-a3ba-3da5c31bbabf |  | textbox | Occupation:
text | 599fef2f-e331-5559-b933-80cd5ca9f02b |  | textbox | Mobile Number:
text | 10eafa11-ecb9-58fa-b4b8-c3a9401a7c23 |  | textbox | Weather at time of incident:
text | 3b57c711-7dbd-59ed-a3c4-71a42a30cb2f |  | textbox | Was injured person wearing PPE?
text | e867b990-8ca1-5e0a-97a7-adef05c0d86b |  | textbox | If so, please list
text | 44b9880b-2206-5325-a940-d0e17e0a8f1d |  | textbox | Activity in which the person was engaged at the time of injury:
text | 80d68fd8-332f-5606-a227-95cd861c7509 |  | textbox | Exact site location where injury occurred:
text | 5bd3ec0f-2576-55f1-888d-3df82d1ade19 |  | textbox | Factors which may have contributed to injury:
label | c17d1bce-236e-503c-8fef-9d215fa9b8b1 |  | note | i.e. weather/visibility
text | fba6beeb-0bd4-55e5-966b-19e2a8e6ff66 |  | textbox | Nature of injury:
label | b10aa70d-0ab4-53ef-aba8-2f88f24d1abc |  | note | e.g. fracture, burn, sprain, foreign body in eye:
text | e2309001-906c-558f-ad07-cdd279a5734e |  | textbox | Body location of injury
text | f98bcec5-96d2-5298-9b88-668caf5913c0 |  | textbox | Treatment given on site:
text | 954b4107-0dd9-50c9-9ddd-2b0a5e0b29ba |  | textbox | Name of treating person:
checkpoint-status |  |  | checkpoint | Referral for further treatment
text | f9cf944b-e7df-5dda-bee4-ff9f228160e6 |  | textbox | If pass, name of doctor or hospital
checkpoint-status |  |  | checkpoint | Workcover medical certificate received
checkpoint-status |  |  | checkpoint | Injury management required
text | 706f0519-45fc-565a-9fb5-30f8a57d9793 |  | textbox | Name(s) of Return-to-Work Coordinator(s
checkpoint-group |  |  | section | Witness to incident (each witness may need to provide an account of what happened
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | fec72615-5bec-53d3-9034-8e149b2836b7 |  | textbox | Witness Name
text | b3bf077b-4873-56be-be5f-48416d85145c |  | textbox | Witness Contact
text | 1e943bf8-bdf4-50c8-b610-f0ebf0a0f5bc |  | textbox | Witness Name
text | 2f046252-995e-50fe-a870-88a036fe0520 |  | textbox | Witness Contact
checkpoint-group |  |  | section | Description of incident: (please include detail of what the working area was like/what task you were doing/who what all there)
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 962c14ff-ed51-539f-be79-f967a77b1801 |  | textbox | Description
checkpoint-group |  |  | section | Immediate response actions: (e.g., barricades, isolation of power, cease works) to stabilise the situation
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | e9f2ebb4-5fa0-5e62-8fa9-ccebb55db65c |  | textbox | Actions
checkpoint-group |  |  | section | Reported to
checkpoint-status |  |  | checkpoint | Reported to principal contractor:
text | ef6a4dba-ed79-5ac2-a566-df33befd83d8 |  | textbox | Provide details (when, reported to and reported by
checkpoint-status |  |  | checkpoint | Reported to authorities
text | a2027489-dd9d-588a-b3d6-c16b61adba63 |  | textbox | Provide details (when, reported to and reported by
checkpoint-status |  |  | checkpoint | Reported to workers compensation insurer
text | bcfab03b-33a2-5c38-8165-ad03c733da4d |  | textbox | Provide details (when, reported to and reported by
checkpoint-status |  |  | checkpoint | Form Completed By
holdpoint |  |  | signoff | Signed Off
checkpoint-status |  |  | checkpoint | I, the injured person, agree that the information provided above is true: (by signing the below this is agreed by all parties the relevant information provided is true)
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Injury close out
checkpoint-status |  |  | checkpoint | Final COC Received
label | bdc27602-d52f-56b7-99d6-970a8cb4ec3a |  | note | Has there been a close out on the below items (if applicable)
checkpoint-status |  |  | checkpoint | Physiotherapy Report
label | 09e97993-382a-52a7-9516-19d48dd303d9 |  | note | Has there been a close out on the below items (if applicable)
checkpoint-status |  |  | checkpoint | Stress Observation Completed
label | 02fb7a58-eccb-5fa6-b6be-570539f98d08 |  | note | Has there been a close out on the below items (if applicable)
text | feeb2e01-6841-540e-84a5-80bf3a25b68b |  | textbox | Any further comments: (i.e., last treatment dates/managing with own exercises/conditions to full duties)
checkpoint-status |  |  | checkpoint | I, the injured person, agree that the information provided above is true: (by signing the below this is agreed by all parties the relevant information provided is true)
holdpoint |  |  | signoff | Signed Off
checkpoint-status |  |  | checkpoint | Supervisor Observation: (Comments on how the worker is working and abilities)
text | bb456e40-526b-5c55-8688-e737157a9d0b |  | textbox | Observations
holdpoint |  |  | signoff | Signed Off
checklist-sectioned |  |  | checklist | Pre-Climbing Checklist |  |  |  |  | Yes | Pre-Climbing Checklist | 7156cd53-e4fc-4178-915f-98d853157b94
checkpoint-group |  |  | section | BKH Checks
checkpoint-status |  |  | checkpoint | Initiate safety precautions as deemed necessary for the particular project. Barricade around the perimeter of the core at slab level to restrict anyone entering the zone directly under the Jumpform.
checkpoint-status |  |  | checkpoint | Confirm that temporary steelwork required for climb is installed as per ACSA drawings
holdpoint |  |  | signoff | ***HOLD POINT*** - Visual Inspection and sign off by Jumpform Supervisor
checkpoint-status |  |  | checkpoint | Remove all Bar Ties (through wall and at external corner).
checkpoint-status |  |  | checkpoint | Check all perimeter doorways to ensure that props are bolted and there are no gaps in mesh
checkpoint-status |  |  | checkpoint | Open all Internal and External Rolling Forms.
checkpoint-status |  |  | checkpoint | Remove all wall penetration forms/ frames. Screen off to provide personnel protection.
checkpoint-status |  |  | checkpoint | Clean all working decks of concrete slurry and general debris.
checkpoint-status |  |  | checkpoint | Remove excess materials, reinforcement, etc from the Jumpform System.
checkpoint-status |  |  | checkpoint | Prepare jacks for climbing. Ensure jack feet and plates are centred on wall. If jack need to be moved Refer to BKH - Moving Jack Checklist below
checkpoint-status |  |  | checkpoint | Ensure that the fixed shutters located adjacent to the jacking points are clear of the jacks.
checkpoint-status |  |  | checkpoint | Notify BKH Site Foreman when climbing of the system will take place and the expected duration.
checkpoint-status |  |  | checkpoint | Ensure concrete has obtained required project minimum design strength. Project requirement is for: 17MPA
checkpoint-status |  |  | checkpoint | Coordinate the timing of climb with plumbing and electrical contractors.
checkpoint-status |  |  | checkpoint | Ensure no jumpform components are tied to any external structures
checkpoint-status |  |  | checkpoint | Secure any chains or slings that are attached to the Jumpform System for material handling purposes.
checkpoint-status |  |  | checkpoint | Inspect the entire Jumpform System including all trailing decks ensuring that nothing has been inadvertently tied to the core such as electrical leads or chain-blocks. Check that there are no reinforcement bars that foul with the bottom of the jack.
checkpoint-status |  |  | checkpoint | Move plywood strip away from core walls at the lower deck level and at all trailing decks prior to the climb.
checkpoint-status |  |  | checkpoint | During lifting. Provide one spotter on lower external deck, one in each cell, and one on the top deck, (excluding operator) and one spotter under jump to keep other personnel clear of area.
checkpoint-status |  |  | checkpoint | Secure and restrict all access to the Jumpform System during climbing. Limit the personnel on the system to form workers and their supervisor. Prepare ladders for post jump.
checkpoint-status |  |  | checkpoint | Radio Check.
checkpoint-status |  |  | checkpoint | Check forecasted wind speeds and weather conditions.
checkpoint-status |  |  | checkpoint | Ensure Exit ladders are installed prior to commencing climb.
checkpoint-group |  |  | section | Client Check
checkpoint-status |  |  | checkpoint | Confirm minimum concrete strength has been achieved for climb (17 mpa to complete climb)
checkpoint-status |  |  | checkpoint | Check concrete line disconnected (if applicable)
checkpoint-status |  |  | checkpoint | Check site power cabling and plumbing is extended or free to allow jumpform to climb
checkpoint-status |  |  | checkpoint | Check Alimak is prepared for climb - i.e. mast extensions in place, cables not restricted, gates and structure clear
checkpoint-status |  |  | checkpoint | Check access in place for crane operators for after climb. Alert crane crew to climb in progress.
checkpoint-status |  |  | checkpoint | Confirm that lift contractor are not working within the lift shaft before proceeding
checkpoint-status |  |  | checkpoint | Climb system once above complete and site management has been notified.
checkpoint-status |  |  | checkpoint | Pre-Climbing Declaration
holdpoint |  |  | signoff | Pre-Climbing Sign Off
checkpoint-group |  |  | section | BKH Moving Jack
checkpoint-status |  |  | checkpoint | Has jack been prepared to lift - unplugging cable and ensuring the area around the jacks are free from loose materials
checkpoint-status |  |  | checkpoint | Check that the chain has a valid tag.
checkpoint-status |  |  | checkpoint | Prior to cutting into the top deck - Has the area below been inspected for any services - HOLD POINT - If any services consult with Head Contractor to get the services moved or isolated prior to cutting.
holdpoint |  |  | signoff | BKH Jump Form Supervisor & Jumpform General Foreman/Site Manager
checklist-sectioned |  |  | checklist | Accident Incident Investigation Form |  |  |  |  | Yes | Accident Incident Investigation Form | 74bb9000-024f-44a5-9a16-27e8fbeb2dd9
checkpoint-group |  |  | section | Details of accident/incident
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | 51858380-8580-5a4c-a01e-0f7a3cb46fae |  | textbox | Date of accident/incident
text | aca8bd7e-69c7-5a77-a518-42b664793ea1 |  | textbox | Time of accident/incident:
text | 3682e615-144c-54e7-8924-7159757a3d67 |  | textbox | Time of report:
text | 2371d194-5f6b-5875-938f-67225149d4fb |  | textbox | Weather:
select | 650d8a49-d965-5e07-ba9a-af4fbb143f15 |  | dropdown | Nature of incident | Injury (attach completed WHSE Form 01 Injury Report, Environmental (pollution), Damage to property / assets / services, Incident
checkpoint-group |  |  | section | Names of person(s) involved
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | 9bdcbf3c-d41d-53c3-929d-8f245a823c53 |  | textbox | Name
text | 7cca2620-2dfa-5aae-9b7a-716d3d112799 |  | textbox | Phone Number
text | 60d0ff9c-0f4d-5e73-aa6c-6fc44aa0f28c |  | textbox | (Home, mobile & work)
text | 0294809c-62ca-5e08-acbe-61d122cf5822 |  | textbox | Address
text | a34bcfff-9ddd-545a-938d-27e9a929ad7d |  | textbox | D.O.B
text | 32619f76-0339-5cea-b643-6a2d64e53e79 |  | textbox | Email
text | 6e648d73-a607-5e91-87aa-7858895ed054 |  | textbox | Activity in which the person(s) was engaged at the time:
text | d968e088-7ebf-5326-9745-1fa9f55cb848 |  | textbox | Exact site location where injury/incident occurred:
text | 3c759cab-cc0f-5fa3-a8c7-835f4d0ab5b5 |  | textbox | Type of injury/pollution/damage/ incident:
text | 4857045e-b31d-5975-b0c1-ae76781f9919 |  | textbox | Describe the accident/incident in detail:
checkpoint-group |  |  | section | Witness to incident (each witness may need to provide an account of what happened)
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | a97567f7-edb7-55c9-b3cc-f3d102967f0e |  | textbox | Witness name:
text | 01eee59c-6cc0-5d3d-bfcf-cfd9f29ca6a0 |  | textbox | Witness contact:
checkpoint-group |  |  | section | Are there any notable/significant factors relevant to the accident/incident
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | d94c3aea-8e5c-5cc4-9d59-a8392f467016 |  | textbox | Comments
checkpoint-group |  |  | section | Arrangements made to store any equipment that believed to have contributed to injury/incident
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | 6db94906-c020-57bd-83eb-be98f928e621 |  | textbox | Comments
checkpoint-group |  |  | section | Did any third parties (subcontractors, visitors, etc.,) contribute to the incident If so, how
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | 83cbc581-2d3a-5350-9569-725c1f3b0193 |  | textbox | Comments
checkpoint-group |  |  | section | Immediate corrective actions taken (e.g., works ceased, area made safe, barriers erected, etc.,)
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | 65913190-e118-51e9-b226-38223e8e465e |  | textbox | Comments
checkpoint-group |  |  | section | Future actions taken (e.g., engineering solutions, training, toolbox talk, etc.,)
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | 67f727b2-bebb-5041-bcc5-40aefe4accb6 |  | textbox | Comments
checkpoint-group |  |  | section | Review & Sign off
checkpoint-status |  |  | checkpoint | Have all actions been completed and reviewed as effective
checkpoint-status |  |  | checkpoint | Have all documents relating to the incident, including corrective action evidence been completed, filed in the project file, and on OneDrive
checkpoint-status |  |  | checkpoint | Form Completed
holdpoint |  |  | signoff | Sign Off
checklist-sectioned |  |  | checklist | Daily Pre Start |  |  |  |  | Yes | Daily Pre Start | 78ce8996-8bc2-4a6e-9191-bea8d190f764
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | 248e9efc-7149-5538-9b63-c6ce87263566 |  | textbox | Date
text | b17ea059-376b-5360-b3e9-a0a93bc93b02 |  | textbox | Time
checkpoint-group |  |  | section | The following Agenda Topics shall be covered as a minimum
checkpoint-status |  |  | checkpoint | New Site Safety/Environmental issues.
checkpoint-status |  |  | checkpoint | Site Safety/Environmental issues arising from previous day.
checkpoint-status |  |  | checkpoint | Review of accidents/incident/near misses on site.
checkpoint-status |  |  | checkpoint | Any new Safe Work Method Statements/Environ’ Action Plans/Environ’ Impact Statements to be introduced.
checkpoint-status |  |  | checkpoint | Any comments or concerns from employees or subcontractors on site Safety/Environmental topics.
checkpoint-status |  |  | checkpoint | Any further Safety/Environmental information to be addressed (see below)
checkpoint-group |  |  | section | Meeting Details
checkpoint-status |  |  | checkpoint | Attach all relevant photos and documents
text | c7818cea-e908-5e15-a50f-7d55cbfd4789 |  | textbox | Site Specific Daily Tasks
label | e45faaa4-cdcf-57cc-81b5-801b2511bb91 |  | note | Edge Protections
label | 54adadfa-1ddb-55e2-b2b7-f1720f36af91 |  | note | 2m or more fall from height, stay back 3m from leading edges and install edge protection.
label | af87f625-4bd5-5643-85bc-91fa58c8c1b5 |  | note | Handrail maximum 2.4m apart spacing with top, mid rails and toe board.
label | 499fa1a0-f3b7-5097-a66b-5895312ea6f8 |  | note | Screw on handrails must be used. Post to be braced to withstand the weight of a person body.
label | 062d222d-5a2e-5488-976d-2a9767825c4c |  | note | Catch deck, Working on planks
label | 1fc6b48d-2473-50b2-bf7b-965022369211 |  | note | 2m or more fall from height use catch deck. Always stay behind physical edge protection.
label | a52448e7-7a9b-50b2-88d6-457d67b1ef47 |  | note | Install from below to avoid working at height. Install bearer, timber, plywood and WEXDECK pans from below.
label | 0de9c933-d397-5117-b9a6-dfdc9f4bfc8c |  | note | Min 2 planks to be used. Not to walk on timber joists.
label | a8614b21-214a-58dd-a05e-3201844b6c94 |  | note | Plants and overhead crane
label | 09b38df5-0a8a-5e1a-b9d5-d6a6e7bbe01c |  | note | Stay away from trucks and moving plants such forklifts, scissor lifts.
label | c96ae9b6-538b-5869-a8b4-7258a3587694 |  | note | Move away during crane loading and unloading materials near you.
label | 249e7944-669b-57e1-a431-b999e111cc4a |  | note | Inclement weather
label | 9b693e18-6138-52d1-8462-e87d506fbd06 |  | note | Dewater any surface water, concrete slurry and moisture on access way and work area prior to start working.
label | 45f2dfed-6691-526c-9150-383485b21a5e |  | note | Hot weather, stay in shade and drink plenty water to avoid dehydration.
label | f9569148-0df2-5a02-bdf4-9a64c183aa51 |  | note | Not to work/walk in area with surface water.
label | 630afe11-ecd1-5bd6-8127-ddedfdf42fd0 |  | note | Stair Access/Access
label | de6ff3b1-df74-5608-af4b-6e252ebcf8c7 |  | note | Ladder for access purpose and not to work from ladder. Use platform ladder to work.
label | c687da45-57a6-520f-8131-e129d669b792 |  | note | Ladder must be in good condition, 1m min extension above top support, 1 to 4 rule compliance, secured top and button supports, edge protection around top access point, located on solid stable foundation and minimum 3 of your legs and hands must be in contact with ladder during ascending and climbing.
label | 185c5f5f-f251-5fd7-a716-a4bf343199b1 |  | note | Explosive Powered Tools/ Ramset Gun
label | dba18e54-35aa-5f37-bf96-a16f3254d3f1 |  | note | Only ticketed and competent person is allowed to use. Display appropriate signage
label | e5bcaf9c-459a-5268-9566-f79d774693f8 |  | note | High velocity direct action explosive powered tool is not allowed and use only tools provided by BKH.
label | 7f9a2ae4-10f0-5baf-aa72-cc066bb7f486 |  | note | Follow procedure of use, which are from training, such as to check base materials is solid concrete (not polystyrene covered in a thin layer of concrete), type of charger required for fasten materials, warning others prior to firing and no one in the firing line, to load pins just prior to intended to use, misfired procedure, disposal of discharged chargers, keeping in a safe storage after use.
label | b0ca404a-f17f-54d9-8786-c2ca7eb1f8aa |  | note | Compressed air
label | f16464d9-a7cf-5790-995f-a04467816396 |  | note | Do not point blow pie to anyone and not to blow in the directions people. Use only when the area is vacant or end of their shift wearing appropriate PPE such as dust mask, eye protections and ear protections. Use alternative methods such as using vacuum, pick up manually or with a picker.
label | 0fc5a266-0117-598f-bc6a-cb2b536ce4e3 |  | note | Manual handling
label | 0e25682d-260d-5b57-b67e-5ab2bea99dec |  | note | Use mechanical aid, team lifting to 20kg or over.
label | 07d912fe-b264-5ce4-a501-f99199fca1be |  | note | Handle manually to less than 20kg with straight back, lift with knees, object close to body.
label | 18f2a398-d611-5860-8d54-7025464683e4 |  | note | Accident, incident and injury
label | beca3d3c-8aa4-50b2-9a02-d8ec81ee9b8d |  | note | To report immediately to supervisor.
checklist-sectioned |  |  | checklist | Hazardous Substances Risk Assessment |  |  |  |  | Yes | Hazardous Substances Risk Assessment | 7f43ec48-6521-4c80-a072-67bdb592ea6f
checkpoint-group |  |  | section | To be completed for all hazardous substances in use on the project
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | f5b9ef89-7f37-5198-b579-e8beadab1c93 |  | textbox | Substances/ Products Assessed:
text | 076d7efe-c433-5d54-8650-4355b1ec11d9 |  | textbox | Stored:
text | 2d71640b-055e-5d26-868a-13f037fa8968 |  | textbox | Task/s:
button | 6812fbb7-9c0a-5ed3-8b1f-542c90ac94c3 |  | button | Does the substance have a rating of High or Extreme? If yes, assess the ratings in Chemwatch if the product can be controlled and used on site for the prescribed task | Yes,No
button | 755e1145-08bc-5830-8f92-2962e12852b2 |  | button | Does this substance require Health Assessment or Monitoring? If YES REJECT and substitute for a less hazardous product | Yes,No
button | b2606cf6-9751-570d-ba02-3ff4d49b4314 |  | button | Can this substance be substituted for a less hazardous product? | Yes,No
button | e0d88ee1-2232-548f-bdc1-3ed5e2b139c6 |  | button | Can this product be used in accordance with the controls nominated in the manufacturer’s SDS? If not, a detailed Safe Work Method Statement is required) | Yes,No
checklist-flat |  |  | checklist | ACSA-Post Climbing Checklist |  |  |  |  | Yes | ACSA-Post Climbing Checklist | 86d97f46-e3c8-472b-a01c-7cee512611a1
checkpoint-status |  |  | checkpoint | System is securely sitting in pockets as per design.
checkpoint-status |  |  | checkpoint | Check that nothing was snagged or damaged during climb?
checkpoint-status |  |  | checkpoint | Plywood flaps has been replaced securely and all gaps closed.
checkpoint-status |  |  | checkpoint | Reinstate access to jumpform.
checkpoint-status |  |  | checkpoint | Electrical and plumbing connections to jumpform inspected and secured.
checkpoint-status |  |  | checkpoint | Reinstate all safety measure required for reset cycle/stage e.g. hangers, platforms, handrails, ladders
checkpoint-status |  |  | checkpoint | Ensure all reo bars are capped off by steel-fixer.
checkpoint-status |  |  | checkpoint | Housekeeping has been completed?
checkpoint-status |  |  | checkpoint | Ensure fil-a-foam is only used on gaps smaller than 5mm and everything is fully plywooded
checkpoint-status |  |  | checkpoint | Builder’s Representative has been notified
holdpoint |  |  | signoff | Signed off by Builder
checkpoint-status |  |  | checkpoint | Once all completed and signed off, remove exclusion zone
checkpoint-status |  |  | checkpoint | Post-Climbing Comments
text | cb85d5ee-d9a2-50fa-8c72-6b953347406f |  | textbox | Any issues
checkpoint-status |  |  | checkpoint | Post-Climbing Declaration
text | 4b8132bc-b432-5cff-9ada-ffa6de08858a |  | textbox | Time Climb started:
text | 544a4e50-aaa3-5510-8377-8aaab5007681 |  | textbox | Time Climb completed:
text | 059cc14a-260b-5373-9e6e-1ab5ceccf4e6 |  | textbox | The Safety Inspection as noted above was completed on
holdpoint |  |  | signoff | Signed off by BKH & Builder
checklist-flat |  |  | checklist | Crane Box Handover |  |  |  |  | Yes | Crane Box Handover | 87d554b3-a9ad-4098-8d3d-d1923d43e10a
checkpoint-status |  |  | checkpoint | Shutters plumbed/penos installed etc.
checkpoint-status |  |  | checkpoint | Shutters greased/oiled and taped etc.
checkpoint-status |  |  | checkpoint | Plywood flaps in place and gaps closed
checkpoint-status |  |  | checkpoint | Hop up brackets installed with handrails and midrails
checkpoint-status |  |  | checkpoint | Access to hop up brackets installed
checkpoint-status |  |  | checkpoint | Housekeeping ( All loose material stored away)
checkpoint-status |  |  | checkpoint | Handover – Refer to attached plan if staged handover required
holdpoint |  |  | signoff | BKH Jump Form Supervisor & Jumpform General Foreman/Site Manager
checklist-flat |  |  | checklist | Hazard Report Form |  |  |  |  | Yes | Hazard Report Form | 8c7513d8-4321-4c00-8714-522281129a9f
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 294e4898-97c8-5fc1-9e0c-409ce61e598f |  | textbox | Date of incident:
text | eed45088-ac72-59b5-ba59-e9ee1369f52b |  | textbox | Time of incident:
text | 69402eab-aa99-56cb-b56e-a31a903687c1 |  | textbox | Time of report
select | 4cf1d9d3-3373-5e2a-b025-5fb9bf094ec6 |  | dropdown | Nature of Incident | Incident, Near Miss, Workplace Hazard, Hazardous Work Practice
text | 3ea79932-1b5c-5776-95a5-429470792124 |  | textbox | Description of Hazard (Include area and task involved, any equipment, tools, people involved
label | b9739b65-ec2f-5027-9ee5-74f3b813cb48 |  | note | Attach sketches
text | 7fde4f0c-dec2-518e-9ba6-d9648013a665 |  | textbox | What needs to be done? List any suggestions you may have for fixing the problem e.g. re-design mechanical devices, procedures, training, maintenance work, etc.)
text | 0761a30d-da7b-563b-8371-44ebee1a4261 |  | textbox | Action taken and evaluated as effective
checkpoint-status |  |  | checkpoint | Form Completed
holdpoint |  |  | signoff | Signed Off
checkpoint-status |  |  | checkpoint | Actions Completed
holdpoint |  |  | signoff | Signed Off
checklist-sectioned |  |  | checklist | Employee Induction Checklist |  |  |  |  | Yes | Employee Induction Checklist | 9022dd51-3514-40ba-89ce-414ee8f4b1d2
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Please attach relevant photos / documents
text | 74aa3723-b774-56d0-a205-09fc43005813 |  | textbox | Name:
text | 440c6d7b-b269-555e-9d99-0f32b7031933 |  | textbox | Induction Date:
text | 84d8945e-cd9f-5e86-9a01-c8e503915b2d |  | textbox | Manager/Supervisor:
text | b81c23d4-caf4-5093-a749-2bc427cda59e |  | textbox | Position/Occupation:
text | e145d943-b5b1-5ce2-b66c-d983499637a1 |  | textbox | Site/Yard/Office location:
checkpoint-group |  |  | section | Induction Record
checkpoint-status |  |  | checkpoint | Has the employee completed the site induction form (all fields filled out)?
checkpoint-status |  |  | checkpoint | Has the employee provided all relevant tickets (a photo or scanned document) and has this been saved under the project AND admin personnel folder?
checkpoint-status |  |  | checkpoint | Has the employee been given the correct personal protective equipment and have completed the PPE sign off (WHSE Form 32)?
checkpoint-status |  |  | checkpoint | Has the employee been taken through and signed on to all relevant SWMS?
checkpoint-status |  |  | checkpoint | Has the employee signed on to all relevant SOPs?
checkpoint-status |  |  | checkpoint | Has the employee been taken through and signed on to the SDS/Risk assessments?
checkpoint-group |  |  | section | Orientation (Site office only)
checkpoint-status |  |  | checkpoint | Has the employee been given a pass for the office/building?
checkpoint-status |  |  | checkpoint | Is the employee aware of where the kitchen and toilet facilities are in the building?
checkpoint-group |  |  | section | Policies and Procedures
checkpoint-status |  |  | checkpoint | Has the employee been issued the handbook?
checkpoint-status |  |  | checkpoint | Has the employee watched the induction video?
checkpoint-status |  |  | checkpoint | Have the company policies and procedures been explained to the employee?
checkpoint-status |  |  | checkpoint | Is the employee aware of the procedures for reporting incidents, injuries, and hazards?
checkpoint-status |  |  | checkpoint | Does the employee know who to raise their concerns to? (Senior management/Supervisor)
text | 2237dfb7-f5a2-598c-868c-1b6599208f11 |  | textbox | Additional Comments
checkpoint-group |  |  | section | Acknowledgement
checkpoint-status |  |  | checkpoint | I have been provided with and understand the information (as indicated above) and will comply with all safety instructions listed in the Safe Work Method Statements and company policies and procedures (or equivalent).
holdpoint |  |  | signoff | Signed by Employee
checkpoint-status |  |  | checkpoint | I have provided the employee with the relevant site-specific information related to the works to be conducted
holdpoint |  |  | signoff | Signed by Supervisor
checklist-flat |  |  | checklist | Variation |  |  |  |  | Yes | Variation | 92b43200-0753-42a7-939d-296bd11570f4
checkpoint-status |  |  | checkpoint | Please attach any relevant photos / documents
text | f4e6717c-2fa5-507b-99bf-b86e62d85b17 |  | textbox | As directed and requested by
label | 95613a69-0a8b-5c83-9339-bd6cbc0b4b96 |  | note | To carry out works which are an addition to our original scope of works & in addition to our original contract sum
text | 3e36f296-4ef6-5ef5-b9c8-dff462f80adf |  | textbox | Details
label | 2735fc9f-0675-5262-9681-a4ce0f50ecf0 |  | note | To B.K.H Contractors
label | 145ccaed-f22b-5994-ad91-44baa8db1571 |  | note | I hereby authorise you to carry out the extra work detailed above and I agree that the same shall be paid as an addition to your original contract order
checkpoint-status |  |  | checkpoint | Variation signed
text | 5a495401-9dcc-5436-8e47-9f7714ea610e |  | textbox | Site Instruction No:
holdpoint |  |  | signoff | Signed by (Builder / Client)
checklist-flat |  |  | checklist | BKH IR 002 - Formwork Element Handover |  |  |  |  | Yes | BKH IR 002 - Formwork Element Handover | 94bec17f-622d-4de2-b0c5-dbfcb42cedce
checkpoint-status |  |  | checkpoint | Submission of Certified Formwork Design (Where Required)
checkpoint-status |  |  | checkpoint | Has the Formwork Element been built to Formwork Design
checkpoint-status |  |  | checkpoint | Is Safe Access and Egress to and from Working Area in place for other trades (by others)
checkpoint-status |  |  | checkpoint | Edge Protection, Kick Boards and Handrails in place
checkpoint-status |  |  | checkpoint | Is Delineation in place between leading Formwork Deck and the area of deck being handed over with bunting and signage
checkpoint-status |  |  | checkpoint | Is the working area Relatively Clean and free of excess formwork
checkpoint-status |  |  | checkpoint | Have penetrations/block-outs been completed and covered
checkpoint-status |  |  | checkpoint | Are Working Platforms in place with safe access for Steel-fixer and other trades (vertical elements)
checkpoint-status |  |  | checkpoint | Has Propping required to Cantilevered bearers/formwork been installed Eg. Tower Boom Penetration
checkpoint-status |  |  | checkpoint | Is the formwork element ready for the following trades
checkpoint-status |  |  | checkpoint | Work Completed
holdpoint |  |  | signoff | Sign Off BKH & Lendlease
checklist-flat |  |  | checklist | Screens Post-Climbing Checklist |  |  |  |  | Yes | Screens Post-Climbing Checklist | bbf4d3e3-f0f4-4ee0-b9c9-cd8d324a068b
checkpoint-status |  |  | checkpoint | Check all needles/ props are locked with pins
checkpoint-status |  |  | checkpoint | Check spacing between screens (max <50mm gaps) are covered by rigid plastic strip.
checkpoint-status |  |  | checkpoint | Check all decks (trailing/intermediate/working) are complete - flaps/Rubbers are in place and secured (No gaps)
checkpoint-status |  |  | checkpoint | Check interface with other protection ie Scaffold/ Precast (max <50mm gaps)
checkpoint-status |  |  | checkpoint | Bottom trailing deck- no gaps, completely sealed
checkpoint-status |  |  | checkpoint | Holding down bolts are secure, locked off
checkpoint-status |  |  | checkpoint | Access/egress to working platforms in place
checkpoint-status |  |  | checkpoint | Check height of top screen is adequate for edge protection (2m)
checkpoint-status |  |  | checkpoint | Check all infill screens, mesh panels are appropriately secured
checkpoint-status |  |  | checkpoint | Check ends/ corners of all runs, for interface with Formwork, edge protection – Gaps, all attachments are secure.
checkpoint-status |  |  | checkpoint | Visual inspection of screen bolts to ensure in place/undamaged
checkpoint-status |  |  | checkpoint | Remove exclusion zones
checklist-flat |  |  | checklist | Hoist Post Climb Checklist |  |  |  |  | Yes | Hoist Post Climb Checklist | c0ef912a-512a-4be2-a974-eefbede095dc
checkpoint-status |  |  | checkpoint | Sliding supports are fully extended at new Hoist Level 1 and taking hoist vertical load
checkpoint-status |  |  | checkpoint | Rams have been retracted and installed on needle pin at new Hoist Level 1.
checkpoint-status |  |  | checkpoint | Back propping is installed in accordance with the Site Engineer requirements for operation.
checkpoint-status |  |  | checkpoint | Floor plates have been reinstalled at new Hoist Levels 1 to 4.
checkpoint-status |  |  | checkpoint | Hoist operation tested over all levels.
checkpoint-status |  |  | checkpoint | Gates and limit switches are correctly adjusted and tested on all levels.
checkpoint-status |  |  | checkpoint | Safety has been reinstated at all levels, closing all gaps.
checkpoint-status |  |  | checkpoint | Out Of Service Signs have been removed as appropriate.
checkpoint-status |  |  | checkpoint | ALL WORK HAS BEEN CARRIED OUT IN ACCORDANCE WITH THE MANUFACTURERS SPECIFICATIONS
holdpoint |  |  | signoff | Signed off by BKH & Builder
checklist-sectioned |  |  | checklist | Confined Space Entry Permit |  |  |  |  | Yes | Confined Space Entry Permit | c796401c-e4d3-42aa-968f-3751662802ea
checkpoint-group |  |  | section | Entry Permit Part 1 – Location of Works
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | daa96a38-31ed-54e3-8bad-5db006f57bd5 |  | textbox | Location of work:
text | ce3860dd-9048-57cb-89c7-a5679e615190 |  | textbox | Employees assigned:
checkpoint-status |  |  | checkpoint | Initiator of request:
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 2 – Description of Works
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 13799ef6-36e6-5fd9-a79f-c34bf312fad3 |  | textbox | Description of the Works to be undertaken
checkpoint-group |  |  | section | Entry Permit Part 3 – Isolation of Confined Spaces
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
label | b6736d34-dfde-575e-9333-8f9c98fedacb |  | note | Where required, the items listed below have been isolated or made safe
boolean | 6337f236-b1c9-5804-ae81-4264b92d2fc2 |  | tickbox | Pipeline water
boolean | ba9e4bc2-c8ee-5970-81ea-2f67d3ce1ce8 |  | tickbox | Pipeline steam
boolean | 4f172cd3-72d1-55ce-9082-74ffb7fedbe5 |  | tickbox | Pipeline gas
boolean | 261cb8d9-5c86-5006-98a0-18581840f812 |  | tickbox | Mechanical/electrical drives:
boolean | e64e4cea-f43d-5877-829b-c65093f55ed0 |  | tickbox | Sludges/deposits/waste
boolean | 7817ca44-f98c-536a-9c59-b3dcf6b7058f |  | tickbox | Harmful materials
boolean | ae1e228a-5f3a-583f-8e12-0290c2c00521 |  | tickbox | Electrical services
boolean | 74ea08b0-6c31-51f4-8de3-f25c3ec77d55 |  | tickbox | Warning notices. Locks or tags have been fixed to means of isolation.
checkpoint-status |  |  | checkpoint | Authorised person
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 4 – Atmospheric Test Requirements
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
label | 4fbe53f9-1130-5ad8-b7d5-b98026bf2b25 |  | note | Test atmosphere and record levels: (note applicable limits below)
boolean | 8c2154bd-b1e5-55c9-8d8d-38f8cdab9532 |  | tickbox | Oxygen (18-23%)
boolean | 9b3fddfe-fd52-5e0c-af8d-6b608c321ce9 |  | tickbox | Hydrogen sulphide (10%)
boolean | 495c94f2-e6c9-5dfa-b5e1-c6202c4c77cd |  | tickbox | Lower explosive limits (%)
boolean | 77b4df4c-741c-5126-aaf6-bea7379dcbe5 |  | tickbox | Carbon monoxide (50 ppm or less)
checkpoint-status |  |  | checkpoint | Authorised person
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 5 – Personal Protective Equipment
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
label | 85face70-daba-5d7d-a5c4-14718f51901d |  | note | The following personal protective equipment ticked below shall be worn
boolean | 4a2bf11b-a21c-5a20-9540-6c6c1026933c |  | tickbox | Correct breathing apparatus (
boolean | b93f6a1f-77d3-5173-840a-16d1c24a5e1c |  | tickbox | Safety harness and rescue line
boolean | ee09c102-f8e2-5ead-b96f-062db72d6ca1 |  | tickbox | Eye protection
boolean | 19d64072-4e3b-5b8c-898a-dff5460c9cf0 |  | tickbox | Hand protection
boolean | a5367df2-ca0f-5375-a1ef-c8e226512953 |  | tickbox | Foot protection
boolean | ef741121-0c31-577b-96d3-13809aa3466d |  | tickbox | Protective clothing
boolean | 4d05381b-a18b-5c3e-a4eb-11f5308798db |  | tickbox | Hearing protection
boolean | 91ae3d1c-0a91-5cc3-8502-81e9487f8d0e |  | tickbox | Safety helmets
boolean | 95ee4775-7041-5fef-a9a1-37a596f40a45 |  | tickbox | Any other requirements
boolean | 4cd6c182-688d-5197-8001-9bd00592cb37 |  | tickbox | Knee pads and gum boots available if required
boolean | 48b25162-beff-56ff-9c39-39b4c19c7ace |  | tickbox | The following equipment is immediately accessible:
boolean | 66425054-61cd-5d83-acc0-6f6ca4b659e7 |  | tickbox | Two way radio
boolean | 67e992af-a038-5729-b19d-7d2da3c1856e |  | tickbox | First aid kit
boolean | 0ed5e1c8-5694-53cd-80e1-00da333e0fb1 |  | tickbox | Correct breathing apparatus
checkpoint-group |  |  | section | Entry Permit Part 6 – Use of Chemical Agents
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
label | 9bafc9d9-35cb-5e16-ada9-e9f16d42c538 |  | note | No chemical agents other that those listed below may be taken into the confined space
text | 3d1b68c5-1154-5fea-b446-1bc61a6be0cd |  | textbox | Chemical agents
checkpoint-group |  |  | section | Entry Permit Part 7 – Hot Work
checkpoint-status |  |  | checkpoint | Area clean and free of all readily combustible materials within 15 metres
checkpoint-status |  |  | checkpoint | All drains within 15 metres covered with wet, fireproof blanket
checkpoint-status |  |  | checkpoint | Appropriate fire extinguishers on site near source of ignition
checkpoint-status |  |  | checkpoint | A water hose run to job site and tested/left running
checkpoint-status |  |  | checkpoint | All sparks from work more than 2 metres above ground contained completely by use of a suitable enclosure which shall be inspected before commencing work
checkpoint-status |  |  | checkpoint | Welding machines/gas cylinders located (not within 8 metres of any drain)
checkpoint-status |  |  | checkpoint | Welding machines earthed directly to equipments being welded and as close to welding point as possible
checkpoint-status |  |  | checkpoint | Power leads not draped across pipelines or access ways
checkpoint-status |  |  | checkpoint | Electrical trace on pipes isolated
select | f4da213f-e59d-5ad1-9e57-b31c95015c58 |  | dropdown | Hot work | Is, Is Not
checkpoint-status |  |  | checkpoint | Authorised person
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 8 – Standby Personnel & Rescue Arrangements
checkpoint-status |  |  | checkpoint | Stand by persons are (please print name in full)
text | 861e3473-2a8c-59de-ad39-9cb2d4ccc36e |  | textbox | Full name
checkpoint-status |  |  | checkpoint | Is life line to be detached following entry
checkpoint-status |  |  | checkpoint | Are rescue and emergency procedures understood
checkpoint-status |  |  | checkpoint | Authorised person
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 9 – Other Precautions
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
label | ec783eb9-d617-58b2-a155-83a41b93ad57 |  | note | Precautions ticked below have been implemented
boolean | 559811ec-7406-56ea-8c2f-19cf80aac881 |  | tickbox | Warning notices/barricades are in position
boolean | 0cf33904-5c16-5e49-bc14-fd5011bf5ce2 |  | tickbox | Smoking has been precluded in confined space
boolean | ce43affb-48a5-5e5e-a28f-23336fcc7a4f |  | tickbox | Any other special precautions (please indicate):
text | 49455212-15a7-5126-8527-408539682b7e |  | textbox | Other
checkpoint-status |  |  | checkpoint | Authorised person
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 10 – Safe Entry
checkpoint-status |  |  | checkpoint | The confined space described in relation to this job is, in my opinion, in a safe condition for the work to be done, providing that all precautions as detailed are fully observed.
checkpoint-status |  |  | checkpoint | The work team understands the procedures required for entry and work in the confined space and the protective measures and equipment to be used.
checkpoint-status |  |  | checkpoint | Authorised person
text | 7b2a8368-9787-5584-b2f3-730468d48e02 |  | textbox | Valid Till
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 11 – Signing Out
checkpoint-status |  |  | checkpoint | All persons have left confined space and further entry should not be permitted unless a new entry permit is signed
checkpoint-status |  |  | checkpoint | Authorised person
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 12 – Work as Defined in Section 2 Has Been Completed/Suspended
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
select | dfc1f76c-3f89-535a-a7a4-64afdd77a690 |  | dropdown | All persons/equipment have been withdrawn, the work has been completed and any plant/machinery any plant/machinery | Is fit to use, Is not fit to use
checkpoint-status |  |  | checkpoint | Authorised person
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Entry Permit Part 13 – Observed Faults & Incidents
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
label | b76f0272-589d-5692-b87c-07b21b92cdd8 |  | note | Incidents/accidents report to be completed by responsible person in all cases where
boolean | d45348a2-8119-5561-a620-a828b3b833b9 |  | tickbox | Unsatisfactory aspects of the operation or procedure have occurred
boolean | 657c120e-ff28-5b83-8471-4cb620193bbc |  | tickbox | Injury to persons or damage to property has occurred.
boolean | 78e67510-4ef5-5085-bb58-15baa9e2f8e3 |  | tickbox | Any other information or attention required prior to further confined space work
checkpoint-status |  |  | checkpoint | Authorised person
text | 40493932-3e67-59b9-a6cc-09d657738fe9 |  | textbox | General Comments
holdpoint |  |  | signoff | Signed Off
checklist-flat |  |  | checklist | WHS Alert |  |  |  |  | Yes | WHS Alert | cd927659-9c42-4cd6-9881-5883cb9cfdc0
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | ae14a491-07fd-574b-94aa-112742b8ebfa |  | textbox | What Happened:
text | 59852acb-78f0-51bc-8cef-0dc3afd2c245 |  | textbox | What has been done:
text | 12967774-2c7b-52b8-af3f-c270be82fb17 |  | textbox | What to be aware of:
text | 02e38227-4790-5c57-848f-7fefc3f5dbe6 |  | textbox | What you need to do
text | e0f80ea4-47f7-5e61-b0c8-7bc39830578f |  | textbox | For further information, Contact
checklist-sectioned |  |  | checklist | Accident Incident Investigation Form |  |  |  |  | Yes | Accident Incident Investigation Form | dbf528cf-e834-4cd5-9ce3-bca8ec655d66
checkpoint-group |  |  | section | Details of accident/incident
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | b6640e45-085e-5209-8a28-e0ffbdee4474 |  | textbox | Date of incident
text | feb2bd1e-6af4-5079-8efd-b1ba79e909d5 |  | textbox | Time of incident:
text | a48ab959-a4c9-5fbf-8ad3-b6fb76fac0fd |  | textbox | Time of report:
text | 440c6dd7-68c9-5a0e-be0f-8ff5a3de452b |  | textbox | Weather:
checkpoint-status |  |  | checkpoint | Nature of incident
boolean | 37e5a82b-0757-597b-bc26-f46a12ae5c1e |  | tickbox | injury (attach completed WHSE Form 01 Injury report)
boolean | d6595570-619f-5e46-bf0c-00c8b2dbdde5 |  | tickbox | environmental (pollution)
boolean | 32507de9-5797-5f12-b297-91e5bb15588e |  | tickbox | damage to property/assets/services
boolean | 8f3e8a45-68bb-5ec2-a71a-8b3e64ad0a2d |  | tickbox | incident
checkpoint-group |  |  | section | Names of person(s) involved
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 053d7c0d-dcfc-5b9a-a94e-92d8571fad5b |  | textbox | Name
text | 3803c359-7145-51f4-9bad-a785da24edad |  | textbox | Phone Number
label | 6da74930-c3a1-5090-acc2-1712b1fe49c4 |  | note | (home, mobile & work)
text | 915dc185-809d-5f27-8bba-6077c7c9bee3 |  | textbox | Address
text | 68995c13-1c8f-5eac-813c-a69232313b72 |  | textbox | D.O.B
text | bae9b73c-6088-5dfc-9dcb-ebe877296462 |  | textbox | Email
text | beafc411-f8b4-5504-9c16-301d07372a13 |  | textbox | Name
text | 29e56d21-e99b-5a27-af07-9527e13931d0 |  | textbox | Phone Number
label | 5f8ed932-b63e-5a88-adac-ca4096cc01f9 |  | note | (home, mobile & work)
text | 9f18f515-e861-5bb0-b1fe-e03e1b0bd19b |  | textbox | Address
text | 307b5dcf-6edd-54de-879f-e6fc41e24000 |  | textbox | D.O.B
text | 9fa8f20a-8e58-593b-b942-c5b9693aca1b |  | textbox | Email
text | 7c8e76f8-68b9-5b2c-8d19-701e8ca428dc |  | textbox | Activity in which the person(s) was engaged at the time:
text | 713ab119-b219-5677-b0ac-8fef0fc080cc |  | textbox | Exact site location where injury/incident occurred:
text | 503b0ea4-ee03-5d5b-a189-df74a5a9e467 |  | textbox | Type of injury/pollution/damage/ incident:
text | f740bb4e-c2a8-5db7-a322-084c6494f4e6 |  | textbox | Describe the accident/incident in detail:
checkpoint-group |  |  | section | Witness to incident (each witness may need to provide an account of what happened
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | e8a131a4-6896-502b-a3b4-8324186308c9 |  | textbox | Witness Name
text | bbff9c15-361d-5d99-98bb-ad7c3204a0a2 |  | textbox | Witness Contact
text | 8d238e07-7e1a-5db2-8fd5-b6b77bdabe12 |  | textbox | Witness Name
text | b8034d37-7fd8-514f-b530-d065a8aff7e8 |  | textbox | Witness Contact
checkpoint-group |  |  | section | Are there any notable/significant factors relevant to the accident/incident?
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | bf32ed28-940f-59b5-9bf7-2c818e81a450 |  | textbox | Details
checkpoint-group |  |  | section | Arrangements made to store any equipment that believed to have contributed to injury/incident?
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 32e155c6-48aa-5e10-a67d-e6c4fc79370f |  | textbox | Details
checkpoint-group |  |  | section | Did any third parties (subcontractors, visitors, etc.,) contribute to the incident? If so, how?
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 107cd795-c300-51d4-b202-33ad0cfd4dad |  | textbox | Details
checkpoint-group |  |  | section | Immediate corrective actions taken? (e.g., works ceased, area made safe, barriers erected, etc.,)
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 55e437de-46eb-5d68-946f-dd8eb0a7a4e5 |  | textbox | Details
checkpoint-group |  |  | section | Future actions taken (e.g., engineering solutions, training, toolbox talk, etc.,)
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 8f7d9df7-1385-5d6b-8555-ab129b901193 |  | textbox | Details
checkpoint-group |  |  | section | Review & Sign off
checkpoint-status |  |  | checkpoint | Have all actions been completed and reviewed as effective?
checkpoint-status |  |  | checkpoint | Have all documents relating to the incident, including corrective action evidence been completed
holdpoint |  |  | signoff | Signed Off
checklist-flat |  |  | checklist | Screens Pre-Climbing Checklist |  |  |  |  | Yes | Screens Pre-Climbing Checklist | ea1b5bc9-052b-4137-babb-ce9074e36e5f
checkpoint-status |  |  | checkpoint | Exclusion zone permit to be setup prior to jump.
checkpoint-status |  |  | checkpoint | Platforms & rails clean & clear of all material & debris
checkpoint-status |  |  | checkpoint | Area outside handrail and along slab edge is clean and cleared of all loose material and debris inclusive of halfen cast ins (by others - LLB to check)
checkpoint-status |  |  | checkpoint | Inspect concrete soffit above lowest platform is clear of any loose debris fillets, dags etc
checkpoint-status |  |  | checkpoint | Flaps, infills, rubber covers, are disengaged.
checkpoint-status |  |  | checkpoint | All decks are assessed ready for lifting to commence.
checkpoint-status |  |  | checkpoint | Spotters required on each floor - leading / trailing / intermediate / exclusions
checkpoint-status |  |  | checkpoint | Spotters to have radio communication on each level.
checkpoint-status |  |  | checkpoint | Check power to hydraulic pumps, ensure all lines are laid properly and will not ping or shear during climb (Peri screens only)
checkpoint-status |  |  | checkpoint | Test hydraulic functions by completing a stroke, ensure rams are tested and climbed in pairs (Peri screens only)
checkpoint-status |  |  | checkpoint | Spill kit readily available
checkpoint-status |  |  | checkpoint | Back-propping in place as required. Any props inside PEZ zones on the lowest level are to be bolted.
checkpoint-status |  |  | checkpoint | Area 3m back from leading edge on all levels to be cleared prior to opening any gaps in screen platforms and excluded.
checkpoint-status |  |  | checkpoint | Ensure handrail / fall prevention on all levels where screens are to be climbed – work right complete including mesh & kickboards.
checkpoint-status |  |  | checkpoint | Check all non-typical locations at interfaces with walls/columns, platforms etc
checkpoint-status |  |  | checkpoint | Ensure perimeter containment netting is installed at lowest screen level with the cantilevered catch fan positioned no more than two levels below and extended out (by others – LLB to c
checkpoint-status |  |  | checkpoint | Concrete strength achieved (provided by Lend Lease) *15 MPa required
holdpoint |  |  | signoff | Signed off by BKH & Builder
checkpoint-status |  |  | checkpoint | If lifting in Alimak/Hoist zone, ensure operation is ceased while lifting
holdpoint |  |  | signoff | Signed off by BKH & Builder
checkpoint-status |  |  | checkpoint | Inclement Weather: Ensure weather conditions are approved for Tower Crane use. Wind speed not to exceed the approved level on screen shop drawings
checkpoint-status |  |  | checkpoint | Exclusion zones (physical barricades) and signage ‘Danger - No unauthorized access’ or similar in place at all relevant levels, leading/intermediate/trailing/below to ensure no unauthorized access or fall potential by other trades.
holdpoint |  |  | signoff | Signed off by BKH & Builder
checkpoint-status |  |  | checkpoint | Work right & PEZ Zones (3m back from edge) are in place on the lowest level protected by screen
checkpoint-status |  |  | checkpoint | Resources are ready, and signed off into appropriate HRW SWMS:
checkpoint-status |  |  | checkpoint | Basic Rigger x 1
checkpoint-status |  |  | checkpoint | BKH Screen foreman (Peri accredited) & crew
checkpoint-status |  |  | checkpoint | Reference screen drawings for needle, screens. bracing, holding down bolts locations
checkpoint-status |  |  | checkpoint | Pre-start conducted with all related trades below and above affected by Screen movement procedure (To be identified in LLB daily Builders Brief)
checkpoint-status |  |  | checkpoint | Ensure Screen wings near crane are contracted prior to lift to avoid clashes with ties
checklist-sectioned |  |  | checklist | Induction Record |  |  |  |  | Yes | Induction Record | efd540cb-8e02-4c8c-bdce-ca33fff9d003
checkpoint-group |  |  | section | Personal Details
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
text | 5dc1ca9f-8404-5ad3-b6e6-328fa44f80ec |  | textbox | Name
text | 116c61d5-aa16-5308-b41d-19df8f270fa1 |  | textbox | Phone Number
label | 1de693db-de14-519c-a4f3-5b6b6b3c0d31 |  | note | (home, mobile & work)
text | 1eb0701e-2917-52c2-87fc-dbac6fcdcb88 |  | textbox | Address
text | 28a6888f-d0f2-5296-bb94-a88875086143 |  | textbox | D.O.B
text | 5c874e88-2f9d-50c2-9e06-6c0a2807b7ee |  | textbox | Email
text | d5748088-197b-59f6-87a8-2039061e84b4 |  | textbox | Name
text | 5f73945f-44df-5f0a-8dcd-abf601224451 |  | textbox | Emergency Contact Name
text | 134683c3-8de7-599e-b487-660c8b167ede |  | textbox | Construction Induction No:
text | f1a342be-d1bb-584f-93a9-228f2c920332 |  | textbox | Emergency Contact No:
select | 85b640f0-5523-5365-ae2c-fd134bc82a11 |  | dropdown | Medical History/Allergies | Yes, No
label | 1d343b06-20e3-5ddc-9e1b-816528f82794 |  | note | Are you taking any medication? Is there any special treatment or any medical ailment that a First Aid Officer should know about if you are involved in an accident or become ill?
text | 8fd8a093-6ada-5d86-b4bd-ba6076ba0c71 |  | textbox | If yes, provide details
checkpoint-status |  |  | checkpoint | High Risk Work Licence details (if applicable)
checkpoint-group |  |  | section | Induction Topics Covered
checkpoint-status |  |  | checkpoint | Please attach any relevant photos & documents
boolean | adbe5a1a-3302-5d2e-9272-29d701de65e3 |  | tickbox | General reporting requirements i.e., site organisation chart and roles and responsibilities
boolean | a228f66a-6303-5b04-ae60-54446fd757f8 |  | tickbox | Reporting of accidents, incidents, injuries, non-conformances, or damaged equipment to your supervisor
boolean | 145aff29-513f-59ac-b524-5f9c3de87854 |  | tickbox | First Aid Response Procedure i.e., nominated first aiders and locations of first aid boxes
boolean | 644a73d2-f0ec-547a-85f6-254919c957bc |  | tickbox | Workers Compensation & Rehabilitation – Return to Work Consultant’s:
boolean | 543b42bd-9b20-5478-a7b5-cb816f9484b9 |  | tickbox | Emergency Procedures Emergency Exits and Emergency Muster point/assembly point identified
boolean | 4f8f0c83-d515-5a03-92cc-84c3d8928116 |  | tickbox | Roller door to remain open for duration of shift and clear access to be maintained to all work areas
boolean | e2bbbe67-6637-5169-944e-99d6bfac6b53 |  | tickbox | Locations of fire extinguishers, Spill kits & SDS information for chemicals
boolean | 99946c02-0849-5c8f-b0a8-6055ba106670 |  | tickbox | No use of Extension Ladder – (Platform Ladder/A Frame only)
boolean | 6d895763-9a37-54a8-9bf4-5cbe9706ef6b |  | tickbox | Location of amenities across the yard (toilets, lunchrooms etc.)
boolean | c0d00235-b70d-5d0b-91f0-50ade7c017de |  | tickbox | Personal Protective Equipment (PPE) is available at the Office or container. Hard Hat, Steel toe boots, hi visibility clothes are mandatory. Gloves to be worn when handling material. Face shield to be worn when using an angle grinder/quick cut/Welding. Hearing protection, glasses, and dust masks to be worn as required.
boolean | 80d5d5b5-e1ee-53b2-93ec-7ec1feaf8d53 |  | tickbox | Welding Area Minimum PPE Requirements: Long sleeve high vis shirt, long trousers, steel toe boots
boolean | ffd754c1-11e7-59ce-8209-a69902349c93 |  | tickbox | Inspect all tools, lifting equipment,
boolean | 9d2e2659-5152-58fa-b4c6-2b3085f9cd50 |  | tickbox | Leads to be kept elevated at 2m height using insulated lead hooks/lead stands
boolean | 480b6954-29a2-52b3-a90a-b2c3f2c9a865 |  | tickbox | Beware of moving plant – forklift, telehandler, and site vehicles in use – always make eye contact with operator
boolean | 7c1c2883-d7f5-5cc9-9ae5-fe94d3dce6b4 |  | tickbox | Stick to allocated walkways where applicable
boolean | 175ff5b6-b9c9-5c41-beec-df631bb783b5 |  | tickbox | Take care around materials you are not familiar with e.g., sharp edges on steel
boolean | bd2c5b5f-5845-5d4c-9586-c1c473985633 |  | tickbox | Ask for further instruction before using equipment you are not familiar with e.g., saws, jigs, etc.
boolean | 88bd8871-effe-5c1b-bce5-8725d64121da |  | tickbox | All plant and materials visually inspected for any damage/defects, ensure inducted in material management plan
boolean | 0aaa1415-9c2b-5fed-b676-468364f29c0d |  | tickbox | Ensure you have clear access and all materials removed from your workplace prior to starting work in case
boolean | 68b26c14-0de6-5d12-9c9b-59862bda683b |  | tickbox | of an injury/accident.
boolean | 4abfb0f9-18e9-5995-9181-740f2f4a9608 |  | tickbox | No drugs or alcohol consumption permitted, be free from the effects of drug and alcohol at work
boolean | ffd1f2b4-60d8-5e40-b4bd-151771625acf |  | tickbox | Have you been inducted into all relevant Safety Operating Procedures & Safe Work Method Statements
checkpoint-status |  |  | checkpoint | Form Completed
holdpoint |  |  | signoff | Signed Off