## Master List Templates
Id | Type | Name | Values | Prompting Name
96bb4248-b7b5-5379-b7fe-21fdfec4c167 | checklist | 8A. Incident / Accident Register |  | 8A. Incident / Accident Register
8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
d787a779-874a-4f4f-8a75-32ff30b344fa | checkpoint-no-value | Details
dabf244f-1b28-5a2d-9e4b-399d5d2be427 | textbox | Client:
1ddc5457-b7ca-590e-acf4-a97e2848b2d1 | textbox | Project:
4c6f1340-071a-5054-9031-8405b4214487 | date | Date:
6024c298-9583-51e0-b241-48a05f20e444 | textbox | Site Address:
9577b72f-9e63-51f7-86e8-e185dad9cd50 | date | Date of Incident:
e563789f-e4ad-5dd5-ad9f-36aed14bf047 | textbox | Time of Incident:
7212644a-7f39-56db-92b1-4606cd5b4632 | textbox | Incident Report No:
ba226d84-938b-5a11-8f77-ae1322015003 | textbox | Workers Name:
3662b5d0-4767-5fb7-a6dc-c90517e1311f | textbox | Supervisor Name:
ce54a187-8610-5b5a-8904-5d96ff50cefc | textbox | Location:
caf4c90c-8909-5b5e-a0d6-12c89c137e06 | dropdown | Outcome - 1st Aid: (FAT), Medical: (MTI), Lost Time: (LTI), Near Miss: (NM), Report Only: (REP) | 1st Aid: (FAT), Medical: (MTI), Lost Time: (LTI), Near Miss: (NM), Report Only: (REP)
cc33c01d-0cb5-5792-82f2-53a2e61a7d06 | dropdown | Outcome - Return to Work: (RTW), Doctor: (Doc), Hospital: (Hosp), Snt Home: (SH), Report Only: (Rep) | Return to Work: (RTW), Doctor: (Doc), Hospital: (Hosp), Snt Home: (SH), Report Only: (Rep)
0f64f120-9dbb-5faa-85ad-2aabd4d88c4d | textbox | Days Lost (If LTI):
1e70d535-d34e-52d6-8f7a-cdd499f4d4db | checklist | 8B. Investigation - Witness Statement |  | 8B. Investigation - Witness Statement
8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
45cbd438-20e1-4118-86cf-8290802764fa | checkpoint-no-value | Details
b179979e-03cf-56b3-b1d6-157050c55629 | textbox | Name:
cdea9793-5375-5858-be38-a5d21871681e | textbox | Job Title:
0294e5d8-7edb-593c-8393-a700b1f4a426 | textbox | Employer:
67244d15-6ac4-5d08-8032-f171b1762067 | textbox | Supervisor:
22e98108-8cce-5a59-bac1-96f566658412 | textbox | Work Location:
bfa31aa4-32cf-5043-bc02-7f75711f54a2 | textbox | Contact Details:
38e35423-420f-54ad-87de-0ea32686a366 | textbox | Location of Incident:
b22d23e5-25cc-5e91-9309-f9262ebc43d4 | textbox | Date/Time of Incident:
843992a7-c7b5-5aab-b846-8e07b50acc1c | textbox | Interview Time/Date:
bdda74e5-0284-5dff-b54c-15ea008cb967 | textbox | Interview Number:
755084f1-a159-5714-a855-5eb11bd2f7dd | textbox | Please fully describe the work and conditions in progress leading up to the incident.
10983555-6c03-5ed4-acbb-c1dc8d2d831a | textbox | Please fully describe the incident sequence from start to finish.
56c8f2f9-79dc-54d9-88ad-8e02ea3604e7 | textbox | Note anything unusual observed prior to, or during the incident (sights, sounds, smells etc.)
d6211f41-3bac-5d0b-ba61-f8fae4ff6c55 | textbox | What was your role in the incident sequence?
733f4a8a-29e6-5c06-95a2-dba212421c04 | textbox | What conditions influenced the incident (weather, time of day, equipment malfunctions etc.)?
85afce3e-d1df-5f4f-912a-8086cb738bf5 | textbox | How did people influence the incident (actions, emergency response etc.)?
88a3b9a9-1795-5ef0-b2f0-51c97c5dc32f | textbox | What do you think caused the incident?
1c4286a6-74af-5cd5-86c3-eb389f7d47b6 | textbox | How do you think the incident could have been prevented?
592f86ac-1281-5e8c-ae07-10f9db6bacac | textbox | Please list other possible witnesses.
0e8f9f3e-48a9-5c08-aeaa-3b28aaf83786 | textbox | Additional comments/observations.
92597c8c-ae18-5da4-9747-bd8af32a9710 | checkpoint | Interviewee Details:
1467ccf4-fb4c-5248-b708-7acc2bd6add9 | textbox | Interviewee:
1e0c8d85-4d07-5ee4-a06b-a648ebb35b21 | signoff | Signature:
92c4400d-28b4-5bfd-9c4b-d3924e8392cc | checkpoint | Interviewer Details:
40527e59-00c3-583d-ac95-4e16305c2e05 | textbox | Interviewer:
06b055d6-e168-5c07-bfba-7e199fab3893 | signoff | Signature:
a91cffde-ddcf-433e-aa9f-0a323f29faf5 | checklist | Daily Pre-start Meeting |  | Daily Pre-start Meeting
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
1101c9b5-151a-444d-b0e3-ff5212a6d392 | checkpoint-no-value | Daily Pre-start Meeting
ec0b4181-1875-55be-9b7f-7eeb31720be5 | date | Date
72247860-f993-57c3-af56-feb056669fab | textbox | Supervisor:
3185cd56-143d-5d97-8ef4-7ed2974784d3 | textbox | Meeting Start Time:
2cc4846d-749b-584e-b7bd-38588e5fb255 | textbox | Persons Present:
431d1e82-25d3-5805-b51a-9af18981d63c | textbox | Work Activities & Locations:
e5b0f367-21ba-5b59-a2a0-c12ddefbc302 | textbox | Risks Associated with Work Activities:
37dd8ee6-a574-5066-b9c9-9c30e8d6ad37 | textbox | Subcontractors on Site:
41a7d0b1-d1c6-56e1-b939-242035819502 | textbox | Issues & Concerns Raised:
9d10f2ff-d696-5f84-9121-6c8d6c51cfac | textbox | Meeting Finish Time:
051a3f71-6a93-5bb4-8653-fae7cdefe732 | button | Pre-start Meeting Complete | Yes, No
6647f6f6-2fc3-48a3-937d-ba12f08b0f48 | signoff | Supervisor's signature
9f6c334f-d807-5b2c-9e1b-8bf9064a547a | checklist | DLP - Emergency Lighting Test |  | DLP - Emergency Lighting Test
8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
2be6a4f3-6912-50fe-a597-4f5a7307905c | checkpoint-no-value | 1 - Location of Emergency Test switch
e3c85277-f883-52b2-9726-99668689a6b3 | textbox | Location of Emergency Test switch:
5c043d60-b4ce-5761-aadf-4c73cb5ab64f | checkpoint | 2 - Has a 90 minute test been completed?
d1e1e404-1f88-5125-a6a5-1b37467580db | checkpoint | 3 - Have all emergency lights pass the 90 min test?
c42c85a4-5c2d-5d8f-b5af-fab34b1c55be | checkpoint | 4 - Has the emergency log book been completed?
4a496c45-e77b-56b8-8d86-7781e684fcbd | checkpoint | 5 - Was a visual inspection carried out on each fitting?
11b86c2e-ba61-5eba-9513-21203488fba1 | checkpoint-no-value | 6 - Additional Comments
1ed074b8-da6f-5b37-86af-0923ccc8931b | textbox | Additional Comments:
197d3be1-e9a2-5de8-875a-317bcdc32fb3 | checklist | DLP - Lighting Maintenance Check |  | DLP - Lighting Maintenance Check
8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
86517cce-01d3-5bc8-bd78-4739caf3af75 | checkpoint-no-value | 1 - Area of floor inspection
f190787e-707a-588f-86b2-b2f8e11be4d2 | textbox | Area of floor inspection:
edf416d6-82da-564e-a557-ac7e0d6c8cba | checkpoint | 1a - Have all lights been inspected in this area?
84bd4882-79df-5308-83d5-09121b71538d | checkpoint | 1b - Are all lights working?
805dc284-db75-5910-aabb-1590ef753be9 | checkpoint | 1c - If no, have they been replaced / repaired
018881f7-0c2d-50d0-8f51-12ac0d531e77 | checkpoint | 2a - Have all lighting controls been checked?
001f18e1-aaff-5b9a-a609-f4258d7088de | checkpoint | 2b - Are all lighting controls working?
5111f6a5-76c2-5964-aa67-70fbba06f531 | checkpoint | 2c - If no, have they been replaced / repaired
984c98b1-eaf9-5c8e-ad11-897b932f307b | checkpoint-no-value | 3 - Additional Comments
6e656f41-6cb2-50f0-a30b-fa62d12ce9cc | textbox | Additional Comments:
055af45c-a00a-530c-b1a5-d4124e1d1929 | checklist | DLP - Switchboard Maintenance |  | DLP - Switchboard Maintenance
8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
0253d9b9-0908-59f2-b9f8-bab5f8ce6814 | checkpoint-no-value | 1 - Distribution Board name
18e5ab6d-8116-5bdd-9459-8cac42f15bf4 | textbox | Distribution Board name:
6d5bd82e-8666-5296-8e7f-014bce3a68c8 | checkpoint | 1a - Is there any sign of damage on or in the switchboard?
18b0c735-9ce1-5abe-8a71-efa1576ec6a2 | checkpoint | 1b - If Yes, has the damage been repaired?
fc5da035-5c5e-5f90-9fd7-417cc61437c8 | checkpoint | 2 - Are all pole fillers installed?
dedf90da-5f30-5f9c-935f-d042ffe81b31 | checkpoint | 2b - If No, Have missing pole fillers now been installed?
5d430999-d7f3-5e96-b57d-6310433b05ed | checkpoint | 3a - Is the Switchboard securely fixed to the wall?
d9f8c8e8-3b5c-5d08-82cd-7b8b7f2aff81 | checkpoint | 3b - If no, has this been rectified?
3e0e3ab0-ab4b-5501-8d7a-f5104a7146dd | checkpoint | 4a - Have all RCBO's been tested?
96e4b30a-6c1e-58d0-8889-1d492891eca0 | checkpoint | 4b - Have all RCBO's passed the test?
cda2bf47-b63e-5062-8e4a-72f5e2655f59 | checkpoint-no-value | 4c - Upload RCBO test results
90ae7896-78ab-58e1-8e23-9e9859a8a8ff | checkpoint | 5 - Has Thermal imagery been completed
11b86c2e-ba61-5eba-9513-21203488fba1 | checkpoint-no-value | 6 - Additional Comments
afc12576-f42f-5978-92a3-369728efdc5e | textbox | Additional Comments:
325e2fe1-22c9-5a79-8ae8-d54e92e3ea40 | checklist | Emergency Lighting Testing Evidence |  | Emergency Lighting Testing Evidence
d2ccceef-2645-5312-a8d4-e84f5bb19381 | checkpoint | Emergency Lighting Testing Evidence uploaded
914a3c5f-52a2-5e29-b3ea-9c7baaff4f48 | checklist | ITP001 Underground Conduits |  | ITP001 Underground Conduits
ee9dc83b-144a-596a-9418-efc47324c835 | section | Preparation
adfb747a-9213-55aa-ab62-6bf10dac8bd0 | checkpoint | 1 - Determine origin & destination
bdd70f71-b822-53eb-931c-82cb00e60a13 | checkpoint | 2 - Confirm area of work is accessible & acceptable to commence
0cc52e13-dd65-5ac1-b55d-2f90e45fb25c | textbox | 3 - Drawing & revision number
8b566c97-7b5f-50d7-9901-4c9467ec24b8 | checkpoint | 4 - Check clear of other services N.B. the clearance for gas pipes is 300mm & other services 100mm
712ae5fa-90ac-5239-bb89-f2a922e001fc | checkpoint | 5 - Check cable size to verify conduit size & determining size of trench
571c7e80-0c6e-5fce-80e0-6234a40c9013 | checkpoint | 6 - Organise barricades, webbing, plates, warning lights if applicable prior to excavation
7eb9bcdd-096c-5aad-ba9c-712dc1a5dba9 | checkpoint | 7 - Determine spoil removal, back fill material, compaction, cable marking & protection & re-instatement requirements
e8adbc84-b448-5119-bc35-7edd8200d05f | section | Installation
b7dbf35e-e869-5b7a-bdfb-64cc2a3e92f1 | checkpoint | 8 - Mark out trench route arrange saw cutting if required
46c4a0ab-4d13-5b59-9557-f9d801b234e2 | checkpoint | 9 - Excavate trench & install barricades as required check depth, taking into account final ground levels
21b762b3-4c22-5446-897c-1c01eb2923bc | checkpoint | 10 - Determine which way cable will be installed and lay couplings in no friction direction, install conduit, glue
3394b2b9-4c79-5fa3-9d7d-a8c13773df70 | checkpoint | 11 - Install draw wire if required
2af280b8-440a-5cdb-8431-1a56a07ada8e | checkpoint | 12 - Inspect trench by supply authority if applicable
47dd8688-ed55-5298-8f1f-ed82aeec1482 | checkpoint | 13 - Inspect & back fill trench
bbc0a332-6569-5b8a-9c41-9ba6645a81b2 | checkpoint | 14 - Re-instate & clean area
627f1a51-28d0-5b8b-b062-8c71a962d6a3 | checkpoint | 15 - Install direction marker if applicable
cf99c21e-5780-5bea-920d-9d9845b44b56 | checkpoint | 16 - Do sketch or mark up drg for future as builts
ed073e0c-37b3-5fd6-9615-e8d0dbb5dc2c | checklist | ITP002 In-Deck/Slab Conduits |  | ITP002 In-Deck/Slab Conduits
5b138707-5767-5b8e-a14f-396fd290e9f0 | checkpoint | 1 - Confirm that the selected conduit is of adequate size for purpose
a6663791-17be-5a02-b1fa-50554c0fef9f | checkpoint | 2 - It has been confirmed that all outlets/fittings in slab have been captured
9c88d912-a2b2-53ae-8fc6-8453f44de57b | checkpoint | 3 - Conduit has been securely fixed
73796f67-485d-56c2-8b2c-0225fe4a5540 | checkpoint | 4 - Conduit has been securely fixed to the box or volcano
83c7ede0-44ec-56cf-a4d6-bd1535152131 | checkpoint | 5 - Conduit box has temporarily been secured and tied down in place for pour
3a436f51-ff1c-536e-bf1c-702e5713cf4f | checkpoint | 6 - Alternative route has been supplied in case main route is damaged
e1c624f8-a8fd-5e32-9082-23efda155695 | checkpoint | 7 - Conduit runs have all been marked on as builts
fb00de0a-ffae-5258-b0d2-988ce1fc2dd7 | checklist | ITP003 Main Switchboard & Termination of Cables |  | ITP003 Main Switchboard & Termination of Cables
42ff9e20-f6d2-55cf-b6de-eec819f81601 | checkpoint | 1 - Locate and fix switchboard into position
8af2fa37-a31c-5393-b614-ce522e3deac7 | checkpoint | 2 - Determine cable sizes for cable glands, mark out gland plate (if not previously determined at planning meeting)
f95625ec-a973-5083-9a8e-cb3d161d58b5 | checkpoint | 3 - Install cable glands and cables
b3a23f10-ea71-579d-9709-f678851dfc43 | checkpoint | 4 - Install lugs & terminate
51ac0669-7e90-5f3c-a8de-cd1a2a5dbfe6 | checkpoint | 5 - Clean and vacuum out board
614dab96-1f39-5bbe-a087-0e313aec3e9e | checkpoint | 6 - Check all circuits are terminated & safe at the other end or disconnect.
58a5fcd8-d7e8-541b-811c-8376f5d0f0bc | checkpoint | 7 - Visual inspection
5762c427-dcec-58bc-b8b4-d6ea346510a7 | textbox | 8 - Test earth continuity and resistance
91f17188-87f5-5432-8423-eea162ff6183 | textbox | 9 - Test insulation resistance
dcf8ff91-8c39-5fec-a6e4-7972edd2b88c | textbox | 10 - Test polarity
a0ee9a15-f721-59a7-b718-66e3acd77c02 | textbox | 11 - Test phase rotation
bf11aab3-0db5-5fc2-a960-59181a7173c6 | checkpoint | 12 - Lodge prescribed certificate of electrical safety. Organise inspection by inspector.
ce5e910e-cb03-5fa8-86f1-7ec907aeede8 | checkpoint | 13 - Isolate / lock off / danger tag all outgoing circuits.
505c9463-a262-5c5d-8e3b-2130b7f9ea63 | checkpoint | 14 - Ensure all labelling is complete and accurate.
7718355b-7241-57ef-a7e3-c22bbe7b59b0 | checkpoint | 15 - Energize
ffdfa4f2-bf85-5694-ba46-5731b7931d7a | checkpoint | 16 - Check phase rotation
8581a119-5d22-5304-be95-b3c3e3c60202 | checkpoint | 17 - Check switchboard as installed matches shop drawing
fa2484ad-ebb2-57c8-8814-4733bb5f89a3 | checkpoint | 18 - Modify shop drawing to match existing & return to office
aacbd5ef-4d70-5a6c-b024-d55da630949d | checkpoint | 19 - Clean switchroom
49306c7d-626f-5b57-9c94-9ab1519ba0ab | checkpoint | 20 - Check if requirement for spare fuse
e2ae0038-9924-5035-88bf-845ce8837317 | checkpoint | 21 - Check requirements for laminated drawing to be installed
7ec76217-97cf-5415-bfe7-9bdbd80375ce | checklist | ITP004 Conduit & Cable Tray |  | ITP004 Conduit & Cable Tray
e34f0f84-b90f-5bda-ba70-9b573f760e8c | section | Conduit Installation
99957c0d-0954-5179-be1a-44d0d6670302 | checkpoint | 1 - Coordinate with other services ensure segregation from comms / data services
bf60a5cc-3360-57ba-bfad-91548dadc5b0 | checkpoint | 2 - Size and type of conduit
1c8531fc-63a7-53ef-a3a6-b77bf3a69c64 | checkpoint | 3 - Install conduit
12942a1f-8d74-5882-b8bb-7d4824e26d07 | checkpoint | 4 - Fixings
65b259af-261d-523d-bf79-87cb08d8f17e | section | Cable Tray Installation
4bd1cfc8-c385-5ea0-bc1f-ca15f6cbd3cd | checkpoint | 5 - Coordinate with other services
345bc9b2-b569-5e64-a1d7-fdb3f6e041f5 | checkpoint | 6 - Size of cable tray each cable support has sufficient room for future expansion
ce5cfcf5-3d1d-5f24-a5cb-e99d10dcb69f | checkpoint | 7 - Cable support system has been selected to correctly hold the required weight
9b80c653-01ba-5313-962c-4f01d3fa54eb | checkpoint | 8 - Install fixings
06fdd842-f9cf-5181-a4b0-642613d5117a | checkpoint | 9 - Install cable tray cable support system has been correctly installed and is secure in place
3b86b495-b96f-5fc4-bdc7-55c72b1d52f7 | checkpoint | 10 - Height of cable support system has been confirmed and installed to that height in all areas
521183c3-a8d3-525f-bb8a-f3f890b0aeee | checkpoint | 11 - Cable support system is as per shop drawings and not impacting any other services
49ff1971-e6d9-5238-9b8b-f0808a539ec2 | checkpoint | 12 - All threaded rods have been cut off to correct size
87c1327f-cf71-58e7-a1b9-1e53a662ea91 | checkpoint | 13 - All nuts/bolts/channel nuts have been tightened
0fd0efb2-b9b6-5fc0-84d7-9dce90b9d2c9 | checkpoint | 14 - Do sketch or mark up drawing for future as builts
f4b7038d-d38f-55b5-8860-285d859f08a3 | checklist | ITP005 Mains, Submains Cable in Conduits or on Trays |  | ITP005 Mains, Submains Cable in Conduits or on Trays
befaff18-7ae9-5baf-931d-d16dd3874d7c | checkpoint | 1 - Measure cable runs with appropriate accurate measuring instrument eg tape measure, wheel
19689d34-1c06-5ab7-bdb7-635eba2b64b0 | checkpoint | 2 - Check cable sizes. Resistance of protective earth conductor shall be low enough to permit passage of current necessary to operate protective device.
b1b0ac69-0064-55df-b57f-61da936598be | checkpoint | 3 - Confirm length of cable
3586ef1d-2c03-5a86-a6ad-883c8ee56f41 | checkpoint | 4 - Install cable in applicable method eg. Cable stands, electric winch, pulleys etc. Any cable not terminated immediately must have the ends taped covering the bare copper.
1e1cd797-8749-5423-8ad0-8e160b69a22f | checkpoint | 5 - Tri-foil (refer to details on back for all options) cables and tie cables to support system
9396da74-1786-5ee3-9c67-9474eed4d357 | checkpoint | 6 - Check requirements for cable identification and install
3ed98d31-04fd-585c-b235-bbb2fa07fd27 | checklist | ITP006 Power Wiring Rough In |  | ITP006 Power Wiring Rough In
c30193b3-5eec-5c81-97b3-66d49c22fef7 | checkpoint | 1 - Refer to drawing to determine cable support route and check separation from data/comms services
64d4e45a-b8d9-59fd-817c-5d8380cc2bc1 | checkpoint | 2 - Determine cable size
3f0e752c-3d05-57ac-a686-aa6d41777353 | checkpoint | 3 - Cable sizes max length
482869b1-f045-5f9b-8e2a-e771cf75bd35 | checkpoint | 4 - Determine cable support system ie. Catinary, cable tray, fix to structure, ducting
82dee6e2-9120-5513-8589-0674b12e999b | checkpoint | 5 - Install cable support system
7f9137ec-73a5-5afb-971e-7b6056747011 | checkpoint | 6 - Check cable size/type, black sheath for power, white sheath for light: 4mm to be used for runs over 90 metres (unless specified differently)
c611527a-48c2-588b-9bbb-b8abb40b1635 | checkpoint | 7 - Install and identify cables. Any cable not terminated immediately must have the ends taped covering the bare copper.
c16d0e9e-057c-5617-af89-3a4462ae12b7 | checkpoint | 8 - Mechanical protection has been provided to minimise the likelihood of physical damage to cabling
252ca0c0-34b4-5351-be57-960aa2c4af9f | checkpoint | 9 - Fix cables to support system
fbae89bd-7153-533f-bd63-b7bde948580c | checkpoint | 10 - Cabling has been concealed where possible in ceiling spaces, wall cavities or risers
54635e6d-1bd2-5108-9656-6923b82c1de8 | checkpoint | 11 - Fit-off outlets, plug bases etc. (if necessary), each circuit to be fitted off completely & clean up area
48057559-59ec-54d2-ad69-0e3e4d8e4cbd | checkpoint | 12 - All outlets have been wired as per drawings
2b930bd5-6d58-5ba4-9d84-3ffb051bda1a | checkpoint | 13 - All outlets have been marked on the site as built drawing
991498a5-0869-5cc1-8268-019a9c9867cc | checkpoint | 14 - Height and location have been confirmed for each outlet
12446c7e-298f-5e3e-8c15-e0d114592943 | checklist | ITP007 Lighting Wiring Rough In |  | ITP007 Lighting Wiring Rough In
c30193b3-5eec-5c81-97b3-66d49c22fef7 | checkpoint | 1 - Refer to drawing to determine cable support route and check separation from data/comms services
64d4e45a-b8d9-59fd-817c-5d8380cc2bc1 | checkpoint | 2 - Determine cable size
3f0e752c-3d05-57ac-a686-aa6d41777353 | checkpoint | 3 - Cable sizes max length
482869b1-f045-5f9b-8e2a-e771cf75bd35 | checkpoint | 4 - Determine cable support system ie. Catinary, cable tray, fix to structure, ducting
82dee6e2-9120-5513-8589-0674b12e999b | checkpoint | 5 - Install cable support system
cddd2355-1f8b-5751-9b2c-a48a37ba881c | checkpoint | 6 - Check cable size/type/colour
c611527a-48c2-588b-9bbb-b8abb40b1635 | checkpoint | 7 - Install and identify cables. Any cable not terminated immediately must have the ends taped covering the bare copper.
c16d0e9e-057c-5617-af89-3a4462ae12b7 | checkpoint | 8 - Mechanical protection has been provided to minimise the likelihood of physical damage to cabling
252ca0c0-34b4-5351-be57-960aa2c4af9f | checkpoint | 9 - Fix cables to support system
fbae89bd-7153-533f-bd63-b7bde948580c | checkpoint | 10 - Cabling has been concealed where possible in ceiling spaces, wall cavities or risers
54635e6d-1bd2-5108-9656-6923b82c1de8 | checkpoint | 11 - Fit-off outlets, plug bases etc. (if necessary), each circuit to be fitted off completely & clean up area
dd78bacf-c6d7-590a-9270-e17dad81ea39 | checkpoint | 12 - All lighting points and switches have been wired as per drawings
06300305-b9ad-5f36-9716-f0017143fe16 | checkpoint | 13 - All lighting points and switches have been marked on the site as built drawing
38b17848-7ca9-5f9f-a451-3cc90f4cbcba | checkpoint | 14 - Height and location have been confirmed for each lighting points and switches
7d84c593-8c99-52bc-a1ae-280b66213a26 | checklist | ITP008 Data Wiring Rough In |  | ITP008 Data Wiring Rough In
54cab8b5-fb63-566d-a0f0-e1ffc390f012 | checkpoint | 1 - Refer to drawing to determine cable support route and check separation from power services
4a1271b7-5e9e-50db-aa14-8a4a7721777e | checkpoint | 2 - Determine cable type
e0ab0efa-9b60-5cd0-a67c-602f71460982 | checkpoint | 3 - Determine cable support system ie. Catinary, cable tray, fix to structure, ducting
951bd381-336f-5ea3-8191-4ffa76e23ec5 | checkpoint | 4 - Install cable support system
84c43d30-9bfe-5b1b-89e1-2cd5968e36d9 | checkpoint | 5 - Install and identify cables.
86357069-873f-51c6-b031-303d71da10c1 | checkpoint | 6 - Mechanical protection has been provided to minimise the likelihood of physical damage to cabling
b936b073-3145-5c08-9cc5-3b59b2b0af53 | checkpoint | 7 - Fix cables to support system
f7232929-f54f-5e6a-b1a3-d3650b0e1885 | checkpoint | 8 - Cabling has been concealed where possible in ceiling spaces, wall cavities or risers
752f7023-5f78-5e90-8fab-4e6235e18a34 | checkpoint | 9 - All outlets have been wired as per drawings
17d133f6-6740-5b54-9e10-7789ef6c654f | checkpoint | 10 - All outlets have been marked on the site as built drawing
62392a66-ea41-52e8-97aa-bddf5871d1f6 | checkpoint | 11 - Height and location have been confirmed for each outlet
f8f386f9-977d-5514-b8cb-263d11095232 | checklist | ITP009 Power Installation and Fit Off |  | ITP009 Power Installation and Fit Off
8e8afd0a-75a7-513d-ae08-b5f310538e84 | checkpoint | 1 - Check drawings for quantity, brand, type and colour
e6805359-56ac-5bc1-a7cf-83857ceaa9e9 | checkpoint | 2 - Each circuit is terminated at the db and protected by the correct protective device
801dd4e1-1728-5d46-9edb-3c90cf3e6640 | checkpoint | 3 - Location/compliance wet areas, hazards etc. Mounting heights,
ff37215b-b753-5f0f-890d-7324a8f4de02 | checkpoint | 4 - Fit off and fix switches, where multi gang switches with multi circuits are involved use shrouds on each switch. Each circuit must be fitted off completely.
f0c16fd4-7e4d-5974-b960-ad24929d5854 | checkpoint | 5 - Fit off and fix gpo’s, where a gpo is located within 150mm of a metal stud, use shroud. Each circuit must be fitted off completely.
bd93e5ce-b454-5342-8a0a-29aaded51089 | checkpoint | 6 - Fit off final appliances
75d90a0c-68bf-5979-8a13-7f9fb13c70bd | checkpoint | 7 - Functional test carried out on each outlet
dd2b93fd-bbf3-5602-9ce5-84d78ee011c0 | checkpoint | 8 - Cover plates (if required)
4abe3dc3-17c3-59f7-8b97-102744f09003 | checkpoint | 9 - Install label (if a specified requirement)
d83abc79-648b-5cf0-b990-224431726285 | checkpoint | 10 - All outlets & appliances marked on the site as build’s
f4e4390b-f1fb-5484-8fd4-1a33b3ce4883 | checklist | ITP010 Lighting Installation and Fit Off |  | ITP010 Lighting Installation and Fit Off
8e8afd0a-75a7-513d-ae08-b5f310538e84 | checkpoint | 1 - Check drawings for quantity, brand, type and colour
e6805359-56ac-5bc1-a7cf-83857ceaa9e9 | checkpoint | 2 - Each circuit is terminated at the db and protected by the correct protective device
801dd4e1-1728-5d46-9edb-3c90cf3e6640 | checkpoint | 3 - Location/compliance wet areas, hazards etc. Mounting heights,
ff37215b-b753-5f0f-890d-7324a8f4de02 | checkpoint | 4 - Fit off and fix switches, where multi gang switches with multi circuits are involved use shrouds on each switch. Each circuit must be fitted off completely.
eb545b87-96e4-5234-8193-c4851bcb146f | checkpoint | 5 - Fit off final light fittings
4dea7a4e-b7dd-5fc7-b600-bc3499f45917 | checkpoint | 6 - Functional test carried out on each outlet
775b5da4-3ea2-5838-a344-1f1ce964cef2 | checkpoint | 7 - Cover plates (if required)
3c3a86a6-b58c-5e00-af9c-a9080d886e7a | checkpoint | 8 - Install label (if a specified requirement)
a0fee358-6581-558b-9e04-031b29c2c2e4 | checkpoint | 9 - All lights and switches marked on the site as build’s
484ef5ab-e4d3-59a2-9685-981292499def | checklist | ITP011 Data Installation and Fit Off |  | ITP011 Data Installation and Fit Off
8e8afd0a-75a7-513d-ae08-b5f310538e84 | checkpoint | 1 - Check drawings for quantity, brand, type and colour
58309427-fff7-5e68-9bc9-8d2988d80f36 | checkpoint | 2 - Fit off and fix outlets, terminations have been checked and all terminations are correct and secure in all outlets
55b00ee7-6c0e-593b-9c11-cc450f382e93 | checkpoint | 3 - Outlets have all been secured in place and levelled
7f33511f-6d93-54ff-9460-dd1f2f545efb | checkpoint | 4 - All cabling has been tested using the fluke data tester
67c715f4-2016-5b0e-9c60-1b3ec32702b0 | checkpoint | 5 - Each cable has been correctly installed and terminated in the patch panel
27616217-84fd-5e51-b12a-adcd707c4bbf | checkpoint | 6 - Cover plates (if required)
9ece5065-c0b2-5d30-9c87-df7ae2eaccb8 | checkpoint | 7 - Install label (if a specified requirement)
46a90698-431c-54da-8831-be575a3fb93c | checkpoint | 8 - All outlets & appliances marked on the site as build’s
aeac0d39-b54d-5869-9871-787b36c5c616 | checklist | ITP0012 Exit & Emergency Light Installation |  | ITP0012 Exit & Emergency Light Installation
0b8c6c44-ded6-5074-8811-9babdb3db822 | checkpoint | 1 - Delivery check for damage and correct quantities
db77754a-0b97-5305-aef2-499310ad71e4 | checkpoint | 2 - Locations coordinate with other services
486c71d0-4d34-5b4f-84c7-a5b7c0ae337c | checkpoint | 3 - Marking out (if required) - refer to reflected ceiling plan for locations
476fe706-ff9c-5001-aeb0-300c8f2e4d7c | checkpoint | 4 - Plug in or fit off light fit-off data cable if applicable
3ae6ad6d-1fb6-55ca-b10f-70af5db43889 | checkpoint | 5 - Number and install light fitting and as built drawing
1b03acf6-d505-5724-88b1-1218f133fb6c | checkpoint | 6 - Install lamp & diffuser and clean fitting
c6e3ff63-ba27-5446-9a31-825b51a305f8 | checkpoint | 7 - Mark up lighting drawing, data loop included, numbering all exit and emergency lights (if applicable)
a322dab4-ff70-5c01-8a64-6638688bbec3 | checkpoint | 8 - Complete log book and record results if applicable
6bc41dcc-5298-5718-8b63-a5ade4e50e81 | checklist | ITP013 Install Distribution Boards -Terminate Cables |  | ITP013 Install Distribution Boards -Terminate Cables
b3aab9b0-6a08-5648-929c-4f5156f4b0d7 | checkpoint | 1 - Delivery check for damage, paint finish, dimensions and doors against approved shop drawing
79162ffc-0f2a-51b5-a054-445a08e70c71 | checkpoint | 2 - Locate & fix into position
3982c4ba-dcac-54c4-97e6-71c40e85b344 | checkpoint | 3 - Install submains cabling as appropriate eg. Glands, tray, duct
0ad2975c-cf8f-5a7f-bc66-2a66343e2e41 | checkpoint | 4 - Install lugs and terminate
3e69229c-53d2-5a19-b990-32976ce4fc14 | checkpoint | 5 - Install sub circuit cabling and terminate. If circuit not complete at the other end, it must not be terminated.
633bf70c-0d78-59ae-81e3-4ceb1f996e35 | checkpoint | 6 - Clean & vacuum
bd85d3aa-8670-5ea1-99ac-a07801b38c6f | checkpoint | 7 - Record results
8cf0a0eb-bbcd-5b77-8de6-31314d31d767 | checkpoint | 8 - Organise inspection by inspector. Lodge prescribed / non prescribed (as applicable) certificate of electrical safety (if required).
c11fb2c7-cc7c-5b69-9be9-83a46ba381c3 | checkpoint | 9 - Clearly identify services
a8046e3e-d9e8-56ef-8d46-6fcdbbed9b37 | checkpoint | 10 - Energize
7613349e-eedc-5bde-b50c-24a9ba529e6f | checkpoint | 11 - Check phase rotation
de73fa8e-0ad2-5015-81ee-d297c0f5ee61 | checkpoint | 12 - Check switchboard as installed matches shop drawing. If necessary modify shop drawing to match installed & return to office
df71b90f-1e2e-55ac-bdfa-7462ed6142cd | checkpoint | 13 - Check typed schedule for accuracy and install in schedule holder
300eefd9-a99a-5c5e-a81f-19b5f4d792cc | checkpoint | 14 - Clean switchboard cupboard
63ff544b-4ad7-534c-821b-2b40235549ba | checklist | ITP014 Distribution Board Test Results |  | ITP014 Distribution Board Test Results
4ba57389-d73f-5263-8023-398bbdc1c0c3 | checkpoint | Distribution Board Test Results - Complete and Test Sheet attached
a67b909c-264c-5a91-8769-9b353873f208 | checklist | ITP015 Submains Test Results |  | ITP015 Submains Test Results
602f6f5e-adaf-53d3-92cc-9eadf4f211fe | checkpoint | Submains Test Results - Complete and Test Sheet attached
5ba08074-948d-5e42-94ea-9996a3c6e1db | checklist | ITP016 Earth Grids / Lighting Protection |  | ITP016 Earth Grids / Lighting Protection
d59bdbf4-1236-5c38-b74f-7365cdf4aeaa | checkpoint | 1 - Refer to drawings to determine size of grid.
7c91dd8a-93c6-51cc-956d-10482a9a3c35 | checkpoint | 2 - Check size of cable and earth electrode.
ca424e2a-4965-545b-8857-4257bbc27706 | checkpoint | 3 - Check specification for resistance level.
231aa114-bf65-5f88-9a6a-f330e36fce9a | checkpoint | 4 - Drive earth electrode into ground.
c796bf57-28ae-5016-ba86-345a95370abd | checkpoint | 5 - Earth test electrode or grid.
0b09b009-da4d-5705-87b0-1ced2b5c0a81 | textbox | Earth tester number
30b9b43c-70d2-5ae5-9fe5-bc038fb84dec | checkpoint | 6 - If insufficient reading, add other electrodes 2 metres apart and link up with initial electrode with earth cable.
9e812237-4ffe-5e70-9f34-7b01cf379f12 | checkpoint | 7 - Terminate cable from first electrode to frame or earth bar and label.
d78a8878-3bc0-58b8-a5e0-c51dcf45e553 | checkpoint | 8 - Test sheet completed and attached
4c83fa42-36ab-54b6-8d45-4ac97bbb930e | checklist | ITP017 Temp DBs |  | ITP017 Temp DBs
adcee0ca-c44f-5953-b061-fc46b839e274 | checkpoint | 1 - RCD
0e26fcc6-a8c4-56f4-8589-8024b0414970 | checkpoint | 2 - Date of testing
68c04182-8c7a-502a-b6dd-14a8db1b6814 | checkpoint | 3 - Next test due
0cdd8e00-e27d-59c3-b0d5-d76a7fd182f0 | checkpoint | 4 - Results and/or trip current (less 30ma) for earth leakage device
25d6e1b7-a830-59a4-b5cd-c7ca16d0922c | checkpoint | 5 - Has a new tag been installed on the db - please take a photo
d2f60369-7445-59ae-9550-31b925d1a564 | checkpoint | 6 - Has the front cover been updated
f139947f-a12a-57f2-8023-a6aeabd850cf | checkpoint | 7 - Please take a photo of DB - pass once attached
d9da2ac7-9503-59c4-8033-60feb9e9c6ef | checkpoint | 8 - Compliance certificate completed and attached
b640c2d7-e4e4-5ad4-9859-98e72c9371da | checkpoint | 9 - License no.
81be97b1-86ac-5efb-ba94-40810c36bb26 | checklist | ITP018 Temp Lighting |  | ITP018 Temp Lighting
33aa05f0-5b55-5f47-aee0-5e9b1180af2d | checkpoint | 1 - Determine cable support system ie. Catinary, cable tray, fix to structure, ducting
01bbee06-914a-58c0-9868-167c1ea898f5 | checkpoint | 2 - Install cable support system
e94a005f-9394-5ed6-b548-880d15c62f6c | checkpoint | 3 - Mechanical protection has been provided to minimise the likelihood of physical damage to cabling
e5b6efe8-9a44-5269-b776-8219f4af0496 | checkpoint | 4 - Fix cables to support system
69c99b33-712f-56ff-bd87-7a6a114798ea | checkpoint | 5 - Temporary construction tape has been installed along cabling
db3e23a0-5ca4-5db9-8853-caf20379238a | checkpoint | 6 - Cabling has been concealed where possible in ceiling spaces, wall cavities or risers
4ba70399-33c6-5bdc-adbb-a04950c08f32 | checkpoint | 7 - Fit-off outlets, plug bases etc. (if necessary), each circuit to be fitted off completely & clean up area
bc16ef6e-d977-501b-9bcf-c5b595ef20f7 | checkpoint | 8 - Location/compliance
a81e1dad-fcef-545a-bfc2-b8aba1053714 | checkpoint | 9 - Fit off light fittings
b688a473-2468-53b5-bd41-a15494cfc6df | checkpoint | 10 - Functional test carried out on each fitting
e992e966-d5f4-5119-9327-42bbf76006a9 | checklist | ITP019 Communications Cabinet |  | ITP019 Communications Cabinet
96d58eaf-0f64-5e9c-b767-8de8315b642e | checkpoint | 1 - Ensure room layout, cabinets and equipment have been approved
41051639-19ec-51f4-adb8-0b18930370bf | checkpoint | 2 - Confirm that cable support system has been completed as documented
15112ebc-bb2c-5d54-8ae4-dcee9579ec7a | checkpoint | 3 - Adhere to a single certified system throughout a new building installation
4a62bd14-0a2a-58ce-b41a-d359964d7d0e | checkpoint | 4 - Comply with the detailed installation specifications
a87b6b88-8783-543f-9d67-a879e0f5fa78 | checkpoint | 5 - Network cables have been appropriately sized and selected to ensure that they will support currently installed and future equipment
de19da99-aeda-5e5d-8a56-4d3c06acd723 | checkpoint | 6 - Connections have been correctly terminated and insulated to ensure perfect connectivity and protect against faults and interference
45142aba-4f0c-5af6-9c41-8657b9a87817 | checkpoint | 7 - Sufficient spare cable has been left coiled up outside of the cabinet
3a3eb8af-8ae4-5e90-ae13-1ca4f9f8f4a3 | checkpoint | 8 - Check all internal wiring as per panel wiring diagram. Has all equipment including cable managers been installed as per rack layout
834a41e4-ba54-5be1-9190-aec7e3fc16b5 | checkpoint | 9 - Has a dedicated power circuit been supplied for the cabinet
1b6aff71-88ec-5574-9cb8-3920d260680c | checkpoint | 10 - Is there a steel tray/raceway installed between each cabinet to accommodate linking patch leads
1d62f52b-c69f-5b69-b44e-b88d27d04f6a | checkpoint | 11 - All cabling has been tested using the Fluke data tester
8860f0e0-6b8d-5ce1-9075-abfd86e9bc49 | checkpoint | 12 - Undergo certification tests prior to acceptance of work completed
dbc32508-f71c-5809-9eb4-53af6c4dd71b | checkpoint | 13 - Provide copies of certification tests to the Office of IT Services
2542f666-701e-5057-95cc-167e339c9c7f | checklist | ITP019 Switchboard and Sub Main Terminations |  | ITP019 Switchboard and Sub Main Terminations
c0ef5e77-c704-5ce0-a9a5-601af8c03474 | checkpoint | What size lug is being used?
39f36c25-5c05-5179-94fd-1ab067447063 | checkpoint | What size cable is being used?
6cc37503-5db8-5601-a2eb-b48d478c6296 | checkpoint | What brand lug is being used?
0d0cdd4d-283c-5d06-9977-ed9906d75e78 | checkpoint | Take picture of lug terminated on to cable
4acce68a-8986-50c8-a84a-cfba8c53cfbd | checkpoint | Is there a double nut or bevelled washer installed on all connections? Take picture
2ae55e46-841e-52c9-80bb-463498cdc96f | checkpoint | Cable has been tightened with a torque wrench set at the manufacturers advice – Take picture of wrench in confirmed settings
3dd44d19-ce6b-50a9-91cb-587cdb0fea51 | checkpoint | Has a termination mark/line been marked on each termination (used to make sure that connections have not moved on future visits) – Take picture
331a9c14-c871-5a3b-a8dc-3bfbb3dbffba | checklist | ITP020 Main Switchboard & Termination of Cables |  | ITP020 Main Switchboard & Termination of Cables
ee9dc83b-144a-596a-9418-efc47324c835 | section | Preparation
0f641859-508d-5a79-9437-676bd84eec28 | checkpoint | Locate & fix switchboard into position - check for clearances fix correctly
b9079225-5c9a-5485-9f67-008b80038807 | checkpoint | Determine cable sizes for cable glands & mark out gland plate (check cable O.D's for cable size glands)
83b082bb-d2bf-59e9-b852-f5bc715f4628 | button | Install cable glands & cables | Yes, No, N/A
ffd1f55e-5c13-50a6-a2e9-1c3c76c7102a | button | Install lugs & terminate | Yes, No, N/A
61eec3de-7dd9-5729-bab9-52b5c2f44a99 | checkpoint | Clean & vacuum out board - please take a photo
6e6dfa91-2ec7-5feb-a8b4-4ac3cde81283 | checkpoint | Check all circuits are terminated & safe at the other end or disconnect
9e352aff-c980-5dda-bfdd-03fa6ec9752b | checkpoint | Final visual inspection of board - please take a photo
e8adbc84-b448-5119-bc35-7edd8200d05f | section | Installation
0a5ffff9-fd42-5f29-84e1-f21afe39ee66 | checkpoint | Test earth continuity & resistance
23e3f91a-ad09-50ad-8a07-0b822998709a | button | Test insulation resistance | Yes, No, N/A
82add298-4f85-5c4a-bc78-9dee49178a57 | button | Test polarity | Yes, No, N/A
07a50406-1aaf-5274-a079-18d84589d26b | button | Test phase rotation | Yes, No, N/A
55bfc36f-3349-52f7-b83b-72528cce0e40 | checkpoint | Attach prescribed certificate of electrical safety. Organise inspection by inspector (Add photo or attached certification
b1449a36-eeb5-55a9-a707-14a832541cfd | checkpoint | Isolate / lock off/ dange tag all outgoing circuits - please take a photo
06a304b8-a360-546f-a65d-ae6020946db0 | button | Ensure labelling is complete & accurate | Yes, No, N/A
0e1fed7b-f91c-5f0f-bcbd-55d798bb309b | checkpoint | Energise system
d46ce63a-1ba4-540b-855c-e37eef7e127a | button | Check phase rotation | Yes, No, N/A
04df5b4a-732f-50fe-9930-79044d7addd1 | button | Check switchboard as installed as per drawings | Yes, No, N/A
78c1a23a-a6f0-59d0-934c-a19161d1053d | textbox | Drawing & revision number(s)
0e5b08fa-b4e5-5546-be31-d4f8718a813d | checkpoint | Ensure any modifications to shop drawings are matched to existing & returned to office / attach drawings
df86e40a-98aa-56d4-be7d-32068abe388c | checkpoint | Ensure switch room is left clean - please take a photo
c2d8f450-9567-5fc0-97f6-7947cec81a5d | checkpoint | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
c31ab009-b12c-48be-b530-3179f6d5c8ed | checklist | ITP021 Conduit Installation |  | ITP021 Conduit Installation
f9da0fd8-e475-4507-b6df-1e8c03a1d7cf | section | Details
33bc2c15-5629-43e6-8901-1e0fac0bac78 | checkpoint-no-value | Conduit Details
97f5a68b-a2c1-55f4-a650-3933528ce60c | textbox | Conduit Run Type
04d81416-0b54-5816-875b-5db51bdd9352 | textbox | Description. Conduit route, size and Qty.
fba12d56-ec8b-5781-95db-b935f8c548b6 | textbox | Drawing Reference
3271b2b6-7da3-44af-b7c7-fd925e6fc5e3 | checkpoint | Check for existing services, correct location & permit approval
0337ef87-06a5-5363-85d8-89414319e2d8 | textbox | Details
26e054e1-a963-4b2d-a01a-2297ffa14be9 | checkpoint | Correct Depth / Cover
4e5f7d63-d15d-494e-a0c3-2e2499bb0358 | checkpoint | Tied and joins glued
b4bb149b-f1f7-4fa9-8fc4-27856f213e59 | checkpoint | Marker Tape Required
9d96e5cb-c1a6-4f8d-8ceb-b37d8404fd0d | checkpoint | Compaction
fbe43d98-5869-4be8-843b-8fb6a496880f | checkpoint | Draw Strings Installed
f130f197-56b4-4b53-95d3-501696a84829 | checkpoint | Pits installed as required
955522fd-1f9e-491e-9e03-9187279e7c57 | checkpoint | Sealed Ends
d1b7151a-2023-41eb-b5f9-3121feb2e912 | checkpoint | Area Clean & Safe
904f49b5-605f-40ab-b15c-f3a557a1eeb8 | checkpoint | Mark up on Drawings
0d51c61b-cfa6-435c-943b-922923fd40ca | checkpoint | Ready for wall sheeting
b6fe094c-991f-439f-b052-a11bb9b6d839 | checkpoint-no-value | Additional notes
d7c36f6d-38c1-58ac-8316-075527a8d7f1 | checklist | Pre-start Toolbox Talks |  | Pre-start Toolbox Talks
aa425705-2f11-587a-9a7a-1a8edc079b82 | checkpoint | Pre-start Toolbox Safety meeting completed
ff49b524-6995-5b8d-bfa4-8e5f02aa2646 | textbox | Location:
ef24ace5-415d-558a-85d0-ddf1c4c9d2df | textbox | Date:
160e78cc-a807-5252-8a72-e25ffbf9a962 | textbox | Client:
cf597fa1-960f-5766-9ff1-45eeca8793d5 | textbox | Supervisor:
c52ce046-cc8b-59e0-8a3f-a683cb7938c8 | textbox | Subject:
d76890e5-9d6d-5eb0-a7f4-49319f793054 | textbox | Duration:
a367da39-7292-5d1f-8b52-573854767608 | textbox | Persons present
fb30855c-70b9-5f8b-b1dd-26e88c4f0b8c | textbox | Comments & points raised
2ff70dde-21b4-5050-b597-a45d9cefe552 | checkpoint | Signed off by Ergo Group Supervisor
71490d22-30ff-50e7-a992-ad05e1c26267 | checklist | Project Completion Checklist |  | Project Completion Checklist
8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
6be48b8b-e752-4cc4-8ecf-9b66a4600b94 | checkpoint-no-value | Details
81ddd7ec-b3d2-51f6-953d-7aa9efcd8bdc | date | Date
7c3ecc04-1a58-5286-81e3-1e63988c4f8c | textbox | Person Completing
2c82c60d-c7dc-5aac-a02e-267d394b2d99 | section | Have the below been completed?
eb3750ba-3d01-5046-8050-d36419188d09 | checkpoint | All Variations Submitted
becac2c7-e9c2-5010-aad0-90dcc028090e | checkpoint | Electrical Testing Complete
064045d4-5b14-50ff-bd8b-e8b12c91c252 | checkpoint | Data Testing Complete
762cc524-6844-5ff9-bf06-e1796025098e | checkpoint | All DB schedules Laminated and displayed on board
c796d470-9868-5af5-b910-a0ce421911e5 | checkpoint | ITPs in CONQA
43735baf-d068-5f79-864d-acd83832206b | checkpoint | CCEW form completed and emailed to meterccew@customerservice.nsw.gov.au
f77539a3-2d1e-5bd3-b164-f2ab9f2f8ead | checkpoint | As-builts complete and sent to office staff
cef1e37a-b36d-5ccf-81b9-db83a5f2a5bf | checkpoint | O&M Sent to builder including As-builts
17a7a544-9dc5-5941-b65a-9080ca33f80e | checkpoint | All tools / equipment removed from site and brought back to the stores
fdbeabb5-12d7-52da-904e-713ab7aeae63 | checkpoint | Over ordered materials identified and returned to wholesaler
54a783ff-6a9d-5e37-a685-310489e48ccf | checkpoint | Project Fully Claimed
1428a832-1556-5a99-9448-68ac144f63c1 | checkpoint | First 50% Retention/BG Release Requested
abb44aaf-0451-5103-b7ea-ff75a54ae767 | checkpoint | DLP Works reminder set in Outlook Calender
bddfa96b-8d1a-564f-ab05-05ce17e7bc4a | checkpoint | Second 50% Retention/BG Release Requested
c5d3a090-542d-532c-a0d1-7873c02c9ee4 | checkpoint | End of job review/meeting with office team and Foreman
b59f4c56-d599-530a-8beb-955843b38247 | section | Completion Signoff
3bff552d-a0ff-4ecb-9bcd-15cedf0dc153 | checkpoint | Completion Signoff
0d29bc3f-194d-5ec4-9981-76df8c3cee5c | date | Date
4d94eb0a-9bef-520f-9b90-9d42d3230024 | textbox | Project Manager
637b0ccc-a0bc-592b-968a-b3b14df35319 | textbox | Project Co-Ordinator
a0ab952e-3a34-5b8e-a5f0-682eb9280672 | signoff | Add Signatures
98320f77-0116-50b4-b1f7-c9499f75a9c0 | checklist | Site Variations |  | Site Variations
d8f4a5c1-d050-5282-9bbd-110bb381b347 | section | Contract Variation/Site Instruction Request
7c5e8164-3ea4-5224-a32f-023606c42ec1 | checkpoint | Contract Variation/SI Request
ecf8f05e-c5b5-5af4-9ecb-d8f1d49cb3bd | textbox | Company:
b2b1de8c-d9e2-5e02-b680-f0077a2354c1 | textbox | Address:
c9492efc-22c2-5f8b-85ac-1ab2ffb25916 | textbox | Project Name:
eb41256b-3ed9-59c3-ac76-02eb5f00d905 | textbox | Representative:
95ca27fc-d07a-5656-ae0a-b76d2527a0c1 | textbox | Variation date:
7a3ef851-4fab-5f56-944a-5eb596612420 | section | Scope of Works
f9652e93-50c1-50e8-bcf9-300971f57c48 | checkpoint-no-value | Scope of Works:
a75068a4-feb5-52b9-a08b-c74c89b5b670 | textbox
78bb1979-e6c3-58f0-a976-e3672e2d37de | checkpoint-no-value | DATE (1)
49333b66-ab7d-51d2-b37a-6125b9bb03a6 | textbox
7a167e21-2eca-5154-9577-dbf9378b9732 | textbox | LABOUR
9126fb06-56eb-5310-b5b2-f99426037ea8 | textbox | HRS
546b3d24-e7ae-5f76-8489-dfd33dcf9362 | textbox | MATERIALS
f4bf1c68-8a26-567b-964b-f5738092bd3b | textbox | QTY
b9937c75-0de8-5468-8d98-68775a64e25d | checkpoint-no-value | DATE (2)
da00de81-b275-5622-aa32-94dbfc5c5947 | textbox
08de56e6-7c91-5d8a-af05-36a6bc8d8bf3 | textbox | LABOUR
6a5d302b-6328-595d-a2ce-17fb77b339fa | textbox | HRS
24e779c1-a155-53fd-b34a-1746a9d590b7 | textbox | MATERIALS
f151df19-364c-5b01-b152-9032adc10980 | textbox | QTY
055861c2-01cd-59fc-b148-b5d578bf3fc5 | checkpoint-no-value | DATE (3)
f8521350-3f48-54d2-9449-03c93755bfa9 | textbox
f53ebcb0-0bed-53ee-a66a-67bc0d27042a | textbox | LABOUR
b9fa1578-b6e4-5f57-af73-c3278e1663c5 | textbox | HRS
d95787fa-d8e8-5a86-bffb-841091e72621 | textbox | MATERIALS
9b6d8df1-717c-54d2-92ea-0f803fe126f7 | textbox | QTY
ccbd83ba-8d99-5beb-8c6b-026ab3750abf | checkpoint-no-value | DATE (4)
0db5a785-d34c-572f-a190-5671f1f735c3 | textbox
ecc5b394-3a91-5c28-93cb-44c5972f5ac2 | textbox | LABOUR
947f1e8b-4b81-5a6c-81d2-ad7cc0d31975 | textbox | HRS
b94d599b-e580-57f7-8d81-f3b03565075b | textbox | MATERIALS
645b19f2-da0d-55dc-8982-789eed24a7ee | textbox | QTY
354ac9e9-fa0d-5839-b86d-e0e32d4b4af8 | checkpoint-no-value | DATE (5)
816181e8-b5eb-532f-9dce-63adb6d96e85 | textbox
f9bbd5ec-413c-5752-9f4f-8913ec93b66b | textbox | LABOUR
104c05bb-3252-5c01-a483-71b3e929a57f | textbox | HRS
c19269fc-ffc4-5704-bf25-597dd93c77e3 | textbox | MATERIALS
717d66db-7736-5905-ade9-d0cb47bb2198 | textbox | QTY
0968923c-c74e-5a70-8f40-53aee257eef0 | checkpoint-no-value | DATE (6)
2a964e1b-574b-5e21-ab7d-442bb2366d32 | textbox
dd6f33cd-d599-583c-8c94-90acb6d1b7b5 | textbox | LABOUR
294ab235-963c-5244-9d95-1a8ecb8f4912 | textbox | HRS
0692d18d-9154-5917-9375-4f90230a23d8 | textbox | MATERIALS
55b0882f-82bf-53ad-bec1-59d46766397a | textbox | QTY
40dda496-b154-5a24-bf2f-3881a448b621 | checkpoint-no-value | DATE (7)
9d43961a-204f-5d4e-8981-469705956567 | textbox
8dd24b1f-d741-56f6-8c7b-80f73d618181 | textbox | LABOUR
43e34995-8e5e-5122-a567-ba5d075f3e2e | textbox | HRS
4e5c4516-c107-50ce-88c1-abcb6ade2a46 | textbox | MATERIALS
92f6a681-06c2-55ed-b27d-e5ce31b7ad2d | textbox | QTY
3e0b80ca-f747-5ff0-afee-0b465651a993 | checkpoint-no-value | DATE (8)
b9d00bae-685e-5092-98a7-b134a8229c8e | textbox
30b594e8-b495-5fea-90c7-98cc0c96ddee | textbox | LABOUR
211a6e97-3816-5a43-973d-f8d3030e02f1 | textbox | HRS
ac9d7b59-d371-51b9-beb2-f529688d0006 | textbox | MATERIALS
3b6236d6-e303-5838-b72c-6c4d1f6b6f9c | textbox | QTY
7de35b47-3bf7-59b6-967a-7c91db03fa3d | checkpoint-no-value | DATE (9)
4677e410-6ed2-5d91-8811-06c598b5e1a0 | textbox
c0ccf001-aed9-50a2-96ba-abe1e848908d | textbox | LABOUR
e8660633-5619-59d7-9898-c3cce51987ee | textbox | HRS
c4cdde0a-e0fe-5ff4-bdc6-3c085ec448dc | textbox | MATERIALS
aa00fc54-558a-568b-988e-a599707b8461 | textbox | QTY
a7cf2191-c7f7-5c29-9da1-3b37545794f7 | checkpoint-no-value | DATE (10)
9eca556c-db25-55b2-9139-accaaf45de26 | textbox
bcb5c246-bc33-584b-8265-8bc35ef541e9 | textbox | LABOUR
13310c12-65ed-5c10-b6b8-6b88acc2cfc7 | textbox | HRS
34a6f7dc-d662-564f-83f2-4f288384a031 | textbox | MATERIALS
5e75926a-09d6-5a9a-99a9-ac2b4a1eae76 | textbox | QTY
05bb7b93-165e-56ce-b6e1-f581f8bd45f0 | checkpoint-no-value | DATE (11)
42c6f1e3-5667-5571-accc-101e0aed3ec5 | textbox
7df04fa9-1506-5cb7-9d66-ac3d4161fe96 | textbox | LABOUR
01234db3-3a80-5ecb-81d9-a0ca3052641f | textbox | HRS
dfb121cb-a87f-5541-967d-a1d5e6f377de | textbox | MATERIALS
ffb08200-77ce-5f8a-a60e-f3c332be919d | textbox | QTY
8fc8342b-8cad-5081-9887-f341f47fb3c9 | section | The above Variation is accepted by:
bcf6540b-010f-5869-8258-1f3dec323faa | checkpoint | Client Representative
6d6d4eec-9d83-52bb-843c-07917d1e912d | signoff | Add Signature
278cb619-f9f4-587e-9076-c4e221d3a51d | checkpoint | Ergo Representative
936c67fe-a407-5c47-8cd3-44f8788fc06b | signoff | Add Signature
06b96004-6a54-5312-ab27-1289062d952b | checklist | Temp Board Install Checklist |  | Temp Board Install Checklist
f8b572f6-7684-5c54-9309-5d3804bf7299 | checkpoint | Are all final circuits protected by an RCD
549e8a9c-2777-565a-b341-b94e61e78b09 | checkpoint | Are all DB doors lockable
1e1ba356-921f-51dd-a87a-3f7207656bdd | checkpoint | Are all DB’s securely fixed in position
151ad821-c758-563a-af74-4e0cfed14095 | checkpoint | Are all switchboards labelled correctly
3c958be7-32e3-5583-9c9b-cca8c36a79b0 | checkpoint | Are all final circuits labelled at board
22c78e1a-6c83-5da5-b46b-a525ab1c333a | checkpoint | Are all live parts at DB inaccessible
05309c44-8149-5888-afd2-61113b4d102d | checkpoint | Are socket outlets in DB in good working order
49254fbe-659b-523e-841c-e2efe94d407e | checkpoint | Are empty glands and holes covered over
3d6e1103-af07-5279-9163-c8012240224d | checkpoint | Is switchboard door lockable, fitted with a retaining bar, and unable to be removed without the use of a tool
2fb2de5c-de9a-5031-8097-38e36f3e6395 | checkpoint | Is emergency lighting provided adjacent to switchboard
3e48b3df-e204-550a-beff-3fbead59de3c | checkpoint | CCEW form been completed? (Take photo of each page)
2f83eff1-23bf-5def-a3ac-07275a18ed5a | checklist | Temporary DB Monthly Testing |  | Temporary DB Monthly Testing
850a28e1-0b78-5839-9373-7fa8f0ee45bd | checkpoint | Operating time of RCD’s (note trip times in comments)
cb0242a0-a635-5ba5-89ff-2cb31e7d1264 | checkpoint | RCD Push button Operation
37a5fb11-5140-57e9-8919-9cc2b9039e95 | checkpoint | General condition of DB (must include a photo)
7b222d5f-54b3-5ae4-9fb1-8a0ad78681ee | checkpoint | Photo of completed tag on DB
407380c1-bca6-5080-aae9-2cfd941b814c | checklist | Tender Handover Meeting |  | Tender Handover Meeting
79141442-cf7e-5975-907c-11f6ca414105 | section | Meeting Details
92f21636-6af7-414c-91d9-fcd90f151eda | checkpoint-no-value | Meeting Details
2e88d098-9f5d-5a39-b416-6093d5594bbe | date | Date
f921a66e-b7f0-5f08-9ff3-c1c147457bab | textbox | Start Time
134b978e-623e-53a8-ba1d-a7eddf07b7b6 | textbox | Attendees
255ed54c-6adc-507a-9476-314ab61e0c48 | section | Project Details
4a4acbf7-f3b9-402b-9267-e8d39711ec50 | checkpoint-no-value | Project Details
fd94a569-abdc-56f3-b5d0-9325ae71965d | textbox | Project Name
fe02d88b-13df-5c15-8b83-352c54384bf3 | textbox | Project Number
1583458d-0722-50ee-a496-4d3a37f855d7 | textbox | Project Location
bcd97664-bcf2-557d-969e-4cba741296c4 | textbox | Client
1fc89da0-b73c-5913-8899-0e67fe40440d | textbox | Client Contact
e6cea5da-5e82-564a-a89d-7300d860c663 | textbox | Client Contact Details (Phone & Email)
907c4d24-dc4c-5bf8-95d1-5e88cda2a9c5 | textbox | Ergo Estimator
42224cd6-6956-5421-9b91-b6e368db4da7 | textbox | Ergo Project Manager
91ec2d75-846d-51c1-bb95-252eb210dcf2 | textbox | Ergo Foreman
5ff3e139-9038-5b5e-af82-c12aab4aa649 | textbox | Project Start Date
1f34c09e-d4bf-58c9-96d9-68cf1cac0492 | textbox | Contract Value
9bf4fdac-382b-511a-a747-fc3ebc4493fc | textbox | Estimated Profit
0fe74a71-351e-5542-8fac-cb516ba8b3dc | textbox | Type of Project & Scope off Works
57e4ac05-4b46-59e9-8352-40c19c6f8ad6 | textbox | PC Date
7838e1eb-f3d8-5469-876f-c843e4f6e0b2 | textbox | Program Weeks
1080b75f-9a43-5078-8b2d-cb9987c601b2 | textbox | Estimated Workforce
b4f6e7c6-ce64-5f0a-82a4-53588ffdc5c3 | checkpoint | Contract Received
b682de97-d47f-5a96-b3a0-ae6fbcb2423b | checkpoint | Insurences sent to Client
b0b91d1d-a466-500d-bfd7-86ba18a46ba2 | section | Procurement
4e42bc4d-8788-4ff7-a52b-a7fb095fd682 | checkpoint | Procurement
b6bc0f5b-4528-5034-ad95-cfe1d3b8c2f9 | textbox | Suppliers
d6486d8f-be9d-59e5-868c-0686dc7e80d6 | textbox | Subcontractors
25fecc7c-f2f1-51a0-bfb9-318c4e73b768 | textbox | Long Lead Time Items
9711d412-e3cb-5de0-9f98-73b80cf624c7 | section | Job Folder
3d6964e8-5849-5674-b0db-b5a5822f676b | checkpoint | Setup Job Folder in Sharepoint
90e42862-483b-55a9-8802-be1d2fbdf3ec | checkpoint | Quotation in Job Folder
c1202e2a-1205-5c8c-8c8c-414c50b9d0b0 | checkpoint | Add Drawings, Specification & any other project related information into Job Folder
fbdeedd1-24e1-50e3-be93-30e715a6365a | section | Health & Safety
743d0484-10da-553c-b587-3acc750d1e5a | checkpoint | SWMS Complete
1901573d-ff65-54a6-b9c8-426b9dbd8026 | checkpoint | Upload/Provide SWMS to Builder
0e2ef997-867d-52e6-aa3a-fa6a61f1bee5 | checkpoint | Prepare Hardcopy of SWMS for site
057d4a97-d7ea-5b90-b7d2-33687a201ca8 | checkpoint | Project Management Plan (If Required)
aa39d452-a698-5a86-ab11-c23fe2fca8e4 | checkpoint | Site Specific PPE supplies to be discussed [LVR kits, First Aid, Respirators, HV Kit]
d58a8e1d-a19a-592b-bb1a-8cc8cac3339c | section | Quality Assurance
9c53461c-02b1-5be7-acc9-4e2437d2f5f7 | checkpoint | CONQA Checklists to be set up
990df5f7-6b8e-54ba-9f8f-574a28a766a0 | checkpoint | Foreman to be given access to CONQA
b66779ed-5be2-5df4-b616-36325b84e802 | section | Foreman Expectations
bd71167b-1b8e-4d5a-8680-5b68c2997f3a | checkpoint-no-value | Foreman Expectations
2b81b3e0-9f03-53f8-bffa-f286cdef64b5 | textbox | Expectations of the Foreman for the Project Duration
dfd23a91-b756-5165-b978-fdb00c0179a4 | section | Notes
dde25b2c-05b7-54b4-b08e-198c476ea427 | checkpoint-no-value | Project & Estimate Specifics / Issues / Potential Risk or Reward
74a12761-9d97-53de-8b5c-172a8003abf2 | textbox | Project & Estimate Specifics/Issues/Potential Risk or Reward
b2cd0495-9da7-5de5-abe6-88a5a5b33338 | section | Meeting Signoff
69ddbabf-0087-4b8c-9ada-bbccb0f52b04 | checkpoint | Meeting Signoff
8e2c1180-ba16-5e00-bcf5-e0cae175d753 | textbox | Finish Time
57aea12b-f330-55cd-a8d7-9d78188ce918 | textbox | Project Manager
201a4ff8-0128-554b-b1ee-57b6c9b57bdb | textbox | Foreman
93a8139f-c4c1-5b2e-adfe-6a3edf4d75c4 | textbox | Project Co-Ordinator
c946c7b1-22d3-529d-a2d4-13db74a1ee2f | signoff | Add Signatures
c95017b6-89a0-5d90-837c-8ab958c43055 | checklist | Test and Tag Register |  | Test and Tag Register
c0f9c409-cb9d-5238-974a-62c430d5805c | checkpoint | Test and Tag register completed (upload picture of each page)
d0e6afa8-da6c-5acc-923d-973820c4f0f8 | checklist | Toolbox Safety Talks Meeting Minutes |  | Toolbox Safety Talks Meeting Minutes
0d61e874-efe4-5eff-9707-f7d8161b1d64 | checkpoint | Toolbox Safety meeting completed
2a89c104-f7e9-5149-b1b3-f0b716afab44 | textbox | Location:
418dc8ac-d145-5638-871a-fc7587bb5e0e | textbox | Date:
358f1937-df0b-587e-8f48-8070e79972a9 | textbox | Client:
8b0f244c-659e-5be6-8e40-18518758e711 | textbox | Supervisor:
9c7f2b34-9642-5c10-86f0-fc6cc8aa28cc | textbox | Subject:
9fae3c6d-f41a-57a3-bc49-cd8c33425315 | textbox | Duration:
d87e0f1f-3abf-5db1-ab36-aaab268d4663 | textbox | Persons present
22d0c969-9512-5e57-8214-1e6d63a88dd7 | textbox | Comments & points raised
2ff70dde-21b4-5050-b597-a45d9cefe552 | checkpoint | Signed off by Ergo Group Supervisor