## Master List Templates
Id | Type | Name | Values | Prompting Name | Postfix
701101d3-2c2c-4967-af11-539eb9303531 | checklist | QA - Flat Slabs Daily Cast Checklist (V2) |  | Flat Slabs Daily Cast
9f9349a2-c0cd-4bc2-9eb7-007838f3cd81 | section | Details
b2e0d54a-9687-4a03-9844-03fdaa6a4971 | checkpoint | Photograph/Upload of latest drawing(s) attached (Office PM)
9eff1256-e613-56d2-932e-b8c6e0e01bbc | textbox | Item #s
360c343e-1e88-4e92-8060-da306473cc07 | section | Pre-pour QA
b2d4e252-447f-4878-b109-61db760edb6b | checkpoint | Formwork Fixed Correctly
92511f09-214a-42b2-b774-341d14bd8220 | checkpoint | Mould clean
8921b6cc-924c-46cd-b12f-5c769b1185fc | checkpoint | Release oil applied correctly
cfcc2e4d-b347-4840-9e4a-3634f16399fb | checkpoint | Primary dimensions checked
c7190fd4-d9c0-537f-84d1-39923a33ecc5 | textbox | Length
bd5a1fb2-7ad6-55cd-99bd-ff497a69152c | textbox | Width
bbaca460-7370-54ba-ab8f-92903c7d0c39 | textbox | Thickness
2f0e3689-c5ce-42f0-8c23-76aa7c922a5f | checkpoint | Diagonal dimensions checked
87739c97-c3e5-4e51-b554-e903f49d3b99 | checkpoint | Openings Checked and Correct
5fd8b0bc-82f9-5d27-86f0-cb253a267263 | tickbox | size
8a847a81-7f85-52df-98c0-9e92b3e95d75 | tickbox | location
80a0245f-11a2-5be1-b439-e2b5cc93a9b5 | tickbox | orientation
3c2438a2-d029-4bca-9d32-273b50125c88 | checkpoint | Formwork chamfers installed correctly where required
9e42aca3-c35b-4b53-a202-1f7675af13b3 | checkpoint | Reinforcing placed correctly, checked and approved
0013fcd2-4f4d-5441-96b0-4a3d1350a9e3 | tickbox | Correct Size and Type
3514fa88-e350-5b48-98cb-39df4d76bff5 | tickbox | Laps and Splices correct
daca4afb-6f69-593f-b475-117c828ef38b | tickbox | Cover Checked
36258e4a-73ec-59db-a08f-1700863429e3 | tickbox | Spacing Checked
0a91bb33-82d7-4587-baa6-89d0807931e3 | checkpoint | Stressing details entered
27d806f0-7671-52d0-9928-65fe0e9d2dd5 | textbox | Coil ID
c71616f2-e45e-5f03-a8f4-db75fea9a299 | textbox | Number of strand
18b768d9-7f95-55d1-9e6a-0cf51841403a | textbox | Initial Stress
3b9e77f6-95ec-5b49-9bc5-8875789fed62 | textbox | Take up force
645e3f89-0653-5ea2-b1ea-5359aa5a3102 | textbox | Full stress
c61f5adb-6d2d-5f83-b5bb-c4954d1b0af5 | textbox | Stressing completed by – enter name
6138eb53-3fd5-4151-8da3-81c6b09715a1 | checkpoint | Cast in items checked, correct (size and location
25eda593-d058-5324-a64e-5296e3f64b66 | button | Weld Plates | Pass, N/A
5e5c593e-f203-5712-8488-eeefb6f0f862 | button | Drossbach | Pass, N/A
e035c3ff-cddb-5aa9-941a-73e7ba654965 | button | PS Voids | Pass, N/A
64031cb6-8c1e-5e28-850a-7078bb9005fb | button | TIM Inserts | Pass, N/A
dbedd7c8-3623-58ce-aca7-6ccf1ede14f8 | button | RB Coupler(s) | Pass, N/A
1887ae69-f063-506f-89b4-89d0b3ad4be8 | textbox | Other cast in items checked (if any)
4508ff76-abf2-4b11-9dca-03fa88267664 | checkpoint | Lifting Items inserted, checked and correct
a809916a-5bc7-57f7-86a8-252e96419c5b | tickbox | Size
43542f2b-4859-51f8-bf75-b700cc0c1b24 | tickbox | Location
3deef09f-acbe-4e21-a215-839d34f44513 | checkpoint | Pre-Pour checks completed and approval given to pour
251051da-942f-5b2d-aa33-cacd20f7db90 | note | Sufficient prepour photos attached HERE before selecting PASS
94810f7f-51b2-4bea-b48f-fdd9f4124f47 | section | Pour QA
4e4e2a2a-e3a9-45db-8a15-4624a302af07 | checkpoint | Concrete Strength correct as per design (Attach photo of concrete docket)
72619e45-0213-55d6-a1c5-81cc77f8377e | tickbox | All Concrete Dockets Attached
3ee4de25-b261-4b25-b867-08c845500c30 | checkpoint | Placement method correct (Attach any relevant photos)
4645945d-86de-5709-8488-3318ea6a8c19 | textbox | Date item was cast
4a67876a-db09-4edf-9f01-c6c1df5f89c9 | section | Post pour/Pre delivery QA
134c5c2a-7893-4d76-8bc3-aa1a9eb07b56 | checkpoint | Lifters Location Checked and approved
4f195f4b-6b75-4357-922f-f353c5190629 | checkpoint | Visual Check - Specified finish achieved
0d4c900c-90d5-5c3f-976c-b3271439d2a0 | tickbox | U3
a6b374f6-4e8a-50b2-8f26-3df64ef0e6d4 | tickbox | F5
a829a0ad-daef-56ff-bb9d-4ba22fdda986 | tickbox | Broom
36d4d832-5a32-5de2-890b-e81289edc601 | tickbox | Exposed
70de768e-d6a5-5db9-9131-d836f840dd97 | textbox | Other finish (if applicable) specified here
3b9f82ad-8400-4e68-9770-5a224a9a4d65 | checkpoint | Post Pour Works Completed
1b4004b0-134e-59f9-a6ce-41ed488996e1 | tickbox | Chamfers
7d3314cb-6df8-54ae-ab9d-054b38385217 | tickbox | Openings (formwork removed)
f38fe2a3-0527-5221-a60b-bea61bf13559 | tickbox | Nail Plates Removed
631b9798-9840-570e-bfb6-cb70d0183786 | tickbox | Lifter Recesses Removed
36c01e37-e825-52ca-9709-cdc32486c767 | tickbox | Weld Plates Cleaned
4fa6b1c9-f91c-5ccf-8806-7d14b0999d65 | tickbox | RB Couplers Cleaned
17bceeb1-0d89-5856-bebb-b86952bff771 | tickbox | TIM Inserts Cleaned
14d12f47-0375-52a9-b657-71c9f5979d8f | tickbox | RB Grout Sleeves Cleaned
87d89128-1939-5d1d-b44b-0e219c59637c | tickbox | Dross Bach Holes Drilled
1786d984-deed-4d78-b9f6-dab38f97a632 | checkpoint | Any Strongbacks Installed where required
432b64a2-05fd-43dd-9848-c9e8db7c7a4d | checkpoint | Stressing details entered
bf60c427-37e1-585b-9de8-7c960a103426 | textbox | Demoulding strength
8e739511-cd56-5456-8f79-df8d54ddc368 | textbox | De-stressing by – enter name
c3dcc320-767a-4229-96f1-a2ca95cb2a74 | checkpoint | Defects identified and photographed and remedial work completed (if required)
00f90750-2ffb-4366-9db6-fddc8f435556 | checkpoint | Rigging set up for demoulding followed as per drawing
6a14e06f-6daa-5b26-9df5-9b97433393be | note | Take a photo of rigging set up prior demoulding!
a842062c-442e-41d6-b91e-cf070a602a24 | section | Rebound Hammer Readings/Product Damage Notification
73bc18d7-76a8-45af-ae75-d0b8e735c1be | checkpoint | REBOUND Hammer Readings:
851cb225-7374-52e1-a81b-1717e69236fa | textbox | 1
0f99a9f0-7718-5c42-a99f-ad99f027851b | textbox | 2
1c0d2813-da03-590d-9249-eead894a8d7b | textbox | 3
b2ba1fe4-8461-5dfe-9f34-3f2d177a9a91 | textbox | 4
15f76f4d-f01a-5f6c-b60f-89cc5124e9bc | textbox | 5
c2bcbef3-4afb-59df-bd63-3c72318adf3c | textbox | 6
1d822ce0-af02-562c-aad7-6fd7a3a4ee94 | textbox | 7
aa32acdf-a64e-5c51-a07f-fe29007c8aba | textbox | 8
f4e99726-5d67-5c02-898d-82924f90e0ea | textbox | 9
a586cea7-898c-5a3b-b815-21bfa0802d7e | textbox | 10
822dac2f-8d88-53bc-9ee7-1c6a9da5f8fd | textbox | Avg
b7bd0b00-38fa-560a-ae26-4b6aad274664 | textbox | Converted Strength: |  |  | (MPa)
068d879a-b829-5a7d-addb-11f1cb4bdb9a | textbox | Checked by:
302458bf-d21e-515b-ae9b-24d7210c95bf | textbox | Approved by:
1a8a5f39-9d3e-5907-9f9a-1ab5e05d16fe | textbox | Lifted by:
1bcb6bad-249d-43e7-a031-0672c9ef57c1 | checkpoint | Product Damage Notification
3f6144f9-d90e-5b56-b229-7b4b61d3fb6b | button | Damage? | Yes,No
08d5bbc6-d21f-5d93-a9ab-dd54600280cf | note | If "YES", continue below.
e0ff52f1-e957-599f-a0bd-3145d3a5c921 | textbox | Damage Type:
227d3df3-c863-5c33-a697-4b1fb458a0de | textbox | Storage Location:
59db2abb-4ba5-4964-9ee5-5e0e6472efee | checkpoint-no-value | ILLUSTRATION:
dae6ba68-8d6f-5832-8183-418b2406ea8c | note | Mould side
e8218aef-98cf-5222-aa7d-0ed2f54347a6 | note | Top side
9359cbb7-ab8a-53a6-a64c-7cbe6ed0391f | textbox | Notified by:
b9a8f03c-6071-5ccd-9948-d2769472c2f0 | date | Date:
0e1ec8b3-70a5-4c56-b1a8-290e46d48c84 | checklist | QA - Item Checklist (V7) |  | Item Checklist
202973b6-f2f8-4105-9355-4afa1182425c | section | Details
cfd8ef26-7a6e-4e40-b844-7d456ea43fd0 | checkpoint | Photograph/Upload of latest drawing attached (Office PM)
f2148650-7081-5dff-b611-904e65e46a1d | textbox | Drawing #
ef3e7f8d-6976-5e5d-aa5d-e24e293f359c | textbox | Revision #
f824e69c-ed3d-4f30-9a06-ec4c9047b9f0 | section | Pre-pour QA
95828005-ba92-4740-9a08-f597c7289753 | checkpoint | Formwork Fixed Correctly
a0b511a2-41b3-4cd9-9db6-d28a6531b4ca | checkpoint | Mould clean
6f1c2d2e-8e62-405a-b865-2d3d6c7a824c | checkpoint | Release oil applied correctly
53da9659-8758-433c-9f2f-8ce38a49258e | checkpoint | Primary dimensions checked
8a39d08e-4483-585c-b134-ace0c680e854 | textbox | Length
2c903d7a-189b-5e74-8794-7f3cdef98c78 | textbox | Width
3d410610-acd0-5298-9ec4-e9a4a8643f02 | textbox | Thickness
b4977135-be57-443b-b278-0d5d833be1c5 | checkpoint | Diagonal dimensions checked
092f6761-3be3-489f-b12a-62f7c6e3df79 | checkpoint | Openings Checked and Correct
b48feff3-fa22-5528-a80e-9e06f7c96c4b | tickbox | size
6574e8d9-da68-5a99-bc9d-09acbbf79f4c | tickbox | location
5791af71-a387-589f-a39f-4940b675ab08 | tickbox | orientation
d7fe6cc4-1706-4f16-b0f1-346198f75c38 | checkpoint | Rebates Installed Correctly
1a0f43d3-401c-4c79-b55b-e392611a096b | checkpoint | Formwork chamfers installed correctly where required
3c6f406e-8e98-4afe-adf1-71ed179e65f1 | checkpoint | Reinforcing placed correctly, checked and approved
7df807aa-53d5-5e89-880a-16bd7ad9a3dd | tickbox | Correct Size and Type
5ac41ae5-f3ce-5e5d-a979-5fe7b8aeae13 | tickbox | Laps and Splices correct
125d53a3-c86f-59f2-8110-4c3f09d3a006 | tickbox | Cover Checked
7a8afc61-b89e-58bc-bd59-69dbb99838c8 | tickbox | Spacing Checked
5b39015a-0021-4e07-9c55-82bc5530be5d | checkpoint | Cast in items checked, correct (size and location
fa64afff-6bf0-574c-8b99-502473dbbc3d | button | Weld Plates | Pass, N/A
6371432b-c3c1-567b-ac4e-0f0907908f14 | button | Drossbach | Pass, N/A
f8cc2032-e2a5-5a10-bf48-53aa8b202b2b | button | PS Voids | Pass, N/A
e0ddd36d-3b08-5a0b-881b-caf4a3e37411 | button | TIM Inserts | Pass, N/A
53cc7368-aba2-55ac-b025-e499549118c1 | button | RB Coupler(s) | Pass, N/A
c32cfd64-b677-501a-a3b5-ee39fe561f14 | textbox | Other cast in items checked (if any)
78274f8f-98ba-4ab5-9e80-681a2f9eac6c | checkpoint | Starter Bars inserted, checked and correct
a7ca0944-36f7-5a37-a08b-46580c4923ca | tickbox | Size
db4ea0bb-ca51-5015-846e-96bd0cd4fdb5 | tickbox | Location
395ba021-f5ea-5028-9a61-59a0bdb2e216 | tickbox | Spacing
348557dc-244d-4f5c-9666-408864ea9490 | checkpoint | Lifting Items inserted, checked and correct
54aff6f1-9f4e-5820-a9fa-d588a9e665f7 | tickbox | Size
5959f8b0-137b-5534-aedb-5b1fabca450c | tickbox | Location
3cd3a63c-c746-43e3-afc4-f4dda717908d | checkpoint | Check Minimum Cover
93100116-752e-449d-a9ba-c4fa0297db7a | checkpoint | Pre-Pour checks completed and approval given to pour Item
98b3a3dd-f216-5aa8-be9d-848de9de6c0e | note | Sufficient prepour photos attached HERE before selecting PASS
36d06762-1344-4478-8c19-38fee9d55909 | section | Pour QA
7020a786-021e-43a3-bcf3-5d302afb80d9 | checkpoint | Concrete Strength correct as per design (Attach photo of concrete docket)
efc63368-716e-5311-aad8-0b1cc6b3db1b | tickbox | All Concrete Dockets Attached
1af5306d-fdd9-480b-9d51-7437976d5220 | checkpoint | Placement method correct (Attach any relevant photos)
c3e7636b-955c-5226-afe4-07ce2177199f | textbox | Date item was cast
c59c0632-c2c5-4ef9-aab4-f3682396487e | section | Post pour/Pre delivery QA
915885a9-737f-46a8-b2aa-6514825a7665 | checkpoint | Lifters Location Checked and approved
42650d02-9245-449f-b4ff-91c877d7aee2 | checkpoint | Visual Check - Specified finish achieved
310bdd08-0990-5c0f-8335-ffca3800db4d | tickbox | U3
be6424fe-c023-5792-96a5-e63c5572e353 | tickbox | F5
1cdf763c-cb6d-5a51-90f2-59dc4acc8ba4 | tickbox | Broom
97086fff-fd88-5dab-a4fe-1bfa55ac33b6 | tickbox | Exposed
d7f3a9b6-046c-58b4-9806-0becb72a3de0 | textbox | Other finish (if applicable) specified here
88a417b8-6193-4c47-94fe-bfa5c76a4693 | checkpoint | Post Pour Works Completed
daed3966-936b-57c6-b878-9450f5611d66 | tickbox | Chamfers
392737d2-8de6-5c64-bccf-2edb684a2463 | tickbox | Openings (formwork removed)
a32187b7-1b35-5e83-8af2-e64196af70e2 | tickbox | Nail Plates Removed
2e1c1a50-35d6-554c-a803-95b4f2daabf9 | tickbox | Lifter Recesses Removed
b443ad87-8258-591e-b483-9710160e9b08 | tickbox | Starter Bars Checked and Correct
ee7ae909-4ed6-5dbd-b48e-baa4ff5bbeeb | tickbox | Weld Plates Cleaned
5ef7e33f-54ab-5307-acd1-77d049fb249f | tickbox | RB Couplers Cleaned
700986f4-4195-5312-9947-50419f5ffe4b | tickbox | TIM Inserts Cleaned
b1cf772f-5a7d-5f82-93dc-2085cdadbfed | tickbox | RB Grout Sleeves Cleaned
2a6f7fed-9332-58b2-ad28-9da01e9729e7 | tickbox | Dross Bach Holes Drilled
5c99a66f-9c40-4581-a13f-f86edf12ebb3 | checkpoint | Any Strongbacks Installed where required
855a56b1-f33d-46b8-9291-4e2b4a411ef3 | checkpoint | Defects identified and photographed and remedial work completed (if required)
bb450e47-e1df-411a-bc12-d5baba485bdc | checkpoint | Rigging set up for demoulding followed as per drawing
a7745555-4a7f-57f0-81b1-0d9f4f21b997 | note | Take a photo of rigging set up prior demoulding!
4618b2bb-77eb-448e-93ef-0878d35a93c9 | section | Rebound Hammer Readings/Product Damage Notification
e31cdd6f-6d3c-4150-84d1-1d6326eeb24a | checkpoint | REBOUND Hammer Readings:
4e1b498d-8241-51c3-b14a-24a159d6472a | textbox | 1
8b0347da-7920-5634-8f9c-c065ae012204 | textbox | 2
60df0b2d-d348-55bf-905c-d628500e0f91 | textbox | 3
02d0d603-ee12-5e72-ad8f-1571381d31fe | textbox | 4
18fbc08e-772e-5666-ae4d-2f88bb750406 | textbox | 5
9cbac21e-7846-5a41-87a9-2c0889aba372 | textbox | 6
7b4c710c-8a57-5bc2-834b-773d4d39dd79 | textbox | 7
00ab2a41-3ca2-5ba2-88c6-3cac1e91b059 | textbox | 8
87cd8c9d-260a-50af-94f1-afe9c9b7d9a2 | textbox | 9
3d0fe3df-b2a2-51ee-9d16-d9f8902a1aa1 | textbox | 10
bc09d2fd-f6c1-5c91-82bc-42013ea61711 | textbox | Avg
cdab7c82-0a8b-5d08-9f02-cc7d3226931f | textbox | Converted Strength: |  |  | (MPa)
3cca59ab-a2aa-59d0-8404-92890f3be56d | textbox | Checked by:
0c2da5ce-935d-5aa1-ba7c-b368db45b708 | textbox | Approved by:
d0369692-376a-52a9-b82d-83f2e9b346b0 | textbox | Lifted by:
27e07630-66f3-421e-8539-9af8fea94c5f | checkpoint | Product Damage Notification
d91b1024-9f75-5f4a-b1ae-63d8e270e67a | button | Damage? | Yes,No
554e659b-da0d-52d5-b24b-6a9f6197b93b | note | If "YES", continue below.
125c9131-c677-5329-987b-039bc1cc7c18 | textbox | Damage Type:
08acd6e9-78ae-554d-a199-f742ec0b014f | textbox | Storage Location:
34bab98a-0b4d-49d9-9b48-afca9ea9c6e7 | checkpoint-no-value | ILLUSTRATION:
e37f5de5-a86b-5ee5-88d9-3a073bb94a99 | note | Mould side
7875d255-12fa-54ae-b5ac-98cffb073682 | note | Top side
8d092cd0-911e-58d4-b928-f875afcf8675 | textbox | Notified by:
d8954278-8236-5906-a359-8e48748a89d7 | date | Date:
3277b973-dccf-41ae-8c8c-742faa5f7434 | checklist | QA - Stairs Checklist (V2) |  | Stairs
80324276-e2e6-4ccc-ac40-c8b66467625f | section | Details
f20a9d27-0110-4eaf-b3cd-568ecbd4ef03 | checkpoint | Photograph/Upload of latest drawing attached (Office PM)
63a305b8-17bd-5d9f-b114-5ab522f3df42 | textbox | Drawing #
464ce52a-a46c-56e5-947e-68dc816b40fa | textbox | Revision #
dbcd9d19-44e3-4577-b41f-b0ffe4938e2a | section | Pre-pour QA
f910abfe-f100-4220-b8a4-c7794b21bb13 | checkpoint | Formwork Fixed Correctly
46324eb2-ebb8-486a-89f6-7752e7a4f6cf | checkpoint | Mould clean
b67040db-f544-400c-8b32-7cb3211dd007 | checkpoint | Release oil applied correctly
9b3b958e-6d4d-4f82-a36a-87a407374889 | checkpoint | Primary dimensions checked
87640b13-c0ee-58f2-b9af-b3389d50b9d5 | textbox | Length
0917562e-4148-5741-b4de-cc958f0c1359 | textbox | Width
31cd535e-b64e-5817-8bc4-1a5d1413c55c | textbox | Thickness
6aab6e35-3f93-4756-a367-a6496d9c5a5d | checkpoint | Diagonal dimensions checked
d7a972d6-9b50-441b-a6a2-a13e70adfb6f | checkpoint | Openings Checked and Correct
d4797ca6-5e11-54a2-a962-8ed46a66ef7d | tickbox | size
db9f6d1b-8951-5eb3-bec0-a519493bdedf | tickbox | location
b28f78f5-4fa7-5d25-8a3b-9df291ede9ab | tickbox | orientation
e35b9598-1801-4851-b668-020086c19a25 | checkpoint | Rebates Installed Correctly
a6bd7b6d-8638-401c-9f04-5858818a4a1d | checkpoint | Formwork chamfers installed correctly where required
5d90c641-5f27-4ee6-b5a4-536889955ba8 | checkpoint | Reinforcing placed correctly, checked and approved
aee381d3-7609-54a2-a3f2-4d9f6ede0ea9 | tickbox | Correct Size and Type
b7c4748f-f7f4-5467-9ccc-8ac9d9db9735 | tickbox | Laps and Splices correct
efb675e2-4ae2-5fc2-8205-5aef61003c79 | tickbox | Cover Checked
ca9f807c-d052-5fad-8410-43aa6e55cc68 | tickbox | Spacing Checked
abc31f40-b5b3-4132-87d3-b2510e69c8af | checkpoint | Cast in items checked, correct (size and location
1297cbfe-5bb5-5641-b88b-e53444ddd88e | button | Weld Plates | Pass, N/A
bcdba44b-611f-5909-82cc-a11dab8ec5e2 | button | Drossbach | Pass, N/A
14be07ae-e727-5333-a532-6be40b70779c | button | PS Voids | Pass, N/A
8cd9bde7-c985-563f-83f6-9df5dadb0dbc | button | TIM Inserts | Pass, N/A
11d8ca48-74b4-5fcd-a1e1-a74fe1a0d268 | button | RB Coupler(s) | Pass, N/A
803e7bd2-055f-58ec-bcb8-513a6d78ce27 | textbox | Other cast in items checked (if any)
c575ca09-cfed-4a89-b24a-a5e531effe57 | checkpoint | Starter Bars inserted, checked and correct
4fa8dc14-1116-5cd8-90aa-8da7d5e45ecb | tickbox | Size
b7640919-3103-5447-bd59-4dd8b881e18b | tickbox | Location
cbd1b86a-ac1e-5939-99b5-04d1891e1607 | tickbox | Spacing
e490e326-021f-47f1-8619-57f0896a0d6a | checkpoint | Lifting Items inserted, checked and correct
2775a4ba-f919-5888-a05b-3319b773ebfc | tickbox | Size
cd012fc5-0575-5a60-a9ad-c7619ef5c98f | tickbox | Location
da7ea8e9-027e-477a-9e88-beff5ae9f428 | checkpoint | Pre-Pour checks completed and approval given to pour stairs
c5ceec9b-3f54-5137-9278-6fe58baef2a0 | note | Sufficient prepour photos attached HERE before selecting PASS
472a4b91-8379-4b62-a61e-016ae0992cea | section | Pour QA
703d0e47-9d95-465f-b9f8-6307bf3f5c28 | checkpoint | Concrete Strength correct as per design (Attach photo of concrete docket)
b1f157e3-4cda-5099-8de1-e00bbae4174b | tickbox | All Concrete Dockets Attached
771b71b2-4144-427f-8825-ff77cd21a95e | checkpoint | Placement method correct (Attach any relevant photos)
972b52ec-7343-5d7a-a798-98a39c117cb1 | textbox | Date item was cast
7d3675c1-8b93-4310-b664-7e2fbb8ca4d0 | section | Post pour/Pre delivery QA
3f8cd1e2-7287-4485-a66e-f006aa3b9a7f | checkpoint | Lifters Location Checked and approved
d34af9c2-5866-45cf-a540-e9f614e1b718 | checkpoint | Visual Check - Specified finish achieved
88cd7469-da25-53f1-883e-d1def8e0192b | tickbox | U3
733c4167-c7fa-5efc-b5d9-239bcc221737 | tickbox | F5
fda94c8c-02e9-541a-8bb3-e9bb4c51a3b5 | tickbox | Broom
831ee460-8123-5bd1-b91f-c016c5fd2e71 | tickbox | Exposed
3024389f-ab88-5305-ba9d-a85e79182ea8 | textbox | Other finish (if applicable) specified here
1ffa73a0-0770-4566-956a-a00565f0585d | checkpoint | Post Pour Works Completed
f06d9e5b-efbf-5dc9-b3b6-fa482439ae2c | tickbox | Chamfers
89e74799-1b7b-5b36-9ad6-703623a9609c | tickbox | Openings (formwork removed)
9ee64b5e-cddc-53dc-ac37-c568fe8785f8 | tickbox | Nail Plates Removed
7bed83a1-6523-5dc5-bba2-1408efd05d6e | tickbox | Lifter Recesses Removed
0b45d816-1685-51c0-915e-7709ae53c832 | tickbox | Starter Bars Checked and Correct
b09eabba-4504-5f77-96fb-85688893cdb2 | tickbox | Weld Plates Cleaned
6fdf9e01-0591-5603-ba22-54a252182e86 | tickbox | RB Couplers Cleaned
4b3c1164-46d3-56df-a41c-7867e106c62e | tickbox | TIM Inserts Cleaned
c2b26be5-cd8f-5889-8e8a-dbc705464d0b | tickbox | RB Grout Sleeves Cleaned
0162e3e6-aaef-51b7-aedd-aab63e185327 | tickbox | Dross Bach Holes Drilled
5f1c07f4-732f-4bae-b040-f8f8f6906259 | checkpoint | Any Strongbacks Installed where required
164b430a-8a79-497f-9c68-47324d1f20d1 | checkpoint | Defects identified and photographed and remedial work completed (if required)
f6ae7c4b-98e4-4aa7-9f3f-bd65d544e7ad | checkpoint | Rigging set up for demoulding followed as per drawing
8c8fe269-df2c-520f-bdfd-f56d954a74c4 | note | Take a photo of rigging set up prior demoulding!
fee57474-be6c-4167-81a4-f5dd4f06a7ce | section | Rebound Hammer Readings/Product Damage Notification
d389d513-1240-4078-b2e1-28141e4348ab | checkpoint | REBOUND Hammer Readings:
34e38532-ac89-5448-a522-7f934af29443 | textbox | 1
07b45c19-7fd9-56a2-ae61-a10964e8a2b9 | textbox | 2
41c833fe-b5a0-5643-9841-75414b122fd9 | textbox | 3
3dc45945-9020-53e6-8396-c5a981e94eb7 | textbox | 4
348e3090-a3f1-5890-8d17-a69564419d8e | textbox | 5
67e10b48-0305-5311-8427-dd759bed749c | textbox | 6
0af419bb-5ffc-5633-a2a6-f7c6e2caa7b2 | textbox | 7
ccf17744-339f-5958-8396-4694e0f6d20c | textbox | 8
8981be7e-7e06-5c03-bd8f-86c40454c106 | textbox | 9
1a6d845c-e03c-5a42-8718-eaefd806e74d | textbox | 10
e6d4bbeb-5056-5709-90ae-2edd8505d7ee | textbox | Avg
02ae86d4-b551-5aaa-87a5-39c4b080ac85 | textbox | Converted Strength: |  |  | (MPa)
bc13f28f-582e-5c50-988d-818b7819cbc7 | textbox | Checked by:
79f5f0f0-4b70-5bdc-a100-405edc256b8f | textbox | Approved by:
869c3a53-276f-5497-a825-2a0800900c40 | textbox | Lifted by:
0afc6262-b2da-4e2b-9a38-ba418f7c9f53 | checkpoint | Product Damage Notification
52eb58fd-b499-5e8c-a4f3-4031eee8edbf | button | Damage? | Yes,No
113cdcb2-4dbe-5bca-a23d-df206abc8d9e | note | If "YES", continue below.
3f22735c-0a14-58be-b118-2037b8ec0943 | textbox | Damage Type:
7fcb8c43-067a-5b1b-8d77-8a3f5f45d19d | textbox | Storage Location:
f6d24ace-8f7e-4991-8527-3d5b14a6d9b2 | checkpoint-no-value | ILLUSTRATION:
c87d5cf9-8a80-5bef-9115-0a7e02e3618e | note | Mould side
ba12d36a-93d7-514c-8a15-a3da2c0bdde5 | note | Top side
d66f99ee-934a-5edf-bbf3-954828794da2 | textbox | Notified by:
287e33d3-a20d-583a-9d05-54e6444a81ef | date | Date:
ac4957b9-32fa-4537-987d-b20e9dbcee64 | checklist | SYS - Compliance Documentation Checklist (V1) |  | Compliance Documentation
7ada998a-e3ba-4b88-9a02-6ea5fd833bd8 | checkpoint | Concrete Test Results
f0b21ca5-e172-507b-a547-fd65b023c2bb | note | Pass once all test results for this project are attached
34bc0204-ec53-5472-9f5b-efbd22cea575 | textbox | Concrete test requirements for this project
98bff0a7-8174-4b83-9683-1f95b961d177 | checkpoint | Mill Certification
f6a70c42-03dc-567a-96bc-1f5be070c7d0 | note | Pass once all mill certs for this project are attached
d11f23bd-eaf5-4c4b-a2c1-4d436d719af8 | checkpoint | PS1 Attached (if applicable)
6f62b49f-dbf4-4c17-b6a1-dff416aa7e88 | checkpoint | PS3 Attached (if applicable)
66894e47-d525-4372-a18d-864e3aecb329 | checkpoint | PS4 Attached (if applicable)
7e405b2b-3501-4f5a-9594-a3c5b7b4b87d | checkpoint | Reo Detail Sheets
697f6f37-8aab-5a6c-818b-9390860e7528 | note | Pass once all reo details sheets for this project are attached
e79645ce-8fd4-4a71-bb47-4b44d81388f2 | checklist | SYS - Job Details Checklist (V1) |  | Job Details
b389b164-359b-4fd5-b091-0e3809a071bc | checkpoint | Project details entered below
873803eb-e6c3-521f-9590-ce09f3ec3b1d | textbox | Job File Number
cb0b9c48-d5e7-5fdf-8132-45f7303f14f1 | textbox | Project Name
f18ee58a-7919-5d91-a2f6-a7425b7b23b5 | textbox | Site Address
8b40c4fe-4f2f-54df-864b-7782bcfdc916 | textbox | Main Contractor (e.g. Teak)
4efdaea2-1f4f-5dfe-a2c4-6777a353d353 | textbox | Main Contractor POC
7370a87f-c034-5b32-b9da-991872097040 | textbox | Structural Engineer
1f0e9df3-63e4-5c86-b69f-2ccff2dd2c8f | textbox | Architect