## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commissioning ITP |  | Commissioning ITP | d66f43d2-dfec-46f5-b329-413d02e9846f
| checkpoint | Bulk Hot Water
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
| checkpoint | Floorwaste and shower clean out
| checklist | Corridor ITP |  | Corridor ITP | 2e873a3e-43b0-45d0-af58-9f56a0e2f633
| checkpoint | Rainwater
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Test Rain Water
| checkpoint | Fire Caulking (Corridor to Apt)
| checkpoint | Cold Water Meter Manifold
| checklist | Drains ITP |  | Drains ITP | efd51815-9b1a-478c-ae2c-33069e8447bc
| checkpoint | Drains
| checkpoint | Smoke Seal Penetrations
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off ITP |  | Fit Off ITP | 3a6b19cd-dc69-4e77-b044-898e1b676a3b
| checkpoint | Laundry Trough
| checkpoint | Laundry Trough Mixer
| checkpoint | Laundry Trough Mini Stops
| checkpoint | Laundry Trough Waste
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checkpoint | Kitchen Cooktop
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checklist | In Ground ITP |  | In Ground ITP | c46a74ab-4235-4742-87c4-be4d0c5807a8
| checkpoint | Sewer Drains
| checkpoint | Greasey Waste
| checkpoint | Sewer Pump
| checkpoint | Grease Interceptor
| checklist | Penetrations ITP |  | Penetrations ITP | a224e74b-84c4-4e4b-8207-27b0071e5379
| checkpoint | Set Out
| checkpoint | Fire Collar Installation
| checkpoint | Cast in Drains c/w Polilag
| checklist | Rough In ITP |  | Rough In ITP | 2df77918-4a51-49e2-a6e3-32d077ce05e9
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Gas
| checkpoint | Test Water