## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commissioning ITP |  | Commissioning ITP | d0bb6b81-abfb-4446-9f8e-93403464f28e
| checkpoint | Bulk Hot Water
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
| checklist | Corridor Checklist |  | Corridor Checklist L3-L7 | 5d6f9b97-8790-45f3-abc2-bea335ca7981
| checkpoint | Rainwater
| checkpoint | Cold Water, Hot Water, Hot Return
| checkpoint | Hot water flow & Hot water return Lagged
| checkpoint | Hold & Cold water test
| checkpoint | Rain water test
| checkpoint | Fire caulking
| checkpoint | Cold Water, Hot Water, Hot Return & Flow meter cupboard
| checklist | Drains ITP |  | Drains ITP | 750d6bed-80a4-427a-9a89-1fff93e29bff
| checkpoint | Drains
| checkpoint | Smoke Seal Penetrations
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off ITP |  | Fit Off ITP | 826072cf-c1de-449f-8f5d-12a6f584fdba
| checkpoint | Laundry Trough
| checkpoint | Laundry Trough Mixer
| checkpoint | Laundry Trough Mini Stops
| checkpoint | Laundry Trough Waste
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checkpoint | Kitchen Cooktop
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checklist | In Ground ITP |  | In Ground ITP | b1d57ba5-4c80-46dc-96a9-3cb1f907afe7
| checkpoint | Sewer Drains
| checkpoint | Greasey Waste
| checkpoint | Sewer Pump
| checkpoint | Grease Interceptor
| checklist | Installation Photo |  | Installation Photo | 0acdb342-36ed-463e-b2d0-b79281500307
| checkpoint | Installation Photo
| checklist | Penetrations ITP |  | Penetrations ITP | 3a8bec9b-b17c-48b8-8dc0-c7ac7b8375fd
| checkpoint | Set Out
| checkpoint | Fire Collar Installation
| checkpoint | Cast in Drains c/w Polilag
| checklist | Rough In ITP |  | Rough In ITP | 4f4ff3a6-e650-4a07-a036-7e3a0655e330
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Gas
| checkpoint | Test Water