## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
9e3ae9e3-d51b-4ea2-b436-0d66814e704b | checklist | Commisioning |  | Commisioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
0780a36f-96a4-4c32-8ca3-bc11fd5bee08 | checkpoint | Zip Unit
194bb2db-ace8-4836-8e3f-cd7953e966df | checkpoint | Test Fixture Outlet
76e3a338-093d-4eeb-b398-4278a228e26d | checkpoint | Test RPZD
aec1fe5d-5461-496c-b3a4-d5fa24274300 | checkpoint | Test Hot Water Temperature
87f32a64-ded1-49b6-a0ba-aa9272a81686 | checkpoint | Test Waste for leaks
c9e9d72e-5d5b-4bd4-8fd2-f45603abba70 | checklist | Corridor |  | Corridor
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
dd2e951b-fb7e-4b36-b140-6944a8ef00b2 | checkpoint | Test Water
8754b752-bc73-45f2-8be1-611122a59b5f | checkpoint | Hot Water
ed877b0c-277d-41fe-94bf-9bc81a56dbe1 | checkpoint | Hot Water Lagged
9b59e1cf-a66f-47cc-9a70-cc4140452740 | checkpoint | Cold Water
330c8913-858a-4f40-9226-8be960b84309 | checkpoint | Test Hot Water
252de46b-11f8-4e49-a1c5-76cc620ce100 | checkpoint | Test Cold Water
4c688577-1aed-4346-877f-572971626c27 | checkpoint | Fire Caulking (Corridor)
f590e410-6fcf-4668-ae44-88fbb356129f | checklist | Fit Off |  | Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
7c9d0cdc-32d8-426c-b854-cccb2ad901df | checkpoint | Vinyl Floor Waste
4fa0a13a-e49d-4ff2-9583-5412cd63bb6e | checkpoint | Hand Basin
6f831c7b-752e-4aa0-97b3-f0a12f0004a1 | checkpoint | Shroud installed
65ca5766-b302-4f76-8265-7eddae204827 | checkpoint | Ministops/ Ball Valve
c60ac6b6-7bf5-43de-8f6d-df725fdc3aea | checkpoint | Fixture Waste
e59260b4-55b9-41b9-bba4-89449667ec24 | checkpoint | Mixer installed
cd52a508-5865-43de-ad65-ad62ec67f721 | checkpoint | Sink
69969fc4-0a09-48c3-87c5-8199535fd034 | checkpoint | Zip Unit
e987f46c-4dd5-4b6f-8099-df591b1c397e | checkpoint | Shower Mixer
47ecf722-2dcb-4860-b184-9e166f438ef0 | checkpoint | Shower Rail/Rose
4293eac4-9472-40e7-944c-0313975d2dbc | checklist | Inground works |  | Inground works
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b9e0b9c6-45fe-43f0-9e4e-3aeed7c65a4a | checkpoint | Testing of drains
62998b81-5376-4dff-be9c-a54e20e375ca | checkpoint | Pit connections/ Stormwater drainage points
a550fb15-20a1-413b-9403-4c35ead3d3d1 | checkpoint | BSP puddle flange installed
5e70e328-6b36-48d1-907d-d968f9747467 | checkpoint | Pipe lagged
8676a750-5542-4c0f-8237-06bd7db5215d | checkpoint | Testing (Water/Air)
4ccebb8b-3a74-4fdd-a8ca-11ed2fc7f3fd | checklist | Rough In |  | Rough In
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
4d587b41-ae6c-4d4d-bbe1-5df4b25bc0ae | checkpoint | High Level Rough In
ed5cbe4d-c38f-4a58-9206-7c95ea3893c8 | checkpoint | Noggins Marked
420b42b5-ef36-4f16-affc-a4cf1eb37d80 | checkpoint | Wall Set Out
48757a01-4260-4771-bc41-c4f733429175 | checkpoint | In-Wall TMV
ed26ca0c-283d-4f9f-aedb-26bafa49aa94 | checkpoint | In-Wall RPZD
27397848-165e-4998-b893-b189a0132c82 | checkpoint | Wall Rough In
6982b76f-d137-42d2-bb88-2e21bb7a8642 | checkpoint | In-Wall Cistern
adcd76a5-990b-463f-8b38-ddf18e37cacd | checkpoint | Waste Rollovers