## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
d65ee44b-e370-4a5b-ac5b-a9bf43e644f3 | checklist | Commisioning |  | Commisioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
673f8538-92b5-46cd-bce6-97268e00dea3 | checkpoint | Balance Hot Water Flow
b0a8a8b8-ff9a-42ae-be27-63b680201ab0 | checkpoint | Test Hot Water Temperature
2ce8d384-bfdb-4d4b-a701-a7621cbfba12 | checkpoint | Test Waste for leaks
1ecd032f-3088-4dce-8b50-dd88c9d5fc72 | checklist | Corridor |  | Corridor
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
e9fb94c1-8032-4dff-8237-6dfae85f61ff | checkpoint | Cold Water Mains
4ba85cdb-6717-48a7-ac53-ab99ad04e1e5 | checkpoint | Hot Water Flow and Return mains
766b23f9-c1be-48d4-9b52-3c6b7aed111c | checkpoint | Hot Water Lagged
eb48df7d-90bd-4081-87b6-2578cf82da84 | checkpoint | Circulation Pump Installed
4fb2186a-1f41-4204-8338-c6d7f3313742 | checklist | Drains |  | Drains
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
4439e6ff-1140-46b0-8b18-09548df7ead7 | checkpoint | Drains
e68fe660-2091-40d7-b876-3e344a86abc0 | checkpoint | Waste Rollovers
754f77e7-99df-406c-b588-e2cabdb6f53f | checkpoint | Puddle Flanges installed
79adaa54-beea-4c82-a002-b7ef753752cf | checkpoint | Inspection Opening installed
9a389214-aa53-4216-bdb8-d27db79bcafc | checkpoint | Testing (Water/Air)
18c7b8ff-f3df-4a77-9c4d-6d4ef72e809c | checklist | Fit Off |  | Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
cb34e016-6959-4e48-afa5-0eee16452c8a | checkpoint | Water Closet and Flush Panel
4006c915-ceaf-4fd6-b369-ead686a7666a | checkpoint | Inspection Opening Cover
c416f136-3df1-443c-b61a-6977443f0613 | checkpoint | Basin Mixer
58346679-b260-4caa-8f29-0ee1b21d8bf7 | checkpoint | Basin Waste
19c36edf-01fc-4a58-b287-280a579cd612 | checkpoint | Shower Mixer
847bb8ff-42e7-4867-be47-3e9c3ad2c9fb | checkpoint | Vinyl Floor Wastes
44f9b309-5c6e-42b7-8b93-9f1c37e64172 | checkpoint | WMS TMV Cover
c4793b99-ca00-43cd-8bb5-21370ded4f45 | checklist | Inground works |  | Inground works
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
a3cdd7c1-b42e-4925-8bc3-7eece2865c30 | checkpoint | Sewer Maintanence Shaft installed
0b2b193b-4e2b-44a2-9e3d-1fcc25013c9c | checkpoint | Inspection Opening installed
f24f1337-78bd-401c-ace5-f609de4df5a4 | checkpoint | Downpipe points installed
3309f2fe-96e4-4926-9bf2-9cf63f5833f1 | checkpoint | Junction pits installed
dc61f638-d6ea-4728-8a5a-c8f224c14407 | checkpoint | Trench Grate installed
91500040-0f59-4a20-963e-256d23965e14 | checkpoint | Top of pits installed to correct height
158ae69c-3ced-4340-8853-114c4c1c9a2d | checkpoint | Correct loactions of all pits / drainage points
bac5ff17-249f-4495-a2ec-9019fae9bc06 | checkpoint | Testing of drains
d56f1146-8f5d-424c-a5b4-25c2330d2fd2 | checkpoint | Polylag Penotrations
b8fb73d0-4b75-43da-b5b8-1ee6a1ef0337 | checkpoint | Crush Rock Compacted
fd32a66e-f077-4cc6-a6ee-6a04bc6c181f | checklist | Rough In |  | Rough In
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
9fc5beb7-9da2-4506-ad66-72c7397d38c1 | checkpoint | Wall Set Out
1b6e101a-dc30-4439-94ee-4d0f642e750f | checkpoint | High Level Rough In
58a02719-174d-40bf-963c-67dda3284098 | checkpoint | Wall Rough In
fdeab3a4-6a03-491a-8b04-047d2a637570 | checkpoint | In-wall Cistern installed
4a7a1095-e8d6-4c4a-a8d1-96be55956450 | checkpoint | In-wall Basin Mixer
ccc06ee5-d9be-416a-a785-fd7c173cfe6b | checkpoint | In-wall Shower Mixer
376ca988-e62c-411d-99dd-e00d39605587 | checkpoint | WMS TMV installed
903eca65-bcdf-4c9a-8d83-0f3399d36b97 | checkpoint | Test Water