## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
5b7277d6-bbed-4c26-af82-592a613f17d8 | checklist | Commissioning |  | Commissioning
940a7208-4b31-4ebc-801b-d4a3fa4ce393 | section | Details
0da04f06-aacb-48db-aadf-c6a2e977e0cd | checkpoint | Bulk Hot Water
980dbe66-a861-498c-b173-528379ad1307 | checkpoint | Test RPZD
c5446fbe-a8aa-40f2-8aa8-0e2f0aa908aa | checkpoint | Test Hot Water Temperature
1fd3b357-e3fc-4548-a44b-78e51d66907b | checkpoint | Test Waste for leaks
f12fae8c-e4a1-4649-b048-49db813c5b32 | checklist | Corridor |  | Corridor
b33620e7-f085-4220-9145-37cba2edc185 | section | Details
3a966c08-141f-42ef-8ffa-f58da5f53062 | checkpoint | Hose Reel Line
c8b7fc8e-f64e-4f43-b8ac-604db1579bd2 | checkpoint | Hot Water
a33ababf-f47b-4254-a195-970fabf65136 | checkpoint | Hot Water Lagged
b8552389-f0bd-4731-9436-de71f6306262 | checkpoint | Cold Water
1dffb8f1-6d99-43bc-9f3e-f1e0dd1edcf1 | checkpoint | Test Hot Water
881c6f14-d8b7-400c-ba07-6014e3754834 | checkpoint | Test Cold Water
e97d3253-fc0c-4bef-97d6-ecd392d196a7 | checkpoint | Fire Caulking (Corridor)
42ff66e4-32a9-4f20-ae72-bd057269fa55 | checklist | Drains |  | Drains
ca7f6a95-1cfe-401f-94aa-e0276b15d56b | section | Details
4758e2bd-20ad-4cb7-a55e-c0edda160558 | checkpoint | Drains
b1cc8812-1e87-421f-be1f-2677f73f1db1 | checkpoint | Smoke Seal Penetrations
f4f2ecef-2d47-4cfd-aba3-52653357eb81 | checkpoint | Fire Collar
65d3a197-49b5-4ed0-8db4-50b6e1ec45d5 | checkpoint | Acoustic Lagging
80e63b13-7f24-4af1-99d6-ebd2121ea7a8 | checkpoint | Testing (Water/Air)
4dd8926f-ebac-4c6e-8504-19d7556d5d75 | checklist | Fit Off (Male) |  | Fit Off
7621e5f7-de74-45e7-95f8-b56aa4c4f0c7 | section | Details
efb54eb6-3600-4cd7-bc40-7d4c05f7394c | checkpoint | Hand Basin
ffdecb66-b838-40b5-a902-ad346890c779 | checkpoint | Scrub Trough
78bcb225-abfc-4bd9-9cb1-b07f7f234e25 | checkpoint | Ministops/ Ball Valve
9a02c533-6645-465d-b50f-6a58358cda95 | checkpoint | Fixture Waste
62b16ba3-ebfb-4f06-9acb-791d7168a812 | checkpoint | Mixer installed
7b275ab6-0c75-48b7-aa1c-7b9c398f741b | checkpoint | Dishwasher
409278ce-7bce-4411-99d3-8d78eefcfa03 | checkpoint | Sink
46fd0fa1-07ed-464c-bfb5-0b082f940bd1 | checkpoint | Trough
715f40fe-b7b0-4191-acc5-e1c92a84eee9 | checkpoint | Bathroom Shower Mixer
353b7e90-2472-4527-a9cc-10036e06c602 | checkpoint | Bathroom Basin
8c139fd0-582b-4c2b-b974-c0a0c8d07995 | checkpoint | Bathroom Basin Mixer
a0e90eef-93a2-47f5-9ff2-4cc7d6775142 | checkpoint | Bathroom Bottle Trap
68888a36-e754-4a48-89a3-ac29a3cda7dd | checkpoint | Bathroom Toilet
dd31d178-dfc9-4a69-b2bb-a357ac6ed79c | checkpoint | Urinals
c20737af-f834-4001-9bc4-cf66134af48a | checkpoint | Dolphin units
45601ec0-4bcb-465f-bec1-c0ab26213416 | checklist | Fit Off (Unisex) |  | Fit Off
7621e5f7-de74-45e7-95f8-b56aa4c4f0c7 | section | Details
efb54eb6-3600-4cd7-bc40-7d4c05f7394c | checkpoint | Hand Basin
ffdecb66-b838-40b5-a902-ad346890c779 | checkpoint | Scrub Trough
78bcb225-abfc-4bd9-9cb1-b07f7f234e25 | checkpoint | Ministops/ Ball Valve
9a02c533-6645-465d-b50f-6a58358cda95 | checkpoint | Fixture Waste
62b16ba3-ebfb-4f06-9acb-791d7168a812 | checkpoint | Mixer installed
7b275ab6-0c75-48b7-aa1c-7b9c398f741b | checkpoint | Dishwasher
409278ce-7bce-4411-99d3-8d78eefcfa03 | checkpoint | Sink
46fd0fa1-07ed-464c-bfb5-0b082f940bd1 | checkpoint | Trough
715f40fe-b7b0-4191-acc5-e1c92a84eee9 | checkpoint | Bathroom Shower Mixer
353b7e90-2472-4527-a9cc-10036e06c602 | checkpoint | Bathroom Basin
8c139fd0-582b-4c2b-b974-c0a0c8d07995 | checkpoint | Bathroom Basin Mixer
a0e90eef-93a2-47f5-9ff2-4cc7d6775142 | checkpoint | Bathroom Bottle Trap
68888a36-e754-4a48-89a3-ac29a3cda7dd | checkpoint | Bathroom Toilet
0e4269f3-f471-4b50-aede-5e130c00e545 | checkpoint | Dolphin units
75fe7b47-fc02-4122-a6e8-1a5c03e0db8f | checklist | Inground Works |  | Inground Works
36eb3a7e-b0ce-4723-9a0d-38c3c4adb710 | section | Details
04489d6a-944c-4d1c-b9fb-8a71ff869f86 | checkpoint | Top of pits installed to correct height
7ceda8b7-0fa0-43b3-807c-650f850148b7 | checkpoint | Testing of drains
04cd1c3e-7271-4988-ac11-0a83b850b84e | checkpoint | Correct loactions of all pits / drainage points
d9e9939d-1037-4195-9b1d-a64800a8061a | checkpoint | Fire Hydrant Supply
f06c7869-36c9-495e-8241-5b87732c5850 | checkpoint | Cold Water Supply
e34386b2-3530-41bb-b95b-3a45b48a18eb | checklist | Penetrations |  | Penetrations
5a2590d5-4129-4d16-914f-8c3385952065 | section | Details
113d13b4-b024-4ada-8599-3d2cd40901d6 | checkpoint | Set Out
6838c1cd-05f5-42ff-85b8-cce419829960 | checkpoint | Fire Collar Installation
a163c372-35a2-4934-a146-0d6f51c3d381 | checkpoint | Scanning
c0a63b02-7dde-4b12-8996-65eafd9ce7f2 | checklist | Plant and Equipment |  | Plant and Equipment
5f2c7f8d-6363-4866-aa79-28f3c5c23d51 | section | Details
e75c5b94-21ff-4a3f-8bd3-529587d0643d | checkpoint | Hot water system
1e7372f7-7098-4657-a604-c873bb599bdd | checkpoint | Heat pumps
52f2e43f-a0e1-4e6a-8a7e-0c309ded7265 | checklist | Rough In |  | Rough In
3bc342b3-e982-409b-a201-1db48d65459e | section | Details
85f661d8-2945-46ea-9dc1-842963bab2fb | checkpoint | High Level Rough In
ce5884f2-a067-4cbc-9c22-71115611e484 | checkpoint | Noggins Marked
7419e024-8d3e-4c01-a319-28a4637ee07f | checkpoint | Wall Set Out
9b0d94d0-cc61-4f22-a089-04ea961b4463 | checkpoint | In-Wall TMV
1cfd689b-be50-42be-9021-cb4dac30f4a2 | checkpoint | In-Wall RPZD
c11ea182-dd77-45ef-95a7-e72ff3f351f1 | checkpoint | Wall Rough In
6b359dc6-42b1-4aab-98d2-e1d3702fba1f | checkpoint | Waste Rollovers
52e103d3-bfc2-46e3-852e-80995186ce7e | checkpoint | Test Water