## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
6a1daf69-eda0-4f14-b0f8-c363908c084e | checklist | Commisioning |  | Commisioning
3eec1e01-39de-409c-b766-1beb5f351891 | section | Details
cc27d7bd-b173-4e8d-8dbe-a653746ebff5 | checkpoint | Bulk Hot Water
57893434-f4b2-47c3-9032-f9654feda4b7 | checkpoint | Test RPZD
293e79b0-7d00-4dc5-ba8e-466ba1758dfd | checkpoint | Test Hot Water Temperature
f9564418-8060-4c54-a8ed-45393597e2ef | checkpoint | Test Waste for leaks
8e6eaf7c-9d2d-4ddb-8018-d7d5d3867fb7 | checklist | Corridor |  | Corridor
196e335e-0963-448f-9c24-1088e041ed76 | section | Details
a3d22756-6f9a-411e-b6e4-c4aaefa79172 | checkpoint | Hose Reel Line
ed072fac-3c66-428e-bc8c-b76fcbacd75b | checkpoint | Hot Water
247785f5-17e9-46ad-bf79-a0d8f439ca3e | checkpoint | Hot Water Lagged
d64d9193-d7ae-468d-a220-923cf59fd265 | checkpoint | Cold Water
a05236ee-198f-4020-8b73-b13cb9766d58 | checkpoint | Test Hot Water
c47d04da-685f-4fb6-a899-19f8f5337829 | checkpoint | Test Cold Water
f57b9ee7-ac65-427c-b524-125758bf4fd7 | checkpoint | Fire Caulking (Corridor)
8c1b57ae-074d-47bf-a8a2-f1c9b8728734 | checklist | Drains |  | Drains
4983e5e3-a706-4ce5-a34a-631cdf94b1be | section | Details
362749e6-70f7-4c71-83ed-4a93cc6664df | checkpoint | Drains
bba67503-64c2-4a08-ba23-debbab7e4b46 | checkpoint | Smoke Seal Penetrations
3afdd84c-f31f-4c5d-86b7-24551adc8103 | checkpoint | Fire Collar
41870230-19cb-49a0-b5eb-2d693d06fae1 | checkpoint | Acoustic Lagging
82c80292-15d2-41f9-bbca-66d2d8029704 | checkpoint | Testing (Water/Air)
843fc65f-b22e-46c5-8ed5-eb8fab196017 | checklist | Fit Off |  | Fit Off
dd9b8657-6cb4-4409-b7e4-1dec4e1ca263 | section | Details
3fec7d61-bc3b-4aed-9c67-0c0e3187d939 | checkpoint | Vinyl Floor Waste
ff40532f-ed5b-44e7-9931-994c5b419070 | checkpoint | Hand Basin
2874009e-c2d7-4fbc-8681-559614aaf8a9 | checkpoint | Shroud installed
109498d1-1c67-4bcb-a2f6-cd1a3c846184 | checkpoint | Scrub Trough
0d63a74c-0676-4640-b460-793ea3512f60 | checkpoint | Ministops/ Ball Valve
1a61448a-76e8-4a6a-bc46-fbe61219119c | checkpoint | Fixture Waste
ab491851-ac94-4de3-89ba-15d70ac0d85b | checkpoint | Mixer installed
c1b04df0-6b74-40bc-bd9b-1e1563beb43b | checkpoint | Dishwasher
1f887b46-de76-4a38-bb55-c6f09a78ba16 | checkpoint | Sink
d534123e-bd77-432e-9aa9-c414a98fc4ed | checkpoint | Trough
f96fc996-bb13-488b-9446-477c480f0bca | checkpoint | Fire hose Reels
baf4224f-9bbc-4016-981f-03f840a12888 | checkpoint | Bathroom Shower Mixer
3da103b3-79a8-4d08-a670-0935076d44ce | checkpoint | Bathroom Shower Rail/Rose
745fc892-56ae-4c5c-867d-c3390df921f5 | checkpoint | Bathroom Basin
0b4a9827-70c3-4355-8adc-57532863036c | checkpoint | Bathroom Basin Mixer
d8fbe3a5-dcad-488e-8573-2fd122f3e998 | checkpoint | Bathroom Bottle Trap
e07fbaee-902d-4e11-9241-470059f1386b | checkpoint | Bathroom Toilet
52e1c26d-70db-43f6-a4cb-b275ed8f96d9 | checklist | Inground Works |  | Inground Works
8a036007-7bf1-4138-b32d-f2c118734474 | section | Details
90965303-e7c4-4263-88e0-ee29bedfeb19 | checkpoint | Top of pits installed to correct height
9f42fbe7-f810-4c9d-a272-7294a83e2440 | checkpoint | Testing of drains
c4eeffc6-1fc7-4620-b251-928a65df9783 | checkpoint | Correct loactions of all pits / drainage points
ed037e5a-83a4-48b9-872e-2b5e3aff4fb5 | checkpoint | Fire Hydrant Supply
0ebd23b5-5b09-4acb-ad7d-7befe9494d72 | checkpoint | Cold Water Supply
49465509-f714-4d50-acf8-11266db58fa1 | checklist | Penetrations |  | Penetrations
5951db94-59f1-4f7f-ae22-a5d8da4c193e | section | Details
212f3d1d-4c89-491b-bbb9-1efbe6912166 | checkpoint | Set Out
9ceddbb4-1325-403c-8025-670be8d18926 | checkpoint | Fire Collar Installation
0ffe70b2-26c7-48cd-84f7-27a544914949 | checkpoint | Scanning
e4b847c6-71d1-4062-b69b-c7ba6db0f361 | checklist | Plant and Equipment |  | Plant and Equipment
fd31e740-c142-499c-8bb0-b4fee21c1523 | section | Details
1c689bde-f188-4b97-87c6-c7abf47cc717 | checkpoint | Hot water system
6d6f87ae-cda7-4ee6-8d7f-adef7576a3ea | checkpoint | Heat pumps
9049ee33-153f-4823-8cec-11bd7d63cc8b | checklist | Rough In |  | Rough In
5113ee2e-60eb-4c53-820d-d6a453b184ad | section | Details
0106237f-dd13-4b4c-96a2-ebfd95912d40 | checkpoint | High Level Rough In
7c04820b-9973-4af7-9202-f877337c5d16 | checkpoint | Noggins Marked
0fa25f90-a456-4118-937c-89020f17f3e7 | checkpoint | Wall Set Out
75311fda-2681-46b9-8ae2-9bf07a9249cd | checkpoint | In-Wall TMV
97f1c9ed-8f1e-42aa-9ce6-c0a2ff3c0a8a | checkpoint | In-Wall RPZD
535704a2-1daf-4303-8a17-3cfc64d282b1 | checkpoint | Wall Rough In
33e1dd7a-3319-4ef2-ad9b-15b3e41b8494 | checkpoint | Waste Rollovers
530e0b1c-0c42-41b6-a925-12129355ffc0 | checkpoint | Test Water