## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commisioning |  | Commisioning | fbb95137-4cf5-4075-abf3-5879408b4dfc
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
| checklist | Corridor |  | Corridor | 35ae40dc-4acf-4491-b7ae-847b4ca05d74
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checklist | Drains |  | Drains | 1053df9e-d814-4f98-8079-45d3ec13a912
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Drains
| checkpoint | Pump Line
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off |  | Fit Off | 96e1875e-0ec5-4f79-a430-6c9debd09d6f
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Basin
| checkpoint | Mini Stops
| checkpoint | Waste
| checkpoint | Sink
| checkpoint | Mixer
| checkpoint | Dishwasher
| checkpoint | Boiling/ Chilled Tap
| checkpoint | Toilet
| checkpoint | Hot Water Unit
| checkpoint | Tundish
| checklist | Inground works |  | Inground works | ee86660a-d3ba-4c79-ac91-977f03a9b9b6
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Lagged Pipework
| checkpoint | Stormwater Connection
| checklist | Penetrations |  | Penetrations | bd08129c-88f2-4ce2-84ac-289e66ed38eb
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Set Out
| checkpoint | Scanning
| checkpoint | Hole Core
| checkpoint | Fire Collar Installation/ Fire Seal Copper
| checkpoint | Smoke Seal Penetrations
| checklist | Rough In |  | Rough In | 61643ca2-1d2c-4d88-9d41-f8c71d9ca812
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Test Water
| checkpoint | PRV 350KPA
| checkpoint | Noggins
| checkpoint | Water Meter w BMS
| checkpoint | TMV Installed