## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commisioning |  | Commisioning | b817f58f-985f-4628-bf28-cb74d02c2fc4
| section | Details
| checkpoint | Bulk Hot Water
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
| checklist | Corridor |  | Corridor | 9b727ae0-9e91-493e-b49a-d05eab4a132b
| section | Details
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checklist | Crimp fittings |  | Crimp fittings | ab8f77a7-6d7b-421b-b690-10fbff825290
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Crimped
| checkpoint | Witness marked depth
| checkpoint | Paint marked crimped
| checkpoint | Holding pressure
| checklist | Drains |  | Drains | 788c9989-55cd-4891-aea7-4b37e793e7cc
| section | Details
| checkpoint | Drains
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off |  | Fit Off | 9a86cf04-c2c3-4f1c-957e-91c26d1f2881
| section | Details
| checkpoint | Sensor Tap
| checkpoint | Basin
| checkpoint | Shroud
| checkpoint | Mini Stops
| checkpoint | Waste
| checkpoint | Breach
| checkpoint | Stop Tap
| checkpoint | Mixer
| checkpoint | Dishwasher
| checkpoint | Shower Mixer
| checkpoint | Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Toilet
| checkpoint | TMV and RPZD Access Panel
| checkpoint | Tundish
| checklist | Penetrations |  | Penetrations | b67f8dcb-24b7-418a-b138-2b7c420ad0d4
| section | details
| checkpoint | Set Out
| checkpoint | Scanning
| checkpoint | Hole Core
| checkpoint | Fire Collar Installation/ Fire Rate Copper
| checkpoint | Smoke Seal Penetrations
| checklist | Plant and equipment |  | Plant and equipment | b7ccf4d9-11fa-4408-9dbc-d76c7583d9a2
| section | Details
| checkpoint | Hot water system
| checklist | Rough In |  | Rough In | ccd00013-31f6-43df-9d43-7a756a463495
| section | Details
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Test Water
| checkpoint | Noggins
| checkpoint | TMV and RPZD