## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
6b6fe6c5-98c7-4517-8eff-2b0a1e5280c9 | checklist | Commissioning |  | Commissioning
a5a137e3-098c-4c77-8578-4b53d9dc772f | section | Details
244e35d0-be14-44a2-ad2b-f1c9e630f2f4 | checkpoint | Bulk Hot Water
d8d2fc96-2fa1-4331-bc56-7d92d39b5e6f | checkpoint | Test RPZD
e530ed7c-ee19-4c01-a7d7-18b40f9708e2 | checkpoint | Test Hot Water Temperature
3a0502fc-f2d8-4a66-9f7d-7a5eb008bd63 | checkpoint | Test Waste for leaks
d4c3b931-9244-4703-9f0f-52980d80e445 | checklist | Corridor |  | Corridor
bf11b436-71fc-48dd-8d47-0ff81b221a8a | section | Details
d897d53d-93e4-4ee5-b04b-f916793f578d | checkpoint | Hose Reel Line
e06bcaeb-ffd4-4150-9ace-c3c5c849c210 | checkpoint | Hot Water
6997a6d8-3bfa-490d-ad60-05e0ec8a9746 | checkpoint | Hot Water Lagged
1057056c-8f49-460c-be48-445e0b18c52b | checkpoint | Cold Water
b6418823-98a1-450b-b6e4-7129b97d16d5 | checkpoint | Test Hot Water
e932668e-235f-4960-9ed6-104cafb7ae52 | checkpoint | Test Cold Water
3fdbb25f-14f0-40e9-85dc-ccd6b6cd57b0 | checkpoint | Fire Caulking (Corridor)
49f41d4a-f492-484a-8ec4-f4f0689e5ae5 | checklist | Drains |  | Drains
a38eedfc-a76d-4102-b488-f6e20b0035e7 | section | Details
81ff4aa4-fb12-4be2-a646-3d669aca92fe | checkpoint | Drains
8f936d49-6c49-4148-a069-5538c9e84bc0 | checkpoint | Smoke Seal Penetrations
dc1610ae-ba22-4a11-b89e-33c5dbf6460c | checkpoint | Fire Collar
b90af045-b2e4-495c-b82e-b44d857c9745 | checkpoint | Acoustic Lagging
9e2ca3a7-c483-4391-9e00-c7e49701411d | checkpoint | Testing (Water/Air)
16561cdc-dbb3-49ac-91fa-71c8e9b8464b | checklist | Fit Off (Male) |  | Fit Off (Male)
ebcdc020-a931-474b-9eac-19670dc8eb58 | section | Details
ed63a417-f5f5-4a90-afde-c458dbd03c9b | checkpoint | Hand Basin
b47038fe-ebdb-4ff2-bff0-f9cf024c1727 | checkpoint | Scrub Trough
09b0914d-b3be-44d1-bcab-74db15ad8cb6 | checkpoint | Ministops/ Ball Valve
a70c7e22-ea2c-43c7-b945-a6a7c29c5728 | checkpoint | Fixture Waste
00c80c7f-a69b-4f56-82e2-a39d2538d356 | checkpoint | Mixer installed
cdbc2994-8c78-480f-8571-9224b2b1adad | checkpoint | Dishwasher
0b7e1168-4934-4972-b862-3a3d576fd33c | checkpoint | Sink
4be68bb5-948c-4530-8695-38585b7362ac | checkpoint | Trough
6d8f70d2-14f0-46f4-9e33-8d7ef92d0293 | checkpoint | Bathroom Shower Mixer
d36548ac-48f1-442c-833e-befe9fe08bc5 | checkpoint | Bathroom Basin
262d2118-1f10-4b76-8cbb-4df4ae645521 | checkpoint | Bathroom Basin Mixer
e77fe6a3-6042-4ff8-8658-00ac7bc84685 | checkpoint | Bathroom Bottle Trap
450d4060-2fab-4563-9f7f-e8510c2fd728 | checkpoint | Bathroom Toilet
64515643-e439-4e52-95d6-39f0ac972952 | checkpoint | Urinals
36b5f199-206a-4ed8-8383-c8cd262725ee | checkpoint | Dolphin units
240c347b-ced8-4251-a112-a43d6174e53a | checklist | Fit Off (Unisex) |  | Fit Off (Unisex)
23c9c392-6b25-4901-9e39-f520185cd015 | section | Details
b04c98ec-4181-4ddf-a352-b147ca49f811 | checkpoint | Hand Basin
79842010-1b86-4ca3-9008-4cffdf8548e7 | checkpoint | Scrub Trough
c4f579a6-68da-4861-ad27-9dc7a0d9d25f | checkpoint | Ministops/ Ball Valve
133fb573-33db-4417-b53f-6c1ca152467e | checkpoint | Fixture Waste
bbe68c2d-1a80-4a2c-bda8-35f03b99dd63 | checkpoint | Mixer installed
82804cf6-48e6-4584-98b7-eb675dcd4a10 | checkpoint | Dishwasher
212a3937-78f0-40f4-b648-fdfb9a7504bb | checkpoint | Sink
0759657c-ab83-4c2b-9b27-41336cbbbbda | checkpoint | Trough
0f95b4f4-5e92-42af-9ca0-6aebe5d91270 | checkpoint | Bathroom Shower Mixer
9e413ecd-213c-426b-b5dd-c5effdb5e5ab | checkpoint | Bathroom Basin
fd3f3d3e-14df-48e1-8e8a-50a511e90013 | checkpoint | Bathroom Basin Mixer
83fa14cf-482c-4a7c-9cee-50c30717abbd | checkpoint | Bathroom Bottle Trap
e8964393-ed79-4a17-945a-d552c1053417 | checkpoint | Bathroom Toilet
a39ed3e2-75f2-404d-a3ec-567e91ab4145 | checkpoint | Dolphin units
f787148b-3021-4e18-b7ca-310c57375078 | checklist | Inground Works |  | Inground Works
b372edd8-b5c8-4d0c-8fa2-69274b7bf5c7 | section | Details
6917f109-37e3-4877-9f6c-05a32215b69f | checkpoint | Top of pits installed to correct height
5b9ac44f-2def-4b0e-b5b2-447e4a0b4316 | checkpoint | Testing of drains
70795165-f529-4686-9e1e-03ec8a0b75d3 | checkpoint | Correct loactions of all pits / drainage points
7aca0574-b939-4b83-a43c-3d3bdfdbe4d0 | checkpoint | Fire Hydrant Supply
82bc2b1e-268f-4989-9f88-ff01fbcd9af9 | checkpoint | Cold Water Supply
e53a9641-942a-45f4-b1dd-5ce821ec38d3 | checklist | Penetrations |  | Penetrations
38e59819-0049-40e3-8c02-332f972d5f44 | section | Details
de4ddf3a-0c4b-43b5-bf16-6c7e3b728a11 | checkpoint | Set Out
55756bf8-0950-4758-93df-10e12f54dac0 | checkpoint | Fire Collar Installation
86ee814e-6e24-4c0b-ae2c-bb3c66f8e10b | checkpoint | Scanning
d14fe652-fde0-48eb-a942-08502a984e6e | checklist | Plant and Equipment |  | Plant and Equipment
ced72ee1-a590-4cb2-a3db-c0513c25c591 | section | Details
bbf0f794-5c96-49ae-8a16-255051e2edd8 | checkpoint | Hot water system
80ba90ca-f880-46a2-8383-d8066cf74c53 | checkpoint | Heat pumps
bdb247fa-93fa-499b-9e28-f68e6c0e1b72 | checklist | Rough In |  | Rough In
16808c6c-0766-4fa7-a51d-906d33efbaee | section | Details
f165776e-88e2-45d2-9e24-bf67da7c2bb2 | checkpoint | High Level Rough In
02bf2b0d-9276-4d41-b785-01e36980f11a | checkpoint | Noggins Marked
37c4e881-5903-42e6-b594-aa5d708b6d8e | checkpoint | Wall Set Out
3497b45a-5360-49da-b638-9f81c63cb321 | checkpoint | In-Wall TMV
7408e1ef-af34-4a0d-bf82-f8ddd264b684 | checkpoint | In-Wall RPZD
63b5ea0a-cc57-48f4-982b-58149bb40b16 | checkpoint | Wall Rough In
998be337-db62-41f3-9e65-c708a7601a9e | checkpoint | Waste Rollovers
3cd1c4c7-f198-40f6-8670-832662ae8af6 | checkpoint | Test Water