## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
460841c7-2541-4018-ba73-55cda23eaff3 | checklist | Commissioning |  | Commissioning
5e18fdf1-92ac-4203-9d5b-00704b1805f2 | section | Details
9c53c821-13a1-43a7-9762-9eed7a8cd8d6 | checkpoint | Bulk Hot Water
6d2174dc-74ec-4208-b15d-c397c09aa485 | checkpoint | Test RPZD
1d682b4b-7bef-4cf5-a481-55eafed69cc5 | checkpoint | Test Hot Water Temperature
18f29d40-5102-44ea-a912-31e89c9bbb60 | checkpoint | Test Waste for leaks
dbca39be-e9e3-431e-b92e-d032fd416f83 | checklist | Corridor |  | Corridor
5c65c0a2-e589-4e4f-b044-7f9d5faea3c1 | section | Details
5e6d0e2e-2ea6-4247-9985-4d5a734b9135 | checkpoint | Hose Reel Line
9f91e168-5839-4a83-bb69-eec03b25271c | checkpoint | Hot Water
42335fd6-2254-4419-9466-9041eea3e12b | checkpoint | Hot Water Lagged
74ff5ff1-158b-4d4f-8267-b51812290c4e | checkpoint | Cold Water
af2b9f99-e358-4f99-96e3-b2106fea64c5 | checkpoint | Test Hot Water
848bf0d9-c48f-4ee0-8222-92c29b06d012 | checkpoint | Test Cold Water
184a105a-1de9-4b12-8283-3a9da0531a6e | checkpoint | Fire Caulking (Corridor)
a5f8e0a6-5435-4d39-ad29-05282feca555 | checklist | Drains |  | Drains
9054bc63-c44b-44ab-b351-6bb8c11ab334 | section | Details
08ba0cfb-07f0-4cd6-8ac9-5a32609c3f8f | checkpoint | Drains
9955bf60-b0dc-4fe2-bad3-559758433ba8 | checkpoint | Smoke Seal Penetrations
f440ed7d-44f8-453e-a745-430358122dc8 | checkpoint | Fire Collar
66c6e281-e5f3-44d6-b6d0-dd8de50cea10 | checkpoint | Acoustic Lagging
480e4d46-3456-4d3e-916b-3596f2b3ed1f | checkpoint | Testing (Water/Air)
65972ed0-d374-4df5-82ed-f2ebbff61519 | checklist | Fit Off (Male) |  | Fit Off (Male)
9b894f83-504a-46a2-aac7-40595fa0ec4a | section | Details
04a1a759-e25a-4a14-8954-ece45409c1b8 | checkpoint | Hand Basin
d3d9d757-5592-4b3b-b982-fa41640c5126 | checkpoint | Scrub Trough
a60158f4-f01d-454b-b89e-231614d86ced | checkpoint | Ministops/ Ball Valve
2775a1f0-e212-4e6a-8c03-4ce410942f9d | checkpoint | Fixture Waste
14b9fa42-e9fa-4535-b1cb-e7d884556182 | checkpoint | Mixer installed
b3855618-ec12-4b0d-b108-4d6d3758447a | checkpoint | Dishwasher
04abfc2e-e976-41bf-8050-84a5a93455b7 | checkpoint | Sink
3d5cf989-d37b-47ec-95ed-cb8ab9559100 | checkpoint | Trough
85ca55d1-f84a-47b4-a5c2-c3b7a80a446f | checkpoint | Bathroom Shower Mixer
c4420cd1-551b-4f7e-8c69-d857675624eb | checkpoint | Bathroom Basin
de9f154d-b21e-46d9-bcb6-2243a2ca43c4 | checkpoint | Bathroom Basin Mixer
cc0b9d55-b635-43da-ba8c-15b71647ee99 | checkpoint | Bathroom Bottle Trap
958a8a24-8ee4-4477-8766-7eec7d32c2a8 | checkpoint | Bathroom Toilet
f7e1179b-5311-4677-a829-22707793e1d7 | checkpoint | Urinals
8d048f18-4f70-4bc7-9f74-7f155a3c8c4c | checkpoint | Dolphin units
d259dc97-78b1-4896-ac8d-fae0a6f8c7b6 | checklist | Fit Off (Unisex) |  | Fit Off (Unisex)
305e92b7-bc9a-4e54-8f8b-abbbd3d9f063 | section | Details
6a02f758-10d6-4d7b-b4e7-1e7753c9a4b3 | checkpoint | Hand Basin
1fe818bf-a3e4-452c-953e-9ac7d96a7038 | checkpoint | Scrub Trough
70cb3f37-e432-4405-8ab0-a6a589391325 | checkpoint | Ministops/ Ball Valve
6d5cccf3-2c97-49a5-a41c-c1af5ad41dd3 | checkpoint | Fixture Waste
127f6e5e-b8b9-4542-815c-b1d5d120cd67 | checkpoint | Mixer installed
ee04bc2c-9adf-45b2-9575-7c0836865505 | checkpoint | Dishwasher
6f1e9122-660b-4db4-935b-8b9c24eab3ca | checkpoint | Sink
60d4bc78-7ee2-4dc7-aed3-44462511e558 | checkpoint | Trough
1f447ca3-30f1-47a8-8efe-2719c8a37bbe | checkpoint | Bathroom Shower Mixer
0b710856-39c0-4443-ac17-5a3cc291bfb6 | checkpoint | Bathroom Basin
ab59cbe1-f1f8-48e3-bdab-59adfe5896ff | checkpoint | Bathroom Basin Mixer
4f8e3c60-1ade-44c7-b184-9a4827bd4169 | checkpoint | Bathroom Bottle Trap
6222effe-e913-4b06-b4f5-66dd61d46c43 | checkpoint | Bathroom Toilet
44665fda-13e4-450b-9878-27f3be1c85ca | checkpoint | Dolphin units
6e7524af-6597-45f9-a651-ff0f3b3f3062 | checklist | Inground Works |  | Inground Works
49b92081-1b97-45f4-8a7c-f7b6eba6acd0 | section | Details
89a8bc80-9835-4021-8689-5e547f73b176 | checkpoint | Top of pits installed to correct height
37e6557d-7f8c-4c41-9325-bcc0eed44ec6 | checkpoint | Testing of drains
6e34059f-2eb3-4f12-a150-eff8f069513e | checkpoint | Correct loactions of all pits / drainage points
cd81f640-bf11-4af4-bae9-8e12f9b4826e | checkpoint | Fire Hydrant Supply
8bc98b1d-50c4-4341-9303-d9e1b163fc20 | checkpoint | Cold Water Supply
bc438fca-74e7-4e46-ad84-be743280acb4 | checklist | Penetrations |  | Penetrations
40bf4382-878c-41c8-bd81-f7b9a2c07d58 | section | Details
76044717-5a1d-490f-a4af-6deed639e1b2 | checkpoint | Set Out
c9a04071-e47c-4ae3-b39f-d0adac162232 | checkpoint | Fire Collar Installation
0ed57128-706b-452f-a13d-67c6cf28b0d4 | checkpoint | Scanning
3ec83672-6b92-4882-ac45-9152a01dfd47 | checklist | Plant and Equipment |  | Plant and Equipment
67677e28-cdb5-4b7b-8920-caf4ca7ae93c | section | Details
915891d4-fbde-4f44-aa46-ade2fac830d5 | checkpoint | Hot water system
1756be0e-a641-4fd5-87a5-e2cda6f74b5e | checkpoint | Heat pumps
91003754-862a-4afa-98f4-fc75e8ab8905 | checklist | Rough In |  | Rough In
75743f2b-f81e-447e-9a3b-cfc0075f95bd | section | Details
67fdad0c-fbee-440b-8cb8-6ec0699bd864 | checkpoint | High Level Rough In
2d889500-00ab-4316-99f8-8d96a6fe3f55 | checkpoint | Noggins Marked
f4d96c79-a5c8-4be4-8696-b0970fa2db91 | checkpoint | Wall Set Out
3951f4a8-df75-42e0-a9d2-285a7ddbea27 | checkpoint | In-Wall TMV
78335882-674c-4c6d-91fe-77a60113d3f1 | checkpoint | In-Wall RPZD
07589dbd-aced-4041-ae78-61a0d7b4426c | checkpoint | Wall Rough In
4229ffab-e37e-4d99-a6f2-2323552ba980 | checkpoint | Waste Rollovers
e1cb32fb-5fe2-4427-a483-92da019c0b07 | checkpoint | Test Water